## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
N-PENTANAL | 4437 | 77061GM016 | 2014-07-03 | ug/L | 0.74074 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.216 | N-PENTANAL | . | 0.054 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74074 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74074 |  | 0.74074 | 0 | 0
N-PENTANAL | 4437 | 77061GM016 | 2015-01-10 | ug/L | 0.66667 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 0.216 | N-PENTANAL | . | 0.054 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.675 | 0.011785 | 0.675 | 0.016667 | 0.012355
N-PENTANAL | 4437 | 77061GM016 | 2015-04-25 | ug/L | 0.68333 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.108 | N-PENTANAL | . | 0.054 | 0.0738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68333 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.675 | 0.011785 | 0.675 | 0.016667 | 0.012355
N-PENTANAL | 4437 | 77061GM016 | 2015-08-14 | ug/L | 0.96959 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.0822 | N-PENTANAL | . | 0.054 | 0.0797 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96959 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88909 | 0.11384 | 0.88909 | 0.16099 | 0.11934
N-PENTANAL | 4437 | 77061GM016 | 2015-09-24 | ug/L | 0.8086 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.1233 | N-PENTANAL | . | 0.054 | 0.0997 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8086 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88909 | 0.11384 | 0.88909 | 0.16099 | 0.11934
N-PENTANAL | 4437 | 77061GM016 | 2014-04-30 | ug/L | 0.64722 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 0.108 | N-PENTANAL | . | 0.054 | 0.0699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64722 | Abs 032014 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64722 |  | 0.64722 | 0 | 0
N-PENTANAL | 4437 | 77061GM016 | 2014-07-23 | ug/L | 0.69444 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.216 | N-PENTANAL | . | 0.054 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69444 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7088 | 0.020297 | 0.7088 | 0.028704 | 0.021278
N-PENTANAL | 4437 | 77061GM016 | 2014-09-11 | ug/L | 0.72315 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.108 | N-PENTANAL | . | 0.054 | 0.0781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72315 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7088 | 0.020297 | 0.7088 | 0.028704 | 0.021278
N-PENTANAL | 4437 | 77061GM016 | 2014-12-13 | ug/L | 0.66204 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.108 | N-PENTANAL | . | 0.054 | 0.0715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66204 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66204 |  | 0.66204 | 0 | 0
N-PENTANAL | 4437 | 77061GM016 | 2015-08-24 | ug/L | 0.80941 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 0.1233 | N-PENTANAL | . | 0.054 | 0.0998 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80941 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80941 |  | 0.80941 | 0 | 0
N-PENTANAL | 4437 | 77061GM016 | 2014-05-07 | ug/L | 0.7037 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.216 | N-PENTANAL | . | 0.054 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7037 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7037 |  | 0.7037 | 0 | 0
N-PENTANAL | 4437 | 77061GM016 | 2014-06-06 | ug/L | 0.83333 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.216 | N-PENTANAL | . | 0.054 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73657 | 0.13684 | 0.73657 | 0.19352 | 0.14345
N-PENTANAL | 4437 | 77061GM016 | 2014-07-30 | ug/L | 0.63981 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.108 | N-PENTANAL | . | 0.054 | 0.0691 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63981 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73657 | 0.13684 | 0.73657 | 0.19352 | 0.14345
N-PENTANAL | 4437 | 77061GM016 | 2014-09-06 | ug/L | 0.86111 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.108 | N-PENTANAL | . | 0.054 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86111 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86111 |  | 0.86111 | 0 | 0
N-PENTANAL | 4437 | 77061GM016 | 2014-06-17 | ug/L | 0.78426 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.108 | N-PENTANAL | . | 0.054 | 0.0847 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78426 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74167 | 0.060235 | 0.74167 | 0.085185 | 0.063147
N-PENTANAL | 4437 | 77061GM016 | 2014-08-20 | ug/L | 0.69907 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.216 | N-PENTANAL | . | 0.054 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69907 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74167 | 0.060235 | 0.74167 | 0.085185 | 0.063147
N-PENTANAL | 4437 | 77061GM016 | 2015-03-19 | ug/L | 0.83796 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.216 | N-PENTANAL | . | 0.054 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83796 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83796 |  | 0.83796 | 0 | 0