## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NITROBENZENE | 4437 | 34447GM016 | 2015-08-14 | ug/L | 0.95768 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.898 | NITROBENZENE | . | 0.6 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95768 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96882 | 0.015748 | 0.96882 | 0.022272 | 0.01651
NITROBENZENE | 4437 | 34447GM016 | 2015-09-24 | ug/L | 0.97996 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 1.347 | NITROBENZENE | . | 0.6 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97996 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96882 | 0.015748 | 0.96882 | 0.022272 | 0.01651
NITROBENZENE | 4437 | 34447GM016 | 2014-07-23 | ug/L | 1.0327 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 2.4112 | NITROBENZENE | . | 0.6 | 2.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0327 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.097 | 0.09091 | 1.097 | 0.12857 | 0.095305
NITROBENZENE | 4437 | 34447GM016 | 2014-09-11 | ug/L | 1.1612 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 1.2056 | NITROBENZENE | . | 0.6 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1612 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.097 | 0.09091 | 1.097 | 0.12857 | 0.095305
NITROBENZENE | 4437 | 34447GM016 | 2014-12-13 | ug/L | 1.2193 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 1.2056 | NITROBENZENE | . | 0.6 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2193 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2193 |  | 1.2193 | 0 | 0
NITROBENZENE | 4437 | 34447GM016 | 2014-05-20 | ug/L | 1.352 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 1.2056 | NITROBENZENE | . | 0.6 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.352 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2152 | 0.19355 | 1.2152 | 0.27372 | 0.20291
NITROBENZENE | 4437 | 34447GM016 | 2014-07-11 | ug/L | 1.0783 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 2.4112 | NITROBENZENE | . | 0.6 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0783 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2152 | 0.19355 | 1.2152 | 0.27372 | 0.20291
NITROBENZENE | 4437 | 34447GM016 | 2014-06-07 | ug/L | 1.0458 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 2.4 | NITROBENZENE | . | 0.6 | 2.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0458 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0438 | 0.0029463 | 1.0438 | 0.0041667 | 0.0030887
NITROBENZENE | 4437 | 34447GM016 | 2014-11-22 | ug/L | 1.0417 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 1.2 | NITROBENZENE | . | 0.6 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0438 | 0.0029463 | 1.0438 | 0.0041667 | 0.0030887
NITROBENZENE | 4437 | 34447GM016 | 2015-05-20 | ug/L | 1.2111 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 0.9 | NITROBENZENE | . | 0.6 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2111 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0567 | 0.21842 | 1.0567 | 0.30889 | 0.22898
NITROBENZENE | 4437 | 34447GM016 | 2015-06-26 | ug/L | 0.90222 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 2.25 | NITROBENZENE | . | 0.6 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90222 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0567 | 0.21842 | 1.0567 | 0.30889 | 0.22898
NITROBENZENE | 4437 | 34447GM016 | 2015-06-16 | ug/L | 0.97778 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 1.35 | NITROBENZENE | . | 0.6 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97778 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96222 | 0.021999 | 0.96222 | 0.031111 | 0.023062
NITROBENZENE | 4437 | 34447GM016 | 2015-06-25 | ug/L | 0.94667 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 2.25 | NITROBENZENE | . | 0.6 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96222 | 0.021999 | 0.96222 | 0.031111 | 0.023062
NITROBENZENE | 4437 | 34447GM016 | 2015-05-14 | ug/L | 1.0741 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 1.35 | NITROBENZENE | . | 0.6 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0741 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0741 |  | 1.0741 | 0 | 0
NITROBENZENE | 4437 | 34447GM016 | 2014-11-13 | ug/L | 1.0202 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 1.2056 | NITROBENZENE | . | 0.6 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0202 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0202 |  | 1.0202 | 0 | 0
NITROBENZENE | 4437 | 34447GM016 | 2014-08-13 | ug/L | 0.90411 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 2.4112 | NITROBENZENE | . | 0.6 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90411 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90411 |  | 0.90411 | 0 | 0
NITROBENZENE | 4437 | 34447GM016 | 2014-09-06 | ug/L | 0.95833 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 1.2 | NITROBENZENE | . | 0.6 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95833 |  | 0.95833 | 0 | 0
NITROBENZENE | 4437 | 34447GM016 | 2015-08-24 | ug/L | 1.2695 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 1.347 | NITROBENZENE | . | 0.6 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2695 | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2695 |  | 1.2695 | 0 | 0
NITROBENZENE | 4437 | 34447GM016 | 2014-05-07 | ug/L | 0.9995 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 2.4112 | NITROBENZENE | . | 0.6 | 2.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9995 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9995 |  | 0.9995 | 0 | 0
NITROBENZENE | 4437 | 34447GM016 | 2014-06-17 | ug/L | 0.95833 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 1.2 | NITROBENZENE | . | 0.6 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95208 | 0.0088388 | 0.95208 | 0.0125 | 0.0092661
NITROBENZENE | 4437 | 34447GM016 | 2014-08-20 | ug/L | 0.94583 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 2.4 | NITROBENZENE | . | 0.6 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94583 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95208 | 0.0088388 | 0.95208 | 0.0125 | 0.0092661
NITROBENZENE | 4437 | 34447GM016 | 2015-03-19 | ug/L | 1.1208 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 2.4 | NITROBENZENE | . | 0.6 | 2.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1208 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1208 |  | 1.1208 | 0 | 0