## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-07-03 | ug/L | 0.95643 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.964 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.922 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95643 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95643 |  | 0.95643 | 0 | 0
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-01-10 | ug/L | 1.0477 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 0.964 | TERT-BUTYL_ALCOHOL | . | 0.24 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0477 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0902 | 0.060148 | 1.0902 | 0.085062 | 0.063056
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-04-25 | ug/L | 1.1328 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.482 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1328 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0902 | 0.060148 | 1.0902 | 0.085062 | 0.063056
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-08-14 | ug/L | 0.96944 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.36 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96944 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93843 | 0.043867 | 0.93843 | 0.062037 | 0.045987
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-09-24 | ug/L | 0.90741 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.54 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90741 | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93843 | 0.043867 | 0.93843 | 0.062037 | 0.045987
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-04-30 | ug/L | 1.0602 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 0.482 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0602 | Abs 032014 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0602 |  | 1.0602 | 0 | 0
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-07-23 | ug/L | 0.99378 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.964 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99378 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0571 | 0.089489 | 1.0571 | 0.12656 | 0.093815
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-09-11 | ug/L | 1.1203 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.482 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1203 | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0571 | 0.089489 | 1.0571 | 0.12656 | 0.093815
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-12-13 | ug/L | 1.0625 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.48 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0625 |  | 1.0625 | 0 | 0
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-06-16 | ug/L | 0.86296 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 0.54 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86296 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8787 | 0.022261 | 0.8787 | 0.031481 | 0.023337
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-06-25 | ug/L | 0.89444 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 0.9 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.805 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89444 | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8787 | 0.022261 | 0.8787 | 0.031481 | 0.023337
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-05-07 | ug/L | 1.0208 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.96 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0208 | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0208 |  | 1.0208 | 0 | 0
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-06-06 | ug/L | 1.0094 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.96 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.969 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0094 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0089 | 0.00073657 | 1.0089 | 0.0010417 | 0.00077218
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-07-30 | ug/L | 1.0083 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.48 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0089 | 0.00073657 | 1.0089 | 0.0010417 | 0.00077218
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-09-06 | ug/L | 1.1833 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.48 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1833 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1833 |  | 1.1833 | 0 | 0
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-06-17 | ug/L | 1.1452 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.482 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1452 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0913 | 0.076285 | 1.0913 | 0.10788 | 0.079973
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2014-08-20 | ug/L | 1.0373 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.964 | TERT-BUTYL_ALCOHOL | . | 0.24 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0373 | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0913 | 0.076285 | 1.0913 | 0.10788 | 0.079973
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-03-19 | ug/L | 1.1667 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.96 | TERT-BUTYL_ALCOHOL | . | 0.24 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1667 |  | 1.1667 | 0 | 0
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-05-05 | ug/L | 1.4306 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 0.36 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4306 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4306 |  | 1.4306 | 0 | 0
TERT-BUTYL ALCOHOL | 4437 | 77035GM016 | 2015-07-30 | ug/L | 0.97407 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 0.54 | TERT-BUTYL_ALCOHOL | . | 0.24 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97407 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97407 |  | 0.97407 | 0 | 0