## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-07-03 | ug/L | 1.0979 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.048 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0979 | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0979 |  | 1.0979 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2015-04-25 | ug/L | 1.1387 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.0238 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1387 | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1387 |  | 1.1387 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-05-20 | ug/L | 1.5042 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 0.024 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5042 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.4208 | 0.11785 | 1.4208 | 0.16667 | 0.12355
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-07-11 | ug/L | 1.3375 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 0.048 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3375 | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.4208 | 0.11785 | 1.4208 | 0.16667 | 0.12355
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-06-07 | ug/L | 0.97708 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 0.048 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97708 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93646 | 0.057452 | 0.93646 | 0.08125 | 0.06023
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-11-22 | ug/L | 0.89583 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 0.024 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89583 | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93646 | 0.057452 | 0.93646 | 0.08125 | 0.06023
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2015-06-26 | ug/L | 0.97219 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 0.04495 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97219 | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97219 |  | 0.97219 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2015-05-14 | ug/L | 1.2148 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 0.027 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2148 | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2148 |  | 1.2148 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-10-21 | ug/L | 1.6681 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 0.0238 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6681 | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.6681 |  | 1.6681 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-08-13 | ug/L | 1.6239 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 0.0476 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0773 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6239 | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.6239 |  | 1.6239 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-09-06 | ug/L | 1.0546 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 0.0238 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0546 | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0546 |  | 1.0546 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-06-06 | ug/L | 0.97083 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.048 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97083 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91667 | 0.076603 | 0.91667 | 0.10833 | 0.080306
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-07-30 | ug/L | 0.8625 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.024 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8625 | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91667 | 0.076603 | 0.91667 | 0.10833 | 0.080306
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2014-09-06 | ug/L | 1.0672 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.0238 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0672 | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0672 |  | 1.0672 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2015-05-05 | ug/L | 1.1667 | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl | 0.018 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1667 |  | 1.1667 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 4437 | 78032GM016 | 2015-07-30 | ug/L | 1.1556 | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl | 0.027 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.012 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1556 | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1556 |  | 1.1556 | 0 | 0