## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-07-01 | ug/L | 1.0833 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0372 | 0.053654 | 1.05 | 0.105 | 0.077835
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-01-13 | ug/L | 0.97833 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.06 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97833 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0372 | 0.053654 | 1.05 | 0.105 | 0.077835
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-04-09 | ug/L | 1.05 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0372 | 0.053654 | 1.05 | 0.105 | 0.077835
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-05-01 | ug/L | 1.0167 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.12 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0842 | 0.095459 | 1.0842 | 0.135 | 0.10007
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-09-09 | ug/L | 1.1517 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.06 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0691 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1517 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0842 | 0.095459 | 1.0842 | 0.135 | 0.10007
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-10-04 | ug/L | 0.99333 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.06 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90708 | 0.12198 | 0.90708 | 0.1725 | 0.12787
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-11-14 | ug/L | 0.82083 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0985 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82083 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90708 | 0.12198 | 0.90708 | 0.1725 | 0.12787
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-06-10 | ug/L | 0.91667 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.12 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98 | 0.089567 | 0.98 | 0.12667 | 0.093897
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-07-29 | ug/L | 1.0433 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.06 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0433 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98 | 0.089567 | 0.98 | 0.12667 | 0.093897
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-05-03 | ug/L | 0.96333 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.06 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96333 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96333 |  | 0.96333 | 0 | 0
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-10-16 | ug/L | 0.9569 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0696 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9569 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9569 |  | 0.9569 | 0 | 0
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-06-16 | ug/L | 0.87826 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.115 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87826 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92391 | 0.064562 | 0.92391 | 0.091304 | 0.067683
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-06-27 | ug/L | 0.96957 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.046 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96957 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92391 | 0.064562 | 0.92391 | 0.091304 | 0.067683
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-09-03 | ug/L | 1.0043 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.0464 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0043 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0043 |  | 1.0043 | 0 | 0
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-07-23 | ug/L | 1.175 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.06 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0705 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.175 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0792 | 0.13553 | 1.0792 | 0.19167 | 0.14208
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-08-19 | ug/L | 0.98333 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.12 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98333 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0792 | 0.13553 | 1.0792 | 0.19167 | 0.14208
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-11-06 | ug/L | 0.87833 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.06 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87833 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91417 | 0.050676 | 0.91417 | 0.071667 | 0.053126
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-03-19 | ug/L | 0.95 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.12 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91417 | 0.050676 | 0.91417 | 0.071667 | 0.053126
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-05-21 | ug/L | 1.0539 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.0464 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0539 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0539 |  | 1.0539 | 0 | 0
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-05-09 | ug/L | 0.98707 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.0696 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0687 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98707 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98707 |  | 0.98707 | 0 | 0
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2014-12-17 | ug/L | 0.84167 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.12 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84167 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84167 |  | 0.84167 | 0 | 0
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-05-09 | ug/L | 0.96739 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.046 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.0445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96739 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97065 | 0.0046116 | 0.97065 | 0.0065217 | 0.0048345
1,1,1-TRICHLOROETHANE | 4440 | 34506GCM66 | 2015-08-15 | ug/L | 0.97391 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.115 | 1,1,1-TRICHLOROETHANE | . | 0.03 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97391 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97065 | 0.0046116 | 0.97065 | 0.0065217 | 0.0048345