## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-07-01 | ug/L | 1.1872 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.0876 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1872 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0533 | 0.15495 | 1.089 | 0.30365 | 0.22509
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-01-13 | ug/L | 0.88356 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0438 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88356 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0533 | 0.15495 | 1.089 | 0.30365 | 0.22509
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-04-09 | ug/L | 1.089 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.0876 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0954 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.089 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0533 | 0.15495 | 1.089 | 0.30365 | 0.22509
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-05-01 | ug/L | 1.3523 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.088 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3523 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3716 | 0.02732 | 1.3716 | 0.038636 | 0.028641
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-09-09 | ug/L | 1.3909 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.044 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3909 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3716 | 0.02732 | 1.3716 | 0.038636 | 0.028641
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-09-29 | ug/L | 0.93293 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.0835 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93293 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93293 |  | 0.93293 | 0 | 0
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-10-04 | ug/L | 1.2078 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0438 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2078 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0976 | 0.15579 | 1.0976 | 0.22032 | 0.16332
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-11-14 | ug/L | 0.98744 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.0876 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98744 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0976 | 0.15579 | 1.0976 | 0.22032 | 0.16332
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-06-10 | ug/L | 1.3523 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.088 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3523 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.4205 | 0.096424 | 1.4205 | 0.13636 | 0.10108
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-07-29 | ug/L | 1.4886 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.044 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4886 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.4205 | 0.096424 | 1.4205 | 0.13636 | 0.10108
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-07-31 | ug/L | 0.87725 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.0334 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87725 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87725 |  | 0.87725 | 0 | 0
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-07-13 | ug/L | 1.1412 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.085 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1412 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1 | 0.058232 | 1.1 | 0.082353 | 0.061047
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-10-17 | ug/L | 1.0588 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.051 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0588 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1 | 0.058232 | 1.1 | 0.082353 | 0.061047
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-08-16 | ug/L | 1.1393 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.0876 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0998 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1393 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1393 |  | 1.1393 | 0 | 0
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-10-21 | ug/L | 1.0616 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.0438 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0616 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0377 | 0.033902 | 1.0377 | 0.047945 | 0.035541
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-03-06 | ug/L | 1.0137 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.0876 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0137 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0377 | 0.033902 | 1.0377 | 0.047945 | 0.035541
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-10-16 | ug/L | 0.84431 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0501 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84431 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84431 |  | 0.84431 | 0 | 0
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-06-16 | ug/L | 0.9006 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.0835 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9006 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91287 | 0.01736 | 0.91287 | 0.024551 | 0.018199
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-06-27 | ug/L | 0.92515 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.0334 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92515 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91287 | 0.01736 | 0.91287 | 0.024551 | 0.018199
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-09-09 | ug/L | 1.4341 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.044 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0631 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4341 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.4727 | 0.05464 | 1.4727 | 0.077273 | 0.057281
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-11-22 | ug/L | 1.5114 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.088 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5114 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.4727 | 0.05464 | 1.4727 | 0.077273 | 0.057281
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-05-30 | ug/L | 1.2614 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.044 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2614 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3523 | 0.12856 | 1.3523 | 0.18182 | 0.13478
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-06-10 | ug/L | 1.4432 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.088 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4432 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3523 | 0.12856 | 1.3523 | 0.18182 | 0.13478
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2015-09-03 | ug/L | 1.2735 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.034 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2735 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2735 |  | 1.2735 | 0 | 0
1,1,2-TRICHLOROTRIFLUOROETHANE | 4440 | 77652GCM66 | 2014-07-11 | ug/L | 0.91781 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0438 | 1,1,2-TRICHLOROTRIFLUOROETHANE | . | 0.022 | 0.0402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91781 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91781 |  | 0.91781 | 0 | 0