## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-07-01 | ug/L | 0.81836 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.4008 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81836 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86577 | 0.13489 | 0.81836 | 0.25699 | 0.1905
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2015-01-13 | ug/L | 1.018 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.2004 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.018 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86577 | 0.13489 | 0.81836 | 0.25699 | 0.1905
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2015-04-09 | ug/L | 0.76098 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.4008 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76098 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86577 | 0.13489 | 0.81836 | 0.25699 | 0.1905
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-05-01 | ug/L | 0.81337 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.4008 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81337 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1228 | 0.43753 | 1.1228 | 0.61876 | 0.45868
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-09-09 | ug/L | 1.4321 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.2004 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4321 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1228 | 0.43753 | 1.1228 | 0.61876 | 0.45868
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2015-09-29 | ug/L | 0.86013 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.37785 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86013 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86013 |  | 0.86013 | 0 | 0
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-10-04 | ug/L | 0.92188 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.192 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92187 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89323 | 0.040511 | 0.89323 | 0.057292 | 0.04247
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-11-14 | ug/L | 0.86458 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.384 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86458 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89323 | 0.040511 | 0.89323 | 0.057292 | 0.04247
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-06-10 | ug/L | 0.73958 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.384 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73958 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0078 | 0.37933 | 1.0078 | 0.53646 | 0.39767
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-07-29 | ug/L | 1.276 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.192 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.276 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0078 | 0.37933 | 1.0078 | 0.53646 | 0.39767
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-05-03 | ug/L | 1.0469 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.192 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0469 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0469 |  | 1.0469 | 0 | 0
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-07-23 | ug/L | 0.97305 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.2004 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97305 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.013 | 0.056456 | 1.013 | 0.07984 | 0.059185
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-08-19 | ug/L | 1.0529 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.4008 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0529 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.013 | 0.056456 | 1.013 | 0.07984 | 0.059185
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-11-06 | ug/L | 0.97396 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.192 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97396 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8776 | 0.13627 | 0.8776 | 0.19271 | 0.14285
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2015-03-19 | ug/L | 0.78125 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.384 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8776 | 0.13627 | 0.8776 | 0.19271 | 0.14285
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2015-05-21 | ug/L | 1.0983 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.15114 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0983 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0983 |  | 1.0983 | 0 | 0
1,2,3,4-TETRAMETHYLBENZENE | 4440 | 49999GCM66 | 2014-12-17 | ug/L | 0.86719 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.384 | 1,2,3,4-TETRAMETHYLBENZENE | . | 0.1 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86719 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86719 |  | 0.86719 | 0 | 0