## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-07-01 | ug/L | 1.0195 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.1128 | 1,2-DIBROMOETHANE | . | 0.028 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0195 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.01 | 0.032949 | 1.0195 | 0.06383 | 0.047316
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-01-13 | ug/L | 0.9734 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0564 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9734 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.01 | 0.032949 | 1.0195 | 0.06383 | 0.047316
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-04-09 | ug/L | 1.0372 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.1128 | 1,2-DIBROMOETHANE | . | 0.028 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0372 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.01 | 0.032949 | 1.0195 | 0.06383 | 0.047316
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-05-01 | ug/L | 0.8875 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.112 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0994 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0759 | 0.26643 | 1.0759 | 0.37679 | 0.27931
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-09-09 | ug/L | 1.2643 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.056 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2643 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0759 | 0.26643 | 1.0759 | 0.37679 | 0.27931
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-09-29 | ug/L | 1.0048 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.1045 | 1,2-DIBROMOETHANE | . | 0.028 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0048 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0048 |  | 1.0048 | 0 | 0
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-10-04 | ug/L | 1.016 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0564 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.016 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98227 | 0.047642 | 0.98227 | 0.067376 | 0.049945
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-11-14 | ug/L | 0.94858 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.1128 | 1,2-DIBROMOETHANE | . | 0.028 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94858 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98227 | 0.047642 | 0.98227 | 0.067376 | 0.049945
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-06-10 | ug/L | 0.88482 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.112 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0991 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88482 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97991 | 0.13448 | 0.97991 | 0.19018 | 0.14098
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-07-29 | ug/L | 1.075 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.056 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97991 | 0.13448 | 0.97991 | 0.19018 | 0.14098
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-07-31 | ug/L | 0.83014 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.0418 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83014 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83014 |  | 0.83014 | 0 | 0
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-07-13 | ug/L | 1.219 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.105 | 1,2-DIBROMOETHANE | . | 0.028 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.219 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1984 | 0.029182 | 1.1984 | 0.04127 | 0.030593
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-10-17 | ug/L | 1.1778 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.063 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1778 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1984 | 0.029182 | 1.1984 | 0.04127 | 0.030593
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-08-16 | ug/L | 0.98404 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.1128 | 1,2-DIBROMOETHANE | . | 0.028 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98404 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98404 |  | 0.98404 | 0 | 0
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-10-21 | ug/L | 0.88475 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.0564 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88475 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95656 | 0.10155 | 0.95656 | 0.14362 | 0.10646
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-03-06 | ug/L | 1.0284 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.1128 | 1,2-DIBROMOETHANE | . | 0.028 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0284 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95656 | 0.10155 | 0.95656 | 0.14362 | 0.10646
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-10-16 | ug/L | 1.1069 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0627 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1069 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1069 |  | 1.1069 | 0 | 0
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-06-16 | ug/L | 0.8689 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.1045 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0908 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8689 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94641 | 0.10962 | 0.94641 | 0.15502 | 0.11492
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-06-27 | ug/L | 1.0239 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.0418 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0239 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94641 | 0.10962 | 0.94641 | 0.15502 | 0.11492
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-09-09 | ug/L | 1.1589 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.056 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0649 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1589 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0437 | 0.16289 | 1.0437 | 0.23036 | 0.17076
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-11-22 | ug/L | 0.92857 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.112 | 1,2-DIBROMOETHANE | . | 0.028 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92857 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0437 | 0.16289 | 1.0437 | 0.23036 | 0.17076
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-05-30 | ug/L | 0.81607 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.056 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81607 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90357 | 0.12374 | 0.90357 | 0.175 | 0.12973
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-06-10 | ug/L | 0.99107 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.112 | 1,2-DIBROMOETHANE | . | 0.028 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99107 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90357 | 0.12374 | 0.90357 | 0.175 | 0.12973
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2015-09-03 | ug/L | 1.3238 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.042 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3238 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3238 |  | 1.3238 | 0 | 0
1,2-DIBROMOETHANE | 4440 | 77651GCM66 | 2014-07-11 | ug/L | 0.95213 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0564 | 1,2-DIBROMOETHANE | . | 0.028 | 0.0537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95213 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95213 |  | 0.95213 | 0 | 0