## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | 4440 | 50985GCM66 | 2015-10-16 | ug/L | 0.73851 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0696 | 1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | . | 0.03 | 0.0514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73851 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73851 |  | 0.73851 | 0 | 0
1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | 4440 | 50985GCM66 | 2015-06-16 | ug/L | 1.2174 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.115 | 1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | . | 0.03 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2174 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1609 | 0.079934 | 1.1609 | 0.11304 | 0.083798
1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | 4440 | 50985GCM66 | 2015-06-27 | ug/L | 1.1043 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.046 | 1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | . | 0.03 | 0.0508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1043 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1609 | 0.079934 | 1.1609 | 0.11304 | 0.083798
1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | 4440 | 50985GCM66 | 2015-09-03 | ug/L | 0.84052 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.0464 | 1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | . | 0.03 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84052 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84052 |  | 0.84052 | 0 | 0
1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | 4440 | 50985GCM66 | 2015-05-21 | ug/L | 0.98276 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.0464 | 1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | . | 0.03 | 0.0456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98276 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98276 |  | 0.98276 | 0 | 0
1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | 4440 | 50985GCM66 | 2015-05-09 | ug/L | 0.92385 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.0696 | 1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | . | 0.03 | 0.0643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92385 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92385 |  | 0.92385 | 0 | 0
1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | 4440 | 50985GCM66 | 2015-05-09 | ug/L | 1.4 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.046 | 1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | . | 0.03 | 0.0644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3174 | 0.11683 | 1.3174 | 0.16522 | 0.12247
1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | 4440 | 50985GCM66 | 2015-08-15 | ug/L | 1.2348 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.115 | 1,2-DICHLORO-1,1,2,2-TETRAFLUOROETHANE | . | 0.03 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2348 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3174 | 0.11683 | 1.3174 | 0.16522 | 0.12247