## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-07-01 | ug/L | 1.1422 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12432 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1422 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0489 | 0.10133 | 1.0634 | 0.20109 | 0.14907
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2015-01-13 | ug/L | 1.0634 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.06216 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.0661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0634 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0489 | 0.10133 | 1.0634 | 0.20109 | 0.14907
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2015-04-09 | ug/L | 0.94112 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12432 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94112 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0489 | 0.10133 | 1.0634 | 0.20109 | 0.14907
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-05-01 | ug/L | 1.094 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.12432 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.094 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1414 | 0.067116 | 1.1414 | 0.094916 | 0.070361
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-09-09 | ug/L | 1.1889 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.06216 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.0739 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1889 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1414 | 0.067116 | 1.1414 | 0.094916 | 0.070361
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-10-04 | ug/L | 1.0243 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.07 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.0717 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0243 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99071 | 0.047477 | 0.99071 | 0.067143 | 0.049772
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-11-14 | ug/L | 0.95714 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.14 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95714 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99071 | 0.047477 | 0.99071 | 0.067143 | 0.049772
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-06-10 | ug/L | 0.85714 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.14 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85714 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96214 | 0.14849 | 0.96214 | 0.21 | 0.15567
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-07-29 | ug/L | 1.0671 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.07 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.0747 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0671 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96214 | 0.14849 | 0.96214 | 0.21 | 0.15567
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-05-03 | ug/L | 1.0857 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.07 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0857 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0857 |  | 1.0857 | 0 | 0
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2015-07-13 | ug/L | 0.83077 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.13 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83077 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81474 | 0.022664 | 0.81474 | 0.032051 | 0.023759
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2015-10-17 | ug/L | 0.79872 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.078 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.0623 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79872 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81474 | 0.022664 | 0.81474 | 0.032051 | 0.023759
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2015-09-03 | ug/L | 0.8 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.052 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.0416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-07-23 | ug/L | 1.3851 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.06216 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.0861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3851 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2436 | 0.20021 | 1.2436 | 0.28314 | 0.20989
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-08-19 | ug/L | 1.102 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.12432 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.102 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2436 | 0.20021 | 1.2436 | 0.28314 | 0.20989
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-11-06 | ug/L | 1.0714 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.07 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0714 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0679 | 0.0050508 | 1.0679 | 0.0071429 | 0.0052949
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2015-03-19 | ug/L | 1.0643 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.14 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0643 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0679 | 0.0050508 | 1.0679 | 0.0071429 | 0.0052949
1-CHLORO-1,1-DIFLUOROETHANE | 4440 | 85668GCM66 | 2014-12-17 | ug/L | 0.97857 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.14 | 1-CHLORO-1,1-DIFLUOROETHANE | . | 0.034 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97857 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97857 |  | 0.97857 | 0 | 0