## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-09-29 | ug/L | 0.6031 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.2255 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6031 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6031 |  | 0.6031 | 0 | 0
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-05-03 | ug/L | 0.87209 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.1204 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87209 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87209 |  | 0.87209 | 0 | 0
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-08-07 | ug/L | 0.6541 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.0902 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6541 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6541 |  | 0.6541 | 0 | 0
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-07-13 | ug/L | 0.57778 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.225 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57778 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67037 | 0.13095 | 0.67037 | 0.18519 | 0.13728
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-10-17 | ug/L | 0.76296 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.135 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76296 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67037 | 0.13095 | 0.67037 | 0.18519 | 0.13728
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-08-16 | ug/L | 0.81667 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.24 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81667 |  | 0.81667 | 0 | 0
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-10-21 | ug/L | 0.89701 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.1204 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89701 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75997 | 0.19381 | 0.75997 | 0.27409 | 0.20318
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-03-06 | ug/L | 0.62292 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.2408 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62292 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75997 | 0.19381 | 0.75997 | 0.27409 | 0.20318
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-10-16 | ug/L | 0.71693 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.1353 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71693 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71693 |  | 0.71693 | 0 | 0
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-06-16 | ug/L | 0.57206 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.2255 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57206 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67406 | 0.14424 | 0.67406 | 0.20399 | 0.15122
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-06-27 | ug/L | 0.77605 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.0902 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77605 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67406 | 0.14424 | 0.67406 | 0.20399 | 0.15122
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-09-09 | ug/L | 0.84167 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.12 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84167 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86875 | 0.038302 | 0.86875 | 0.054167 | 0.040153
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-11-22 | ug/L | 0.89583 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.24 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89583 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86875 | 0.038302 | 0.86875 | 0.054167 | 0.040153
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-05-30 | ug/L | 0.67276 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.1204 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67276 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76204 | 0.12627 | 0.76204 | 0.17857 | 0.13237
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-06-10 | ug/L | 0.85133 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.2408 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85133 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76204 | 0.12627 | 0.76204 | 0.17857 | 0.13237
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-09-03 | ug/L | 0.68889 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.09 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68889 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68889 |  | 0.68889 | 0 | 0
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-07-23 | ug/L | 0.93333 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.12 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90833 | 0.035355 | 0.90833 | 0.05 | 0.037064
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-08-19 | ug/L | 0.88333 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.24 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90833 | 0.035355 | 0.90833 | 0.05 | 0.037064
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-11-06 | ug/L | 0.79167 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.12 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85625 | 0.091335 | 0.85625 | 0.12917 | 0.09575
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2015-03-19 | ug/L | 0.92083 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.24 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92083 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85625 | 0.091335 | 0.85625 | 0.12917 | 0.09575
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-07-11 | ug/L | 0.74167 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.12 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74167 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74167 |  | 0.74167 | 0 | 0
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-12-17 | ug/L | 0.73505 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.2408 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73505 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73505 |  | 0.73505 | 0 | 0
2,2-DICHLOROPROPANE | 4440 | 77170GCM66 | 2014-09-21 | ug/L | 0.72259 | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl | 0.2408 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72259 | Supelco LC06438 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72259 |  | 0.72259 | 0 | 0