## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-BUTANONE | 4440 | 81595GCM66 | 2014-07-01 | ug/L | 0.94182 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 6.36 | 2-BUTANONE | . | 1.6 | 5.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94182 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93291 | 0.025563 | 0.94182 | 0.048742 | 0.036132
2-BUTANONE | 4440 | 81595GCM66 | 2015-01-13 | ug/L | 0.95283 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 3.18 | 2-BUTANONE | . | 2 | 3.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95283 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93291 | 0.025563 | 0.94182 | 0.048742 | 0.036132
2-BUTANONE | 4440 | 81595GCM66 | 2015-04-09 | ug/L | 0.90409 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 6.36 | 2-BUTANONE | . | 2 | 5.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90409 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93291 | 0.025563 | 0.94182 | 0.048742 | 0.036132
2-BUTANONE | 4440 | 81595GCM66 | 2014-05-01 | ug/L | 0.89975 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 6.424 | 2-BUTANONE | . | 1.6 | 5.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89975 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0149 | 0.16291 | 1.0149 | 0.23039 | 0.17078
2-BUTANONE | 4440 | 81595GCM66 | 2014-09-09 | ug/L | 1.1301 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 3.212 | 2-BUTANONE | . | 1.6 | 3.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1301 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0149 | 0.16291 | 1.0149 | 0.23039 | 0.17078
2-BUTANONE | 4440 | 81595GCM66 | 2015-09-29 | ug/L | 0.85486 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 7.51 | 2-BUTANONE | . | 2 | 6.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85486 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85486 |  | 0.85486 | 0 | 0
2-BUTANONE | 4440 | 81595GCM66 | 2014-10-04 | ug/L | 0.76415 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 3.18 | 2-BUTANONE | . | 2 | 2.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76415 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83962 | 0.10673 | 0.83962 | 0.15094 | 0.11189
2-BUTANONE | 4440 | 81595GCM66 | 2014-11-14 | ug/L | 0.91509 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 6.36 | 2-BUTANONE | . | 2 | 5.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91509 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83962 | 0.10673 | 0.83962 | 0.15094 | 0.11189
2-BUTANONE | 4440 | 81595GCM66 | 2014-06-10 | ug/L | 1.0803 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 6.424 | 2-BUTANONE | . | 1.6 | 6.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0803 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0087 | 0.10127 | 1.0087 | 0.14321 | 0.10616
2-BUTANONE | 4440 | 81595GCM66 | 2014-07-29 | ug/L | 0.93711 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 3.212 | 2-BUTANONE | . | 1.6 | 3.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93711 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0087 | 0.10127 | 1.0087 | 0.14321 | 0.10616
2-BUTANONE | 4440 | 81595GCM66 | 2015-07-31 | ug/L | 1.0974 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 2.998 | 2-BUTANONE | . | 2 | 3.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0974 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0974 |  | 1.0974 | 0 | 0
2-BUTANONE | 4440 | 81595GCM66 | 2015-07-13 | ug/L | 0.94196 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 7.495 | 2-BUTANONE | . | 2 | 7.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94196 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95575 | 0.019498 | 0.95575 | 0.027574 | 0.02044
2-BUTANONE | 4440 | 81595GCM66 | 2015-10-17 | ug/L | 0.96954 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 4.497 | 2-BUTANONE | . | 2 | 4.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96954 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95575 | 0.019498 | 0.95575 | 0.027574 | 0.02044
2-BUTANONE | 4440 | 81595GCM66 | 2014-08-16 | ug/L | 0.86164 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 6.36 | 2-BUTANONE | . | 1.6 | 5.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86164 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86164 |  | 0.86164 | 0 | 0
2-BUTANONE | 4440 | 81595GCM66 | 2014-10-21 | ug/L | 0.89937 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 3.18 | 2-BUTANONE | . | 2 | 2.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89937 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0204 | 0.17122 | 1.0204 | 0.24214 | 0.17949
2-BUTANONE | 4440 | 81595GCM66 | 2015-03-06 | ug/L | 1.1415 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 6.36 | 2-BUTANONE | . | 2 | 7.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1415 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0204 | 0.17122 | 1.0204 | 0.24214 | 0.17949
2-BUTANONE | 4440 | 81595GCM66 | 2014-09-09 | ug/L | 1.0336 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 3.212 | 2-BUTANONE | . | 1.6 | 3.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0336 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96124 | 0.10237 | 0.96124 | 0.14477 | 0.10732
2-BUTANONE | 4440 | 81595GCM66 | 2014-11-22 | ug/L | 0.88885 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 6.424 | 2-BUTANONE | . | 2 | 5.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88885 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96124 | 0.10237 | 0.96124 | 0.14477 | 0.10732
2-BUTANONE | 4440 | 81595GCM66 | 2014-05-30 | ug/L | 1.1488 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 3.212 | 2-BUTANONE | . | 1.6 | 3.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1488 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1761 | 0.038525 | 1.1761 | 0.054483 | 0.040388
2-BUTANONE | 4440 | 81595GCM66 | 2014-06-10 | ug/L | 1.2033 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 6.424 | 2-BUTANONE | . | 1.6 | 7.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2033 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1761 | 0.038525 | 1.1761 | 0.054483 | 0.040388
2-BUTANONE | 4440 | 81595GCM66 | 2014-07-11 | ug/L | 1.0535 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 3.18 | 2-BUTANONE | . | 1.6 | 3.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0535 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0535 |  | 1.0535 | 0 | 0
2-BUTANONE | 4440 | 81595GCM66 | 2015-05-21 | ug/L | 1.022 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 3.004 | 2-BUTANONE | . | 2 | 3.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.022 |  | 1.022 | 0 | 0
2-BUTANONE | 4440 | 81595GCM66 | 2015-05-09 | ug/L | 1.0607 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 4.497 | 2-BUTANONE | . | 2 | 4.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0607 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0607 |  | 1.0607 | 0 | 0
2-BUTANONE | 4440 | 81595GCM66 | 2015-05-09 | ug/L | 0.87392 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 2.998 | 2-BUTANONE | . | 2 | 2.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87392 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93662 | 0.088683 | 0.93662 | 0.12542 | 0.09297
2-BUTANONE | 4440 | 81595GCM66 | 2015-08-15 | ug/L | 0.99933 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 7.495 | 2-BUTANONE | . | 2 | 7.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99933 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93662 | 0.088683 | 0.93662 | 0.12542 | 0.09297