## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-07-01 | ug/L | 0.7067 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.2448 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7067 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73393 | 0.023936 | 0.74346 | 0.044935 | 0.03331
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-01-13 | ug/L | 0.75163 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1224 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75163 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73393 | 0.023936 | 0.74346 | 0.044935 | 0.03331
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-04-09 | ug/L | 0.74346 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.2448 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74346 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73393 | 0.023936 | 0.74346 | 0.044935 | 0.03331
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-05-01 | ug/L | 0.62083 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.24 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62083 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79375 | 0.24454 | 0.79375 | 0.34583 | 0.25636
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-09-09 | ug/L | 0.96667 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.12 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79375 | 0.24454 | 0.79375 | 0.34583 | 0.25636
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-10-04 | ug/L | 0.80065 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1224 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80065 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74551 | 0.07799 | 0.74551 | 0.11029 | 0.08176
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-11-14 | ug/L | 0.69036 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.2448 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69036 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74551 | 0.07799 | 0.74551 | 0.11029 | 0.08176
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-06-10 | ug/L | 0.67083 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.24 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67083 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73125 | 0.085442 | 0.73125 | 0.12083 | 0.089573
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-07-29 | ug/L | 0.79167 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.12 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73125 | 0.085442 | 0.73125 | 0.12083 | 0.089573
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-08-16 | ug/L | 0.77614 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.2448 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77614 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77614 |  | 0.77614 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-10-21 | ug/L | 0.77614 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.1224 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77614 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77819 | 0.0028885 | 0.77819 | 0.004085 | 0.0030281
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-03-06 | ug/L | 0.78023 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.2448 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78023 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77819 | 0.0028885 | 0.77819 | 0.004085 | 0.0030281
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-10-16 | ug/L | 0.82422 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.1371 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82422 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82422 |  | 0.82422 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-06-16 | ug/L | 0.78222 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.225 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78222 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83 | 0.067568 | 0.83 | 0.095556 | 0.070834
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-06-27 | ug/L | 0.87778 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.09 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87778 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83 | 0.067568 | 0.83 | 0.095556 | 0.070834
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-09-09 | ug/L | 0.95833 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.12 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85833 | 0.14142 | 0.85833 | 0.2 | 0.14826
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-11-22 | ug/L | 0.75833 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.24 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75833 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85833 | 0.14142 | 0.85833 | 0.2 | 0.14826
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-05-30 | ug/L | 0.6 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.12 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67917 | 0.11196 | 0.67917 | 0.15833 | 0.11737
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-06-10 | ug/L | 0.75833 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.24 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75833 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67917 | 0.11196 | 0.67917 | 0.15833 | 0.11737
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-09-03 | ug/L | 0.75492 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.0914 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75492 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75492 |  | 0.75492 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2014-07-11 | ug/L | 0.80882 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1224 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80882 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80882 |  | 0.80882 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-05-21 | ug/L | 0.88621 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.0914 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88621 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88621 |  | 0.88621 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-05-09 | ug/L | 0.8388 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.1371 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8388 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8388 |  | 0.8388 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-05-09 | ug/L | 0.83333 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.09 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87 | 0.051854 | 0.87 | 0.073333 | 0.054361
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 4440 | 77356GCM66 | 2015-08-15 | ug/L | 0.90667 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.225 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87 | 0.051854 | 0.87 | 0.073333 | 0.054361