## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-07-01 | ug/L | 1.0047 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 1.264 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0047 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0812 | 0.14638 | 1.0047 | 0.26108 | 0.19353
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-01-13 | ug/L | 1.25 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.632 | 4-METHYL-2-PENTANONE | . | 2.2 | 0.79 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.25 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 1.0812 | 0.14638 | 1.0047 | 0.26108 | 0.19353
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-04-09 | ug/L | 0.98892 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 1.264 | 4-METHYL-2-PENTANONE | . | 2.2 | 1.25 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.98892 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 1.0812 | 0.14638 | 1.0047 | 0.26108 | 0.19353
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-05-01 | ug/L | 0.875 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 1.28 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0344 | 0.22539 | 1.0344 | 0.31875 | 0.23629
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-09-09 | ug/L | 1.1938 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.64 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1938 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0344 | 0.22539 | 1.0344 | 0.31875 | 0.23629
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-09-29 | ug/L | 0.96372 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 8.27 | 4-METHYL-2-PENTANONE | . | 2.2 | 7.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96372 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96372 |  | 0.96372 | 0 | 0
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-10-04 | ug/L | 1.068 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.632 | 4-METHYL-2-PENTANONE | . | 2.2 | 0.675 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.068 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 1.0403 | 0.039159 | 1.0403 | 0.05538 | 0.041052
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-11-14 | ug/L | 1.0127 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 1.264 | 4-METHYL-2-PENTANONE | . | 2.2 | 1.28 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0127 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 1.0403 | 0.039159 | 1.0403 | 0.05538 | 0.041052
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-06-10 | ug/L | 0.92969 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 1.28 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92969 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0227 | 0.13148 | 1.0227 | 0.18594 | 0.13783
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-07-29 | ug/L | 1.1156 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.64 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1156 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0227 | 0.13148 | 1.0227 | 0.18594 | 0.13783
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-07-31 | ug/L | 0.82313 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 3.268 | 4-METHYL-2-PENTANONE | . | 2.2 | 2.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82313 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82313 |  | 0.82313 | 0 | 0
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-07-13 | ug/L | 0.86781 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 8.17 | 4-METHYL-2-PENTANONE | . | 2.2 | 7.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86781 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90412 | 0.051353 | 0.90412 | 0.072623 | 0.053835
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-10-17 | ug/L | 0.94043 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 4.902 | 4-METHYL-2-PENTANONE | . | 2.2 | 4.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94043 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90412 | 0.051353 | 0.90412 | 0.072623 | 0.053835
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-08-16 | ug/L | 1.0364 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 1.264 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0364 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0364 |  | 1.0364 | 0 | 0
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-10-21 | ug/L | 1.0918 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.632 | 4-METHYL-2-PENTANONE | . | 2.2 | 0.69 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0918 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 1.0759 | 0.022377 | 1.0759 | 0.031646 | 0.023459
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-03-06 | ug/L | 1.0601 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 1.264 | 4-METHYL-2-PENTANONE | . | 2.2 | 1.34 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0601 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 1.0759 | 0.022377 | 1.0759 | 0.031646 | 0.023459
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-09-09 | ug/L | 1.1406 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.64 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1406 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0391 | 0.14363 | 1.0391 | 0.20312 | 0.15057
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-11-22 | ug/L | 0.9375 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 1.28 | 4-METHYL-2-PENTANONE | . | 2.2 | 1.2 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.9375 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 1 | [5 empty] | 2 | 1.0391 | 0.14363 | 1.0391 | 0.20312 | 0.15057
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-05-30 | ug/L | 0.82188 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.64 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82188 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91094 | 0.12595 | 0.91094 | 0.17812 | 0.13204
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-06-10 | ug/L | 1 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 1.28 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91094 | 0.12595 | 0.91094 | 0.17812 | 0.13204
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2014-07-11 | ug/L | 1.057 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.632 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.668 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.057 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.057 |  | 1.057 | 0 | 0
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-05-21 | ug/L | 0.89782 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 3.308 | 4-METHYL-2-PENTANONE | . | 2.2 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89782 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89782 |  | 0.89782 | 0 | 0
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-05-09 | ug/L | 0.89147 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 4.902 | 4-METHYL-2-PENTANONE | . | 2.2 | 4.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89147 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89147 |  | 0.89147 | 0 | 0
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-05-09 | ug/L | 0.83537 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 3.268 | 4-METHYL-2-PENTANONE | . | 2.2 | 2.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83537 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91157 | 0.10775 | 0.91157 | 0.15239 | 0.11296
4-METHYL-2-PENTANONE | 4440 | 78133GCM66 | 2015-08-15 | ug/L | 0.98776 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 8.17 | 4-METHYL-2-PENTANONE | . | 2.2 | 8.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98776 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91157 | 0.10775 | 0.91157 | 0.15239 | 0.11296