## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-07-01 | ug/L | 1.0938 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0938 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0382 | 0.078874 | 1.0729 | 0.14583 | 0.1081
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-01-13 | ug/L | 1.0729 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.96 | ACRYLONITRILE | . | 0.48 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0729 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0382 | 0.078874 | 1.0729 | 0.14583 | 0.1081
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-04-09 | ug/L | 0.94792 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94792 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0382 | 0.078874 | 1.0729 | 0.14583 | 0.1081
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-05-01 | ug/L | 0.95312 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 1.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95313 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0495 | 0.13627 | 1.0495 | 0.19271 | 0.14285
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-09-09 | ug/L | 1.1458 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.96 | ACRYLONITRILE | . | 0.48 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1458 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0495 | 0.13627 | 1.0495 | 0.19271 | 0.14285
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-10-04 | ug/L | 1.0521 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.96 | ACRYLONITRILE | . | 0.48 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0521 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0495 | 0.0036828 | 1.0495 | 0.0052083 | 0.0038609
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-11-14 | ug/L | 1.0469 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0469 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0495 | 0.0036828 | 1.0495 | 0.0052083 | 0.0038609
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-06-10 | ug/L | 0.94271 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94271 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95937 | 0.02357 | 0.95937 | 0.033333 | 0.02471
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-07-29 | ug/L | 0.97604 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.96 | ACRYLONITRILE | . | 0.48 | 0.937 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97604 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95937 | 0.02357 | 0.95937 | 0.033333 | 0.02471
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-08-16 | ug/L | 1.0885 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0885 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0885 |  | 1.0885 | 0 | 0
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-10-21 | ug/L | 1.0156 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.96 | ACRYLONITRILE | . | 0.48 | 0.975 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1198 | 0.14731 | 1.1198 | 0.20833 | 0.15444
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-03-06 | ug/L | 1.224 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.224 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1198 | 0.14731 | 1.1198 | 0.20833 | 0.15444
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-10-16 | ug/L | 1.044 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 1.092 | ACRYLONITRILE | . | 0.48 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.044 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.044 |  | 1.044 | 0 | 0
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-06-16 | ug/L | 0.8331 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 1.8005 | ACRYLONITRILE | . | 0.48 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8331 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98584 | 0.216 | 0.98584 | 0.30547 | 0.22644
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-06-27 | ug/L | 1.1386 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.7202 | ACRYLONITRILE | . | 0.48 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1386 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98584 | 0.216 | 0.98584 | 0.30547 | 0.22644
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-09-09 | ug/L | 1.1667 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.96 | ACRYLONITRILE | . | 0.48 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0755 | 0.1289 | 1.0755 | 0.18229 | 0.13513
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-11-22 | ug/L | 0.98437 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98438 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0755 | 0.1289 | 1.0755 | 0.18229 | 0.13513
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-05-30 | ug/L | 1.0521 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.96 | ACRYLONITRILE | . | 0.48 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0521 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0859 | 0.047877 | 1.0859 | 0.067708 | 0.050191
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-06-10 | ug/L | 1.1198 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 1.92 | ACRYLONITRILE | . | 0.48 | 2.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1198 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0859 | 0.047877 | 1.0859 | 0.067708 | 0.050191
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-09-03 | ug/L | 0.8283 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.728 | ACRYLONITRILE | . | 0.48 | 0.603 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8283 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8283 |  | 0.8283 | 0 | 0
ACRYLONITRILE | 4440 | 34215GCM66 | 2014-07-11 | ug/L | 1.125 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.96 | ACRYLONITRILE | . | 0.48 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.125 |  | 1.125 | 0 | 0
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-05-21 | ug/L | 1.2253 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.728 | ACRYLONITRILE | . | 0.48 | 0.892 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2253 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2253 |  | 1.2253 | 0 | 0
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-05-09 | ug/L | 1.1081 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 1.092 | ACRYLONITRILE | . | 0.48 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1081 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1081 |  | 1.1081 | 0 | 0
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-05-09 | ug/L | 1.0455 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.7202 | ACRYLONITRILE | . | 0.48 | 0.753 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99209 | 0.0756 | 0.99209 | 0.10691 | 0.079255
ACRYLONITRILE | 4440 | 34215GCM66 | 2015-08-15 | ug/L | 0.93863 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 1.8005 | ACRYLONITRILE | . | 0.48 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93863 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99209 | 0.0756 | 0.99209 | 0.10691 | 0.079255