## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMOBENZENE | 4440 | 81555GCM66 | 2015-09-29 | ug/L | 0.91949 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.0857 | BROMOBENZENE | . | 0.022 | 0.0788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91949 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91949 |  | 0.91949 | 0 | 0
BROMOBENZENE | 4440 | 81555GCM66 | 2014-05-03 | ug/L | 1.0295 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.044 | BROMOBENZENE | . | 0.022 | 0.0453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0295 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0295 |  | 1.0295 | 0 | 0
BROMOBENZENE | 4440 | 81555GCM66 | 2015-07-31 | ug/L | 0.88824 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.034 | BROMOBENZENE | . | 0.022 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88824 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88824 |  | 0.88824 | 0 | 0
BROMOBENZENE | 4440 | 81555GCM66 | 2015-07-13 | ug/L | 0.94 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.085 | BROMOBENZENE | . | 0.022 | 0.0799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91608 | 0.03383 | 0.91608 | 0.047843 | 0.035466
BROMOBENZENE | 4440 | 81555GCM66 | 2015-10-17 | ug/L | 0.89216 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.051 | BROMOBENZENE | . | 0.022 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89216 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91608 | 0.03383 | 0.91608 | 0.047843 | 0.035466
BROMOBENZENE | 4440 | 81555GCM66 | 2014-08-16 | ug/L | 0.88068 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.088 | BROMOBENZENE | . | 0.022 | 0.0775 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88068 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88068 |  | 0.88068 | 0 | 0
BROMOBENZENE | 4440 | 81555GCM66 | 2014-10-21 | ug/L | 1 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.044 | BROMOBENZENE | . | 0.022 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97557 | 0.034552 | 0.97557 | 0.048864 | 0.036222
BROMOBENZENE | 4440 | 81555GCM66 | 2015-03-06 | ug/L | 0.95114 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.088 | BROMOBENZENE | . | 0.022 | 0.0837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95114 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97557 | 0.034552 | 0.97557 | 0.048864 | 0.036222
BROMOBENZENE | 4440 | 81555GCM66 | 2014-09-09 | ug/L | 1.0523 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.044 | BROMOBENZENE | . | 0.022 | 0.0463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0523 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0165 | 0.050622 | 1.0165 | 0.071591 | 0.05307
BROMOBENZENE | 4440 | 81555GCM66 | 2014-11-22 | ug/L | 0.98068 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.088 | BROMOBENZENE | . | 0.022 | 0.0863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98068 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0165 | 0.050622 | 1.0165 | 0.071591 | 0.05307
BROMOBENZENE | 4440 | 81555GCM66 | 2014-05-30 | ug/L | 0.93182 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.044 | BROMOBENZENE | . | 0.022 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93182 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92727 | 0.0064282 | 0.92727 | 0.0090909 | 0.006739
BROMOBENZENE | 4440 | 81555GCM66 | 2014-06-10 | ug/L | 0.92273 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.088 | BROMOBENZENE | . | 0.022 | 0.0812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92273 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92727 | 0.0064282 | 0.92727 | 0.0090909 | 0.006739
BROMOBENZENE | 4440 | 81555GCM66 | 2014-07-23 | ug/L | 0.93864 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.044 | BROMOBENZENE | . | 0.022 | 0.0413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93864 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95227 | 0.019285 | 0.95227 | 0.027273 | 0.020217
BROMOBENZENE | 4440 | 81555GCM66 | 2014-08-19 | ug/L | 0.96591 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.088 | BROMOBENZENE | . | 0.022 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96591 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95227 | 0.019285 | 0.95227 | 0.027273 | 0.020217
BROMOBENZENE | 4440 | 81555GCM66 | 2014-11-06 | ug/L | 1.0455 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.044 | BROMOBENZENE | . | 0.022 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.033 | 0.017678 | 1.033 | 0.025 | 0.018532
BROMOBENZENE | 4440 | 81555GCM66 | 2015-03-19 | ug/L | 1.0205 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.088 | BROMOBENZENE | . | 0.022 | 0.0898 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0205 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.033 | 0.017678 | 1.033 | 0.025 | 0.018532
BROMOBENZENE | 4440 | 81555GCM66 | 2014-07-11 | ug/L | 0.89545 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.044 | BROMOBENZENE | . | 0.022 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89545 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89545 |  | 0.89545 | 0 | 0
BROMOBENZENE | 4440 | 81555GCM66 | 2015-05-21 | ug/L | 1.1989 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.03428 | BROMOBENZENE | . | 0.022 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1989 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1989 |  | 1.1989 | 0 | 0
BROMOBENZENE | 4440 | 81555GCM66 | 2015-05-09 | ug/L | 0.95686 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.051 | BROMOBENZENE | . | 0.022 | 0.0488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95686 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95686 |  | 0.95686 | 0 | 0
BROMOBENZENE | 4440 | 81555GCM66 | 2014-12-17 | ug/L | 1.0307 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.088 | BROMOBENZENE | . | 0.022 | 0.0907 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0307 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0307 |  | 1.0307 | 0 | 0
BROMOBENZENE | 4440 | 81555GCM66 | 2015-05-09 | ug/L | 0.96471 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.034 | BROMOBENZENE | . | 0.022 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96471 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97235 | 0.010815 | 0.97235 | 0.015294 | 0.011337
BROMOBENZENE | 4440 | 81555GCM66 | 2015-08-15 | ug/L | 0.98 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.085 | BROMOBENZENE | . | 0.022 | 0.0833 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97235 | 0.010815 | 0.97235 | 0.015294 | 0.011337
BROMOBENZENE | 4440 | 81555GCM66 | 2014-09-21 | ug/L | 0.98068 | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl | 0.088 | BROMOBENZENE | . | 0.022 | 0.0863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98068 | Supelco LC06438 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98068 |  | 0.98068 | 0 | 0