## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-07-01 | ug/L | 1.0089 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.1348 | BROMODICHLOROMETHANE | . | 0.034 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0089 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97181 | 0.07745 | 1.0089 | 0.14095 | 0.10448
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-01-13 | ug/L | 0.88279 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0674 | BROMODICHLOROMETHANE | . | 0.034 | 0.0595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88279 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97181 | 0.07745 | 1.0089 | 0.14095 | 0.10448
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-04-09 | ug/L | 1.0237 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.1348 | BROMODICHLOROMETHANE | . | 0.034 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0237 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97181 | 0.07745 | 1.0089 | 0.14095 | 0.10448
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-05-01 | ug/L | 1.1176 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.136 | BROMODICHLOROMETHANE | . | 0.034 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1176 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1279 | 0.014558 | 1.1279 | 0.020588 | 0.015262
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-09-09 | ug/L | 1.1382 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.068 | BROMODICHLOROMETHANE | . | 0.034 | 0.0774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1382 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1279 | 0.014558 | 1.1279 | 0.020588 | 0.015262
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-10-04 | ug/L | 0.9362 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0674 | BROMODICHLOROMETHANE | . | 0.034 | 0.0631 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9362 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9132 | 0.032523 | 0.9132 | 0.045994 | 0.034095
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-11-14 | ug/L | 0.89021 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.1348 | BROMODICHLOROMETHANE | . | 0.034 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89021 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9132 | 0.032523 | 0.9132 | 0.045994 | 0.034095
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-06-10 | ug/L | 1.0735 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.136 | BROMODICHLOROMETHANE | . | 0.034 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0735 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1397 | 0.093588 | 1.1397 | 0.13235 | 0.098112
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-07-29 | ug/L | 1.2059 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.068 | BROMODICHLOROMETHANE | . | 0.034 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2059 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1397 | 0.093588 | 1.1397 | 0.13235 | 0.098112
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-08-16 | ug/L | 0.97923 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.1348 | BROMODICHLOROMETHANE | . | 0.034 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97923 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97923 |  | 0.97923 | 0 | 0
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-10-21 | ug/L | 0.90356 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.0674 | BROMODICHLOROMETHANE | . | 0.034 | 0.0609 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90356 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92285 | 0.027277 | 0.92285 | 0.038576 | 0.028596
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-03-06 | ug/L | 0.94214 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.1348 | BROMODICHLOROMETHANE | . | 0.034 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94214 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92285 | 0.027277 | 0.92285 | 0.038576 | 0.028596
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-10-16 | ug/L | 1.1846 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.078 | BROMODICHLOROMETHANE | . | 0.034 | 0.0924 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1846 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1846 |  | 1.1846 | 0 | 0
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-06-16 | ug/L | 0.89231 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.13 | BROMODICHLOROMETHANE | . | 0.034 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89231 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94519 | 0.07479 | 0.94519 | 0.10577 | 0.078406
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-06-27 | ug/L | 0.99808 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.052 | BROMODICHLOROMETHANE | . | 0.034 | 0.0519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99808 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94519 | 0.07479 | 0.94519 | 0.10577 | 0.078406
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-09-09 | ug/L | 1.0162 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.068 | BROMODICHLOROMETHANE | . | 0.034 | 0.0691 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0162 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0118 | 0.0062392 | 1.0118 | 0.0088235 | 0.0065408
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-11-22 | ug/L | 1.0074 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.136 | BROMODICHLOROMETHANE | . | 0.034 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0074 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0118 | 0.0062392 | 1.0118 | 0.0088235 | 0.0065408
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-05-30 | ug/L | 1.2735 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.068 | BROMODICHLOROMETHANE | . | 0.034 | 0.0866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2735 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1919 | 0.11542 | 1.1919 | 0.16324 | 0.121
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-06-10 | ug/L | 1.1103 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.136 | BROMODICHLOROMETHANE | . | 0.034 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1103 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1919 | 0.11542 | 1.1919 | 0.16324 | 0.121
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-09-03 | ug/L | 1.0712 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.052 | BROMODICHLOROMETHANE | . | 0.034 | 0.0557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0712 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0712 |  | 1.0712 | 0 | 0
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2014-07-11 | ug/L | 1.0401 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0674 | BROMODICHLOROMETHANE | . | 0.034 | 0.0701 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0401 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0401 |  | 1.0401 | 0 | 0
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-05-21 | ug/L | 1.1096 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.052 | BROMODICHLOROMETHANE | . | 0.034 | 0.0577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1096 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1096 |  | 1.1096 | 0 | 0
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-05-09 | ug/L | 1.1205 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.078 | BROMODICHLOROMETHANE | . | 0.034 | 0.0874 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1205 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1205 |  | 1.1205 | 0 | 0
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-05-09 | ug/L | 0.99615 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.052 | BROMODICHLOROMETHANE | . | 0.034 | 0.0518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99615 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0019 | 0.0081589 | 1.0019 | 0.011538 | 0.0085533
BROMODICHLOROMETHANE | 4440 | 32101GCM66 | 2015-08-15 | ug/L | 1.0077 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.13 | BROMODICHLOROMETHANE | . | 0.034 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0077 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0019 | 0.0081589 | 1.0019 | 0.011538 | 0.0085533