## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMOFORM | 4440 | 32104GCM66 | 2014-07-01 | ug/L | 1.0743 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.3984 | BROMOFORM | . | 0.1 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0743 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97808 | 0.091963 | 0.96888 | 0.18323 | 0.13583
BROMOFORM | 4440 | 32104GCM66 | 2015-01-13 | ug/L | 0.96888 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1992 | BROMOFORM | . | 0.1 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96888 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97808 | 0.091963 | 0.96888 | 0.18323 | 0.13583
BROMOFORM | 4440 | 32104GCM66 | 2015-04-09 | ug/L | 0.89106 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.3984 | BROMOFORM | . | 0.1 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89106 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97808 | 0.091963 | 0.96888 | 0.18323 | 0.13583
BROMOFORM | 4440 | 32104GCM66 | 2014-05-01 | ug/L | 0.8875 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.4 | BROMOFORM | . | 0.1 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92875 | 0.058336 | 0.92875 | 0.0825 | 0.061156
BROMOFORM | 4440 | 32104GCM66 | 2014-09-09 | ug/L | 0.97 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.2 | BROMOFORM | . | 0.1 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92875 | 0.058336 | 0.92875 | 0.0825 | 0.061156
BROMOFORM | 4440 | 32104GCM66 | 2015-09-29 | ug/L | 0.82181 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.376 | BROMOFORM | . | 0.1 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82181 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82181 |  | 0.82181 | 0 | 0
BROMOFORM | 4440 | 32104GCM66 | 2014-10-04 | ug/L | 0.95884 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1992 | BROMOFORM | . | 0.1 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95884 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95633 | 0.0035497 | 0.95633 | 0.0050201 | 0.0037213
BROMOFORM | 4440 | 32104GCM66 | 2014-11-14 | ug/L | 0.95382 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.3984 | BROMOFORM | . | 0.1 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95382 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95633 | 0.0035497 | 0.95633 | 0.0050201 | 0.0037213
BROMOFORM | 4440 | 32104GCM66 | 2014-06-10 | ug/L | 0.835 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.4 | BROMOFORM | . | 0.1 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95 | 0.16263 | 0.95 | 0.23 | 0.1705
BROMOFORM | 4440 | 32104GCM66 | 2014-07-29 | ug/L | 1.065 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.2 | BROMOFORM | . | 0.1 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95 | 0.16263 | 0.95 | 0.23 | 0.1705
BROMOFORM | 4440 | 32104GCM66 | 2015-08-07 | ug/L | 0.79122 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.1504 | BROMOFORM | . | 0.1 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79122 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79122 |  | 0.79122 | 0 | 0
BROMOFORM | 4440 | 32104GCM66 | 2015-07-13 | ug/L | 0.98933 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.375 | BROMOFORM | . | 0.1 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98933 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.968 | 0.03017 | 0.968 | 0.042667 | 0.031628
BROMOFORM | 4440 | 32104GCM66 | 2015-10-17 | ug/L | 0.94667 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.225 | BROMOFORM | . | 0.1 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.968 | 0.03017 | 0.968 | 0.042667 | 0.031628
BROMOFORM | 4440 | 32104GCM66 | 2014-08-16 | ug/L | 0.96888 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.3984 | BROMOFORM | . | 0.1 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96888 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96888 |  | 0.96888 | 0 | 0
BROMOFORM | 4440 | 32104GCM66 | 2014-10-21 | ug/L | 0.93876 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.1992 | BROMOFORM | . | 0.1 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93876 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96386 | 0.035497 | 0.96386 | 0.050201 | 0.037213
BROMOFORM | 4440 | 32104GCM66 | 2015-03-06 | ug/L | 0.98896 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.3984 | BROMOFORM | . | 0.1 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98896 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96386 | 0.035497 | 0.96386 | 0.050201 | 0.037213
BROMOFORM | 4440 | 32104GCM66 | 2015-10-16 | ug/L | 0.93528 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.2256 | BROMOFORM | . | 0.1 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93528 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93528 |  | 0.93528 | 0 | 0
BROMOFORM | 4440 | 32104GCM66 | 2015-06-16 | ug/L | 0.8617 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.376 | BROMOFORM | . | 0.1 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8617 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90293 | 0.058299 | 0.90293 | 0.082447 | 0.061117
BROMOFORM | 4440 | 32104GCM66 | 2015-06-27 | ug/L | 0.94415 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.1504 | BROMOFORM | . | 0.1 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94415 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90293 | 0.058299 | 0.90293 | 0.082447 | 0.061117
BROMOFORM | 4440 | 32104GCM66 | 2014-09-09 | ug/L | 1.02 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.2 | BROMOFORM | . | 0.1 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9975 | 0.03182 | 0.9975 | 0.045 | 0.033358
BROMOFORM | 4440 | 32104GCM66 | 2014-11-22 | ug/L | 0.975 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.4 | BROMOFORM | . | 0.1 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9975 | 0.03182 | 0.9975 | 0.045 | 0.033358
BROMOFORM | 4440 | 32104GCM66 | 2014-05-30 | ug/L | 1.005 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.2 | BROMOFORM | . | 0.1 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97 | 0.049497 | 0.97 | 0.07 | 0.05189
BROMOFORM | 4440 | 32104GCM66 | 2014-06-10 | ug/L | 0.935 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.4 | BROMOFORM | . | 0.1 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97 | 0.049497 | 0.97 | 0.07 | 0.05189
BROMOFORM | 4440 | 32104GCM66 | 2015-09-03 | ug/L | 1.0933 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.15 | BROMOFORM | . | 0.1 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0933 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0933 |  | 1.0933 | 0 | 0
BROMOFORM | 4440 | 32104GCM66 | 2014-07-11 | ug/L | 0.96386 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1992 | BROMOFORM | . | 0.1 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96386 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96386 |  | 0.96386 | 0 | 0