## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTANE | 4440 | 81563GCM66 | 2015-09-29 | ug/L | 0.56126 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.14325 | BUTANE | . | 0.038 | 0.0804 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56126 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56126 |  | 0.56126 | 0 | 0
BUTANE | 4440 | 81563GCM66 | 2015-07-31 | ug/L | 1.0431 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.058 | BUTANE | . | 0.038 | 0.0605 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0431 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0431 |  | 1.0431 | 0 | 0
BUTANE | 4440 | 81563GCM66 | 2015-07-13 | ug/L | 0.88276 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.145 | BUTANE | . | 0.038 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88276 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82529 | 0.081277 | 0.82529 | 0.11494 | 0.085206
BUTANE | 4440 | 81563GCM66 | 2015-10-17 | ug/L | 0.76782 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.087 | BUTANE | . | 0.038 | 0.0668 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76782 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82529 | 0.081277 | 0.82529 | 0.11494 | 0.085206
BUTANE | 4440 | 81563GCM66 | 2015-05-21 | ug/L | 0.57592 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.0573 | BUTANE | . | 0.038 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57592 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57592 |  | 0.57592 | 0 | 0
BUTANE | 4440 | 81563GCM66 | 2015-05-09 | ug/L | 0.96092 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.087 | BUTANE | . | 0.038 | 0.0836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96092 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96092 |  | 0.96092 | 0 | 0
BUTANE | 4440 | 81563GCM66 | 2015-05-09 | ug/L | 0.95 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.058 | BUTANE | . | 0.038 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98879 | 0.054862 | 0.98879 | 0.077586 | 0.057514
BUTANE | 4440 | 81563GCM66 | 2015-08-15 | ug/L | 1.0276 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.145 | BUTANE | . | 0.038 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0276 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98879 | 0.054862 | 0.98879 | 0.077586 | 0.057514