## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-07-01 | ug/L | 0.81374 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.3232 | BUTYLBENZENE | . | 0.08 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81374 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78486 | 0.037428 | 0.79827 | 0.071163 | 0.052753
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-01-13 | ug/L | 0.74257 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1616 | BUTYLBENZENE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74257 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78486 | 0.037428 | 0.79827 | 0.071163 | 0.052753
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-04-09 | ug/L | 0.79827 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.3232 | BUTYLBENZENE | . | 0.08 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79827 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78486 | 0.037428 | 0.79827 | 0.071163 | 0.052753
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-05-01 | ug/L | 0.6375 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.32 | BUTYLBENZENE | . | 0.08 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6375 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78437 | 0.20771 | 0.78437 | 0.29375 | 0.21775
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-09-09 | ug/L | 0.93125 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.16 | BUTYLBENZENE | . | 0.08 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78437 | 0.20771 | 0.78437 | 0.29375 | 0.21775
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-10-04 | ug/L | 0.74257 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1616 | BUTYLBENZENE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74257 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71318 | 0.041569 | 0.71318 | 0.058787 | 0.043578
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-11-14 | ug/L | 0.68379 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.3232 | BUTYLBENZENE | . | 0.08 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68379 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71318 | 0.041569 | 0.71318 | 0.058787 | 0.043578
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-06-10 | ug/L | 0.6625 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.32 | BUTYLBENZENE | . | 0.08 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70625 | 0.061872 | 0.70625 | 0.0875 | 0.064863
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-07-29 | ug/L | 0.75 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.16 | BUTYLBENZENE | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70625 | 0.061872 | 0.70625 | 0.0875 | 0.064863
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-08-16 | ug/L | 0.71163 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.3232 | BUTYLBENZENE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71163 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71163 |  | 0.71163 | 0 | 0
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-10-21 | ug/L | 0.74876 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.1616 | BUTYLBENZENE | . | 0.08 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74876 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75959 | 0.015315 | 0.75959 | 0.021658 | 0.016055
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-03-06 | ug/L | 0.77042 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.3232 | BUTYLBENZENE | . | 0.08 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77042 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75959 | 0.015315 | 0.75959 | 0.021658 | 0.016055
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-10-16 | ug/L | 0.85 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.18 | BUTYLBENZENE | . | 0.08 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85 |  | 0.85 | 0 | 0
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-06-16 | ug/L | 0.84333 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.3 | BUTYLBENZENE | . | 0.08 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84333 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83 | 0.018856 | 0.83 | 0.026667 | 0.019768
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-06-27 | ug/L | 0.81667 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.12 | BUTYLBENZENE | . | 0.08 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83 | 0.018856 | 0.83 | 0.026667 | 0.019768
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-09-09 | ug/L | 0.9125 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.16 | BUTYLBENZENE | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83125 | 0.1149 | 0.83125 | 0.1625 | 0.12046
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-11-22 | ug/L | 0.75 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.32 | BUTYLBENZENE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83125 | 0.1149 | 0.83125 | 0.1625 | 0.12046
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-05-30 | ug/L | 0.59375 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.16 | BUTYLBENZENE | . | 0.08 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59375 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68594 | 0.13037 | 0.68594 | 0.18437 | 0.13668
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-06-10 | ug/L | 0.77812 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.32 | BUTYLBENZENE | . | 0.08 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77812 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.68594 | 0.13037 | 0.68594 | 0.18437 | 0.13668
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-09-03 | ug/L | 0.75833 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.12 | BUTYLBENZENE | . | 0.08 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75833 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75833 |  | 0.75833 | 0 | 0
BUTYLBENZENE | 4440 | 77342GCM66 | 2014-07-11 | ug/L | 0.77351 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.1616 | BUTYLBENZENE | . | 0.08 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77351 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77351 |  | 0.77351 | 0 | 0
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-05-21 | ug/L | 0.81667 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.12 | BUTYLBENZENE | . | 0.08 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81667 |  | 0.81667 | 0 | 0
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-05-09 | ug/L | 0.81667 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.18 | BUTYLBENZENE | . | 0.08 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81667 |  | 0.81667 | 0 | 0
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-05-09 | ug/L | 0.80833 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.12 | BUTYLBENZENE | . | 0.08 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80833 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8575 | 0.069532 | 0.8575 | 0.098333 | 0.072894
BUTYLBENZENE | 4440 | 77342GCM66 | 2015-08-15 | ug/L | 0.90667 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.3 | BUTYLBENZENE | . | 0.08 | 0.272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8575 | 0.069532 | 0.8575 | 0.098333 | 0.072894