## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLOROFORM | 4440 | 32106GCM66 | 2015-09-29 | ug/L | 1.0458 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.1157 | CHLOROFORM | . | 0.03 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0458 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0458 |  | 1.0458 | 0 | 0
CHLOROFORM | 4440 | 32106GCM66 | 2014-05-03 | ug/L | 1.065 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.06 | CHLOROFORM | . | 0.03 | 0.0639 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.065 |  | 1.065 | 0 | 0
CHLOROFORM | 4440 | 32106GCM66 | 2015-07-31 | ug/L | 0.96522 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.046 | CHLOROFORM | . | 0.03 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96522 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96522 |  | 0.96522 | 0 | 0
CHLOROFORM | 4440 | 32106GCM66 | 2015-07-13 | ug/L | 1.0783 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.115 | CHLOROFORM | . | 0.03 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0783 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0261 | 0.073785 | 1.0261 | 0.10435 | 0.077352
CHLOROFORM | 4440 | 32106GCM66 | 2015-10-17 | ug/L | 0.97391 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.069 | CHLOROFORM | . | 0.03 | 0.0672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97391 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0261 | 0.073785 | 1.0261 | 0.10435 | 0.077352
CHLOROFORM | 4440 | 32106GCM66 | 2014-08-16 | ug/L | 1.275 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.12 | CHLOROFORM | . | 0.03 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.275 |  | 1.275 | 0 | 0
CHLOROFORM | 4440 | 32106GCM66 | 2014-10-21 | ug/L | 0.97333 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.06 | CHLOROFORM | . | 0.03 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97 | 0.004714 | 0.97 | 0.0066667 | 0.0049419
CHLOROFORM | 4440 | 32106GCM66 | 2015-03-06 | ug/L | 0.96667 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.12 | CHLOROFORM | . | 0.03 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97 | 0.004714 | 0.97 | 0.0066667 | 0.0049419
CHLOROFORM | 4440 | 32106GCM66 | 2014-09-09 | ug/L | 1.2767 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.06 | CHLOROFORM | . | 0.03 | 0.0766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2767 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2717 | 0.0070711 | 1.2717 | 0.01 | 0.0074129
CHLOROFORM | 4440 | 32106GCM66 | 2014-11-22 | ug/L | 1.2667 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.12 | CHLOROFORM | . | 0.03 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2667 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2717 | 0.0070711 | 1.2717 | 0.01 | 0.0074129
CHLOROFORM | 4440 | 32106GCM66 | 2014-05-30 | ug/L | 0.985 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.06 | CHLOROFORM | . | 0.03 | 0.0591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.985 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.005 | 0.028284 | 1.005 | 0.04 | 0.029652
CHLOROFORM | 4440 | 32106GCM66 | 2014-06-10 | ug/L | 1.025 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.12 | CHLOROFORM | . | 0.03 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.005 | 0.028284 | 1.005 | 0.04 | 0.029652
CHLOROFORM | 4440 | 32106GCM66 | 2014-07-23 | ug/L | 1.3667 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.06 | CHLOROFORM | . | 0.03 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3667 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3208 | 0.064818 | 1.3208 | 0.091667 | 0.067952
CHLOROFORM | 4440 | 32106GCM66 | 2014-08-19 | ug/L | 1.275 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.12 | CHLOROFORM | . | 0.03 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3208 | 0.064818 | 1.3208 | 0.091667 | 0.067952
CHLOROFORM | 4440 | 32106GCM66 | 2014-11-06 | ug/L | 1.29 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.06 | CHLOROFORM | . | 0.03 | 0.0774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.29 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2992 | 0.012964 | 1.2992 | 0.018333 | 0.01359
CHLOROFORM | 4440 | 32106GCM66 | 2015-03-19 | ug/L | 1.3083 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.12 | CHLOROFORM | . | 0.03 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3083 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2992 | 0.012964 | 1.2992 | 0.018333 | 0.01359
CHLOROFORM | 4440 | 32106GCM66 | 2014-07-11 | ug/L | 1.2467 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.06 | CHLOROFORM | . | 0.03 | 0.0748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2467 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2467 |  | 1.2467 | 0 | 0
CHLOROFORM | 4440 | 32106GCM66 | 2015-05-21 | ug/L | 1.0458 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.04628 | CHLOROFORM | . | 0.03 | 0.0484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0458 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0458 |  | 1.0458 | 0 | 0
CHLOROFORM | 4440 | 32106GCM66 | 2015-05-09 | ug/L | 1.0667 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.069 | CHLOROFORM | . | 0.03 | 0.0736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0667 |  | 1.0667 | 0 | 0
CHLOROFORM | 4440 | 32106GCM66 | 2014-12-17 | ug/L | 0.95 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.12 | CHLOROFORM | . | 0.03 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95 |  | 0.95 | 0 | 0
CHLOROFORM | 4440 | 32106GCM66 | 2015-05-09 | ug/L | 1.0283 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.046 | CHLOROFORM | . | 0.03 | 0.0473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0283 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0663 | 0.053802 | 1.0663 | 0.076087 | 0.056402
CHLOROFORM | 4440 | 32106GCM66 | 2015-08-15 | ug/L | 1.1043 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.115 | CHLOROFORM | . | 0.03 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1043 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0663 | 0.053802 | 1.0663 | 0.076087 | 0.056402
CHLOROFORM | 4440 | 32106GCM66 | 2014-09-21 | ug/L | 0.93333 | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl | 0.12 | CHLOROFORM | . | 0.03 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | Supelco LC06438 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93333 |  | 0.93333 | 0 | 0