## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-09-29 | ug/L | 0.97095 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.1205 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97095 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97095 |  | 0.97095 | 0 | 0
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-05-03 | ug/L | 0.97969 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.064 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97969 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97969 |  | 0.97969 | 0 | 0
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-08-07 | ug/L | 1.1577 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.0482 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1577 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1577 |  | 1.1577 | 0 | 0
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-07-13 | ug/L | 0.85 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.12 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83056 | 0.027499 | 0.83056 | 0.038889 | 0.028828
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-10-17 | ug/L | 0.81111 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.072 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81111 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83056 | 0.027499 | 0.83056 | 0.038889 | 0.028828
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-08-16 | ug/L | 0.9375 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.128 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9375 |  | 0.9375 | 0 | 0
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-10-21 | ug/L | 1.1484 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.064 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1484 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0859 | 0.088388 | 1.0859 | 0.125 | 0.092661
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-03-06 | ug/L | 1.0234 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.128 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0234 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0859 | 0.088388 | 1.0859 | 0.125 | 0.092661
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-10-16 | ug/L | 1.2614 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0723 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0912 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2614 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2614 |  | 1.2614 | 0 | 0
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-06-16 | ug/L | 0.86307 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.1205 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86307 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.056 | 0.27287 | 1.056 | 0.38589 | 0.28606
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-06-27 | ug/L | 1.249 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.0482 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.249 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.056 | 0.27287 | 1.056 | 0.38589 | 0.28606
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-09-09 | ug/L | 1.0766 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.064 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0766 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0539 | 0.032041 | 1.0539 | 0.045313 | 0.03359
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-11-22 | ug/L | 1.0312 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.128 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0539 | 0.032041 | 1.0539 | 0.045313 | 0.03359
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-05-30 | ug/L | 0.98281 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.064 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0629 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98281 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99141 | 0.012153 | 0.99141 | 0.017188 | 0.012741
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-06-10 | ug/L | 1 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.128 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99141 | 0.012153 | 0.99141 | 0.017188 | 0.012741
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-09-03 | ug/L | 0.76667 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.048 | ETHYL_TERT-BUTYL_ETHER | E | 0.032 | 0.0368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76667 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.76667 |  | 0.76667 | 0 | 0
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-07-23 | ug/L | 0.99531 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.064 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99531 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97422 | 0.029831 | 0.97422 | 0.042188 | 0.031273
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-08-19 | ug/L | 0.95312 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.128 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95312 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97422 | 0.029831 | 0.97422 | 0.042188 | 0.031273
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-11-06 | ug/L | 1.1187 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.064 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0716 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1187 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.075 | 0.061872 | 1.075 | 0.0875 | 0.064863
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2015-03-19 | ug/L | 1.0312 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.128 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.075 | 0.061872 | 1.075 | 0.0875 | 0.064863
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-07-11 | ug/L | 1.0391 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.064 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.0665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0391 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0391 |  | 1.0391 | 0 | 0
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-12-17 | ug/L | 0.94531 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.128 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94531 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94531 |  | 0.94531 | 0 | 0
ETHYL TERT-BUTYL ETHER | 4440 | 50004GCM66 | 2014-09-21 | ug/L | 1.2891 | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl | 0.128 | ETHYL_TERT-BUTYL_ETHER | . | 0.032 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2891 | Supelco LC06438 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2891 |  | 1.2891 | 0 | 0