## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-07-01 | ug/L | 0.86025 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.322 | HEXACHLOROBUTADIENE | . | 0.08 | 0.277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86025 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85611 | 0.090133 | 0.86025 | 0.18012 | 0.13352
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-01-13 | ug/L | 0.76398 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.161 | HEXACHLOROBUTADIENE | . | 0.08 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76398 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85611 | 0.090133 | 0.86025 | 0.18012 | 0.13352
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-04-09 | ug/L | 0.9441 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.322 | HEXACHLOROBUTADIENE | . | 0.08 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9441 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85611 | 0.090133 | 0.86025 | 0.18012 | 0.13352
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-05-01 | ug/L | 0.81988 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.322 | HEXACHLOROBUTADIENE | . | 0.08 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81988 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86957 | 0.070271 | 0.86957 | 0.099379 | 0.073669
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-09-09 | ug/L | 0.91925 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.161 | HEXACHLOROBUTADIENE | . | 0.08 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91925 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86957 | 0.070271 | 0.86957 | 0.099379 | 0.073669
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-10-04 | ug/L | 0.96795 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.156 | HEXACHLOROBUTADIENE | . | 0.08 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96795 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8766 | 0.12918 | 0.8766 | 0.18269 | 0.13543
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-11-14 | ug/L | 0.78526 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.312 | HEXACHLOROBUTADIENE | . | 0.08 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78526 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8766 | 0.12918 | 0.8766 | 0.18269 | 0.13543
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-06-10 | ug/L | 0.76282 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.312 | HEXACHLOROBUTADIENE | . | 0.08 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76282 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83013 | 0.095187 | 0.83013 | 0.13462 | 0.099789
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-07-29 | ug/L | 0.89744 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.156 | HEXACHLOROBUTADIENE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89744 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83013 | 0.095187 | 0.83013 | 0.13462 | 0.099789
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-05-03 | ug/L | 0.85256 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.156 | HEXACHLOROBUTADIENE | . | 0.08 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85256 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85256 |  | 0.85256 | 0 | 0
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-10-16 | ug/L | 0.79418 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.1788 | HEXACHLOROBUTADIENE | . | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79418 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79418 |  | 0.79418 | 0 | 0
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-06-16 | ug/L | 0.81667 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.3 | HEXACHLOROBUTADIENE | . | 0.08 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8375 | 0.029463 | 0.8375 | 0.041667 | 0.030887
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-06-27 | ug/L | 0.85833 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.12 | HEXACHLOROBUTADIENE | . | 0.08 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8375 | 0.029463 | 0.8375 | 0.041667 | 0.030887
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-09-03 | ug/L | 0.8557 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.1192 | HEXACHLOROBUTADIENE | . | 0.08 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8557 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8557 |  | 0.8557 | 0 | 0
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-07-23 | ug/L | 0.97516 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.161 | HEXACHLOROBUTADIENE | . | 0.08 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97516 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91925 | 0.079055 | 0.91925 | 0.1118 | 0.082877
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-08-19 | ug/L | 0.86335 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.322 | HEXACHLOROBUTADIENE | . | 0.08 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86335 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91925 | 0.079055 | 0.91925 | 0.1118 | 0.082877
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-11-06 | ug/L | 0.78846 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.156 | HEXACHLOROBUTADIENE | . | 0.08 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78846 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83173 | 0.061192 | 0.83173 | 0.086538 | 0.06415
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-03-19 | ug/L | 0.875 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.312 | HEXACHLOROBUTADIENE | . | 0.08 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83173 | 0.061192 | 0.83173 | 0.086538 | 0.06415
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-05-21 | ug/L | 0.89765 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.1192 | HEXACHLOROBUTADIENE | . | 0.08 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89765 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89765 |  | 0.89765 | 0 | 0
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-05-09 | ug/L | 0.89485 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.1788 | HEXACHLOROBUTADIENE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89485 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89485 |  | 0.89485 | 0 | 0
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2014-12-17 | ug/L | 0.84295 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.312 | HEXACHLOROBUTADIENE | . | 0.08 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84295 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84295 |  | 0.84295 | 0 | 0
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-05-09 | ug/L | 0.84167 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.12 | HEXACHLOROBUTADIENE | . | 0.08 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84167 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89417 | 0.074246 | 0.89417 | 0.105 | 0.077835
HEXACHLOROBUTADIENE | 4440 | 39702GCM66 | 2015-08-15 | ug/L | 0.94667 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.3 | HEXACHLOROBUTADIENE | . | 0.08 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89417 | 0.074246 | 0.89417 | 0.105 | 0.077835