## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXANE | 4440 | 81590GCM66 | 2014-08-16 | ug/L | 1.3646 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.096 | HEXANE | E | 0.024 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3646 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3646 |  | 1.3646 | 0 | 0
HEXANE | 4440 | 81590GCM66 | 2015-10-16 | ug/L | 0.97222 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.054 | HEXANE | E | 0.024 | 0.0525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97222 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.97222 |  | 0.97222 | 0 | 0
HEXANE | 4440 | 81590GCM66 | 2015-06-16 | ug/L | 0.79333 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.09 | HEXANE | E | 0.024 | 0.0714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7925 | 0.0011785 | 0.7925 | 0.0016667 | 0.0012355
HEXANE | 4440 | 81590GCM66 | 2015-06-27 | ug/L | 0.79167 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.036 | HEXANE | E | 0.024 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.7925 | 0.0011785 | 0.7925 | 0.0016667 | 0.0012355
HEXANE | 4440 | 81590GCM66 | 2014-09-09 | ug/L | 1.7021 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.048 | HEXANE | E | 0.024 | 0.0817 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7021 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.5906 | 0.15763 | 1.5906 | 0.22292 | 0.16525
HEXANE | 4440 | 81590GCM66 | 2014-11-22 | ug/L | 1.4792 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.096 | HEXANE | E | 0.024 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4792 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.5906 | 0.15763 | 1.5906 | 0.22292 | 0.16525
HEXANE | 4440 | 81590GCM66 | 2015-09-03 | ug/L | 0.86389 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.036 | HEXANE | E | 0.024 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86389 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.86389 |  | 0.86389 | 0 | 0
HEXANE | 4440 | 81590GCM66 | 2014-07-23 | ug/L | 1.7021 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.048 | HEXANE | E | 0.024 | 0.0817 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7021 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.6844 | 0.025043 | 1.6844 | 0.035417 | 0.026254
HEXANE | 4440 | 81590GCM66 | 2014-08-19 | ug/L | 1.6667 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.096 | HEXANE | E | 0.024 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6667 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.6844 | 0.025043 | 1.6844 | 0.035417 | 0.026254
HEXANE | 4440 | 81590GCM66 | 2014-11-06 | ug/L | 1.3292 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.048 | HEXANE | E | 0.024 | 0.0638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3292 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.3677 | 0.054506 | 1.3677 | 0.077083 | 0.057141
HEXANE | 4440 | 81590GCM66 | 2015-03-19 | ug/L | 1.4062 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.096 | HEXANE | E | 0.024 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4062 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.3677 | 0.054506 | 1.3677 | 0.077083 | 0.057141
HEXANE | 4440 | 81590GCM66 | 2014-07-11 | ug/L | 1.4812 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.048 | HEXANE | E | 0.024 | 0.0711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4812 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.4812 |  | 1.4812 | 0 | 0
HEXANE | 4440 | 81590GCM66 | 2015-05-21 | ug/L | 1.0111 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.036 | HEXANE | E | 0.024 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0111 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0111 |  | 1.0111 | 0 | 0
HEXANE | 4440 | 81590GCM66 | 2015-05-09 | ug/L | 1.1296 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.054 | HEXANE | E | 0.024 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1296 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1296 |  | 1.1296 | 0 | 0
HEXANE | 4440 | 81590GCM66 | 2015-05-09 | ug/L | 0.9 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.036 | HEXANE | E | 0.024 | 0.0324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.91222 | 0.017285 | 0.91222 | 0.024444 | 0.01812
HEXANE | 4440 | 81590GCM66 | 2015-08-15 | ug/L | 0.92444 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.09 | HEXANE | E | 0.024 | 0.0832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92444 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.91222 | 0.017285 | 0.91222 | 0.024444 | 0.01812