## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-07-01 | ug/L | 0.835 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.31976 | M-_AND_P-XYLENE | . | 0.08 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86002 | 0.046069 | 0.835 | 0.081311 | 0.060275
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-01-13 | ug/L | 0.91318 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.15988 | M-_AND_P-XYLENE | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91318 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86002 | 0.046069 | 0.835 | 0.081311 | 0.060275
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-04-09 | ug/L | 0.83187 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.31976 | M-_AND_P-XYLENE | . | 0.08 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83187 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86002 | 0.046069 | 0.835 | 0.081311 | 0.060275
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-05-01 | ug/L | 0.75682 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.31976 | M-_AND_P-XYLENE | . | 0.08 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75682 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91006 | 0.21671 | 0.91006 | 0.30648 | 0.22719
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-09-09 | ug/L | 1.0633 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.15988 | M-_AND_P-XYLENE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0633 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91006 | 0.21671 | 0.91006 | 0.30648 | 0.22719
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-09-29 | ug/L | 0.9006 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.2998 | M-_AND_P-XYLENE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9006 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9006 |  | 0.9006 | 0 | 0
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-10-04 | ug/L | 0.8125 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.16 | M-_AND_P-XYLENE | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79219 | 0.028726 | 0.79219 | 0.040625 | 0.030115
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-11-14 | ug/L | 0.77187 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.32 | M-_AND_P-XYLENE | . | 0.08 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77187 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79219 | 0.028726 | 0.79219 | 0.040625 | 0.030115
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-06-10 | ug/L | 0.78125 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.32 | M-_AND_P-XYLENE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78125 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81563 | 0.048614 | 0.81563 | 0.06875 | 0.050964
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-07-29 | ug/L | 0.85 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.16 | M-_AND_P-XYLENE | . | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81563 | 0.048614 | 0.81563 | 0.06875 | 0.050964
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-07-31 | ug/L | 0.8 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.12 | M-_AND_P-XYLENE | . | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8 |  | 0.8 | 0 | 0
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-07-13 | ug/L | 0.79667 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.3 | M-_AND_P-XYLENE | . | 0.08 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79667 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79278 | 0.0054997 | 0.79278 | 0.0077778 | 0.0057656
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-10-17 | ug/L | 0.78889 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.18 | M-_AND_P-XYLENE | . | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78889 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79278 | 0.0054997 | 0.79278 | 0.0077778 | 0.0057656
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-07-23 | ug/L | 1.007 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.15988 | M-_AND_P-XYLENE | . | 0.08 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.007 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92569 | 0.11499 | 0.92569 | 0.16262 | 0.12055
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-08-19 | ug/L | 0.84438 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.31976 | M-_AND_P-XYLENE | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84438 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92569 | 0.11499 | 0.92569 | 0.16262 | 0.12055
M- AND P-XYLENE | 4440 | 85795GCM66 | 2014-11-06 | ug/L | 0.85 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.16 | M-_AND_P-XYLENE | . | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83125 | 0.026517 | 0.83125 | 0.0375 | 0.027798
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-03-19 | ug/L | 0.8125 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.32 | M-_AND_P-XYLENE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83125 | 0.026517 | 0.83125 | 0.0375 | 0.027798
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-05-21 | ug/L | 1.009 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.11992 | M-_AND_P-XYLENE | . | 0.08 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.009 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.009 |  | 1.009 | 0 | 0
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-05-09 | ug/L | 0.86111 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.18 | M-_AND_P-XYLENE | . | 0.08 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86111 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86111 |  | 0.86111 | 0 | 0
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-05-09 | ug/L | 0.90833 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.12 | M-_AND_P-XYLENE | . | 0.08 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90833 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87917 | 0.041248 | 0.87917 | 0.058333 | 0.043242
M- AND P-XYLENE | 4440 | 85795GCM66 | 2015-08-15 | ug/L | 0.85 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.3 | M-_AND_P-XYLENE | . | 0.08 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87917 | 0.041248 | 0.87917 | 0.058333 | 0.043242