## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
N-PENTANE | 4440 | 81604GCM66 | 2014-07-01 | ug/L | 1.3086 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.08024 | N-PENTANE | . | 0.022 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3086 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0061 | 0.29678 | 0.99452 | 0.59322 | 0.43975
N-PENTANE | 4440 | 81604GCM66 | 2015-01-13 | ug/L | 0.99452 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.04012 | N-PENTANE | . | 0.022 | 0.0399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99452 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0061 | 0.29678 | 0.99452 | 0.59322 | 0.43975
N-PENTANE | 4440 | 81604GCM66 | 2015-04-09 | ug/L | 0.71535 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.08024 | N-PENTANE | . | 0.022 | 0.0574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71535 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0061 | 0.29678 | 0.99452 | 0.59322 | 0.43975
N-PENTANE | 4440 | 81604GCM66 | 2014-05-01 | ug/L | 1.0219 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.08024 | N-PENTANE | . | 0.022 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2388 | 0.30667 | 1.2388 | 0.4337 | 0.3215
N-PENTANE | 4440 | 81604GCM66 | 2014-09-09 | ug/L | 1.4556 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.04012 | N-PENTANE | . | 0.022 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4556 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2388 | 0.30667 | 1.2388 | 0.4337 | 0.3215
N-PENTANE | 4440 | 81604GCM66 | 2014-10-04 | ug/L | 0.52045 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.044 | N-PENTANE | . | 0.022 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52045 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.50568 | 0.020892 | 0.50568 | 0.029545 | 0.021902
N-PENTANE | 4440 | 81604GCM66 | 2014-11-14 | ug/L | 0.49091 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.088 | N-PENTANE | . | 0.022 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49091 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.50568 | 0.020892 | 0.50568 | 0.029545 | 0.021902
N-PENTANE | 4440 | 81604GCM66 | 2014-06-10 | ug/L | 0.5375 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.088 | N-PENTANE | . | 0.022 | 0.0473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5375 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5733 | 0.050622 | 0.5733 | 0.071591 | 0.05307
N-PENTANE | 4440 | 81604GCM66 | 2014-07-29 | ug/L | 0.60909 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.044 | N-PENTANE | . | 0.022 | 0.0268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60909 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5733 | 0.050622 | 0.5733 | 0.071591 | 0.05307
N-PENTANE | 4440 | 81604GCM66 | 2014-05-03 | ug/L | 0.72273 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.044 | N-PENTANE | . | 0.022 | 0.0318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72273 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72273 |  | 0.72273 | 0 | 0
N-PENTANE | 4440 | 81604GCM66 | 2015-10-16 | ug/L | 1.0349 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0516 | N-PENTANE | . | 0.022 | 0.0534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0349 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0349 |  | 1.0349 | 0 | 0
N-PENTANE | 4440 | 81604GCM66 | 2015-06-16 | ug/L | 1.0188 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.085 | N-PENTANE | . | 0.022 | 0.0866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0188 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0197 | 0.0012478 | 1.0197 | 0.0017647 | 0.0013082
N-PENTANE | 4440 | 81604GCM66 | 2015-06-27 | ug/L | 1.0206 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.034 | N-PENTANE | . | 0.022 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0206 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0197 | 0.0012478 | 1.0197 | 0.0017647 | 0.0013082
N-PENTANE | 4440 | 81604GCM66 | 2015-09-03 | ug/L | 1.0407 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.0344 | N-PENTANE | . | 0.022 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0407 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0407 |  | 1.0407 | 0 | 0
N-PENTANE | 4440 | 81604GCM66 | 2014-07-23 | ug/L | 1.4282 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.04012 | N-PENTANE | . | 0.022 | 0.0573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4282 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3497 | 0.11104 | 1.3497 | 0.15703 | 0.1164
N-PENTANE | 4440 | 81604GCM66 | 2014-08-19 | ug/L | 1.2712 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.08024 | N-PENTANE | . | 0.022 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2712 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3497 | 0.11104 | 1.3497 | 0.15703 | 0.1164
N-PENTANE | 4440 | 81604GCM66 | 2014-11-06 | ug/L | 0.48182 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.044 | N-PENTANE | . | 0.022 | 0.0212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48182 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.50114 | 0.02732 | 0.50114 | 0.038636 | 0.028641
N-PENTANE | 4440 | 81604GCM66 | 2015-03-19 | ug/L | 0.52045 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.088 | N-PENTANE | . | 0.022 | 0.0458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52045 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.50114 | 0.02732 | 0.50114 | 0.038636 | 0.028641
N-PENTANE | 4440 | 81604GCM66 | 2015-05-21 | ug/L | 0.82849 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.0344 | N-PENTANE | . | 0.022 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82849 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82849 |  | 0.82849 | 0 | 0
N-PENTANE | 4440 | 81604GCM66 | 2015-05-09 | ug/L | 0.88178 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.0516 | N-PENTANE | . | 0.022 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88178 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88178 |  | 0.88178 | 0 | 0
N-PENTANE | 4440 | 81604GCM66 | 2014-12-17 | ug/L | 0.44886 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.088 | N-PENTANE | . | 0.022 | 0.0395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44886 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.44886 |  | 0.44886 | 0 | 0
N-PENTANE | 4440 | 81604GCM66 | 2015-05-09 | ug/L | 0.73235 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.034 | N-PENTANE | . | 0.022 | 0.0249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73235 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92853 | 0.27744 | 0.92853 | 0.39235 | 0.29085
N-PENTANE | 4440 | 81604GCM66 | 2015-08-15 | ug/L | 1.1247 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.085 | N-PENTANE | . | 0.022 | 0.0956 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1247 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92853 | 0.27744 | 0.92853 | 0.39235 | 0.29085