## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-09-29 | ug/L | 1.0627 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.1355 | N-PROPYLBENZENE | . | 0.036 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0627 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0627 |  | 1.0627 | 0 | 0
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-05-03 | ug/L | 1.0512 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.0722 | N-PROPYLBENZENE | . | 0.036 | 0.0759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0512 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0512 |  | 1.0512 | 0 | 0
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-07-31 | ug/L | 0.85793 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.0542 | N-PROPYLBENZENE | . | 0.036 | 0.0465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85793 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85793 |  | 0.85793 | 0 | 0
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-07-13 | ug/L | 0.96296 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.135 | N-PROPYLBENZENE | . | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96296 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0043 | 0.058489 | 1.0043 | 0.082716 | 0.061317
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-10-17 | ug/L | 1.0457 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.081 | N-PROPYLBENZENE | . | 0.036 | 0.0847 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0457 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0043 | 0.058489 | 1.0043 | 0.082716 | 0.061317
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-08-16 | ug/L | 0.89583 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.144 | N-PROPYLBENZENE | . | 0.036 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89583 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89583 |  | 0.89583 | 0 | 0
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-10-21 | ug/L | 0.91828 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.0722 | N-PROPYLBENZENE | . | 0.036 | 0.0663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91828 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87812 | 0.056804 | 0.87812 | 0.080332 | 0.05955
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-03-06 | ug/L | 0.83795 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.1444 | N-PROPYLBENZENE | . | 0.036 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83795 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87812 | 0.056804 | 0.87812 | 0.080332 | 0.05955
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-10-16 | ug/L | 0.82042 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0813 | N-PROPYLBENZENE | . | 0.036 | 0.0667 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82042 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82042 |  | 0.82042 | 0 | 0
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-06-16 | ug/L | 0.76015 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.1355 | N-PROPYLBENZENE | . | 0.036 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76015 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93635 | 0.24918 | 0.93635 | 0.3524 | 0.26123
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-06-27 | ug/L | 1.1125 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.0542 | N-PROPYLBENZENE | . | 0.036 | 0.0603 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93635 | 0.24918 | 0.93635 | 0.3524 | 0.26123
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-09-09 | ug/L | 1.275 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.072 | N-PROPYLBENZENE | . | 0.036 | 0.0918 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0924 | 0.25829 | 1.0924 | 0.36528 | 0.27078
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-11-22 | ug/L | 0.90972 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.144 | N-PROPYLBENZENE | . | 0.036 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90972 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0924 | 0.25829 | 1.0924 | 0.36528 | 0.27078
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-05-30 | ug/L | 0.74515 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.0722 | N-PROPYLBENZENE | . | 0.036 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74515 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90928 | 0.23211 | 0.90928 | 0.32825 | 0.24333
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-06-10 | ug/L | 1.0734 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.1444 | N-PROPYLBENZENE | . | 0.036 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0734 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90928 | 0.23211 | 0.90928 | 0.32825 | 0.24333
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-09-03 | ug/L | 0.87407 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.054 | N-PROPYLBENZENE | . | 0.036 | 0.0472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87407 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87407 |  | 0.87407 | 0 | 0
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-07-23 | ug/L | 1.0847 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.072 | N-PROPYLBENZENE | . | 0.036 | 0.0781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0847 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0111 | 0.1041 | 1.0111 | 0.14722 | 0.10913
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-08-19 | ug/L | 0.9375 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.144 | N-PROPYLBENZENE | . | 0.036 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0111 | 0.1041 | 1.0111 | 0.14722 | 0.10913
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-11-06 | ug/L | 1.1208 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.072 | N-PROPYLBENZENE | . | 0.036 | 0.0807 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1208 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0778 | 0.06089 | 1.0778 | 0.086111 | 0.063833
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2015-03-19 | ug/L | 1.0347 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.144 | N-PROPYLBENZENE | . | 0.036 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0347 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0778 | 0.06089 | 1.0778 | 0.086111 | 0.063833
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-07-11 | ug/L | 0.925 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.072 | N-PROPYLBENZENE | . | 0.036 | 0.0666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.925 |  | 0.925 | 0 | 0
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-12-17 | ug/L | 0.9349 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.1444 | N-PROPYLBENZENE | . | 0.036 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9349 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9349 |  | 0.9349 | 0 | 0
N-PROPYLBENZENE | 4440 | 77224GCM66 | 2014-09-21 | ug/L | 0.8795 | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl | 0.1444 | N-PROPYLBENZENE | . | 0.036 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8795 | Supelco LC06438 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8795 |  | 0.8795 | 0 | 0