## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
O-XYLENE | 4440 | 77135GCM66 | 2014-07-01 | ug/L | 0.96154 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12064 | O-XYLENE | . | 0.032 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99525 | 0.044802 | 0.97812 | 0.084549 | 0.062675
O-XYLENE | 4440 | 77135GCM66 | 2015-01-13 | ug/L | 1.0461 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.06032 | O-XYLENE | . | 0.032 | 0.0631 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0461 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99525 | 0.044802 | 0.97812 | 0.084549 | 0.062675
O-XYLENE | 4440 | 77135GCM66 | 2015-04-09 | ug/L | 0.97812 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12064 | O-XYLENE | . | 0.032 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97812 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99525 | 0.044802 | 0.97812 | 0.084549 | 0.062675
O-XYLENE | 4440 | 77135GCM66 | 2014-05-01 | ug/L | 0.86207 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.12064 | O-XYLENE | . | 0.032 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86207 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0718 | 0.29658 | 1.0718 | 0.41943 | 0.31092
O-XYLENE | 4440 | 77135GCM66 | 2014-09-09 | ug/L | 1.2815 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.06032 | O-XYLENE | . | 0.032 | 0.0773 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2815 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0718 | 0.29658 | 1.0718 | 0.41943 | 0.31092
O-XYLENE | 4440 | 77135GCM66 | 2014-10-04 | ug/L | 0.87813 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.064 | O-XYLENE | . | 0.032 | 0.0562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87813 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86875 | 0.013258 | 0.86875 | 0.01875 | 0.013899
O-XYLENE | 4440 | 77135GCM66 | 2014-11-14 | ug/L | 0.85937 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.128 | O-XYLENE | . | 0.032 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85938 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86875 | 0.013258 | 0.86875 | 0.01875 | 0.013899
O-XYLENE | 4440 | 77135GCM66 | 2014-06-10 | ug/L | 0.82812 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.128 | O-XYLENE | . | 0.032 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82812 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90078 | 0.10275 | 0.90078 | 0.14531 | 0.10772
O-XYLENE | 4440 | 77135GCM66 | 2014-07-29 | ug/L | 0.97344 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.064 | O-XYLENE | . | 0.032 | 0.0623 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97344 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90078 | 0.10275 | 0.90078 | 0.14531 | 0.10772
O-XYLENE | 4440 | 77135GCM66 | 2014-05-03 | ug/L | 1.3719 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.064 | O-XYLENE | . | 0.032 | 0.0878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3719 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3719 |  | 1.3719 | 0 | 0
O-XYLENE | 4440 | 77135GCM66 | 2015-10-16 | ug/L | 0.94306 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.072 | O-XYLENE | . | 0.032 | 0.0679 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94306 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94306 |  | 0.94306 | 0 | 0
O-XYLENE | 4440 | 77135GCM66 | 2015-06-16 | ug/L | 0.79751 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.1205 | O-XYLENE | . | 0.032 | 0.0961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79751 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89876 | 0.14318 | 0.89876 | 0.20249 | 0.1501
O-XYLENE | 4440 | 77135GCM66 | 2015-06-27 | ug/L | 1 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.0482 | O-XYLENE | . | 0.032 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.89876 | 0.14318 | 0.89876 | 0.20249 | 0.1501
O-XYLENE | 4440 | 77135GCM66 | 2015-09-03 | ug/L | 0.94583 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.048 | O-XYLENE | . | 0.032 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94583 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94583 |  | 0.94583 | 0 | 0
O-XYLENE | 4440 | 77135GCM66 | 2014-07-23 | ug/L | 1.1273 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.06032 | O-XYLENE | . | 0.032 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1273 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0693 | 0.082058 | 1.0693 | 0.11605 | 0.086025
O-XYLENE | 4440 | 77135GCM66 | 2014-08-19 | ug/L | 1.0113 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.12064 | O-XYLENE | . | 0.032 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0113 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0693 | 0.082058 | 1.0693 | 0.11605 | 0.086025
O-XYLENE | 4440 | 77135GCM66 | 2014-11-06 | ug/L | 0.95469 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.064 | O-XYLENE | . | 0.032 | 0.0611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95469 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94219 | 0.017678 | 0.94219 | 0.025 | 0.018532
O-XYLENE | 4440 | 77135GCM66 | 2015-03-19 | ug/L | 0.92969 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.128 | O-XYLENE | . | 0.032 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92969 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94219 | 0.017678 | 0.94219 | 0.025 | 0.018532
O-XYLENE | 4440 | 77135GCM66 | 2015-05-21 | ug/L | 1.1333 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.048 | O-XYLENE | . | 0.032 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1333 |  | 1.1333 | 0 | 0
O-XYLENE | 4440 | 77135GCM66 | 2015-05-09 | ug/L | 1.0472 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.072 | O-XYLENE | . | 0.032 | 0.0754 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0472 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0472 |  | 1.0472 | 0 | 0
O-XYLENE | 4440 | 77135GCM66 | 2014-12-17 | ug/L | 1.1875 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.128 | O-XYLENE | . | 0.032 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1875 |  | 1.1875 | 0 | 0
O-XYLENE | 4440 | 77135GCM66 | 2015-05-09 | ug/L | 1.0622 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.0482 | O-XYLENE | . | 0.032 | 0.0512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0622 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9751 | 0.12323 | 0.9751 | 0.17427 | 0.12919
O-XYLENE | 4440 | 77135GCM66 | 2015-08-15 | ug/L | 0.88797 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.1205 | O-XYLENE | . | 0.032 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88797 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9751 | 0.12323 | 0.9751 | 0.17427 | 0.12919