## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-09-29 | ug/L | 1.0098 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.102 | TETRACHLOROETHYLENE | . | 0.026 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0098 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0098 |  | 1.0098 | 0 | 0
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-05-03 | ug/L | 1.1346 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.052 | TETRACHLOROETHYLENE | . | 0.026 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1346 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1346 |  | 1.1346 | 0 | 0
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-07-31 | ug/L | 0.88235 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.0408 | TETRACHLOROETHYLENE | . | 0.026 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88235 |  | 0.88235 | 0 | 0
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-07-13 | ug/L | 0.987 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.1 | TETRACHLOROETHYLENE | . | 0.026 | 0.0987 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.987 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98267 | 0.0061283 | 0.98267 | 0.0086667 | 0.0064245
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-10-17 | ug/L | 0.97833 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.06 | TETRACHLOROETHYLENE | . | 0.026 | 0.0587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97833 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98267 | 0.0061283 | 0.98267 | 0.0086667 | 0.0064245
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-08-16 | ug/L | 1.1442 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.104 | TETRACHLOROETHYLENE | . | 0.026 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1442 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1442 |  | 1.1442 | 0 | 0
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-10-21 | ug/L | 1.1365 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.052 | TETRACHLOROETHYLENE | . | 0.026 | 0.0591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1365 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0635 | 0.10335 | 1.0635 | 0.14615 | 0.10834
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-03-06 | ug/L | 0.99038 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.104 | TETRACHLOROETHYLENE | . | 0.026 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99038 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0635 | 0.10335 | 1.0635 | 0.14615 | 0.10834
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-10-16 | ug/L | 1.1373 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0612 | TETRACHLOROETHYLENE | . | 0.026 | 0.0696 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1373 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1373 |  | 1.1373 | 0 | 0
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-06-16 | ug/L | 0.89608 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.102 | TETRACHLOROETHYLENE | . | 0.026 | 0.0914 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89608 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99583 | 0.14107 | 0.99583 | 0.19951 | 0.14789
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-06-27 | ug/L | 1.0956 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.0408 | TETRACHLOROETHYLENE | . | 0.026 | 0.0447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0956 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99583 | 0.14107 | 0.99583 | 0.19951 | 0.14789
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-09-09 | ug/L | 1.2462 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.052 | TETRACHLOROETHYLENE | . | 0.026 | 0.0648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2462 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2769 | 0.043514 | 1.2769 | 0.061538 | 0.045618
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-11-22 | ug/L | 1.3077 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.104 | TETRACHLOROETHYLENE | . | 0.026 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3077 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2769 | 0.043514 | 1.2769 | 0.061538 | 0.045618
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-05-30 | ug/L | 1.0962 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.052 | TETRACHLOROETHYLENE | . | 0.026 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0962 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1106 | 0.020397 | 1.1106 | 0.028846 | 0.021383
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-06-10 | ug/L | 1.125 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.104 | TETRACHLOROETHYLENE | . | 0.026 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1106 | 0.020397 | 1.1106 | 0.028846 | 0.021383
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-09-03 | ug/L | 1.27 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.04 | TETRACHLOROETHYLENE | . | 0.026 | 0.0508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.27 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.27 |  | 1.27 | 0 | 0
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-07-23 | ug/L | 1.3538 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.052 | TETRACHLOROETHYLENE | . | 0.026 | 0.0704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3538 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2971 | 0.080229 | 1.2971 | 0.11346 | 0.084108
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-08-19 | ug/L | 1.2404 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.104 | TETRACHLOROETHYLENE | . | 0.026 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2404 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2971 | 0.080229 | 1.2971 | 0.11346 | 0.084108
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-11-06 | ug/L | 1.1692 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.052 | TETRACHLOROETHYLENE | . | 0.026 | 0.0608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1692 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2 | 0.043514 | 1.2 | 0.061538 | 0.045618
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2015-03-19 | ug/L | 1.2308 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.104 | TETRACHLOROETHYLENE | . | 0.026 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2308 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2 | 0.043514 | 1.2 | 0.061538 | 0.045618
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-07-11 | ug/L | 1.1385 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.052 | TETRACHLOROETHYLENE | . | 0.026 | 0.0592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1385 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1385 |  | 1.1385 | 0 | 0
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-12-17 | ug/L | 0.93846 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.104 | TETRACHLOROETHYLENE | . | 0.026 | 0.0976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93846 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93846 |  | 0.93846 | 0 | 0
TETRACHLOROETHYLENE | 4440 | 34475GCM66 | 2014-09-21 | ug/L | 1.0481 | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl | 0.104 | TETRACHLOROETHYLENE | . | 0.026 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0481 | Supelco LC06438 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0481 |  | 1.0481 | 0 | 0