## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TOLUENE | 4440 | 34010GCM66 | 2014-08-16 | ug/L | 1 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.08 | TOLUENE | . | 0.02 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1 |  | 1 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2015-10-16 | ug/L | 1.0823 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0462 | TOLUENE | . | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0823 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0823 |  | 1.0823 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2015-06-16 | ug/L | 0.93333 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.075 | TOLUENE | . | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96667 | 0.04714 | 0.96667 | 0.066667 | 0.049419
TOLUENE | 4440 | 34010GCM66 | 2015-06-27 | ug/L | 1 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.03 | TOLUENE | E | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.96667 | 0.04714 | 0.96667 | 0.066667 | 0.049419
TOLUENE | 4440 | 34010GCM66 | 2014-09-09 | ug/L | 1.25 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.04 | TOLUENE | . | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.125 | 0.17678 | 1.125 | 0.25 | 0.18532
TOLUENE | 4440 | 34010GCM66 | 2014-11-22 | ug/L | 1 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.08 | TOLUENE | . | 0.02 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.125 | 0.17678 | 1.125 | 0.25 | 0.18532
TOLUENE | 4440 | 34010GCM66 | 2015-09-03 | ug/L | 0.97403 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.0308 | TOLUENE | E | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97403 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.97403 |  | 0.97403 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2014-07-23 | ug/L | 1 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.04 | TOLUENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1 | 0 | 1 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2014-08-19 | ug/L | 1 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.08 | TOLUENE | . | 0.02 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1 | 0 | 1 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2014-11-06 | ug/L | 1 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.04 | TOLUENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1 | 0 | 1 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2015-03-19 | ug/L | 1 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.08 | TOLUENE | . | 0.02 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1 | 0 | 1 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2014-07-11 | ug/L | 1 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.04 | TOLUENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1 |  | 1 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2015-05-21 | ug/L | 1.2987 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.0308 | TOLUENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2987 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2987 |  | 1.2987 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2015-05-09 | ug/L | 1.0823 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.0462 | TOLUENE | . | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0823 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0823 |  | 1.0823 | 0 | 0
TOLUENE | 4440 | 34010GCM66 | 2015-05-09 | ug/L | 1 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.03 | TOLUENE | . | 0.02 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0333 | 0.04714 | 1.0333 | 0.066667 | 0.049419
TOLUENE | 4440 | 34010GCM66 | 2015-08-15 | ug/L | 1.0667 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.075 | TOLUENE | . | 0.02 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0333 | 0.04714 | 1.0333 | 0.066667 | 0.049419