## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-07-01 | ug/L | 1.0265 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.0756 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0265 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92063 | 0.092593 | 0.88095 | 0.17196 | 0.12747
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-01-13 | ug/L | 0.8545 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0378 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8545 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92063 | 0.092593 | 0.88095 | 0.17196 | 0.12747
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-04-09 | ug/L | 0.88095 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.0756 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88095 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92063 | 0.092593 | 0.88095 | 0.17196 | 0.12747
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-05-01 | ug/L | 0.94861 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.072 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94861 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0576 | 0.15419 | 1.0576 | 0.21806 | 0.16164
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-09-09 | ug/L | 1.1667 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.036 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0576 | 0.15419 | 1.0576 | 0.21806 | 0.16164
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-09-29 | ug/L | 1.1044 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.068 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1044 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1044 |  | 1.1044 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-10-04 | ug/L | 1.0529 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0378 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0529 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98479 | 0.096339 | 0.98479 | 0.13624 | 0.101
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-11-14 | ug/L | 0.91667 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.0756 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98479 | 0.096339 | 0.98479 | 0.13624 | 0.101
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-06-10 | ug/L | 1.0056 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.072 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0056 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0319 | 0.03732 | 1.0319 | 0.052778 | 0.039124
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-07-29 | ug/L | 1.0583 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.036 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0319 | 0.03732 | 1.0319 | 0.052778 | 0.039124
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-07-31 | ug/L | 1.1471 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.0272 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1471 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1471 |  | 1.1471 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-07-13 | ug/L | 1.0671 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.07 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0747 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0671 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0133 | 0.076098 | 1.0133 | 0.10762 | 0.079777
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-10-17 | ug/L | 0.95952 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.042 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95952 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0133 | 0.076098 | 1.0133 | 0.10762 | 0.079777
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-08-16 | ug/L | 0.95635 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.0756 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95635 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95635 |  | 0.95635 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-10-21 | ug/L | 0.97884 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.0378 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97884 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96495 | 0.019642 | 0.96495 | 0.027778 | 0.020591
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-03-06 | ug/L | 0.95106 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.0756 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0719 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95106 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96495 | 0.019642 | 0.96495 | 0.027778 | 0.020591
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-10-16 | ug/L | 1.0098 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.0408 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0098 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0098 |  | 1.0098 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-06-16 | ug/L | 1.0265 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.068 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0698 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0265 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1033 | 0.10867 | 1.1033 | 0.15368 | 0.11392
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-06-27 | ug/L | 1.1801 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.0272 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1801 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1033 | 0.10867 | 1.1033 | 0.15368 | 0.11392
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-09-09 | ug/L | 1.1278 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.036 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1278 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0535 | 0.10508 | 1.0535 | 0.14861 | 0.11016
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-11-22 | ug/L | 0.97917 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.072 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0705 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97917 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0535 | 0.10508 | 1.0535 | 0.14861 | 0.11016
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-05-30 | ug/L | 1.3722 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.036 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3722 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2451 | 0.17972 | 1.2451 | 0.25417 | 0.18841
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-06-10 | ug/L | 1.1181 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.072 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0805 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1181 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2451 | 0.17972 | 1.2451 | 0.25417 | 0.18841
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2015-09-03 | ug/L | 0.91071 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91071 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91071 |  | 0.91071 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 4440 | 34546GCM66 | 2014-07-11 | ug/L | 0.96032 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.0378 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96032 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96032 |  | 0.96032 | 0 | 0