## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-05-03 | ug/L | 1.075 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.12 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.075 |  | 1.075 | 0 | 0
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-08-16 | ug/L | 1.2875 | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl | 0.24 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2875 | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2875 |  | 1.2875 | 0 | 0
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-10-21 | ug/L | 1 | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl | 0.12 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99375 | 0.0088388 | 0.99375 | 0.0125 | 0.0092661
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-03-06 | ug/L | 0.9875 | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl | 0.24 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99375 | 0.0088388 | 0.99375 | 0.0125 | 0.0092661
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-10-16 | ug/L | 0.89574 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.1362 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89574 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89574 |  | 0.89574 | 0 | 0
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-06-16 | ug/L | 0.86667 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.225 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91111 | 0.062854 | 0.91111 | 0.088889 | 0.065892
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-06-27 | ug/L | 0.95556 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.09 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91111 | 0.062854 | 0.91111 | 0.088889 | 0.065892
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-09-09 | ug/L | 1.2583 | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl | 0.12 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2583 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2479 | 0.014731 | 1.2479 | 0.020833 | 0.015444
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-11-22 | ug/L | 1.2375 | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl | 0.24 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2375 | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2479 | 0.014731 | 1.2479 | 0.020833 | 0.015444
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-05-30 | ug/L | 0.99167 | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl | 0.12 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99167 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0396 | 0.067764 | 1.0396 | 0.095833 | 0.07104
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-06-10 | ug/L | 1.0875 | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl | 0.24 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0396 | 0.067764 | 1.0396 | 0.095833 | 0.07104
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-09-03 | ug/L | 0.85903 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.0908 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85903 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85903 |  | 0.85903 | 0 | 0
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-07-23 | ug/L | 1.3667 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.12 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3667 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3208 | 0.064818 | 1.3208 | 0.091667 | 0.067952
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-08-19 | ug/L | 1.275 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.24 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3208 | 0.064818 | 1.3208 | 0.091667 | 0.067952
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-11-06 | ug/L | 1.0667 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.12 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0875 | 0.029463 | 1.0875 | 0.041667 | 0.030887
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-03-19 | ug/L | 1.1083 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.24 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0875 | 0.029463 | 1.0875 | 0.041667 | 0.030887
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-07-11 | ug/L | 1.1667 | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.12 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1667 |  | 1.1667 | 0 | 0
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-05-21 | ug/L | 1.0242 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.0908 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0242 | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0242 |  | 1.0242 | 0 | 0
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-05-09 | ug/L | 1.0132 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.1362 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0132 | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0132 |  | 1.0132 | 0 | 0
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-12-17 | ug/L | 1.0042 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.24 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0042 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0042 |  | 1.0042 | 0 | 0
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-05-09 | ug/L | 0.96667 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.09 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95667 | 0.014142 | 0.95667 | 0.02 | 0.014826
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2015-08-15 | ug/L | 0.94667 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.225 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95667 | 0.014142 | 0.95667 | 0.02 | 0.014826
TRICHLOROFLUOROMETHANE | 4440 | 34488GCM66 | 2014-09-21 | ug/L | 1.0708 | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl | 0.24 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0708 | Supelco LC06438 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0708 |  | 1.0708 | 0 | 0