## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-07-01 | ug/L | 1.0324 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.24216 | VINYL_CHLORIDE | . | 0.06 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0324 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9663 | 0.15929 | 1.0324 | 0.29732 | 0.2204
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-01-13 | ug/L | 1.0819 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.12108 | VINYL_CHLORIDE | . | 0.06 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0819 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9663 | 0.15929 | 1.0324 | 0.29732 | 0.2204
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-04-09 | ug/L | 0.78461 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.24216 | VINYL_CHLORIDE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78461 | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9663 | 0.15929 | 1.0324 | 0.29732 | 0.2204
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-05-01 | ug/L | 0.83003 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.24216 | VINYL_CHLORIDE | . | 0.06 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83003 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0055 | 0.2482 | 1.0055 | 0.35101 | 0.2602
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-09-09 | ug/L | 1.181 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.12108 | VINYL_CHLORIDE | . | 0.06 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.181 | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0055 | 0.2482 | 1.0055 | 0.35101 | 0.2602
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-09-29 | ug/L | 1.0133 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.225 | VINYL_CHLORIDE | . | 0.06 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0133 | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0133 |  | 1.0133 | 0 | 0
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-10-04 | ug/L | 0.88333 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.12 | VINYL_CHLORIDE | . | 0.06 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85833 | 0.035355 | 0.85833 | 0.05 | 0.037064
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-11-14 | ug/L | 0.83333 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.24 | VINYL_CHLORIDE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85833 | 0.035355 | 0.85833 | 0.05 | 0.037064
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-06-10 | ug/L | 0.9875 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.24 | VINYL_CHLORIDE | . | 0.06 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91458 | 0.10312 | 0.91458 | 0.14583 | 0.1081
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-07-29 | ug/L | 0.84167 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.12 | VINYL_CHLORIDE | . | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84167 | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91458 | 0.10312 | 0.91458 | 0.14583 | 0.1081
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-05-03 | ug/L | 0.99167 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.12 | VINYL_CHLORIDE | . | 0.06 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99167 | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99167 |  | 0.99167 | 0 | 0
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-07-31 | ug/L | 0.95556 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.09 | VINYL_CHLORIDE | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95556 |  | 0.95556 | 0 | 0
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-07-13 | ug/L | 0.70667 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.225 | VINYL_CHLORIDE | . | 0.06 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70667 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67926 | 0.03876 | 0.67926 | 0.054815 | 0.040634
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-10-17 | ug/L | 0.65185 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.135 | VINYL_CHLORIDE | . | 0.06 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65185 | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67926 | 0.03876 | 0.67926 | 0.054815 | 0.040634
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-10-16 | ug/L | 0.88889 | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl | 0.135 | VINYL_CHLORIDE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88889 |  | 0.88889 | 0 | 0
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-06-16 | ug/L | 0.93333 | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl | 0.225 | VINYL_CHLORIDE | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0278 | 0.13356 | 1.0278 | 0.18889 | 0.14002
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-06-27 | ug/L | 1.1222 | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl | 0.09 | VINYL_CHLORIDE | . | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1222 | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0278 | 0.13356 | 1.0278 | 0.18889 | 0.14002
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-09-03 | ug/L | 0.61111 | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl | 0.09 | VINYL_CHLORIDE | . | 0.06 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61111 | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61111 |  | 0.61111 | 0 | 0
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-07-23 | ug/L | 1.2471 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.12108 | VINYL_CHLORIDE | . | 0.06 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2471 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2244 | 0.03212 | 1.2244 | 0.045425 | 0.033673
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-08-19 | ug/L | 1.2017 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.24216 | VINYL_CHLORIDE | . | 0.06 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2017 | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2244 | 0.03212 | 1.2244 | 0.045425 | 0.033673
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-11-06 | ug/L | 0.75833 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.12 | VINYL_CHLORIDE | . | 0.06 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75833 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83125 | 0.10312 | 0.83125 | 0.14583 | 0.1081
VINYL CHLORIDE | 4440 | 39175GCM66 | 2015-03-19 | ug/L | 0.90417 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.24 | VINYL_CHLORIDE | . | 0.06 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90417 | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83125 | 0.10312 | 0.83125 | 0.14583 | 0.1081
VINYL CHLORIDE | 4440 | 39175GCM66 | 2014-12-17 | ug/L | 0.9375 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.24 | VINYL_CHLORIDE | . | 0.06 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9375 |  | 0.9375 | 0 | 0