## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
BROMACIL | 4433 | 30234GCM99 | 2014-08-20 | ug/L | 0.77882 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.321 | BROMACIL | . | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
BROMACIL | 4433 | 30234GCM99 | 2014-10-20 | ug/L | 0.82555 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.321 | BROMACIL | . | 0.16 | 0.265 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
BROMACIL | 4433 | 30234GCM99 | 2014-12-03 | ug/L | 1.1168 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.6402 | BROMACIL | . | 0.16 | 0.715 | MICROGRAMS PER LITER |  |  |  | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2015-10-01 | ug/L |  | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-11-17 | ug/L |  | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-05-08 | ug/L |  | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-02-17 | ug/L |  | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-04-15 | ug/L |  | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-05-03 | ug/L |  | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-07-07 | ug/L |  | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-08-16 | ug/L |  | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-11-22 | ug/L |  | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-12-08 | ug/L |  | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-03-07 | ug/L |  | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-04-10 | ug/L |  | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-05-04 | ug/L |  | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-05-12 | ug/L | 0.78843 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 2.3211 | BROMACIL | E | 0.8 | 1.83 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2010-08-21 | ug/L | 0.7712 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 4.318 | BROMACIL | E | 0.8 | 3.33 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2013-08-06 | ug/L | 0.68923 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 2.452 | BROMACIL | . | 0.16 | 1.69 | MICROGRAMS PER LITER |  |  |  | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
BROMACIL | 4433 | 30234GCM99 | 2013-10-22 | ug/L | 0.71633 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.49 | BROMACIL | . | 0.16 | 0.351 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-04-23 | ug/L | 0.73469 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.49 | BROMACIL | . | 0.16 | 0.36 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-06-05 | ug/L |  | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2014-09-23 | ug/L |  | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-05-07 | ug/L |  | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2014-08-20 | ug/L |  | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-04-20 | ug/L |  | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-09-29 | ug/L | 1.3134 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.2406 | BROMACIL | . | 0.16 | 0.316 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2016-01-26 | ug/L | 0.94971 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.4812 | BROMACIL | . | 0.16 | 0.457 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2015-10-02 | ug/L | 0.94763 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.2406 | BROMACIL | . | 0.16 | 0.228 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2013-02-06 | ug/L | 0.7713 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.0096 | BROMACIL | . | 0.16 | 1.55 | MICROGRAMS PER LITER |  |  |  | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2013-05-30 | ug/L | 0.94646 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0048 | BROMACIL | . | 0.16 | 0.951 | MICROGRAMS PER LITER |  |  |  | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y
BROMACIL | 4433 | 30234GCM99 | 2010-12-14 | ug/L |  | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-02-18 | ug/L |  | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-06-28 | ug/L |  | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-08-06 | ug/L |  | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2011-08-17 | ug/L |  | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-02-01 | ug/L |  | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-03-06 | ug/L |  | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-03-07 | ug/L |  | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-05-04 | ug/L |  | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-05-22 | ug/L |  | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-05-19 | ug/L |  | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl |  | BROMACIL | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2014-09-17 | ug/L | 0.98131 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.321 | BROMACIL | . | 0.16 | 0.315 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
BROMACIL | 4433 | 30234GCM99 | 2015-02-26 | ug/L | 1.1324 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.642 | BROMACIL | . | 0.16 | 0.727 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
BROMACIL | 4433 | 30234GCM99 | 2014-07-16 | ug/L | 0.78569 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.6402 | BROMACIL | . | 0.16 | 0.503 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2013-12-04 | ug/L | 0.95355 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4908 | BROMACIL | . | 0.16 | 0.468 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
BROMACIL | 4433 | 30234GCM99 | 2014-04-23 | ug/L | 0.83741 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.4908 | BROMACIL | . | 0.16 | 0.411 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
BROMACIL | 4433 | 30234GCM99 | 2013-08-15 | ug/L |  | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-10-16 | ug/L |  | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2016-01-13 | ug/L |  | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-08-24 | ug/L | 0.896 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | BROMACIL | . | 0.16 | 0.448 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2012-12-18 | ug/L | 1.022 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | BROMACIL | . | 0.16 | 0.511 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2012-07-29 | ug/L |  | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB045 | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-12-15 | ug/L | 0.78196 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 2.4298 | BROMACIL | . | 0.16 | 1.9 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-04-14 | ug/L | 1.0831 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.97864 | BROMACIL | . | 0.16 | 1.06 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-07-07 | ug/L | 0.79098 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.976 | BROMACIL | . | 0.16 | 0.772 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-08-17 | ug/L | 0.94262 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.904 | BROMACIL | . | 0.16 | 3.68 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-11-22 | ug/L | 0.88627 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.976 | BROMACIL | . | 0.16 | 0.865 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2012-01-16 | ug/L | 1.0476 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.904 | BROMACIL | . | 0.16 | 4.09 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2012-03-06 | ug/L | 0.87295 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 2.44 | BROMACIL | . | 0.16 | 2.13 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2012-03-07 | ug/L | 1.0451 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.976 | BROMACIL | . | 0.16 | 1.02 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2012-04-10 | ug/L | 0.90164 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 2.44 | BROMACIL | . | 0.16 | 2.2 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2012-07-27 | ug/L | 0.97592 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 3.904 | BROMACIL | . | 0.16 | 3.81 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2010-08-18 | ug/L | 0.8179 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1029 | BROMACIL | . | 0.8 | 1.72 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2010-09-29 | ug/L | 0.81056 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1467 | BROMACIL | . | 0.8 | 1.74 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2014-07-17 | ug/L | 0.67913 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.321 | BROMACIL | . | 0.16 | 0.218 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-12-04 | ug/L | 0.93769 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.642 | BROMACIL | . | 0.16 | 0.602 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-08-21 | ug/L | 0.96262 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.321 | BROMACIL | . | 0.16 | 0.309 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
BROMACIL | 4433 | 30234GCM99 | 2014-09-23 | ug/L | 0.78193 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.642 | BROMACIL | . | 0.16 | 0.502 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
BROMACIL | 4433 | 30234GCM99 | 2015-04-22 | ug/L | 0.88785 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.321 | BROMACIL | . | 0.16 | 0.285 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
BROMACIL | 4433 | 30234GCM99 | 2015-09-30 | ug/L | 1.1596 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.4812 | BROMACIL | . | 0.16 | 0.558 | MICROGRAMS PER LITER |  |  |  | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2016-01-12 | ug/L | 0.86035 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.9624 | BROMACIL | . | 0.16 | 0.828 | MICROGRAMS PER LITER |  |  |  | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2015-10-15 | ug/L | 0.90833 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | BROMACIL | . | 0.16 | 0.218 | MICROGRAMS PER LITER |  |  |  | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y
BROMACIL | 4433 | 30234GCM99 | 2013-09-26 | ug/L | 0.89242 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.4908 | BROMACIL | . | 0.16 | 0.438 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y
BROMACIL | 4433 | 30234GCM99 | 2013-06-12 | ug/L | 0.84898 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 1.225 | BROMACIL | . | 0.16 | 1.04 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-02-05 | ug/L | 0.70816 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.49 | BROMACIL | . | 0.16 | 0.347 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2013-11-14 | ug/L |  | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2014-04-23 | ug/L |  | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2013-06-14 | ug/L |  | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-12-12 | ug/L | 0.79021 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0048 | BROMACIL | . | 0.16 | 0.794 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2013-05-29 | ug/L |  | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2012-12-20 | ug/L | 0.655 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | BROMACIL | . | 0.16 | 0.655 | MICROGRAMS PER LITER |  |  |  | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2012-09-18 | ug/L |  | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-03-11 | ug/L |  | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl |  | BROMACIL | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-07-23 | ug/L |  | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | BROMACIL | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-07-15 | ug/L | 0.7222 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | BROMACIL | E | 0.8 | 0.69 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2010-08-20 | ug/L | 0.90218 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | BROMACIL | E | 0.8 | 0.88 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-05-19 | ug/L | 1.1703 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | BROMACIL | . | 0.16 | 0.943 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-10-18 | ug/L | 0.96875 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | BROMACIL | . | 0.16 | 1.24 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2010-07-20 | ug/L |  | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl |  | BROMACIL | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-08-20 | ug/L |  | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl |  | BROMACIL | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-08-20 | ug/L |  | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl |  | BROMACIL | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2014-07-08 | ug/L |  | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2014-09-11 | ug/L |  | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2014-11-05 | ug/L |  | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-01-27 | ug/L |  | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-07-22 | ug/L | 1.0688 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.48 | BROMACIL | . | 0.16 | 0.513 | MICROGRAMS PER LITER |  |  |  | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2015-11-17 | ug/L | 1.05 | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.24 | BROMACIL | . | 0.16 | 0.252 | MICROGRAMS PER LITER |  |  |  | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2012-07-31 | ug/L | 0.98726 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5024 | BROMACIL | . | 0.16 | 0.496 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2013-03-27 | ug/L | 0.65884 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5024 | BROMACIL | . | 0.16 | 0.331 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2012-12-19 | ug/L |  | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2013-02-07 | ug/L |  | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2013-08-01 | ug/L | 0.49307 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 2.454 | BROMACIL | . | 0.16 | 1.21 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
BROMACIL | 4433 | 30234GCM99 | 2014-04-22 | ug/L | 0.75998 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.4908 | BROMACIL | . | 0.16 | 0.373 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
BROMACIL | 4433 | 30234GCM99 | 2013-11-14 | ug/L | 0.82041 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.49 | BROMACIL | . | 0.16 | 0.402 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-02-05 | ug/L |  | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2013-08-08 08:00 | ug/L |  | 2013-08-08 08:00 | 20132210039 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | BROMACIL | R | 0.16 |  | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | Deleted Values | N
BROMACIL | 4433 | 30234GCM99 | 2014-04-24 | ug/L |  | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2013-03-28 | ug/L | 0.715 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | BROMACIL | . | 0.16 | 1.43 | MICROGRAMS PER LITER |  |  |  | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-05-22 | ug/L | 0.75914 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.3201 | BROMACIL | . | 0.16 | 0.243 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-07-09 | ug/L | 0.81537 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.3201 | BROMACIL | . | 0.16 | 0.261 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2015-04-21 | ug/L | 1.2996 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.3201 | BROMACIL | . | 0.16 | 0.416 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-04-24 | ug/L | 0.7154 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.3201 | BROMACIL | E | 0.16 | 0.229 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2014-06-04 | ug/L | 0.47329 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.6402 | BROMACIL | E | 0.16 | 0.303 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
BROMACIL | 4433 | 30234GCM99 | 2014-10-21 | ug/L | 0.80287 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.6402 | BROMACIL | . | 0.16 | 0.514 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
BROMACIL | 4433 | 30234GCM99 | 2015-11-05 | ug/L | 1.0495 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.9624 | BROMACIL | . | 0.16 | 1.01 | MICROGRAMS PER LITER |  |  |  | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y
BROMACIL | 4433 | 30234GCM99 | 2015-07-09 | ug/L |  | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2015-09-29 | ug/L | 1.2167 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.24 | BROMACIL | . | 0.16 | 0.292 | MICROGRAMS PER LITER |  |  |  | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y
BROMACIL | 4433 | 30234GCM99 | 2016-01-14 | ug/L | 1.0125 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.48 | BROMACIL | . | 0.16 | 0.486 | MICROGRAMS PER LITER |  |  |  | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y
BROMACIL | 4433 | 30234GCM99 | 2011-02-03 | ug/L | 0.86799 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.98733 | BROMACIL | . | 0.16 | 0.857 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-04-26 | ug/L | 0.75982 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.9897 | BROMACIL | . | 0.16 | 0.752 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-06-29 | ug/L | 0.74582 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 3.9286 | BROMACIL | . | 0.16 | 2.93 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-08-07 | ug/L | 0.80051 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 3.96 | BROMACIL | . | 0.16 | 3.17 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-10-04 | ug/L | 0.98384 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.99 | BROMACIL | . | 0.16 | 0.974 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2011-11-22 | ug/L | 0.73131 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 2.475 | BROMACIL | . | 0.16 | 1.81 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2012-03-01 | ug/L | 0.81313 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.99 | BROMACIL | . | 0.16 | 0.805 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2012-07-26 | ug/L | 0.77172 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.99 | BROMACIL | . | 0.16 | 0.764 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
BROMACIL | 4433 | 30234GCM99 | 2012-07-28 | ug/L |  | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl |  | BROMACIL | < | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  |  | Supelco LB92782 | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-05-13 | ug/L |  | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl |  | BROMACIL | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N
BROMACIL | 4433 | 30234GCM99 | 2010-08-18 | ug/L |  | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl |  | BROMACIL | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2013-12-10 | ng/L |  | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-07-08 | ng/L | 0.7 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 0.024 | BROMACIL | . | 6 | 16.8 | NANOGRAMS PER LITER |  |  |  | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-08-16 | ng/L | 0.91667 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 0.012 | BROMACIL | . | 6 | 11 | NANOGRAMS PER LITER |  |  |  | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y
BROMACIL | 2437 | 68542LCM60 | 2014-01-23 | ng/L |  | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-07-19 | ng/L |  | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-12-02 | ng/L |  | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-08-20 | ng/L | 0.95 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 0.012 | BROMACIL | . | 6 | 11.4 | NANOGRAMS PER LITER |  |  |  | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-09-23 | ng/L | 0.88666 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 0.011955 | BROMACIL | . | 6 | 10.6 | NANOGRAMS PER LITER |  |  |  | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-11-18 | ng/L | 0.94939 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 0.02391 | BROMACIL | . | 6 | 22.7 | NANOGRAMS PER LITER |  |  |  | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2015-04-08 | ng/L | 0.82643 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 0.011955 | BROMACIL | . | 6 | 9.88 | NANOGRAMS PER LITER |  |  |  | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2013-09-29 | ng/L |  | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2013-12-19 | ng/L |  | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl |  | BROMACIL | < | 6 | 10 | NANOGRAMS PER LITER |  |  |  | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-12-16 | ng/L | 0.9375 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 0.024 | BROMACIL | . | 6 | 22.5 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2015-04-15 | ng/L |  | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-05-17 | ng/L | 1.238 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 0.011955 | BROMACIL | E | 6 | 14.8 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-06-11 | ng/L | 1.079 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 0.04782 | BROMACIL | . | 6 | 51.6 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-06-26 | ng/L | 1.3174 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 0.02391 | BROMACIL | E | 6 | 31.5 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-07-24 | ng/L | 1.2714 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 0.011955 | BROMACIL | . | 6 | 15.2 | NANOGRAMS PER LITER |  |  |  | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-10-07 | ng/L | 1.0372 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 0.011955 | BROMACIL | . | 6 | 12.4 | NANOGRAMS PER LITER |  |  |  | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-12-02 | ng/L | 0.86993 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 0.02391 | BROMACIL | . | 6 | 20.8 | NANOGRAMS PER LITER |  |  |  | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-09-04 | ng/L | 0.61062 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 0.02391 | BROMACIL | E | 6 | 14.6 | NANOGRAMS PER LITER |  |  |  | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y
BROMACIL | 2437 | 68542LCM60 | 2014-09-10 | ng/L | 1.0707 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 0.011955 | BROMACIL | E | 6 | 12.8 | NANOGRAMS PER LITER |  |  |  | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y
BROMACIL | 2437 | 68542LCM60 | 2015-07-15 | ng/L |  | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 |  | BROMACIL | < | 6 | 10 | NANOGRAMS PER LITER |  |  |  | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2015-08-12 | ng/L |  | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 0.01782 | BROMACIL | < | 6 | 15.3 | NANOGRAMS PER LITER |  |  |  | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | False Negatives | N
BROMACIL | 2437 | 68542LCM60 | 2015-08-12 | ng/L | 0.87542 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 0.01782 | BROMACIL | . | 6 | 15.6 | NANOGRAMS PER LITER |  |  |  | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y
BROMACIL | 2437 | 68542LCM60 | 2015-08-12 | ng/L | 0.54545 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 0.01782 | BROMACIL | . | 6 | 9.72 | NANOGRAMS PER LITER |  |  |  | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y
BROMACIL | 2437 | 68542LCM60 | 2014-01-10 | ng/L |  | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-07-31 | ng/L |  | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2015-04-09 | ng/L |  | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl |  | BROMACIL | < | 6 | 6.66 | NANOGRAMS PER LITER |  |  |  | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-08-17 | ng/L |  | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-10-07 | ng/L |  | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2015-08-04 | ng/L | 1.1209 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 0.0091 | BROMACIL | . | 6 | 10.2 | NANOGRAMS PER LITER |  |  |  | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2015-08-11 | ng/L | 0.72615 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 0.00891 | BROMACIL | . | 6 | 6.47 | NANOGRAMS PER LITER |  |  |  | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y
BROMACIL | 2437 | 68542LCM60 | 2015-08-11 | ng/L | 0.98092 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 0.00891 | BROMACIL | . | 6 | 8.74 | NANOGRAMS PER LITER |  |  |  | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y
BROMACIL | 2437 | 68542LCM60 | 2015-08-11 | ng/L | 0.49383 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 0.00891 | BROMACIL | . | 6 | 4.4 | NANOGRAMS PER LITER |  |  |  | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y
BROMACIL | 2437 | 68542LCM60 | 2014-04-24 | ng/L |  | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-05-03 | ng/L |  | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-05-29 | ng/L |  | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-06-05 | ng/L |  | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl |  | BROMACIL | < | 6 | 6.66 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-06-18 | ng/L |  | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl |  | BROMACIL | < | 6 | 10 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-07-02 | ng/L |  | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2014-02-06 | ng/L | 0.952 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 0.5 | BROMACIL | . | 6 | 476 | NANOGRAMS PER LITER |  |  |  | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y
BROMACIL | 2437 | 68542LCM60 | 2013-10-31 | ng/L | 0.896 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 0.5 | BROMACIL | . | 6 | 448 | NANOGRAMS PER LITER |  |  |  | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y
BROMACIL | 2437 | 68542LCM60 | 2014-03-04 | ng/L | 0.73 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 0.5 | BROMACIL | . | 6 | 365 | NANOGRAMS PER LITER |  |  |  | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y
BROMACIL | 2437 | 68542LCM60 | 2014-02-19 | ng/L |  | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2013-11-07 | ng/L |  | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl |  | BROMACIL | < | 6 | 6 | NANOGRAMS PER LITER |  |  |  | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2013-12-18 | ng/L |  | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl |  | BROMACIL | < | 6 | 10 | NANOGRAMS PER LITER |  |  |  | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | N | < Reporting Level | N
BROMACIL | 2437 | 68542LCM60 | 2013-11-21 | ng/L | 0.92 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 0.5 | BROMACIL | . | 6 | 460 | NANOGRAMS PER LITER |  |  |  | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y