## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
COTININE | 4433 | 61945GCM99 | 2014-08-20 | ug/L | 0.40025 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1599 | COTININE | E | 0.08 | 0.064 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
COTININE | 4433 | 61945GCM99 | 2014-10-20 | ug/L | 0.28143 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1599 | COTININE | E | 0.08 | 0.045 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
COTININE | 4433 | 61945GCM99 | 2014-12-03 | ug/L | 0.74109 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.3198 | COTININE | E | 0.08 | 0.237 | MICROGRAMS PER LITER |  |  |  | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-10-01 | ug/L |  | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.24 | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y | False Negatives | N
COTININE | 4433 | 61945GCM99 | 2015-11-17 | ug/L | 0.475 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.12 | COTININE | E | 0.08 | 0.057 | MICROGRAMS PER LITER |  |  |  | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y
COTININE | 4433 | 61945GCM99 | 2015-05-08 | ug/L | 0.80833 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.12 | COTININE | E | 0.08 | 0.097 | MICROGRAMS PER LITER |  |  |  | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2011-02-17 | ug/L |  | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-04-15 | ug/L |  | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-05-03 | ug/L |  | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-07-07 | ug/L |  | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-08-16 | ug/L |  | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-11-22 | ug/L |  | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-12-08 | ug/L |  | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-03-07 | ug/L |  | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-04-10 | ug/L |  | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-05-04 | ug/L |  | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2010-05-12 | ug/L | 0.085061 | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl | 0.97577 | COTININE | E | 0.8 | 0.083 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2010-08-21 | ug/L | 0.19832 | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl | 1.8153 | COTININE | E | 0.8 | 0.36 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2013-08-06 | ug/L | 0.22047 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.71 | COTININE | E | 0.08 | 0.377 | MICROGRAMS PER LITER |  |  |  | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
COTININE | 4433 | 61945GCM99 | 2013-10-22 | ug/L | 0.34503 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.342 | COTININE | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2014-04-23 | ug/L |  | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.342 | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | False Negatives | N
COTININE | 4433 | 61945GCM99 | 2014-06-05 | ug/L |  | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1599 | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y | False Negatives | N
COTININE | 4433 | 61945GCM99 | 2014-09-23 | ug/L | 0.30019 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.3198 | COTININE | E | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-05-07 | ug/L | 0.58787 | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1599 | COTININE | E | 0.08 | 0.094 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2014-08-20 | ug/L | 0.13158 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.3192 | COTININE | E | 0.08 | 0.042 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-04-20 | ug/L | 0.11905 | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl | 0.1596 | COTININE | E | 0.08 | 0.019 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-09-29 | ug/L | 0.78333 | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl | 0.12 | COTININE | E | 0.08 | 0.094 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2016-01-26 | ug/L | 0.50417 | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl | 0.24 | COTININE | E | 0.08 | 0.121 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-10-02 | ug/L | 0.28814 | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl | 0.118 | COTININE | E | 0.08 | 0.034 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2013-02-06 | ug/L | 0.3117 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.2448 | COTININE | E | 0.08 | 0.388 | MICROGRAMS PER LITER |  |  |  | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2013-05-30 | ug/L | 0.56234 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6224 | COTININE | E | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  |  | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y
COTININE | 4433 | 61945GCM99 | 2010-12-14 | ug/L |  | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-02-18 | ug/L |  | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | COTININE | < | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-06-28 | ug/L |  | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-08-06 | ug/L |  | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-08-17 | ug/L |  | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-02-01 | ug/L |  | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-03-06 | ug/L |  | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-03-07 | ug/L |  | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-05-04 | ug/L |  | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-05-22 | ug/L |  | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2010-05-19 | ug/L |  | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl |  | COTININE | U | 0.8 |  | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | Deleted Values | N
COTININE | 4433 | 61945GCM99 | 2014-09-17 | ug/L | 0.49499 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1596 | COTININE | E | 0.08 | 0.079 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
COTININE | 4433 | 61945GCM99 | 2015-02-26 | ug/L | 0.45426 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.3192 | COTININE | E | 0.08 | 0.145 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
COTININE | 4433 | 61945GCM99 | 2014-07-16 | ug/L | 0.30702 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.3192 | COTININE | E | 0.08 | 0.098 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2013-12-04 | ug/L | 0.47076 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.342 | COTININE | E | 0.08 | 0.161 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
COTININE | 4433 | 61945GCM99 | 2014-04-23 | ug/L |  | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.342 | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | False Negatives | N
COTININE | 4433 | 61945GCM99 | 2013-08-15 | ug/L |  | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2015-10-16 | ug/L | 0.45763 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.472 | COTININE | E | 0.08 | 0.216 | MICROGRAMS PER LITER |  |  |  | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y
COTININE | 4433 | 61945GCM99 | 2016-01-13 | ug/L | 0.25847 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.236 | COTININE | E | 0.08 | 0.061 | MICROGRAMS PER LITER |  |  |  | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2012-08-24 | ug/L |  | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | COTININE | < | 0.08 | 0.095 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | False Negatives | N
COTININE | 4433 | 61945GCM99 | 2012-12-18 | ug/L | 0.39333 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.3 | COTININE | E | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2012-07-29 | ug/L |  | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB045 | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2010-12-15 | ug/L | 0.3951 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.6447 | COTININE | E | 0.08 | 1.44 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-04-14 | ug/L | 0.72209 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.468 | COTININE | E | 0.08 | 1.06 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-07-07 | ug/L | 0.43169 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.464 | COTININE | E | 0.08 | 0.632 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-08-17 | ug/L | 0.45594 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.856 | COTININE | E | 0.08 | 2.67 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-11-22 | ug/L | 0.31011 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.464 | COTININE | E | 0.08 | 0.454 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2012-01-16 | ug/L | 0.35348 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.856 | COTININE | E | 0.08 | 2.07 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2012-03-06 | ug/L | 0.47814 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.66 | COTININE | E | 0.08 | 1.75 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2012-03-07 | ug/L | 0.42077 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 1.464 | COTININE | E | 0.08 | 0.616 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2012-04-10 | ug/L | 0.5929 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 3.66 | COTININE | E | 0.08 | 2.17 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2012-07-27 | ug/L | 0.514 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 5.856 | COTININE | E | 0.08 | 3.01 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2010-08-18 | ug/L | 0.38274 | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.89094 | COTININE | E | 0.8 | 0.341 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2010-09-29 | ug/L | 0.56517 | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.90946 | COTININE | E | 0.8 | 0.514 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2014-07-17 | ug/L |  | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2014-12-04 | ug/L |  | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2014-08-21 | ug/L |  | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl |  | COTININE | U | 0.08 |  | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | N | Deleted Values | N
COTININE | 4433 | 61945GCM99 | 2014-09-23 | ug/L |  | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2015-04-22 | ug/L |  | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2015-09-30 | ug/L |  | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2016-01-12 | ug/L |  | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2015-10-15 | ug/L |  | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2013-09-26 | ug/L | 0.61404 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.342 | COTININE | E | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y
COTININE | 4433 | 61945GCM99 | 2013-06-12 | ug/L | 0.29825 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.855 | COTININE | E | 0.08 | 0.255 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
COTININE | 4433 | 61945GCM99 | 2014-02-05 | ug/L | 0.17251 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.342 | COTININE | E | 0.08 | 0.059 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
COTININE | 4433 | 61945GCM99 | 2013-11-14 | ug/L |  | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2014-04-23 | ug/L |  | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2013-06-14 | ug/L |  | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-12-12 | ug/L | 0.12371 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6224 | COTININE | E | 0.08 | 0.077 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2013-05-29 | ug/L |  | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2012-12-20 | ug/L | 0.23667 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | COTININE | E | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  |  | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2012-09-18 | ug/L |  | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2010-03-11 | ug/L |  | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl |  | COTININE | U | 0.8 |  | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | Deleted Values | N
COTININE | 4433 | 61945GCM99 | 2010-07-23 | ug/L |  | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | COTININE | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2010-07-15 | ug/L | 0.048147 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | COTININE | E | 0.8 | 0.023 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2010-08-20 | ug/L | 0.43059 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | COTININE | E | 0.8 | 0.21 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-05-19 | ug/L | 0.47888 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.34247 | COTININE | E | 0.08 | 0.164 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-10-18 | ug/L | 0.52757 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.544 | COTININE | E | 0.08 | 0.287 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2010-07-20 | ug/L |  | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl |  | COTININE | U | 0.8 |  | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | Deleted Values | N
COTININE | 4433 | 61945GCM99 | 2010-08-20 | ug/L |  | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl |  | COTININE | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2010-08-20 | ug/L |  | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl |  | COTININE | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2014-07-08 | ug/L | 0.5566 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.3198 | COTININE | E | 0.08 | 0.178 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2014-09-11 | ug/L | 0.53784 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.1599 | COTININE | E | 0.08 | 0.086 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2014-11-05 | ug/L | 0.6485 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.3192 | COTININE | E | 0.08 | 0.207 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-01-27 | ug/L | 0.401 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.1596 | COTININE | E | 0.08 | 0.064 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-07-22 | ug/L | 0.55 | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl | 0.24 | COTININE | E | 0.08 | 0.132 | MICROGRAMS PER LITER |  |  |  | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-11-17 | ug/L |  | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl | 0.118 | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | Y | False Negatives | N
COTININE | 4433 | 61945GCM99 | 2012-07-31 | ug/L | 0.56234 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3112 | COTININE | E | 0.08 | 0.175 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2013-03-27 | ug/L | 0.22494 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3112 | COTININE | E | 0.08 | 0.07 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2012-12-19 | ug/L |  | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2013-02-07 | ug/L |  | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2013-08-01 | ug/L | 0.1152 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.71 | COTININE | E | 0.08 | 0.197 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
COTININE | 4433 | 61945GCM99 | 2014-04-22 | ug/L | 0.18421 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.342 | COTININE | E | 0.08 | 0.063 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
COTININE | 4433 | 61945GCM99 | 2013-11-14 | ug/L | 0.50585 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.342 | COTININE | E | 0.08 | 0.173 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y
COTININE | 4433 | 61945GCM99 | 2014-02-05 | ug/L |  | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2013-08-08 08:00 | ug/L |  | 2013-08-08 08:00 | 20132210039 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | COTININE | R | 0.08 |  | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | Deleted Values | N
COTININE | 4433 | 61945GCM99 | 2014-04-24 | ug/L |  | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2013-03-28 | ug/L | 0.28917 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1.2 | COTININE | E | 0.08 | 0.347 | MICROGRAMS PER LITER |  |  |  | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2014-05-22 | ug/L |  | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.1599 | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y | False Negatives | N
COTININE | 4433 | 61945GCM99 | 2014-07-09 | ug/L |  | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2015-04-21 | ug/L |  | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2014-04-24 | ug/L |  | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.1596 | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y | False Negatives | N
COTININE | 4433 | 61945GCM99 | 2014-06-04 | ug/L |  | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2014-10-21 | ug/L |  | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl |  | COTININE | E | 0.08 | 0.029 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | N |  | N
COTININE | 4433 | 61945GCM99 | 2015-11-05 | ug/L |  | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2015-07-09 | ug/L | 0.62712 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.118 | COTININE | E | 0.08 | 0.074 | MICROGRAMS PER LITER |  |  |  | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y
COTININE | 4433 | 61945GCM99 | 2015-09-29 | ug/L |  | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2016-01-14 | ug/L |  | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl |  | COTININE | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | N | < Reporting Level | N
COTININE | 4433 | 61945GCM99 | 2011-02-03 | ug/L | 0.45712 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.481 | COTININE | E | 0.08 | 0.677 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-04-26 | ug/L | 0.5564 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.4846 | COTININE | E | 0.08 | 0.826 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-06-29 | ug/L | 0.49721 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 5.8929 | COTININE | E | 0.08 | 2.93 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-08-07 | ug/L | 0.55556 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 5.94 | COTININE | E | 0.08 | 3.3 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-10-04 | ug/L | 0.43973 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.485 | COTININE | E | 0.08 | 0.653 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2011-11-22 | ug/L | 0.14599 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 3.7125 | COTININE | E | 0.08 | 0.542 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2012-03-01 | ug/L | 0.54276 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.485 | COTININE | E | 0.08 | 0.806 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2012-07-26 | ug/L | 0.58451 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 1.485 | COTININE | E | 0.08 | 0.868 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
COTININE | 4433 | 61945GCM99 | 2012-07-28 | ug/L |  | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl |  | COTININE | U | 0.08 |  | MICROGRAMS PER LITER |  |  |  | Supelco LB92782 | [9 empty] | N | Deleted Values | N
COTININE | 4433 | 61945GCM99 | 2010-05-13 | ug/L |  | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl |  | COTININE | U | 0.8 |  | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | Deleted Values | N
COTININE | 4433 | 61945GCM99 | 2010-08-18 | ug/L |  | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl |  | COTININE | < | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-05-17 | ng/L |  | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-06-11 | ng/L |  | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-06-28 | ng/L |  | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-09-12 | ng/L |  | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-10-25 | ng/L |  | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2015-02-10 | ng/L |  | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl |  | COTININE | . | 6.37 | 3.99 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | N |  | N
COTININE | 2440 | 67444LCM56 | 2015-04-30 | ng/L |  | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-05-21 | ng/L | 0.86362 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 0.02559 | COTININE | . | 6.37 | 22.1 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-07-12 | ng/L | 0.9066 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 0.02559 | COTININE | . | 6.37 | 23.2 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-10-10 | ng/L | 0.72841 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 0.012795 | COTININE | . | 6.37 | 9.32 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-11-04 | ng/L | 0.76471 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 0.0136 | COTININE | . | 6.37 | 10.4 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
COTININE | 2440 | 67444LCM56 | 2014-12-06 | ng/L | 0.73725 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 0.0255 | COTININE | E | 6.37 | 18.8 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
COTININE | 2440 | 67444LCM56 | 2015-01-16 | ng/L | 0.86667 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 0.0255 | COTININE | . | 6.37 | 22.1 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
COTININE | 2440 | 67444LCM56 | 2015-05-07 | ng/L | 0.97647 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 0.0255 | COTININE | . | 6.37 | 24.9 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
COTININE | 2440 | 67444LCM56 | 2014-05-30 | ng/L | 0.88316 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 0.012795 | COTININE | . | 6.37 | 11.3 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-06-22 | ng/L | 1.0512 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 0.02559 | COTININE | . | 6.37 | 26.9 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-07-13 | ng/L | 0.93787 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 0.012795 | COTININE | . | 6.37 | 12 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-10-10 | ng/L | 0.61743 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 0.012795 | COTININE | E | 6.37 | 7.9 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
COTININE | 2440 | 67444LCM56 | 2014-11-04 | ng/L | 0.66383 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 0.013648 | COTININE | . | 6.37 | 9.06 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
COTININE | 2440 | 67444LCM56 | 2015-02-06 | ng/L | 0.79328 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 0.02559 | COTININE | . | 6.37 | 20.3 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
COTININE | 2440 | 67444LCM56 | 2015-07-30 | ng/L | 0.74719 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 0.019272 | COTININE | . | 6.37 | 14.4 | NANOGRAMS PER LITER |  |  |  | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2015-08-11 | ng/L |  | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 0.0096361 | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | False Negatives | N
COTININE | 2440 | 67444LCM56 | 2015-07-09 | ng/L | 0.81465 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 0.0096361 | COTININE | . | 6.37 | 7.85 | NANOGRAMS PER LITER |  |  |  | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2015-06-09 | ng/L | 0.62474 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 0.0096361 | COTININE | . | 6.37 | 6.02 | NANOGRAMS PER LITER |  |  |  | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y
COTININE | 2440 | 67444LCM56 | 2015-06-26 | ng/L |  | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl |  | COTININE | . | 6.37 | 0.48 | NANOGRAMS PER LITER |  |  |  | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | N |  | N
COTININE | 2440 | 67444LCM56 | 2015-07-31 | ng/L |  | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2015-10-01 | ng/L |  | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2015-09-10 | ng/L |  | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 0.019 | COTININE | < | 6.37 | 11.9 | NANOGRAMS PER LITER |  |  |  | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | False Negatives | N
COTININE | 2440 | 67444LCM56 | 2014-07-20 | ng/L |  | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-08-21 | ng/L |  | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2015-03-11 | ng/L |  | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-10-11 | ng/L |  | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-12-06 | ng/L |  | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-12-07 | ng/L |  | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2014-08-30 | ng/L | 0.88627 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 0.01275 | COTININE | E | 6.37 | 11.3 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y
COTININE | 2440 | 67444LCM56 | 2014-10-11 | ng/L | 0.61035 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 0.013648 | COTININE | E | 6.37 | 8.33 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y
COTININE | 2440 | 67444LCM56 | 2015-03-10 | ng/L | 0.77374 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 0.02559 | COTININE | . | 6.37 | 19.8 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y
COTININE | 2440 | 67444LCM56 | 2015-04-10 | ng/L | 0.84261 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 0.013648 | COTININE | . | 6.37 | 11.5 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-07-13 | ng/L |  | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 0.01275 | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | False Negatives | N
COTININE | 2440 | 67444LCM56 | 2014-08-16 | ng/L | 0.56157 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 0.01275 | COTININE | . | 6.37 | 7.16 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y
COTININE | 2440 | 67444LCM56 | 2014-08-28 | ng/L | 0.65098 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 0.0255 | COTININE | E | 6.37 | 16.6 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y
COTININE | 2440 | 67444LCM56 | 2014-10-24 | ng/L | 0.91176 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 0.0136 | COTININE | E | 6.37 | 12.4 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-12-07 | ng/L | 0.80392 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 0.0255 | COTININE | E | 6.37 | 20.5 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
COTININE | 2440 | 67444LCM56 | 2015-03-10 | ng/L | 0.78824 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 0.0255 | COTININE | . | 6.37 | 20.1 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
COTININE | 2440 | 67444LCM56 | 2015-04-29 | ng/L | 0.93333 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 0.0255 | COTININE | . | 6.37 | 23.8 | NANOGRAMS PER LITER |  |  |  | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y
COTININE | 2440 | 67444LCM56 | 2015-10-01 | ng/L | 0.68947 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 0.038 | COTININE | . | 6.37 | 26.2 | NANOGRAMS PER LITER |  |  |  | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y
COTININE | 2440 | 67444LCM56 | 2015-09-15 | ng/L |  | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 0.0095 | COTININE | < | 6.37 | 7.12 | NANOGRAMS PER LITER |  |  |  | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | False Negatives | N
COTININE | 2440 | 67444LCM56 | 2015-10-01 | ng/L | 0.54105 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 0.0095 | COTININE | . | 6.37 | 5.14 | NANOGRAMS PER LITER |  |  |  | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y
COTININE | 2440 | 67444LCM56 | 2015-09-09 | ng/L |  | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2015-10-01 | ng/L |  | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl |  | COTININE | < | 6.37 | 6.37 | NANOGRAMS PER LITER |  |  |  | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | N | < Reporting Level | N
COTININE | 2440 | 67444LCM56 | 2015-07-31 | ng/L | 1.043 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 0.019272 | COTININE | . | 6.37 | 20.1 | NANOGRAMS PER LITER |  |  |  | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y
COTININE | 2440 | 67444LCM56 | 2014-04-23 | ng/L | 0.92667 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 0.015 | COTININE | . | 6.37 | 13.9 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y