## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
ISOPHORONE | 4433 | 34408GCM99 | 2014-08-20 | ug/L | 0.8631 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.087 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-10-20 | ug/L | 0.92262 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.093 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-12-03 | ug/L | 1.0075 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1995 | ISOPHORONE | . | 0.05 | 0.201 | MICROGRAMS PER LITER |  |  |  | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-10-01 | ug/L | 1.0686 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.1516 | ISOPHORONE | . | 0.05 | 0.162 | MICROGRAMS PER LITER |  |  |  | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-11-17 | ug/L | 1.0158 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.0758 | ISOPHORONE | . | 0.05 | 0.077 | MICROGRAMS PER LITER |  |  |  | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-05-08 | ug/L | 1.1052 | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.0751 | ISOPHORONE | . | 0.05 | 0.083 | MICROGRAMS PER LITER |  |  |  | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-02-17 | ug/L | 0.77714 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.59963 | ISOPHORONE | . | 0.04 | 0.466 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-04-15 | ug/L | 0.9712 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4724 | ISOPHORONE | . | 0.04 | 1.43 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-05-03 | ug/L | 0.87606 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.57873 | ISOPHORONE | . | 0.04 | 0.507 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-07-07 | ug/L | 0.77767 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.4788 | ISOPHORONE | . | 0.04 | 1.15 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-16 | ug/L | 0.7926 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.04 | 0.467 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-11-22 | ug/L | 0.90377 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.3568 | ISOPHORONE | . | 0.05 | 2.13 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-12-08 | ug/L | 0.74168 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.05 | 0.437 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-07 | ug/L | 0.93686 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.473 | ISOPHORONE | . | 0.05 | 1.38 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-04-10 | ug/L | 0.9776 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5892 | ISOPHORONE | . | 0.05 | 0.576 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-04 | ug/L | 0.81466 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.473 | ISOPHORONE | . | 0.05 | 1.2 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2010-05-12 | ug/L |  | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-08-21 | ug/L |  | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2013-08-06 | ug/L | 0.7619 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.378 | ISOPHORONE | . | 0.05 | 0.288 | MICROGRAMS PER LITER |  |  |  | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-10-22 | ug/L | 0.77632 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.059 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-23 | ug/L | 0.80263 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.061 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-06-05 | ug/L |  | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2014-09-23 | ug/L |  | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2015-05-07 | ug/L |  | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2014-08-20 | ug/L |  | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2015-04-20 | ug/L |  | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2015-09-29 | ug/L |  | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2016-01-26 | ug/L |  | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2015-10-02 | ug/L |  | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2013-02-06 | ug/L | 0.83966 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 1.0016 | ISOPHORONE | . | 0.05 | 0.841 | MICROGRAMS PER LITER |  |  |  | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-05-30 | ug/L | 0.97045 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.5008 | ISOPHORONE | . | 0.05 | 0.486 | MICROGRAMS PER LITER |  |  |  | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2010-12-15 | ug/L | 0.86234 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.57634 | ISOPHORONE | . | 0.04 | 0.497 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-02-18 | ug/L | 0.87824 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5716 | ISOPHORONE | . | 0.04 | 0.502 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-06-28 | ug/L | 0.89698 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3189 | ISOPHORONE | . | 0.04 | 2.08 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-06 | ug/L | 0.76132 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | . | 0.04 | 1.11 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-17 | ug/L | 0.87792 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5832 | ISOPHORONE | . | 0.04 | 0.512 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-02-01 | ug/L | 0.5439 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | E | 0.05 | 0.793 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-06 | ug/L | 0.84019 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3328 | ISOPHORONE | . | 0.05 | 1.96 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-07 | ug/L | 0.91049 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5832 | ISOPHORONE | . | 0.05 | 0.531 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-04 | ug/L | 0.91907 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.458 | ISOPHORONE | . | 0.05 | 1.34 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-05-22 | ug/L | 0.84448 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.3328 | ISOPHORONE | . | 0.05 | 1.97 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2010-05-19 | ug/L | 0.84745 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.1947 | ISOPHORONE | E | 0.2 | 0.165 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-09-17 | ug/L | 0.9127 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.092 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-02-26 | ug/L | 0.76885 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.2016 | ISOPHORONE | . | 0.05 | 0.155 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-07-16 | ug/L | 0.91228 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1995 | ISOPHORONE | . | 0.05 | 0.182 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-12-04 | ug/L | 1.0239 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.077 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-23 | ug/L | 0.97074 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.073 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-08-15 | ug/L |  | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2015-10-16 | ug/L | 0.93668 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.3032 | ISOPHORONE | . | 0.05 | 0.284 | MICROGRAMS PER LITER |  |  |  | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2016-01-13 | ug/L | 1.1585 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.1502 | ISOPHORONE | . | 0.05 | 0.174 | MICROGRAMS PER LITER |  |  |  | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-08-24 | ug/L | 0.78 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | ISOPHORONE | . | 0.05 | 0.195 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-18 | ug/L | 0.96 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.25 | ISOPHORONE | . | 0.05 | 0.24 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-07-29 | ug/L |  | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB045 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-12-15 | ug/L |  | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | ISOPHORONE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-04-14 | ug/L |  | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | ISOPHORONE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-07-07 | ug/L |  | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | ISOPHORONE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-17 | ug/L |  | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | ISOPHORONE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-11-22 | ug/L |  | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | ISOPHORONE | < | 0.05 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-01-16 | ug/L |  | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-06 | ug/L |  | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-07 | ug/L |  | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-04-10 | ug/L |  | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-07-27 | ug/L |  | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-08-18 | ug/L |  | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-09-29 | ug/L |  | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2014-07-17 | ug/L | 0.80357 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.081 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-12-04 | ug/L | 0.9127 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.2016 | ISOPHORONE | . | 0.05 | 0.184 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-08-21 | ug/L | 0.87302 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.088 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-09-23 | ug/L | 0.95238 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.2016 | ISOPHORONE | . | 0.05 | 0.192 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-04-22 | ug/L | 0.75397 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.1008 | ISOPHORONE | . | 0.05 | 0.076 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-09-30 | ug/L | 1.0686 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1516 | ISOPHORONE | . | 0.05 | 0.162 | MICROGRAMS PER LITER |  |  |  | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2016-01-12 | ug/L | 0.98285 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.3032 | ISOPHORONE | . | 0.05 | 0.298 | MICROGRAMS PER LITER |  |  |  | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-10-15 | ug/L | 1.0686 | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.0758 | ISOPHORONE | . | 0.05 | 0.081 | MICROGRAMS PER LITER |  |  |  | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-09-26 | ug/L | 0.98404 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.074 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-06-12 | ug/L | 0.86842 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.19 | ISOPHORONE | . | 0.05 | 0.165 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-02-05 | ug/L | 0.81579 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.062 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-11-14 | ug/L |  | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-23 | ug/L |  | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2013-06-14 | ug/L |  | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-12 | ug/L | 0.84065 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.5008 | ISOPHORONE | . | 0.05 | 0.421 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-05-29 | ug/L |  | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-20 | ug/L | 0.912 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.5 | ISOPHORONE | . | 0.05 | 0.456 | MICROGRAMS PER LITER |  |  |  | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-09-18 | ug/L |  | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-03-11 | ug/L | 0.76382 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.78029 | ISOPHORONE | . | 0.2 | 0.596 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2010-07-23 | ug/L | 0.65938 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.39279 | ISOPHORONE | . | 0.2 | 0.259 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2010-07-15 | ug/L | 0.66568 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ISOPHORONE | E | 0.2 | 0.159 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2010-08-20 | ug/L | 0.85297 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ISOPHORONE | . | 0.2 | 0.208 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-05-19 | ug/L | 1.1765 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ISOPHORONE | . | 0.04 | 0.237 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-10-18 | ug/L | 1.0469 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ISOPHORONE | . | 0.05 | 0.335 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
ISOPHORONE | 4433 | 34408GCM99 | 2010-07-20 | ug/L |  | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-08-20 | ug/L |  | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-08-20 | ug/L |  | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2014-07-08 | ug/L |  | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2014-09-11 | ug/L |  | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2014-11-05 | ug/L |  | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2015-01-27 | ug/L |  | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2015-07-22 | ug/L |  | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2015-11-17 | ug/L |  | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-07-31 | ug/L | 0.97045 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2504 | ISOPHORONE | . | 0.05 | 0.243 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-03-27 | ug/L | 0.76677 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.2504 | ISOPHORONE | . | 0.05 | 0.192 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2012-12-19 | ug/L |  | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2013-02-07 | ug/L |  | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2013-08-01 | ug/L | 0.80053 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.376 | ISOPHORONE | . | 0.05 | 0.301 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-22 | ug/L | 0.78457 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.0752 | ISOPHORONE | . | 0.05 | 0.059 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
ISOPHORONE | 4433 | 34408GCM99 | 2013-11-14 | ug/L | 0.97368 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.076 | ISOPHORONE | . | 0.05 | 0.074 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-02-05 | ug/L |  | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2013-08-08 08:00 | ug/L |  | 2013-08-08 08:00 | 20132210039 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | ISOPHORONE | R | 0.05 |  | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | Deleted Values | N
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-24 | ug/L |  | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2013-03-28 | ug/L | 0.764 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 1 | ISOPHORONE | . | 0.05 | 0.764 | MICROGRAMS PER LITER |  |  |  | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-05-22 | ug/L | 0.7619 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.09975 | ISOPHORONE | . | 0.05 | 0.076 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-07-09 | ug/L | 0.84211 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.09975 | ISOPHORONE | . | 0.05 | 0.084 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-04-21 | ug/L | 1.1629 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.09975 | ISOPHORONE | . | 0.05 | 0.116 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-04-24 | ug/L | 0.77193 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.09975 | ISOPHORONE | E | 0.05 | 0.077 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-06-04 | ug/L | 0.70175 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1995 | ISOPHORONE | E | 0.05 | 0.14 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2014-10-21 | ug/L | 0.81203 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1995 | ISOPHORONE | . | 0.05 | 0.162 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-11-05 | ug/L | 0.94208 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.3004 | ISOPHORONE | . | 0.05 | 0.283 | MICROGRAMS PER LITER |  |  |  | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-07-09 | ug/L | 0.94541 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.0751 | ISOPHORONE | . | 0.05 | 0.071 | MICROGRAMS PER LITER |  |  |  | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y
ISOPHORONE | 4433 | 34408GCM99 | 2015-09-29 | ug/L | 1.0919 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.0751 | ISOPHORONE | . | 0.05 | 0.082 | MICROGRAMS PER LITER |  |  |  | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2016-01-14 | ug/L | 1.1252 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.1502 | ISOPHORONE | . | 0.05 | 0.169 | MICROGRAMS PER LITER |  |  |  | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y
ISOPHORONE | 4433 | 34408GCM99 | 2011-02-03 | ug/L |  | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | ISOPHORONE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-04-26 | ug/L |  | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | ISOPHORONE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-06-29 | ug/L |  | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl |  | ISOPHORONE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-08-07 | ug/L |  | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl |  | ISOPHORONE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-10-04 | ug/L |  | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | ISOPHORONE | < | 0.05 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2011-11-22 | ug/L |  | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl |  | ISOPHORONE | < | 0.05 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-03-01 | ug/L |  | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-07-26 | ug/L |  | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2012-07-28 | ug/L |  | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl |  | ISOPHORONE | < | 0.05 | 0.05 | MICROGRAMS PER LITER |  |  |  | Supelco LB92782 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-05-13 | ug/L |  | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4433 | 34408GCM99 | 2010-08-18 | ug/L |  | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl |  | ISOPHORONE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2014-07-03 | ug/L | 1.2298 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 20.004 | ISOPHORONE | . | 5 | 24.6 | MICROGRAMS PER LITER |  |  |  | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-01-10 | ug/L | 1.0048 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 20.004 | ISOPHORONE | . | 5 | 20.1 | MICROGRAMS PER LITER |  |  |  | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-04-25 | ug/L | 0.96681 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 10.002 | ISOPHORONE | . | 5 | 9.67 | MICROGRAMS PER LITER |  |  |  | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-08-14 | ug/L | 0.59019 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 7.54 | ISOPHORONE | . | 5 | 4.45 | MICROGRAMS PER LITER |  |  |  | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-09-24 | ug/L | 0.75597 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 11.31 | ISOPHORONE | . | 5 | 8.55 | MICROGRAMS PER LITER |  |  |  | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-04-30 | ug/L | 0.79684 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 10.002 | ISOPHORONE | . | 5 | 7.97 | MICROGRAMS PER LITER |  |  |  | Abs 032014 | [9 empty] | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-07-23 | ug/L | 1.1298 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 20.004 | ISOPHORONE | . | 5 | 22.6 | MICROGRAMS PER LITER |  |  |  | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-09-11 | ug/L | 0.71486 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 10.002 | ISOPHORONE | . | 5 | 7.15 | MICROGRAMS PER LITER |  |  |  | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-12-13 | ug/L | 1.2178 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 10.018 | ISOPHORONE | . | 5 | 12.2 | MICROGRAMS PER LITER |  |  |  | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-05-20 | ug/L |  | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2014-07-11 | ug/L |  | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2014-06-07 | ug/L |  | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2014-11-22 | ug/L |  | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2015-05-20 | ug/L | 1.0986 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 7.546 | ISOPHORONE | . | 5 | 8.29 | MICROGRAMS PER LITER |  |  |  | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-06-26 | ug/L | 0.85343 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 18.865 | ISOPHORONE | . | 5 | 16.1 | MICROGRAMS PER LITER |  |  |  | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-06-16 | ug/L | 0.83135 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 11.319 | ISOPHORONE | . | 5 | 9.41 | MICROGRAMS PER LITER |  |  |  | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-06-25 | ug/L | 0.85343 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 18.865 | ISOPHORONE | . | 5 | 16.1 | MICROGRAMS PER LITER |  |  |  | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-05-14 | ug/L | 1.0248 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 11.319 | ISOPHORONE | . | 5 | 11.6 | MICROGRAMS PER LITER |  |  |  | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-10-21 | ug/L |  | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2014-08-13 | ug/L |  | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2014-09-06 | ug/L |  | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2015-08-24 | ug/L | 0.83554 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 11.31 | ISOPHORONE | . | 5 | 9.45 | MICROGRAMS PER LITER |  |  |  | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-05-07 | ug/L | 1.2378 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 20.036 | ISOPHORONE | . | 5 | 24.8 | MICROGRAMS PER LITER |  |  |  | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-06-06 | ug/L | 1.2527 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 20.036 | ISOPHORONE | . | 5 | 25.1 | MICROGRAMS PER LITER |  |  |  | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-07-30 | ug/L | 1.5572 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 10.018 | ISOPHORONE | E | 5 | 15.6 | MICROGRAMS PER LITER |  |  |  | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-09-06 | ug/L | 1.4174 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 10.018 | ISOPHORONE | . | 5 | 14.2 | MICROGRAMS PER LITER |  |  |  | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-06-17 | ug/L | 1.1798 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 10.002 | ISOPHORONE | . | 5 | 11.8 | MICROGRAMS PER LITER |  |  |  | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2014-08-20 | ug/L | 1.1998 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 20.004 | ISOPHORONE | . | 5 | 24 | MICROGRAMS PER LITER |  |  |  | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-03-19 | ug/L | 1.2128 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 20.036 | ISOPHORONE | . | 5 | 24.3 | MICROGRAMS PER LITER |  |  |  | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y
ISOPHORONE | 4437 | 34408GM016 | 2015-05-05 | ug/L |  | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | N | < Reporting Level | N
ISOPHORONE | 4437 | 34408GM016 | 2015-07-30 | ug/L |  | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl |  | ISOPHORONE | < | 5 | 5 | MICROGRAMS PER LITER |  |  |  | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | N | < Reporting Level | N