## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-07-01 | ug/L | 0.9875 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.16 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.158 | MICROGRAMS PER LITER |  |  |  | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-01-13 | ug/L | 1.0737 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.08 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0859 | MICROGRAMS PER LITER |  |  |  | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-04-09 | ug/L | 0.8875 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.16 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.142 | MICROGRAMS PER LITER |  |  |  | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-05-01 | ug/L | 0.89375 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.16 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.143 | MICROGRAMS PER LITER |  |  |  | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-09-09 | ug/L | 1.2625 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.08 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.101 | MICROGRAMS PER LITER |  |  |  | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-09-29 | ug/L | 0.82217 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.16055 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.132 | MICROGRAMS PER LITER |  |  |  | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-10-04 | ug/L | 0.90357 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.084 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0759 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-11-14 | ug/L | 0.84524 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.168 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.142 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-06-10 | ug/L | 0.79762 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.168 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.134 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-07-29 | ug/L | 0.95714 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.084 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0804 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-05-03 | ug/L | 1.175 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.084 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0987 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-08-07 | ug/L | 0.92187 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.064 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.059 | MICROGRAMS PER LITER |  |  |  | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-07-13 | ug/L | 0.8 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.16 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.128 | MICROGRAMS PER LITER |  |  |  | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-10-17 | ug/L | 0.84688 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.096 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0813 | MICROGRAMS PER LITER |  |  |  | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-08-16 | ug/L |  | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-10-21 | ug/L |  | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-03-06 | ug/L |  | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-10-16 | ug/L |  | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-06-16 | ug/L |  | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-06-27 | ug/L |  | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-09-09 | ug/L |  | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-11-22 | ug/L |  | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-05-30 | ug/L |  | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-06-10 | ug/L |  | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-09-03 | ug/L |  | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-11-04 | ug/L |  | 2015-10-29 09:00 | 20153030066 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-07-23 | ug/L | 1.1975 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.08 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0958 | MICROGRAMS PER LITER |  |  |  | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-08-19 | ug/L | 1.025 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.16 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.164 | MICROGRAMS PER LITER |  |  |  | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-11-06 | ug/L | 0.9631 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.084 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0809 | MICROGRAMS PER LITER |  |  |  | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-03-19 | ug/L | 0.88095 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.168 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.148 | MICROGRAMS PER LITER |  |  |  | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-07-11 | ug/L |  | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-05-21 | ug/L | 0.99813 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.06422 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0641 | MICROGRAMS PER LITER |  |  |  | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-05-09 | ug/L | 0.90208 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.096 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0866 | MICROGRAMS PER LITER |  |  |  | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-12-17 | ug/L | 0.98214 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.168 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.165 | MICROGRAMS PER LITER |  |  |  | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-05-09 | ug/L | 0.93281 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.064 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.0597 | MICROGRAMS PER LITER |  |  |  | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2015-08-15 | ug/L | 0.83125 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.16 | ISOPROPYLBENZENE_(CUMENE) | . | 0.042 | 0.133 | MICROGRAMS PER LITER |  |  |  | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4440 | 77223GCM66 | 2014-09-21 | ug/L |  | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.042 | 0.042 | MICROGRAMS PER LITER |  |  |  | Supelco LC06438 | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-08-20 | ug/L | 1.0101 | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-10-20 | ug/L | 0.98485 | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-12-03 | ug/L | 0.91418 | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl | 0.1608 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.147 | MICROGRAMS PER LITER |  |  |  | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-10-01 | ug/L | 1.0149 | 2015-08-13 09:00 | 20152250271 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 40 µl & ERA 0406-15-02: 40 µl | 0.1212 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.123 | MICROGRAMS PER LITER |  |  |  | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-11-17 | ug/L | 0.79208 | 2015-10-29 08:30 | 20153030067 | Abs, ERA | 041615, 0406-15-02 | Abs 041615: 20 µl & ERA 0406-15-02: 20 µl | 0.0606 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  |  | Ab041615, ER0405-02 | Ab | ER | ER | 041615 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-05-08 | ug/L |  | 2015-04-30 07:30 | 20151210038 | Abs, Supelco | 041615, LC13546 | Abs 041615: 20 µl & Supelco LC13546: 20 µl | 0.0601 | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ab041615, SuLC13546 | Ab | Su | Su | 041615 | LC13546 | LC13546 |  |  |  | Y | False Negatives | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-02-17 | ug/L |  | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-04-15 | ug/L |  | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-05-03 | ug/L |  | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-07-07 | ug/L |  | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-08-16 | ug/L |  | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-11-22 | ug/L |  | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-12-08 | ug/L |  | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-07 | ug/L |  | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-04-10 | ug/L |  | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-05-04 | ug/L |  | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-05-12 | ug/L |  | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-21 | ug/L |  | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-08-06 | ug/L | 0.86606 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.2725 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.236 | MICROGRAMS PER LITER |  |  |  | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-10-22 | ug/L | 0.72222 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.054 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-23 | ug/L | 0.83333 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.054 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-06-05 | ug/L |  | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-09-23 | ug/L |  | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-05-07 | ug/L |  | 2015-04-23 06:00 | 20151140152 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-08-20 | ug/L |  | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-04-20 | ug/L |  | 2015-02-26 06:00 | 20150570009 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 30 µl & Crescent 03DD005: 30 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-09-29 | ug/L |  | 2015-07-16 06:30 | 20151970168 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 20 µl & Abs 041615: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2016-01-26 | ug/L |  | 2015-11-24 08:00 | 20153280156 | ChemService, Abs | 3982800, 041615 | ChemService 3982800: 40 µl & Abs 041615: 40 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Ab041615 | Ch | Ab | Ab | 3982800 | 041615 | 041615 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-10-02 | ug/L |  | 2015-08-27 09:00 | 20152390223 | ChemService, Crescent | 3982800, 04EE006 | ChemService 3982800: 20 µl & Crescent 04EE006: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch3982800, Cr04EE006 | Ch | Cr | Cr | 3982800 | 04EE006 | 04EE006 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-02-06 | ug/L |  | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl |  | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.007 | MICROGRAMS PER LITER |  |  |  | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | N |  | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-05-30 | ug/L | 0.80333 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.6 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.482 | MICROGRAMS PER LITER |  |  |  | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-12-14 | ug/L |  | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-02-18 | ug/L |  | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-06-28 | ug/L |  | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-08-06 | ug/L |  | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-08-17 | ug/L |  | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-02-01 | ug/L |  | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-06 | ug/L |  | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-07 | ug/L |  | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-05-04 | ug/L |  | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-05-22 | ug/L |  | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-05-19 | ug/L |  | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-09-17 | ug/L | 0.9596 | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-02-26 | ug/L | 0.82702 | 2015-01-29 07:00 | 20150290077 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 60 µl & ERA 0227-14-07.1: 60 µl | 0.1584 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-07-16 | ug/L | 0.83955 | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl | 0.1608 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.135 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-12-04 | ug/L | 1 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-23 | ug/L | 0.85455 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.047 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-08-15 | ug/L |  | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-10-16 | ug/L | 1.0974 | 2015-09-24 09:00 | 20152670134 | Crescent, ERA | 04EE006, 0406-15-02 | Crescent 04EE006: 80 µl & ERA 0406-15-02: 80 µl | 0.2424 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.266 | MICROGRAMS PER LITER |  |  |  | Cr04EE006, ER0405-02 | Cr | ER | ER | 04EE006 | 0405-02 | 0405-02 |  | 0405-02 | 0405-02 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2016-01-13 | ug/L | 0.81531 | 2015-12-03 08:30 | 20153370177 | Crescent, Supelco | 04EE006, LC13546 | Crescent 04EE006: 40 µl & Supelco LC13546: 40 µl | 0.1202 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  |  | Cr04EE006, SuLC13546 | Cr | Su | Su | 04EE006 | LC13546 | LC13546 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-08-24 | ug/L |  | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-12-18 | ug/L |  | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-07-29 | ug/L |  | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB045 | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-12-15 | ug/L | 0.80541 | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.9759 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.786 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-04-14 | ug/L | 0.94896 | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.39306 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.373 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-07-07 | ug/L | 0.72959 | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.286 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-08-17 | ug/L | 0.92475 | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.45 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-11-22 | ug/L | 0.92347 | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.362 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-01-16 | ug/L | 0.86735 | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.36 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-06 | ug/L | 0.94898 | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.98 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.93 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-07 | ug/L | 0.90816 | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.392 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.356 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-04-10 | ug/L | 0.87143 | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.98 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.854 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-07-27 | ug/L | 1.0077 | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.568 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.58 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-18 | ug/L |  | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-09-29 | ug/L |  | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-07-17 | ug/L | 0.80808 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-12-04 | ug/L | 0.92803 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.1584 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.147 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-08-21 | ug/L | 0.90909 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.072 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-09-23 | ug/L | 1.0669 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.1584 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.169 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-04-22 | ug/L | 1.0354 | 2015-04-09 06:00 | 20150990066 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.0792 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-09-30 | ug/L | 0.9571 | 2015-07-30 09:00 | 20152110199 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 40 µl & ChemService 3982800: 40 µl | 0.1212 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.116 | MICROGRAMS PER LITER |  |  |  | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2016-01-12 | ug/L | 0.85809 | 2015-11-10 08:30 | 20153160002 | ERA, ChemService | 0406-15-02, 3982800 | ERA 0406-15-02: 80 µl & ChemService 3982800: 80 µl | 0.2424 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.208 | MICROGRAMS PER LITER |  |  |  | ER0405-02, Ch3982800 | ER | Ch | Ch | 0405-02 | 3982800 | 3982800 | 0405-02 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-10-15 | ug/L |  | 2015-09-10 09:00 | 20152530087 | ERA, Spex Organics | 0406-15-02, EN150529012 | ERA 0406-15-02: 20 µl & Spex Organics EN150529012: 20 µl | 0.0606 | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ER0405-02, SpEN19012 | ER | Sp | Sp | 0405-02 | EN19012 | EN19012 | 0405-02 | EN19012 | EN19012 | Y | False Negatives | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-09-26 | ug/L | 0.96364 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-06-12 | ug/L | 0.81481 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.135 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-02-05 | ug/L | 0.83333 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.054 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.045 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-11-14 | ug/L |  | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-23 | ug/L |  | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-06-14 | ug/L |  | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-12-12 | ug/L | 0.78833 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.6 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.473 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-05-29 | ug/L | 0.86 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.3 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.258 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-12-20 | ug/L | 0.81667 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.6 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.49 | MICROGRAMS PER LITER |  |  |  | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-09-18 | ug/L | 0.87333 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.3 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.262 | MICROGRAMS PER LITER |  |  |  | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-03-11 | ug/L |  | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-07-23 | ug/L |  | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-07-15 | ug/L | 0.60288 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.144 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-20 | ug/L | 0.71765 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.175 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-05-19 | ug/L | 0.90841 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.183 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-10-18 | ug/L | 0.97813 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.313 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-07-20 | ug/L | 0.66942 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.82011 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.549 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-20 | ug/L | 0.84432 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.20964 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.177 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-20 | ug/L | 0.79602 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.40828 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.325 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-07-08 | ug/L |  | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-09-11 | ug/L |  | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-11-05 | ug/L |  | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-01-27 | ug/L |  | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-07-22 | ug/L |  | 2015-06-11 06:00 | 20151620180 | Spex Organics, Abs | EN150529012, 041615 | Spex Organics EN150529012: 40 µl & Abs 041615: 40 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SpEN19012, Ab041615 | Sp | Ab | Ab | EN19012 | 041615 | 041615 | EN19012 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-11-17 | ug/L |  | 2015-10-22 08:30 | 20152950079 | Spex Organics, Crescent | EN150529012, 04EE006 | Spex Organics EN150529012: 20 µl & Crescent 04EE006: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SpEN19012, Cr04EE006 | Sp | Cr | Cr | EN19012 | 04EE006 | 04EE006 | EN19012 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-07-31 | ug/L | 0.98 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.294 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-03-27 | ug/L | 0.74667 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.3 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.224 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-12-19 | ug/L | 0.78417 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 1.2 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.941 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-02-07 | ug/L | 0.73333 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.6 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-08-01 | ug/L | 0.85091 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.275 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.234 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-22 | ug/L | 0.63636 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.055 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.035 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-11-14 | ug/L | 0.88889 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.054 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-02-05 | ug/L |  | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-08-08 08:00 | ug/L |  | 2013-08-08 08:00 | 20132210039 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | R | 0.04 |  | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | Deleted Values | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-24 | ug/L |  | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2013-03-28 | ug/L |  | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-05-22 | ug/L | 0.69652 | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl | 0.0804 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-07-09 | ug/L | 0.73383 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0804 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-04-21 | ug/L | 0.99502 | 2015-03-26 06:00 | 20150850162 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.0804 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-04-24 | ug/L | 0.73383 | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl | 0.0804 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.059 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-06-04 | ug/L | 0.6592 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1608 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2014-10-21 | ug/L | 0.8209 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.1608 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-11-05 | ug/L | 0.79451 | 2015-10-08 08:00 | 20152810121 | Supelco, ChemService | LC13546, 3982800 | Supelco LC13546: 80 µl & ChemService 3982800: 80 µl | 0.2404 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.191 | MICROGRAMS PER LITER |  |  |  | SuLC13546, Ch3982800 | Su | Ch | Ch | LC13546 | 3982800 | 3982800 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-07-09 | ug/L | 0.99834 | 2015-05-21 06:30 | 20151410210 | Supelco, Crescent | LC13546, 04EE006 | Supelco LC13546: 20 µl & Crescent 04EE006: 20 µl | 0.0601 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  |  | SuLC13546, Cr04EE006 | Su | Cr | Cr | LC13546 | 04EE006 | 04EE006 |  |  |  | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2015-09-29 | ug/L | 0.99834 | 2015-06-25 06:30 | 20151760207 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 20 µl & Spex Organics EN150529012: 20 µl | 0.0601 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  |  | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2016-01-14 | ug/L | 0.81531 | 2015-12-17 08:00 | 20153510110 | Supelco, Spex Organics | LC13546, EN150529012 | Supelco LC13546: 40 µl & Spex Organics EN150529012: 40 µl | 0.1202 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.098 | MICROGRAMS PER LITER |  |  |  | SuLC13546, SpEN19012 | Su | Sp | Sp | LC13546 | EN19012 | EN19012 |  | EN19012 | EN19012 | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-02-03 | ug/L | 0.61685 | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.39394 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.243 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-04-26 | ug/L | 0.9218 | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.39488 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.364 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-06-29 | ug/L | 0.82937 | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.5675 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.3 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-08-07 | ug/L | 0.77215 | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.58 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 1.22 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-10-04 | ug/L | 0.76709 | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.303 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2011-11-22 | ug/L | 0.79089 | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.9875 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.781 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-03-01 | ug/L | 0.8962 | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.354 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-07-26 | ug/L | 0.8481 | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.395 | ISOPROPYLBENZENE_(CUMENE) | E | 0.04 | 0.335 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2012-07-28 | ug/L |  | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl |  | ISOPROPYLBENZENE_(CUMENE) | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB92782 | [9 empty] | N | < Reporting Level | N
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-05-13 | ug/L | 0.6715 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.42294 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.284 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
ISOPROPYLBENZENE (CUMENE) | 4433 | 77223GCM99 | 2010-08-18 | ug/L | 0.80664 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.87276 | ISOPROPYLBENZENE_(CUMENE) | E | 0.2 | 0.704 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y