## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-10-09 | mg/L | 1.0065 | 2015-09-24 06:00 | 20152670136 | Abs | 040315TOCDOC | Abs 040315TOCDOC: 50 µl | 18.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 18.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0065 | Abs 040315TOCDOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0343 | 0.039377 | 1.0343 | 0.055688 | 0.041281
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2016-01-13 | mg/L | 1.0622 | 2015-12-03 06:00 | 20153370172 | Abs | 040315TOCDOC | Abs 040315TOCDOC: 80 µl | 29.0909 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 30.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0622 | Abs 040315TOCDOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0343 | 0.039377 | 1.0343 | 0.055688 | 0.041281
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-03-04 | mg/L | 1.2361 | 2010-02-25 07:30 | 20100570089 | Abs | 082809 | Abs 082809: 25 µl | 1.4562 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 1.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2361 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1965 | 0.38346 | 1.001 | 0.27722 | 0.2055
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-04-01 | mg/L | 0.95884 | 2010-03-25 08:00 | 20100880033 | Abs | 082809 | Abs 082809: 50 µl | 2.9202 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 2.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.95884 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1965 | 0.38346 | 1.001 | 0.27722 | 0.2055
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-05-28 | mg/L | 1.8485 | 2010-05-20 09:30 | 20101410002 | Abs | 082809 | Abs 082809: 100 µl | 5.9509 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 11 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.8485 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1965 | 0.38346 | 1.001 | 0.27722 | 0.2055
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-07-22 | mg/L | 1.001 | 2010-07-08 09:30 | 20101900008 | Abs | 082809 | Abs 082809: 25 µl | 1.4985 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 1.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.001 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1965 | 0.38346 | 1.001 | 0.27722 | 0.2055
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-09-16 | mg/L | 0.93796 | 2010-09-09 06:20 | 20102530010 | Abs | 082809 | Abs 082809: 100 µl | 5.6506 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 5.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.93796 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.1965 | 0.38346 | 1.001 | 0.27722 | 0.2055
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-04-16 | mg/L | 1.1879 | 2010-04-08 09:00 | 20100990025 | Accu | 209085050 | Accu 209085050: 150 µl | 23.5714 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 28 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1879 | Accu 209085050 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0246 | 0.1115 | 0.98684 | 0.13313 | 0.098686
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-06-04 | mg/L | 0.97913 | 2010-05-27 10:00 | 20101480003 | Accu | 209085050 | Accu 209085050: 50 µl | 7.8642 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 7.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.97913 | Accu 209085050 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0246 | 0.1115 | 0.98684 | 0.13313 | 0.098686
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-07-30 | mg/L | 0.99455 | 2010-07-21 10:00 | 20102030010 | Accu | 209085050 | Accu 209085050: 150 µl | 24.1316 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 24 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99455 | Accu 209085050 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0246 | 0.1115 | 0.98684 | 0.13313 | 0.098686
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-09-29 | mg/L | 0.93705 | 2010-09-16 07:55 | 20102630172 | Accu | 209085050 | Accu 209085050: 100 µl | 14.9406 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 14 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.93705 | Accu 209085050 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0246 | 0.1115 | 0.98684 | 0.13313 | 0.098686
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-07-17 | mg/L | 1.0377 | 2012-07-03 06:00 | 20121870006 | Accu | 212055044 | Accu 212055044: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.83 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0377 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0332 | 0.037898 | 1.0395 | 0.063555 | 0.047113
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-09-06 | mg/L | 1.0413 | 2012-08-30 07:00 | 20122430225 | Accu | 212055044 | Accu 212055044: 100 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.68 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0413 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0332 | 0.037898 | 1.0395 | 0.063555 | 0.047113
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-09-21 | mg/L | 1.0853 | 2012-09-19 07:30 | 20122640134 | Accu | 212055044 | Accu 212055044: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.96 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0853 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0332 | 0.037898 | 1.0395 | 0.063555 | 0.047113
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-12-04 | mg/L | 0.99244 | 2012-11-20 07:30 | 20123260040 | Accu | 212055044 | Accu 212055044: 150 µl | 8.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 8.12 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99244 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0332 | 0.037898 | 1.0395 | 0.063555 | 0.047113
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-02-19 | mg/L | 1.056 | 2013-02-07 07:30 | 20130390110 | Accu | 212055044 | Accu 212055044: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.88 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.056 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0332 | 0.037898 | 1.0395 | 0.063555 | 0.047113
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-04-18 | mg/L | 0.98633 | 2013-04-11 07:30 | 20131020086 | Accu | 212055044 | Accu 212055044: 100 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.38 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.98633 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0332 | 0.037898 | 1.0395 | 0.063555 | 0.047113
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-06-04 | mg/L | 1.045 | 2013-05-16 06:00 | 20131370004 | Accu | 213045015 | Accu 213045015: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.85 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0765 | 0.040383 | 1.056 | 0.069667 | 0.051643
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-09-20 | mg/L | 1.0413 | 2013-08-21 06:00 | 20132340086 | Accu | 213045015 | Accu 213045015: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.84 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0413 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0765 | 0.040383 | 1.056 | 0.069667 | 0.051643
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-11-27 | mg/L | 1.056 | 2013-11-14 06:00 | 20133190013 | Accu | 213045015 | Accu 213045015: 100 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.76 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.056 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0765 | 0.040383 | 1.056 | 0.069667 | 0.051643
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-01-23 | mg/L | 1.1147 | 2014-01-16 06:00 | 20140160085 | Accu | 213045015 | Accu 213045015: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.04 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1147 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0765 | 0.040383 | 1.056 | 0.069667 | 0.051643
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-03-11 | mg/L | 1.1257 | 2014-03-06 06:00 | 20140650081 | Accu | 213045015 | Accu 213045015: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.07 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1257 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0765 | 0.040383 | 1.056 | 0.069667 | 0.051643
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-04-30 | mg/L | 1.0725 | 2014-04-24 06:00 | 20141150018 | Accu | 214035048 | Accu 214035048: 80 µl | 21.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 23.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0725 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0978 | 0.067804 | 1.1 | 0.13567 | 0.10057
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-07-02 | mg/L | 1.122 | 2014-06-19 06:00 | 20141710102 | Accu | 214035048 | Accu 214035048: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 15.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.122 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0978 | 0.067804 | 1.1 | 0.13567 | 0.10057
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-09-09 | mg/L | 1.012 | 2014-08-18 06:00 | 20142340165 | Accu | 214035048 | Accu 214035048: 30 µl | 8.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 8.28 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.012 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0978 | 0.067804 | 1.1 | 0.13567 | 0.10057
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-11-25 | mg/L | 1.023 | 2014-11-13 06:00 | 20143180050 | Accu | 214035048 | Accu 214035048: 30 µl | 8.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 8.37 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.023 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0978 | 0.067804 | 1.1 | 0.13567 | 0.10057
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-02-04 | mg/L | 1.1 | 2015-01-22 06:00 | 20150230028 | Accu | 214035048 | Accu 214035048: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 15 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0978 | 0.067804 | 1.1 | 0.13567 | 0.10057
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-03-31 | mg/L | 1.1963 | 2015-03-19 06:00 | 20150790011 | Accu | 214035048 | Accu 214035048: 80 µl | 21.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 26.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1963 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0978 | 0.067804 | 1.1 | 0.13567 | 0.10057
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-04-22 | mg/L | 1.1587 | 2015-04-16 06:00 | 20151110017 | Accu | 214035048 | Accu 214035048: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 15.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1587 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0978 | 0.067804 | 1.1 | 0.13567 | 0.10057
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-05-26 | mg/L | 1.0311 | 2015-05-07 06:00 | 20151270110 | Accu | 215045102 | Accu 215045102: 50 µl | 6.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.03 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0311 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0693 | 0.027632 | 1.0776 | 0.040517 | 0.030035
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-09-09 | mg/L | 1.0908 | 2015-08-13 06:00 | 20152250272 | Accu | 215045102 | Accu 215045102: 80 µl | 10.9091 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 11.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0908 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0693 | 0.027632 | 1.0776 | 0.040517 | 0.030035
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-10-28 | mg/L | 1.067 | 2015-10-15 06:00 | 20152890009 | Accu | 215045102 | Accu 215045102: 20 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.91 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.067 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0693 | 0.027632 | 1.0776 | 0.040517 | 0.030035
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2016-01-29 | mg/L | 1.0883 | 2015-12-30 06:00 | 20153640096 | Accu | 215045102 | Accu 215045102: 50 µl | 6.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.42 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0883 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0693 | 0.027632 | 1.0776 | 0.040517 | 0.030035
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-04-16 | mg/L | 1.0615 | 2014-04-10 07:00 | 20141010008 | ChemService | 2604600 | ChemService 2604600: 50 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.79 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0615 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0844 | 0.031787 | 1.0771 | 0.034833 | 0.025822
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-05-21 | mg/L | 1.1458 | 2014-05-08 06:30 | 20141290005 | ChemService | 2604600 | ChemService 2604600: 30 µl | 3.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.75 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1458 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0844 | 0.031787 | 1.0771 | 0.034833 | 0.025822
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-06-19 | mg/L | 1.0652 | 2014-06-05 06:00 | 20141570086 | ChemService | 2604600 | ChemService 2604600: 50 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.81 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0652 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0844 | 0.031787 | 1.0771 | 0.034833 | 0.025822
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-10-29 | mg/L | 1.0771 | 2014-10-16 06:00 | 20142890078 | ChemService | 2604600 | ChemService 2604600: 80 µl | 8.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 9.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0771 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0844 | 0.031787 | 1.0771 | 0.034833 | 0.025822
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-12-10 | mg/L | 1.0511 | 2014-12-08 06:00 | 20143420008 | ChemService | 2604600 | ChemService 2604600: 30 µl | 3.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.44 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0511 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0844 | 0.031787 | 1.0771 | 0.034833 | 0.025822
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-03-03 | mg/L | 1.0963 | 2015-02-19 06:00 | 20150510047 | ChemService | 2604600 | ChemService 2604600: 50 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.98 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0963 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0844 | 0.031787 | 1.0771 | 0.034833 | 0.025822
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-04-09 | mg/L | 1.0939 | 2015-04-02 07:30 | 20150930004 | ChemService | 2604600 | ChemService 2604600: 30 µl | 3.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.58 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0939 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0844 | 0.031787 | 1.0771 | 0.034833 | 0.025822
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-10-28 | mg/L | 1.0658 | 2010-10-21 09:00 | 20102950076 | Crescent | 06MM149 | Crescent 06MM149: 40 µl | 6.8493 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 7.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0658 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-02-03 | mg/L | 0.9761 | 2011-01-27 07:00 | 20110280001 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 17.6212 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 17.2 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.9761 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-04-14 | mg/L | 1.2727 | 2011-03-24 08:00 | 20110840106 | Crescent | 06MM149 | Crescent 06MM149: 40 µl | 6.8906 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 8.77 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2727 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-06-09 | mg/L | 1.0568 | 2011-05-26 09:00 | 20111470067 | Crescent | 06MM149 | Crescent 06MM149: 40 µl | 6.9264 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 7.32 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0568 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-07-14 | mg/L | 1.0945 | 2011-07-07 09:30 | 20111890012 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 18.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 19.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0945 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-09-01 | mg/L | 1.0637 | 2011-08-18 08:52 | 20112310027 | Crescent | 06MM149 | Crescent 06MM149: 50 µl | 9.0909 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 9.67 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0637 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-11-17 | mg/L | 1.3654 | 2011-11-03 08:30 | 20113080007 | Crescent | 06MM149 | Crescent 06MM149: 40 µl | 7.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 9.93 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.3654 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-03-01 | mg/L | 1.4025 | 2012-02-23 08:00 | 20120540037 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 18.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 25.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.4025 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-03-29 | mg/L | 1.0131 | 2012-03-22 08:30 | 20120830081 | Crescent | 06MM149 | Crescent 06MM149: 50 µl | 9.0909 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 9.21 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0131 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-04-17 | mg/L | 0.99 | 2012-04-05 07:30 | 20120960122 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 18.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 18 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-04-28 | mg/L | 1.023 | 2012-04-19 07:30 | 20121110022 | Crescent | 06MM149 | Crescent 06MM149: 50 µl | 9.0909 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 9.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.023 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-05-31 | mg/L | 1.111 | 2012-05-17 08:00 | 20121390012 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 18.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 20.2 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.111 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.1196 | 0.14542 | 1.0648 | 0.17382 | 0.12885
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-06-10 | mg/L | 1.0853 | 2014-05-22 06:00 | 20141420136 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 14.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0853 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0747 | 0.069483 | 1.0597 | 0.064167 | 0.047566
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-07-17 | mg/L | 1.0954 | 2014-07-02 06:00 | 20141840100 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 80 µl | 21.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 23.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0954 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0747 | 0.069483 | 1.0597 | 0.064167 | 0.047566
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-08-01 | mg/L | 1.034 | 2014-07-17 08:30 | 20141990079 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 14.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.034 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0747 | 0.069483 | 1.0597 | 0.064167 | 0.047566
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-10-07 | mg/L | 1.0047 | 2014-09-18 06:00 | 20142620044 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 13.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0047 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0747 | 0.069483 | 1.0597 | 0.064167 | 0.047566
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-12-04 | mg/L | 1.0312 | 2014-11-26 06:00 | 20143300048 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 80 µl | 21.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 22.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0313 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0747 | 0.069483 | 1.0597 | 0.064167 | 0.047566
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-02-06 | mg/L | 1.1978 | 2015-02-05 06:00 | 20150360048 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 30 µl | 8.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 9.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1978 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0747 | 0.069483 | 1.0597 | 0.064167 | 0.047566
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-07-18 | mg/L | 1.1697 | 2013-07-03 06:00 | 20131840115 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.19 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1697 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0835 | 0.088092 | 1.0771 | 0.132 | 0.09785
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-08-23 | mg/L | 0.95517 | 2013-08-08 06:00 | 20132210042 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 100 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.21 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.95517 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0835 | 0.088092 | 1.0771 | 0.132 | 0.09785
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-10-25 | mg/L | 1.0413 | 2013-09-12 06:00 | 20132560006 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.84 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0413 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0835 | 0.088092 | 1.0771 | 0.132 | 0.09785
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-12-04 | mg/L | 1.0377 | 2013-11-26 06:00 | 20133310031 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.83 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0377 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0835 | 0.088092 | 1.0771 | 0.132 | 0.09785
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-01-31 | mg/L | 1.1128 | 2014-01-30 06:00 | 20140300035 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 100 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 6.07 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1128 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0835 | 0.088092 | 1.0771 | 0.132 | 0.09785
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-03-25 | mg/L | 1.1843 | 2014-03-19 06:00 | 20140780044 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.23 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1843 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0835 | 0.088092 | 1.0771 | 0.132 | 0.09785
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-07-11 | mg/L | 1.144 | 2012-06-21 08:00 | 20121730104 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.12 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.144 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0727 | 0.078878 | 1.0597 | 0.1265 | 0.093773
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-08-15 | mg/L | 0.98022 | 2012-08-07 07:30 | 20122210010 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 150 µl | 8.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 8.02 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.98022 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0727 | 0.078878 | 1.0597 | 0.1265 | 0.093773
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-10-25 | mg/L | 1.1623 | 2012-10-18 07:00 | 20122930151 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.17 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1623 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0727 | 0.078878 | 1.0597 | 0.1265 | 0.093773
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-01-16 | mg/L | 1.0175 | 2013-01-10 07:30 | 20130100070 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 100 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.55 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0175 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0727 | 0.078878 | 1.0597 | 0.1265 | 0.093773
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-03-15 | mg/L | 1.0597 | 2013-03-05 07:00 | 20130650007 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 50 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.89 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0597 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0727 | 0.078878 | 1.0597 | 0.1265 | 0.093773
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-07-16 | mg/L | 1.1293 | 2015-07-01 06:00 | 20151820107 | ERA | 0602-15-03 | ERA 0602-15-03: 20 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.08 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1293 | ERA 0602-15-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0934 | 0.045545 | 1.1088 | 0.0528 | 0.03914
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-08-17 | mg/L | 1.1103 | 2015-07-30 06:00 | 20152110196 | ERA | 0602-15-03 | ERA 0602-15-03: 50 µl | 6.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.57 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1103 | ERA 0602-15-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0934 | 0.045545 | 1.1088 | 0.0528 | 0.03914
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-09-23 | mg/L | 1.0267 | 2015-08-27 06:00 | 20152390227 | ERA | 0602-15-03 | ERA 0602-15-03: 80 µl | 10.9091 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 11.2 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0267 | ERA 0602-15-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0934 | 0.045545 | 1.1088 | 0.0528 | 0.03914
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-11-11 | mg/L | 1.1073 | 2015-11-05 06:00 | 20153090109 | ERA | 0602-15-03 | ERA 0602-15-03: 20 µl | 2.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.02 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1073 | ERA 0602-15-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0934 | 0.045545 | 1.1088 | 0.0528 | 0.03914
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-02-17 | mg/L | 0.97057 | 2010-02-11 08:00 | 20100420056 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 50 µl | 4.0183 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 3.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.97057 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0793 | 0.23523 | 0.9923 | 0.043068 | 0.031926
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-03-11 | mg/L | 1.5573 | 2010-03-03 08:00 | 20100630037 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 100 µl | 7.7058 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 12 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.5573 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0793 | 0.23523 | 0.9923 | 0.043068 | 0.031926
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-04-01 | mg/L | 0.95 | 2010-03-19 08:00 | 20100810063 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 50 µl | 4 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 3.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0793 | 0.23523 | 0.9923 | 0.043068 | 0.031926
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-05-18 | mg/L | 0.98211 | 2010-05-13 09:30 | 20101370111 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 100 µl | 8.0439 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 7.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.98211 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0793 | 0.23523 | 0.9923 | 0.043068 | 0.031926
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-07-09 | mg/L | 1.0136 | 2010-07-01 10:00 | 20101830137 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 150 µl | 11.8386 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 12 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0136 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0793 | 0.23523 | 0.9923 | 0.043068 | 0.031926
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-08-25 | mg/L | 1.0025 | 2010-08-19 10:00 | 20102320021 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 50 µl | 3.8904 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 3.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0025 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0793 | 0.23523 | 0.9923 | 0.043068 | 0.031926
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-08-21 | mg/L | 1.1244 | 2014-08-07 06:00 | 20142200167 | NSI | 031314 | NSI 031314: 30 µl | 3.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.68 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1244 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.063 | 0.084092 | 1.0551 | 0.088611 | 0.065687
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-10-01 | mg/L | 1.0358 | 2014-09-04 06:00 | 20142480002 | NSI | 031314 | NSI 031314: 50 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.65 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0358 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.063 | 0.084092 | 1.0551 | 0.088611 | 0.065687
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-10-22 | mg/L | 1.0389 | 2014-10-02 06:00 | 20142760027 | NSI | 031314 | NSI 031314: 30 µl | 3.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0389 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.063 | 0.084092 | 1.0551 | 0.088611 | 0.065687
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-11-19 | mg/L | 0.93133 | 2014-10-30 06:00 | 20143030094 | NSI | 031314 | NSI 031314: 50 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 5.08 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.93133 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.063 | 0.084092 | 1.0551 | 0.088611 | 0.065687
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-01-16 | mg/L | 1.0714 | 2015-01-08 06:00 | 20150090094 | NSI | 031314 | NSI 031314: 80 µl | 8.7273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 9.35 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0714 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.063 | 0.084092 | 1.0551 | 0.088611 | 0.065687
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-03-13 | mg/L | 1.1764 | 2015-03-05 06:00 | 20150650043 | NSI | 031314 | NSI 031314: 30 µl | 3.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.85 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1764 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.063 | 0.084092 | 1.0551 | 0.088611 | 0.065687
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-07-21 | mg/L | 1.1014 | 2015-07-09 06:00 | 20151900134 | NSI | 041315 | NSI 041315: 20 µl | 7.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 8.01 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1014 | NSI 041315 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1099 | 0.0082595 | 1.1103 | 0.0165 | 0.012231
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-09-30 | mg/L | 1.1103 | 2015-09-10 06:00 | 20152530082 | NSI | 041315 | NSI 041315: 80 µl | 29.0909 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 32.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1103 | NSI 041315 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1099 | 0.0082595 | 1.1103 | 0.0165 | 0.012231
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-12-18 | mg/L | 1.1179 | 2015-11-19 06:00 | 20153230144 | NSI | 041315 | NSI 041315: 20 µl | 7.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 8.13 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1179 | NSI 041315 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1099 | 0.0082595 | 1.1103 | 0.0165 | 0.012231
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-06-14 | mg/L | 1.0281 | 2013-05-30 06:00 | 20131510010 | NSI | 042313TOC | NSI 042313TOC: 25 µl | 6.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.01 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0281 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0369 | 0.054018 | 1.0281 | 0.051333 | 0.038053
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-07-10 | mg/L | 0.96213 | 2013-06-20 06:00 | 20131720015 | NSI | 042313TOC | NSI 042313TOC: 25 µl | 6.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 6.56 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.96213 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0369 | 0.054018 | 1.0281 | 0.051333 | 0.038053
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-08-07 | mg/L | 1.0193 | 2013-07-25 06:00 | 20132070035 | NSI | 042313TOC | NSI 042313TOC: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 13.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0193 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0369 | 0.054018 | 1.0281 | 0.051333 | 0.038053
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-12-13 | mg/L | 1.0707 | 2013-12-05 06:00 | 20133400004 | NSI | 042313TOC | NSI 042313TOC: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 14.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0707 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0369 | 0.054018 | 1.0281 | 0.051333 | 0.038053
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-02-14 | mg/L | 1.1044 | 2014-02-13 06:00 | 20140440055 | NSI | 042313TOC | NSI 042313TOC: 25 µl | 6.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.53 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1044 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0369 | 0.054018 | 1.0281 | 0.051333 | 0.038053
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-08-23 | mg/L | 1.0487 | 2012-08-16 07:30 | 20122300019 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 25 µl | 6.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.15 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0487 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0583 | 0.03601 | 1.0457 | 0.0073334 | 0.0054362
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-10-11 | mg/L | 1.122 | 2012-10-04 07:00 | 20122790027 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 15.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.122 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0583 | 0.03601 | 1.0457 | 0.0073334 | 0.0054362
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-11-07 | mg/L | 1.0413 | 2012-11-01 07:30 | 20123070012 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 100 µl | 27.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 28.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0413 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0583 | 0.03601 | 1.0457 | 0.0073334 | 0.0054362
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-01-31 | mg/L | 1.0457 | 2013-01-24 07:00 | 20130250059 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 25 µl | 6.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.13 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0457 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0583 | 0.03601 | 1.0457 | 0.0073334 | 0.0054362
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-04-05 | mg/L | 1.034 | 2013-03-27 07:30 | 20130870084 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 50 µl | 13.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 14.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.034 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0583 | 0.03601 | 1.0457 | 0.0073334 | 0.0054362
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-10-14 | mg/L | 1.0132 | 2010-10-07 08:00 | 20102810023 | NSI | 062910 | NSI 062910: 50 µl | 1.7271 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 1.75 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0132 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-12-15 | mg/L | 0.9662 | 2010-12-09 08:00 | 20103430091 | NSI | 062910 | NSI 062910: 150 µl | 5.3715 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 5.19 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.9662 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-03-24 | mg/L | 1.0071 | 2011-03-10 08:00 | 20110690083 | NSI | 062910 | NSI 062910: 100 µl | 3.5746 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 3.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0071 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-05-19 | mg/L | 1.0666 | 2011-05-12 08:30 | 20111330151 | NSI | 062910 | NSI 062910: 50 µl | 1.8002 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 1.92 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0666 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-07-08 | mg/L | 1.0358 | 2011-06-29 09:30 | 20111810008 | NSI | 062910 | NSI 062910: 150 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 5.65 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0358 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-09-14 | mg/L | 1.0588 | 2011-09-01 10:00 | 20112450027 | NSI | 062910 | NSI 062910: 100 µl | 3.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 3.85 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0587 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-11-03 | mg/L | 1.111 | 2011-10-20 08:30 | 20112930090 | NSI | 062910 | NSI 062910: 50 µl | 1.8182 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 2.02 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.111 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-01-27 | mg/L | 0.90383 | 2012-01-12 08:30 | 20120120075 | NSI | 062910 | NSI 062910: 150 µl | 5.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 4.93 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.90383 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-03-14 | mg/L | 1.0505 | 2012-03-08 08:00 | 20120690025 | NSI | 062910 | NSI 062910: 100 µl | 3.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 3.82 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0505 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0237 | 0.060839 | 1.0358 | 0.05165 | 0.038288
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-11-10 | mg/L | 1.083 | 2010-11-04 09:00 | 20103080121 | Restek | A075535 | Restek A075535: 100 µl | 1.5789 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 1.71 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.083 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-03-17 | mg/L | 1.4349 | 2011-02-17 07:30 | 20110490038 | Restek | A075535 | Restek A075535: 50 µl | 0.80142 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 1.15 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.4349 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-04-22 | mg/L | 1.1738 | 2011-04-07 08:00 | 20110980043 | Restek | A075535 | Restek A075535: 150 µl | 2.3684 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 2.78 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1738 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-06-15 | mg/L | 1.1971 | 2011-06-07 09:00 | 20111590008 | Restek | A075535 | Restek A075535: 100 µl | 1.629 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 1.95 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1971 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-08-03 | mg/L | 1.2222 | 2011-07-21 10:00 | 20112030052 | Restek | A075535 | Restek A075535: 50 µl | 0.81818 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2222 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-08-19 | mg/L | 1.1611 | 2011-08-10 10:30 | 20112220123 | Restek | A075535 | Restek A075535: 150 µl | 2.4545 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 2.85 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1611 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-11-30 | mg/L | 1.1611 | 2011-11-17 08:00 | 20113220203 | Restek | A075535 | Restek A075535: 100 µl | 1.6364 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 1.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1611 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-02-08 | mg/L | 1.1978 | 2012-02-02 12:40 | 20120370007 | Restek | A075535 | Restek A075535: 50 µl | 0.81818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 0.98 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1978 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-04-05 | mg/L | 1.0633 | 2012-03-29 09:00 | 20120930007 | Restek | A075535 | Restek A075535: 50 µl | 0.81818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 0.87 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0633 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1883 | 0.10639 | 1.1738 | 0.036667 | 0.027181
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-12-08 | mg/L | 1.0146 | 2010-11-24 08:30 | 20103330011 | Spex Organics | T1100628004 | Spex Organics T1100628004: 50 µl | 9.1075 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 9.24 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0146 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-03-24 | mg/L | 1.0688 | 2011-03-03 08:30 | 20110620087 | Spex Organics | T1100628004 | Spex Organics T1100628004: 40 µl | 7.0922 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 7.58 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0688 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-05-11 | mg/L | 1.0654 | 2011-04-28 08:30 | 20111190188 | Spex Organics | T1100628004 | Spex Organics T1100628004: 100 µl | 18.1159 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 19.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0654 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-06-30 | mg/L | 1.0901 | 2011-06-23 09:30 | 20111750009 | Spex Organics | T1100628004 | Spex Organics T1100628004: 50 µl | 9.0909 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 9.91 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0901 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-08-04 | mg/L | 1.1206 | 2011-07-28 10:00 | 20112100011 | Spex Organics | T1100628004 | Spex Organics T1100628004: 40 µl | 7.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.3 | 8.15 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1206 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-10-07 | mg/L | 1.0395 | 2011-09-15 09:30 | 20112590008 | Spex Organics | T1100628004 | Spex Organics T1100628004: 100 µl | 18.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 18.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0395 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-11-03 | mg/L | 1.0736 | 2011-10-07 06:10 | 20112840028 | Spex Organics | T1100628004 | Spex Organics T1100628004: 50 µl | 9.0909 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 9.76 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0736 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2011-12-07 | mg/L | 1.078 | 2011-11-29 08:30 | 20113340043 | Spex Organics | T1100628004 | Spex Organics T1100628004: 100 µl | 18.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 19.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.078 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-05-23 | mg/L | 1.001 | 2012-05-03 07:30 | 20121250045 | Spex Organics | T1100628004 | Spex Organics T1100628004: 100 µl | 18.1818 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 18.2 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.001 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-06-21 | mg/L | 0.9988 | 2012-05-31 08:00 | 20121520250 | Spex Organics | T1100628004 | Spex Organics T1100628004: 50 µl | 9.0909 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 9.08 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.9988 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.055 | 0.040362 | 1.0671 | 0.063448 | 0.047033
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-03-19 | mg/L | 1.0541 | 2010-03-11 08:30 | 20100710181 | Supelco | LB69651 | Supelco LB69651: 25 µl | 1.5179 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 1.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0541 | Supelco LB69651 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.001 | 0.077889 | 1.0013 | 0.13223 | 0.098019
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-05-06 | mg/L | 0.92125 | 2010-04-29 10:00 | 20101190093 | Supelco | LB69651 | Supelco LB69651: 50 µl | 2.9308 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 2.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.92125 | Supelco LB69651 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.001 | 0.077889 | 1.0013 | 0.13223 | 0.098019
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-06-26 | mg/L | 0.94859 | 2010-06-17 09:30 | 20101720154 | Supelco | LB69651 | Supelco LB69651: 50 µl | 2.9517 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 2.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.94859 | Supelco LB69651 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.001 | 0.077889 | 1.0013 | 0.13223 | 0.098019
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2010-08-18 | mg/L | 1.0802 | 2010-08-12 10:30 | 20102250092 | Supelco | LB69651 | Supelco LB69651: 25 µl | 1.4812 | DISSOLVED_ORGANIC_CARBON | . | 0.66 | 1.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0802 | Supelco LB69651 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.001 | 0.077889 | 1.0013 | 0.13223 | 0.098019
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-07-06 | mg/L | 1.0443 | 2012-06-14 06:30 | 20121670017 | Supelco | LB92786 | Supelco LB92786: 25 µl | 6.8273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.13 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0443 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0937 | 0.079682 | 1.0678 | 0.067377 | 0.049946
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-08-03 | mg/L | 1.0253 | 2012-07-19 07:30 | 20122020002 | Supelco | LB92786 | Supelco LB92786: 100 µl | 27.3091 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 28 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0253 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0937 | 0.079682 | 1.0678 | 0.067377 | 0.049946
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-09-14 | mg/L | 1.1117 | 2012-09-13 07:00 | 20122570121 | Supelco | LB92786 | Supelco LB92786: 25 µl | 6.8273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.59 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1117 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0937 | 0.079682 | 1.0678 | 0.067377 | 0.049946
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2012-12-13 | mg/L | 1.0619 | 2012-12-06 07:30 | 20123420071 | Supelco | LB92786 | Supelco LB92786: 50 µl | 13.6546 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 14.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0619 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0937 | 0.079682 | 1.0678 | 0.067377 | 0.049946
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-03-05 | mg/L | 1.0736 | 2013-02-19 07:30 | 20130510053 | Supelco | LB92786 | Supelco LB92786: 25 µl | 6.8273 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.33 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0736 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0937 | 0.079682 | 1.0678 | 0.067377 | 0.049946
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-05-23 | mg/L | 1.245 | 2013-05-02 07:00 | 20131230086 | Supelco | LB92786 | Supelco LB92786: 50 µl | 13.6546 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 17 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.245 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0937 | 0.079682 | 1.0678 | 0.067377 | 0.049946
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-06-19 | mg/L | 0.95238 | 2013-06-06 06:00 | 20131580023 | Supelco | LC00153 | Supelco LC00153: 50 µl | 13.65 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 13 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0552 | 0.069403 | 1.0974 | 0.092308 | 0.068427
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-10-25 | mg/L | 1.1062 | 2013-09-06 06:00 | 20132490344 | Supelco | LC00153 | Supelco LC00153: 25 µl | 6.825 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.55 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0552 | 0.069403 | 1.0974 | 0.092308 | 0.068427
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2013-11-15 | mg/L | 1.0139 | 2013-10-24 06:00 | 20132980024 | Supelco | LC00153 | Supelco LC00153: 25 µl | 6.825 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 6.92 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0139 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0552 | 0.069403 | 1.0974 | 0.092308 | 0.068427
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-01-01 | mg/L | 1.1062 | 2013-12-19 06:00 | 20133540015 | Supelco | LC00153 | Supelco LC00153: 25 µl | 6.825 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.55 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0552 | 0.069403 | 1.0974 | 0.092308 | 0.068427
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2014-03-10 | mg/L | 1.0974 | 2014-02-27 06:00 | 20140590011 | Supelco | LC00153 | Supelco LC00153: 25 µl | 6.825 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.49 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0974 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0552 | 0.069403 | 1.0974 | 0.092308 | 0.068427
DISSOLVED ORGANIC CARBON | LC2612 | 00681OX006 | 2015-05-08 | mg/L | 1.0436 | 2015-04-30 06:00 | 20151210036 | abs | 040315TOCDOC | abs 040315TOCDOC: 20 µl | 7.2727 | DISSOLVED_ORGANIC_CARBON | . | 0.46 | 7.59 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0436 | abs 040315TOCDOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0436 |  | 1.0436 | 0 | 0