## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-09-29 | mg/L | 0.9955 | 2015-09-24 06:30 | 20152670137 | Abs | 040315TOCDOC | Abs 040315TOCDOC: 50 µl | 18.1818 | TOTAL_ORGANIC_CARBON | . | 1.4 | 18.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.9955 | Abs 040315TOCDOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98244 | 0.018473 | 0.98244 | 0.026125 | 0.019366
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-12-07 | mg/L | 0.96937 | 2015-12-03 06:30 | 20153370171 | Abs | 040315TOCDOC | Abs 040315TOCDOC: 80 µl | 29.0909 | TOTAL_ORGANIC_CARBON | . | 1.4 | 28.2 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.96937 | Abs 040315TOCDOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98244 | 0.018473 | 0.98244 | 0.026125 | 0.019366
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-03-01 | mg/L | 1.0735 | 2010-02-25 08:00 | 20100570088 | Abs | 082809 | Abs 082809: 25 µl | 1.4718 | TOTAL_ORGANIC_CARBON | . | 0.6 | 1.58 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0735 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.072 | 0.064958 | 1.0635 | 0.038309 | 0.028398
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-04-01 | mg/L | 1.0088 | 2010-03-25 08:30 | 20100880034 | Abs | 082809 | Abs 082809: 50 µl | 2.8845 | TOTAL_ORGANIC_CARBON | . | 0.6 | 2.91 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0088 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.072 | 0.064958 | 1.0635 | 0.038309 | 0.028398
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-05-25 | mg/L | 1.0635 | 2010-05-20 10:00 | 20101410001 | Abs | 082809 | Abs 082809: 100 µl | 5.8768 | TOTAL_ORGANIC_CARBON | . | 0.6 | 6.25 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0635 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.072 | 0.064958 | 1.0635 | 0.038309 | 0.028398
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-07-19 | mg/L | 1.1791 | 2010-07-08 10:00 | 20101900009 | Abs | 082809 | Abs 082809: 25 µl | 1.4758 | TOTAL_ORGANIC_CARBON | . | 0.6 | 1.74 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1791 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.072 | 0.064958 | 1.0635 | 0.038309 | 0.028398
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-09-14 | mg/L | 1.0352 | 2010-09-09 06:30 | 20102530009 | Abs | 082809 | Abs 082809: 100 µl | 5.5931 | TOTAL_ORGANIC_CARBON | . | 0.6 | 5.79 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0352 | Abs 082809 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.072 | 0.064958 | 1.0635 | 0.038309 | 0.028398
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-04-13 | mg/L | 1.0166 | 2010-04-08 09:30 | 20100990026 | Accu | 209085050 | Accu 209085050: 150 µl | 23.1173 | TOTAL_ORGANIC_CARBON | . | 0.6 | 23.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0166 | Accu 209085050 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0174 | 0.025422 | 1.0094 | 0.035237 | 0.026121
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-06-02 | mg/L | 1.0536 | 2010-05-27 10:30 | 20101480002 | Accu | 209085050 | Accu 209085050: 50 µl | 7.9066 | TOTAL_ORGANIC_CARBON | . | 0.6 | 8.33 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0536 | Accu 209085050 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0174 | 0.025422 | 1.0094 | 0.035237 | 0.026121
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-08-23 | mg/L | 0.99731 | 2010-07-21 10:30 | 20102030009 | Accu | 209085050 | Accu 209085050: 150 µl | 23.3628 | TOTAL_ORGANIC_CARBON | . | 0.6 | 23.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99731 | Accu 209085050 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0174 | 0.025422 | 1.0094 | 0.035237 | 0.026121
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-09-22 | mg/L | 1.0023 | 2010-09-16 08:00 | 20102630173 | Accu | 209085050 | Accu 209085050: 100 µl | 15.2645 | TOTAL_ORGANIC_CARBON | . | 0.6 | 15.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0023 | Accu 209085050 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.0174 | 0.025422 | 1.0094 | 0.035237 | 0.026121
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-07-09 | mg/L | 1.0157 | 2012-07-03 06:30 | 20121870007 | Accu | 212055044 | Accu 212055044: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 2.77 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0157 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0103 | 0.048432 | 1.0056 | 0.025666 | 0.019026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-09-06 | mg/L | 1.0028 | 2012-08-30 07:30 | 20122430223 | Accu | 212055044 | Accu 212055044: 100 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1 | 5.47 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0028 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0103 | 0.048432 | 1.0056 | 0.025666 | 0.019026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-10-02 | mg/L | 1.0083 | 2012-09-19 08:00 | 20122640135 | Accu | 212055044 | Accu 212055044: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 2.75 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0103 | 0.048432 | 1.0056 | 0.025666 | 0.019026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-11-26 | mg/L | 0.94844 | 2012-11-20 08:00 | 20123260039 | Accu | 212055044 | Accu 212055044: 150 µl | 8.1818 | TOTAL_ORGANIC_CARBON | . | 1 | 7.76 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.94844 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0103 | 0.048432 | 1.0056 | 0.025666 | 0.019026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-02-12 | mg/L | 1.0963 | 2013-02-07 08:00 | 20130390109 | Accu | 212055044 | Accu 212055044: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 2.99 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0963 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0103 | 0.048432 | 1.0056 | 0.025666 | 0.019026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-04-17 | mg/L | 0.99 | 2013-04-11 07:45 | 20131020085 | Accu | 212055044 | Accu 212055044: 100 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1 | 5.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Accu 212055044 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0103 | 0.048432 | 1.0056 | 0.025666 | 0.019026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-05-22 | mg/L | 1.21 | 2013-05-16 06:30 | 20131370003 | Accu | 213045015 | Accu 213045015: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 3.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.21 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.177 | 0.12407 | 1.2247 | 0.029333 | 0.021744
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-08-28 | mg/L | 1.2393 | 2013-08-21 06:30 | 20132340082 | Accu | 213045015 | Accu 213045015: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 3.38 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2393 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.177 | 0.12407 | 1.2247 | 0.029333 | 0.021744
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-11-19 | mg/L | 0.957 | 2013-11-14 06:30 | 20133190014 | Accu | 213045015 | Accu 213045015: 100 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1.4 | 5.22 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.957 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.177 | 0.12407 | 1.2247 | 0.029333 | 0.021744
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-02-25 | mg/L | 1.254 | 2014-01-16 06:30 | 20140160084 | Accu | 213045015 | Accu 213045015: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 3.42 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.254 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.177 | 0.12407 | 1.2247 | 0.029333 | 0.021744
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-03-13 | mg/L | 1.2247 | 2014-03-06 06:30 | 20140650082 | Accu | 213045015 | Accu 213045015: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 3.34 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2247 | Accu 213045015 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.177 | 0.12407 | 1.2247 | 0.029333 | 0.021744
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-04-28 | mg/L | 1.0358 | 2014-04-24 06:30 | 20141150019 | Accu | 214035048 | Accu 214035048: 80 µl | 21.8182 | TOTAL_ORGANIC_CARBON | . | 1.4 | 22.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0358 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0732 | 0.060339 | 1.0927 | 0.073334 | 0.054361
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-06-23 | mg/L | 1.0927 | 2014-06-19 06:30 | 20141710104 | Accu | 214035048 | Accu 214035048: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1.4 | 14.9 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0927 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0732 | 0.060339 | 1.0927 | 0.073334 | 0.054361
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-08-25 | mg/L | 1.1721 | 2014-08-18 06:30 | 20142340164 | Accu | 214035048 | Accu 214035048: 30 µl | 8.1818 | TOTAL_ORGANIC_CARBON | . | 1.4 | 9.59 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1721 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0732 | 0.060339 | 1.0927 | 0.073334 | 0.054361
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-11-20 | mg/L | 1.0951 | 2014-11-13 06:30 | 20143180047 | Accu | 214035048 | Accu 214035048: 30 µl | 8.1818 | TOTAL_ORGANIC_CARBON | . | 1.4 | 8.96 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0951 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0732 | 0.060339 | 1.0927 | 0.073334 | 0.054361
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-01-27 | mg/L | 1.1 | 2015-01-22 06:30 | 20150230029 | Accu | 214035048 | Accu 214035048: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1.4 | 15 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0732 | 0.060339 | 1.0927 | 0.073334 | 0.054361
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-03-23 | mg/L | 1.0267 | 2015-03-19 06:30 | 20150790012 | Accu | 214035048 | Accu 214035048: 80 µl | 21.8182 | TOTAL_ORGANIC_CARBON | . | 1.4 | 22.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0267 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0732 | 0.060339 | 1.0927 | 0.073334 | 0.054361
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-04-27 | mg/L | 0.99 | 2015-04-16 06:30 | 20151110019 | Accu | 214035048 | Accu 214035048: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1.4 | 13.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Accu 214035048 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0732 | 0.060339 | 1.0927 | 0.073334 | 0.054361
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-05-12 | mg/L | 1.0017 | 2015-05-07 06:30 | 20151270111 | Accu | 215045102 | Accu 215045102: 50 µl | 6.8182 | TOTAL_ORGANIC_CARBON | . | 1.4 | 6.83 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0017 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.03 | 0.068619 | 1.0017 | 0.0781 | 0.057895
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-06-30 | mg/L | 1.1367 | 2015-06-18 06:30 | 20151690194 | Accu | 215045102 | Accu 215045102: 20 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 3.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.03 | 0.068619 | 1.0017 | 0.0781 | 0.057895
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-08-20 | mg/L | 0.98083 | 2015-08-13 06:30 | 20152250273 | Accu | 215045102 | Accu 215045102: 80 µl | 10.9091 | TOTAL_ORGANIC_CARBON | . | 1.4 | 10.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.98083 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.03 | 0.068619 | 1.0017 | 0.0781 | 0.057895
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-10-21 | mg/L | 0.97167 | 2015-10-15 06:30 | 20152890010 | Accu | 215045102 | Accu 215045102: 20 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 2.65 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.97167 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.03 | 0.068619 | 1.0017 | 0.0781 | 0.057895
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2016-01-13 | mg/L | 1.0589 | 2015-12-30 06:30 | 20153640097 | Accu | 215045102 | Accu 215045102: 50 µl | 6.8182 | TOTAL_ORGANIC_CARBON | . | 1.4 | 7.22 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0589 | Accu 215045102 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.03 | 0.068619 | 1.0017 | 0.0781 | 0.057895
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-04-14 | mg/L | 1.1037 | 2014-04-10 07:30 | 20141010009 | ChemService | 2604600 | ChemService 2604600: 50 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1.4 | 6.02 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1037 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0611 | 0.081254 | 1.0847 | 0.0935 | 0.069311
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-05-15 | mg/L | 1.0847 | 2014-05-08 07:00 | 20141290004 | ChemService | 2604600 | ChemService 2604600: 30 µl | 3.2727 | TOTAL_ORGANIC_CARBON | . | 1.4 | 3.55 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0847 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0611 | 0.081254 | 1.0847 | 0.0935 | 0.069311
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-06-11 | mg/L | 1.1055 | 2014-06-05 06:30 | 20141570085 | ChemService | 2604600 | ChemService 2604600: 50 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1.4 | 6.03 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1055 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0611 | 0.081254 | 1.0847 | 0.0935 | 0.069311
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-10-27 | mg/L | 1.1573 | 2014-10-16 06:30 | 20142890077 | ChemService | 2604600 | ChemService 2604600: 80 µl | 8.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 10.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1573 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0611 | 0.081254 | 1.0847 | 0.0935 | 0.069311
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-12-10 | mg/L | 1.0572 | 2014-12-08 06:30 | 20143420009 | ChemService | 2604600 | ChemService 2604600: 30 µl | 3.2727 | TOTAL_ORGANIC_CARBON | . | 1.4 | 3.46 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0572 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0611 | 0.081254 | 1.0847 | 0.0935 | 0.069311
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-02-27 | mg/L | 1.012 | 2015-02-19 06:30 | 20150510048 | ChemService | 2604600 | ChemService 2604600: 50 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1.4 | 5.52 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.012 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0611 | 0.081254 | 1.0847 | 0.0935 | 0.069311
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-04-06 | mg/L | 0.9075 | 2015-04-02 07:00 | 20150930005 | ChemService | 2604600 | ChemService 2604600: 30 µl | 3.2727 | TOTAL_ORGANIC_CARBON | . | 1.4 | 2.97 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.9075 | ChemService 2604600 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 7 | 1.0611 | 0.081254 | 1.0847 | 0.0935 | 0.069311
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-11-08 | mg/L | 1.085 | 2010-10-21 09:30 | 20102950075 | Crescent | 06MM149 | Crescent 06MM149: 40 µl | 7.1429 | TOTAL_ORGANIC_CARBON | . | 0.6 | 7.75 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.085 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-01-31 | mg/L | 0.80685 | 2011-01-27 07:30 | 20110280002 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 20.4499 | TOTAL_ORGANIC_CARBON | . | 0.6 | 16.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.80685 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-04-12 | mg/L | 1.0864 | 2011-03-24 08:30 | 20110840105 | Crescent | 06MM149 | Crescent 06MM149: 50 µl | 8.8183 | TOTAL_ORGANIC_CARBON | . | 0.6 | 9.58 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0864 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-05-31 | mg/L | 1.1062 | 2011-05-26 09:30 | 20111470068 | Crescent | 06MM149 | Crescent 06MM149: 40 µl | 7.2137 | TOTAL_ORGANIC_CARBON | . | 0.6 | 7.98 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-07-12 | mg/L | 1.056 | 2011-07-07 10:00 | 20111890011 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 18.1818 | TOTAL_ORGANIC_CARBON | . | 0.6 | 19.2 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.056 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-08-22 | mg/L | 1.0076 | 2011-08-18 08:53 | 20112310026 | Crescent | 06MM149 | Crescent 06MM149: 50 µl | 9.0909 | TOTAL_ORGANIC_CARBON | . | 0.6 | 9.16 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0076 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-11-08 | mg/L | 1.3131 | 2011-11-03 09:00 | 20113080006 | Crescent | 06MM149 | Crescent 06MM149: 40 µl | 7.2727 | TOTAL_ORGANIC_CARBON | . | 1 | 9.55 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.3131 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-02-29 | mg/L | 1.298 | 2012-02-23 08:30 | 20120540038 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 18.1818 | TOTAL_ORGANIC_CARBON | . | 1 | 23.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.298 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-03-29 | mg/L | 1.0681 | 2012-03-22 09:00 | 20120830080 | Crescent | 06MM149 | Crescent 06MM149: 50 µl | 9.0909 | TOTAL_ORGANIC_CARBON | . | 1 | 9.71 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0681 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-04-11 | mg/L | 0.9955 | 2012-04-05 08:00 | 20120960121 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 18.1818 | TOTAL_ORGANIC_CARBON | . | 1 | 18.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.9955 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-05-08 | mg/L | 1.0318 | 2012-04-19 08:00 | 20121110023 | Crescent | 06MM149 | Crescent 06MM149: 50 µl | 9.0909 | TOTAL_ORGANIC_CARBON | . | 1 | 9.38 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0318 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-05-22 | mg/L | 1.078 | 2012-05-17 08:30 | 20121390011 | Crescent | 06MM149 | Crescent 06MM149: 100 µl | 18.1818 | TOTAL_ORGANIC_CARBON | . | 1 | 19.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.078 | Crescent 06MM149 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 12 | 1.0777 | 0.13232 | 1.073 | 0.0766 | 0.056783
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-06-03 | mg/L | 1.056 | 2014-05-22 06:30 | 20141420135 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1.4 | 14.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.056 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0374 | 0.059171 | 1.0615 | 0.039417 | 0.029219
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-07-10 | mg/L | 0.92125 | 2014-07-02 06:30 | 20141840098 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 80 µl | 21.8182 | TOTAL_ORGANIC_CARBON | . | 1.4 | 20.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.92125 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0374 | 0.059171 | 1.0615 | 0.039417 | 0.029219
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-07-23 | mg/L | 1.078 | 2014-07-17 09:00 | 20141990080 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1.4 | 14.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.078 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0374 | 0.059171 | 1.0615 | 0.039417 | 0.029219
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-09-24 | mg/L | 1.0707 | 2014-09-18 06:30 | 20142620043 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1.4 | 14.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0707 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0374 | 0.059171 | 1.0615 | 0.039417 | 0.029219
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-12-03 | mg/L | 1.0312 | 2014-11-26 06:30 | 20143300049 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 80 µl | 21.8182 | TOTAL_ORGANIC_CARBON | . | 1.4 | 22.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0313 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0374 | 0.059171 | 1.0615 | 0.039417 | 0.029219
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-02-25 | mg/L | 1.067 | 2015-02-05 06:30 | 20150360049 | ERA | 0227-14-06.2 | ERA 0227-14-06.2: 30 µl | 8.1818 | TOTAL_ORGANIC_CARBON | . | 1.4 | 8.73 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.067 | ERA 0227-14-06.2 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0374 | 0.059171 | 1.0615 | 0.039417 | 0.029219
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-07-23 | mg/L | 0.946 | 2013-07-03 06:30 | 20131840116 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 2.58 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.946 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.052 | 0.098935 | 1.0688 | 0.19067 | 0.14134
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-08-13 | mg/L | 1.1367 | 2013-08-08 06:30 | 20132210041 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 100 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1 | 6.2 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.052 | 0.098935 | 1.0688 | 0.19067 | 0.14134
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-09-24 | mg/L | 0.924 | 2013-09-12 06:30 | 20132560005 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 2.52 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.924 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.052 | 0.098935 | 1.0688 | 0.19067 | 0.14134
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-12-03 | mg/L | 1.078 | 2013-11-26 06:30 | 20133310032 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 2.94 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.078 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.052 | 0.098935 | 1.0688 | 0.19067 | 0.14134
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-03-07 | mg/L | 1.1678 | 2014-01-30 06:30 | 20140300036 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 100 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1.4 | 6.37 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1678 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.052 | 0.098935 | 1.0688 | 0.19067 | 0.14134
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-03-24 | mg/L | 1.0597 | 2014-03-19 06:30 | 20140780043 | ERA | 0318-13-01.2 TOC | ERA 0318-13-01.2 TOC: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 2.89 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0597 | ERA 0318-13-01.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.052 | 0.098935 | 1.0688 | 0.19067 | 0.14134
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-06-27 | mg/L | 1.023 | 2012-06-21 08:30 | 20121730105 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 2.79 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.023 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0655 | 0.07606 | 1.0487 | 0.036667 | 0.027181
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-08-23 | mg/L | 1.0597 | 2012-08-07 08:00 | 20122210009 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 150 µl | 8.1818 | TOTAL_ORGANIC_CARBON | . | 1 | 8.67 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0597 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0655 | 0.07606 | 1.0487 | 0.036667 | 0.027181
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-10-24 | mg/L | 1.1953 | 2012-10-18 07:30 | 20122930152 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 3.26 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1953 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0655 | 0.07606 | 1.0487 | 0.036667 | 0.027181
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-01-15 | mg/L | 1.001 | 2013-01-10 08:00 | 20130100069 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 100 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1 | 5.46 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.001 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0655 | 0.07606 | 1.0487 | 0.036667 | 0.027181
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-03-07 | mg/L | 1.0487 | 2013-03-05 07:30 | 20130650008 | ERA | 0507-12-03.2 TOC | ERA 0507-12-03.2 TOC: 50 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1 | 2.86 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0487 | ERA 0507-12-03.2 TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0655 | 0.07606 | 1.0487 | 0.036667 | 0.027181
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-08-04 | mg/L | 1.0604 | 2015-07-30 06:30 | 20152110197 | ERA | 0602-15-03 | ERA 0602-15-03: 50 µl | 6.8182 | TOTAL_ORGANIC_CARBON | . | 1.4 | 7.23 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0604 | ERA 0602-15-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.03 | 0.047416 | 1.0542 | 0.085067 | 0.063059
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-09-10 | mg/L | 1.0542 | 2015-08-27 06:30 | 20152390228 | ERA | 0602-15-03 | ERA 0602-15-03: 80 µl | 10.9091 | TOTAL_ORGANIC_CARBON | . | 1.4 | 11.5 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0542 | ERA 0602-15-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.03 | 0.047416 | 1.0542 | 0.085067 | 0.063059
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-11-09 | mg/L | 0.97533 | 2015-11-05 06:30 | 20153090110 | ERA | 0602-15-03 | ERA 0602-15-03: 20 µl | 2.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 2.66 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.97533 | ERA 0602-15-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.03 | 0.047416 | 1.0542 | 0.085067 | 0.063059
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-02-16 | mg/L | 0.99404 | 2010-02-11 08:30 | 20100420057 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 50 µl | 4.0441 | TOTAL_ORGANIC_CARBON | . | 0.6 | 4.02 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99404 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0343 | 0.033633 | 1.0322 | 0.063254 | 0.04689
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-03-08 | mg/L | 1.0406 | 2010-03-03 08:30 | 20100630036 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 100 µl | 7.6588 | TOTAL_ORGANIC_CARBON | . | 0.6 | 7.97 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0406 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0343 | 0.033633 | 1.0322 | 0.063254 | 0.04689
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-03-23 | mg/L | 1.0665 | 2010-03-19 08:30 | 20100810064 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 50 µl | 3.8161 | TOTAL_ORGANIC_CARBON | . | 0.6 | 4.07 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0665 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0343 | 0.033633 | 1.0322 | 0.063254 | 0.04689
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-05-19 | mg/L | 1.0237 | 2010-05-13 10:00 | 20101370112 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 100 µl | 8 | TOTAL_ORGANIC_CARBON | . | 0.6 | 8.19 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0237 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0343 | 0.033633 | 1.0322 | 0.063254 | 0.04689
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-07-07 | mg/L | 1.0777 | 2010-07-01 10:30 | 20101830138 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 150 µl | 11.6918 | TOTAL_ORGANIC_CARBON | . | 0.6 | 12.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0777 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0343 | 0.033633 | 1.0322 | 0.063254 | 0.04689
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-09-07 | mg/L | 1.0033 | 2010-08-19 10:30 | 20102320022 | ERA | 0817-09-02TOC/DOC | ERA 0817-09-02TOC/DOC: 50 µl | 3.8973 | TOTAL_ORGANIC_CARBON | . | 0.6 | 3.91 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | ERA 0817-09-02TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0343 | 0.033633 | 1.0322 | 0.063254 | 0.04689
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-08-12 | mg/L | 1.1061 | 2014-08-07 06:30 | 20142200166 | NSI | 031314 | NSI 031314: 30 µl | 3.2727 | TOTAL_ORGANIC_CARBON | . | 1.4 | 3.62 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1061 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1049 | 0.093262 | 1.1092 | 0.17233 | 0.12775
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-09-08 | mg/L | 1.1825 | 2014-09-04 06:30 | 20142480003 | NSI | 031314 | NSI 031314: 50 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1.4 | 6.45 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1825 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1049 | 0.093262 | 1.1092 | 0.17233 | 0.12775
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-10-06 | mg/L | 1.2283 | 2014-10-02 06:30 | 20142760026 | NSI | 031314 | NSI 031314: 30 µl | 3.2727 | TOTAL_ORGANIC_CARBON | . | 1.4 | 4.02 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2283 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1049 | 0.093262 | 1.1092 | 0.17233 | 0.12775
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-11-05 | mg/L | 1.0102 | 2014-10-30 06:30 | 20143030093 | NSI | 031314 | NSI 031314: 50 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1.4 | 5.51 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0102 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1049 | 0.093262 | 1.1092 | 0.17233 | 0.12775
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-01-14 | mg/L | 0.99 | 2015-01-08 06:30 | 20150090095 | NSI | 031314 | NSI 031314: 80 µl | 8.7273 | TOTAL_ORGANIC_CARBON | . | 1.4 | 8.64 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1049 | 0.093262 | 1.1092 | 0.17233 | 0.12775
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-03-09 | mg/L | 1.1122 | 2015-03-05 06:30 | 20150650044 | NSI | 031314 | NSI 031314: 30 µl | 3.2727 | TOTAL_ORGANIC_CARBON | . | 1.4 | 3.64 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1122 | NSI 031314 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.1049 | 0.093262 | 1.1092 | 0.17233 | 0.12775
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-09-17 | mg/L | 0.96594 | 2015-09-10 06:30 | 20152530081 | NSI | 041315 | NSI 041315: 80 µl | 29.0909 | TOTAL_ORGANIC_CARBON | . | 1.4 | 28.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.96594 | NSI 041315 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.022 | 0.07924 | 1.022 | 0.11206 | 0.083071
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-11-30 | mg/L | 1.078 | 2015-11-19 06:30 | 20153230145 | NSI | 041315 | NSI 041315: 20 µl | 7.2727 | TOTAL_ORGANIC_CARBON | . | 1.4 | 7.84 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.078 | NSI 041315 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.022 | 0.07924 | 1.022 | 0.11206 | 0.083071
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-06-04 | mg/L | 1.1176 | 2013-05-30 06:30 | 20131510011 | NSI | 042313TOC | NSI 042313TOC: 25 µl | 6.8182 | TOTAL_ORGANIC_CARBON | . | 1 | 7.62 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1176 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0437 | 0.070252 | 1.078 | 0.10853 | 0.080455
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-07-02 | mg/L | 0.9768 | 2013-06-20 06:30 | 20131720016 | NSI | 042313TOC | NSI 042313TOC: 25 µl | 6.8182 | TOTAL_ORGANIC_CARBON | . | 1 | 6.66 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.9768 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0437 | 0.070252 | 1.078 | 0.10853 | 0.080455
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-08-06 | mg/L | 1.078 | 2013-07-25 06:30 | 20132070034 | NSI | 042313TOC | NSI 042313TOC: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1 | 14.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.078 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0437 | 0.070252 | 1.078 | 0.10853 | 0.080455
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-12-12 | mg/L | 0.96067 | 2013-12-05 06:30 | 20133400003 | NSI | 042313TOC | NSI 042313TOC: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1.4 | 13.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.96067 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0437 | 0.070252 | 1.078 | 0.10853 | 0.080455
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-03-11 | mg/L | 1.0853 | 2014-02-13 06:30 | 20140440056 | NSI | 042313TOC | NSI 042313TOC: 25 µl | 6.8182 | TOTAL_ORGANIC_CARBON | . | 1.4 | 7.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0853 | NSI 042313TOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0437 | 0.070252 | 1.078 | 0.10853 | 0.080455
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-08-29 | mg/L | 1.1015 | 2012-08-16 08:00 | 20122300020 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 25 µl | 6.8182 | TOTAL_ORGANIC_CARBON | . | 1 | 7.51 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1015 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.98047 | 0.072918 | 0.94233 | 0.0572 | 0.042402
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-10-11 | mg/L | 0.93867 | 2012-10-04 07:30 | 20122790028 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1 | 12.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.93867 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.98047 | 0.072918 | 0.94233 | 0.0572 | 0.042402
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-11-08 | mg/L | 0.94233 | 2012-11-01 08:00 | 20123070011 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 100 µl | 27.2727 | TOTAL_ORGANIC_CARBON | . | 1 | 25.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.94233 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.98047 | 0.072918 | 0.94233 | 0.0572 | 0.042402
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-01-28 | mg/L | 0.99587 | 2013-01-24 07:30 | 20130250060 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 25 µl | 6.8182 | TOTAL_ORGANIC_CARBON | . | 1 | 6.79 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99587 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.98047 | 0.072918 | 0.94233 | 0.0572 | 0.042402
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-04-01 | mg/L | 0.924 | 2013-03-27 08:00 | 20130870083 | NSI | 052312TOC/DOC | NSI 052312TOC/DOC: 50 µl | 13.6364 | TOTAL_ORGANIC_CARBON | . | 1 | 12.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.924 | NSI 052312TOC/DOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 0.98047 | 0.072918 | 0.94233 | 0.0572 | 0.042402
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-10-13 | mg/L | 1.1927 | 2010-10-07 08:30 | 20102810024 | NSI | 062910 | NSI 062910: 50 µl | 1.7271 | TOTAL_ORGANIC_CARBON | . | 0.6 | 2.06 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1927 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-12-16 | mg/L | 1.0903 | 2010-12-09 08:30 | 20103430092 | NSI | 062910 | NSI 062910: 150 µl | 5.4299 | TOTAL_ORGANIC_CARBON | . | 0.6 | 5.92 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0903 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-03-15 | mg/L | 0.963 | 2011-03-10 08:30 | 20110690082 | NSI | 062910 | NSI 062910: 100 µl | 3.7383 | TOTAL_ORGANIC_CARBON | . | 0.6 | 3.6 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.963 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-05-16 | mg/L | 1.1091 | 2011-05-12 09:00 | 20111330152 | NSI | 062910 | NSI 062910: 50 µl | 1.7762 | TOTAL_ORGANIC_CARBON | . | 0.6 | 1.97 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1091 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-07-11 | mg/L | 1.0487 | 2011-06-29 10:00 | 20111810007 | NSI | 062910 | NSI 062910: 150 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 0.6 | 5.72 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0487 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-10-25 | mg/L | 1.2512 | 2011-09-01 10:30 | 20112450028 | NSI | 062910 | NSI 062910: 100 µl | 3.6364 | TOTAL_ORGANIC_CARBON | . | 1 | 4.55 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2512 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-12-13 | mg/L | 0.924 | 2011-10-20 09:00 | 20112930091 | NSI | 062910 | NSI 062910: 50 µl | 1.8182 | TOTAL_ORGANIC_CARBON | . | 1 | 1.68 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.924 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-01-23 | mg/L | 0.94783 | 2012-01-12 09:00 | 20120120074 | NSI | 062910 | NSI 062910: 150 µl | 5.4545 | TOTAL_ORGANIC_CARBON | . | 1 | 5.17 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.94783 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-03-13 | mg/L | 1.0092 | 2012-03-08 08:30 | 20120690026 | NSI | 062910 | NSI 062910: 100 µl | 3.6364 | TOTAL_ORGANIC_CARBON | . | 1 | 3.67 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0092 | NSI 062910 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.0596 | 0.1122 | 1.0487 | 0.14611 | 0.10831
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-11-15 | mg/L | 1.1618 | 2010-11-04 09:30 | 20103080120 | Restek | A075535 | Restek A075535: 100 µl | 1.5666 | TOTAL_ORGANIC_CARBON | . | 0.6 | 1.82 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1618 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-03-10 | mg/L | 1.1271 | 2011-02-17 08:00 | 20110490037 | Restek | A075535 | Restek A075535: 50 µl | 0.77187 | TOTAL_ORGANIC_CARBON | . | 0.6 | 0.87 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1271 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-04-13 | mg/L | 1.3525 | 2011-04-07 08:30 | 20110980042 | Restek | A075535 | Restek A075535: 150 µl | 2.3438 | TOTAL_ORGANIC_CARBON | . | 0.6 | 3.17 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.3525 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-06-10 | mg/L | 1.1739 | 2011-06-07 09:30 | 20111590007 | Restek | A075535 | Restek A075535: 100 µl | 1.5845 | TOTAL_ORGANIC_CARBON | . | 0.6 | 1.86 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1739 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-07-27 | mg/L | 1.3444 | 2011-07-21 10:30 | 20112030051 | Restek | A075535 | Restek A075535: 50 µl | 0.81818 | TOTAL_ORGANIC_CARBON | . | 0.6 | 1.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.3444 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-08-11 | mg/L | 1.1407 | 2011-08-10 11:00 | 20112220122 | Restek | A075535 | Restek A075535: 150 µl | 2.4545 | TOTAL_ORGANIC_CARBON | . | 0.6 | 2.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1407 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-11-22 | mg/L | 1.1367 | 2011-11-17 08:30 | 20113220202 | Restek | A075535 | Restek A075535: 100 µl | 1.6364 | TOTAL_ORGANIC_CARBON | . | 1 | 1.86 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-02-09 | mg/L | 1.0633 | 2012-02-02 12:50 | 20120370008 | Restek | A075535 | Restek A075535: 50 µl | 0.81818 | TOTAL_ORGANIC_CARBON | . | 1 | 0.87 | MILLIGRAMS PER LITER |  |  | < Reporting Level | 1.0633 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-04-05 | mg/L | 1.1611 | 2012-03-29 09:30 | 20120930008 | Restek | A075535 | Restek A075535: 50 µl | 0.81818 | TOTAL_ORGANIC_CARBON | . | 1 | 0.95 | MILLIGRAMS PER LITER |  |  | < Reporting Level | 1.1611 | Restek A075535 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 9 | 1.1846 | 0.098215 | 1.1611 | 0.0372 | 0.027576
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-12-01 | mg/L | 1.1189 | 2010-11-24 09:00 | 20103330012 | Spex Organics | T1100628004 | Spex Organics T1100628004: 50 µl | 8.5616 | TOTAL_ORGANIC_CARBON | . | 0.6 | 9.58 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1189 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-03-15 | mg/L | 1.2168 | 2011-03-03 09:00 | 20110620088 | Spex Organics | T1100628004 | Spex Organics T1100628004: 40 µl | 7.0922 | TOTAL_ORGANIC_CARBON | . | 0.6 | 8.63 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2168 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-05-12 | mg/L | 1.1816 | 2011-04-28 09:00 | 20111190187 | Spex Organics | T1100628004 | Spex Organics T1100628004: 100 µl | 17.8571 | TOTAL_ORGANIC_CARBON | . | 0.6 | 21.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1816 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-06-28 | mg/L | 1.188 | 2011-06-23 10:00 | 20111750008 | Spex Organics | T1100628004 | Spex Organics T1100628004: 50 µl | 9.0909 | TOTAL_ORGANIC_CARBON | . | 0.6 | 10.8 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.188 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-08-03 | mg/L | 1.2719 | 2011-07-28 10:30 | 20112100010 | Spex Organics | T1100628004 | Spex Organics T1100628004: 40 µl | 7.2727 | TOTAL_ORGANIC_CARBON | . | 0.6 | 9.25 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2719 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-10-28 | mg/L | 0.957 | 2011-09-15 10:00 | 20112590009 | Spex Organics | T1100628004 | Spex Organics T1100628004: 100 µl | 18.1818 | TOTAL_ORGANIC_CARBON | . | 1 | 17.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.957 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-11-10 | mg/L | 1.0659 | 2011-10-07 06:00 | 20112840027 | Spex Organics | T1100628004 | Spex Organics T1100628004: 50 µl | 9.0909 | TOTAL_ORGANIC_CARBON | . | 1 | 9.69 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0659 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2011-12-02 | mg/L | 1.045 | 2011-11-29 09:00 | 20113340042 | Spex Organics | T1100628004 | Spex Organics T1100628004: 100 µl | 18.1818 | TOTAL_ORGANIC_CARBON | . | 1 | 19 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-05-15 | mg/L | 1.0615 | 2012-05-03 08:00 | 20121250046 | Spex Organics | T1100628004 | Spex Organics T1100628004: 100 µl | 18.1818 | TOTAL_ORGANIC_CARBON | . | 1 | 19.3 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0615 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-06-05 | mg/L | 1.0758 | 2012-05-31 08:30 | 20121520251 | Spex Organics | T1100628004 | Spex Organics T1100628004: 50 µl | 9.0909 | TOTAL_ORGANIC_CARBON | . | 1 | 9.78 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0758 | Spex Organics T1100628004 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 10 | 1.1182 | 0.09506 | 1.0974 | 0.1265 | 0.093773
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-03-17 | mg/L | 0.99153 | 2010-03-11 08:00 | 20100710180 | Supelco | LB69651 | Supelco LB69651: 25 µl | 1.5027 | TOTAL_ORGANIC_CARBON | . | 0.6 | 1.49 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.99153 | Supelco LB69651 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.005 | 0.048752 | 1.0032 | 0.070183 | 0.052026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-05-06 | mg/L | 0.9483 | 2010-04-29 09:30 | 20101190094 | Supelco | LB69651 | Supelco LB69651: 50 µl | 2.8999 | TOTAL_ORGANIC_CARBON | . | 0.6 | 2.75 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.9483 | Supelco LB69651 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.005 | 0.048752 | 1.0032 | 0.070183 | 0.052026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-06-25 | mg/L | 1.0653 | 2010-06-17 10:00 | 20101720155 | Supelco | LB69651 | Supelco LB69651: 50 µl | 2.9757 | TOTAL_ORGANIC_CARBON | . | 0.6 | 3.17 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0653 | Supelco LB69651 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.005 | 0.048752 | 1.0032 | 0.070183 | 0.052026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2010-09-03 | mg/L | 1.0149 | 2010-08-12 11:00 | 20102250093 | Supelco | LB69651 | Supelco LB69651: 25 µl | 1.4878 | TOTAL_ORGANIC_CARBON | . | 0.6 | 1.51 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0149 | Supelco LB69651 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.005 | 0.048752 | 1.0032 | 0.070183 | 0.052026
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-06-20 | mg/L | 1.015 | 2012-06-14 07:00 | 20121670018 | Supelco | LB92786 | Supelco LB92786: 25 µl | 6.8273 | TOTAL_ORGANIC_CARBON | . | 1 | 6.93 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.015 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0399 | 0.12121 | 1.0143 | 0.051265 | 0.038002
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-07-26 | mg/L | 0.92277 | 2012-07-19 08:00 | 20122020001 | Supelco | LB92786 | Supelco LB92786: 100 µl | 27.3091 | TOTAL_ORGANIC_CARBON | . | 1 | 25.2 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.92277 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0399 | 0.12121 | 1.0143 | 0.051265 | 0.038002
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2012-09-14 | mg/L | 0.98136 | 2012-09-13 07:30 | 20122570120 | Supelco | LB92786 | Supelco LB92786: 25 µl | 6.8273 | TOTAL_ORGANIC_CARBON | . | 1 | 6.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.98136 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0399 | 0.12121 | 1.0143 | 0.051265 | 0.038002
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-01-07 | mg/L | 1.0326 | 2012-12-06 08:00 | 20123420070 | Supelco | LB92786 | Supelco LB92786: 50 µl | 13.6546 | TOTAL_ORGANIC_CARBON | . | 1 | 14.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0326 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0399 | 0.12121 | 1.0143 | 0.051265 | 0.038002
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-02-25 | mg/L | 1.0136 | 2013-02-19 08:00 | 20130510054 | Supelco | LB92786 | Supelco LB92786: 25 µl | 6.8273 | TOTAL_ORGANIC_CARBON | . | 1 | 6.92 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0136 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0399 | 0.12121 | 1.0143 | 0.051265 | 0.038002
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-05-17 | mg/L | 1.2743 | 2013-05-02 07:30 | 20131230085 | Supelco | LB92786 | Supelco LB92786: 50 µl | 13.6546 | TOTAL_ORGANIC_CARBON | . | 1 | 17.4 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.2743 | Supelco LB92786 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 1.0399 | 0.12121 | 1.0143 | 0.051265 | 0.038002
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-06-26 | mg/L | 1.033 | 2013-06-06 06:30 | 20131580024 | Supelco | LC00153 | Supelco LC00153: 50 µl | 13.65 | TOTAL_ORGANIC_CARBON | . | 1 | 14.1 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.033 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0927 | 0.081562 | 1.1355 | 0.10549 | 0.078202
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-09-10 | mg/L | 1.1385 | 2013-09-06 06:10 | 20132490345 | Supelco | LC00153 | Supelco LC00153: 25 µl | 6.825 | TOTAL_ORGANIC_CARBON | . | 1 | 7.77 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1385 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0927 | 0.081562 | 1.1355 | 0.10549 | 0.078202
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-11-07 | mg/L | 0.98168 | 2013-10-24 06:30 | 20132980023 | Supelco | LC00153 | Supelco LC00153: 25 µl | 6.825 | TOTAL_ORGANIC_CARBON | . | 1.4 | 6.7 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 0.98168 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0927 | 0.081562 | 1.1355 | 0.10549 | 0.078202
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2013-12-30 | mg/L | 1.1355 | 2013-12-19 06:30 | 20133540014 | Supelco | LC00153 | Supelco LC00153: 25 µl | 6.825 | TOTAL_ORGANIC_CARBON | . | 1.4 | 7.75 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1355 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0927 | 0.081562 | 1.1355 | 0.10549 | 0.078202
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2014-03-13 | mg/L | 1.1751 | 2014-02-27 06:30 | 20140590013 | Supelco | LC00153 | Supelco LC00153: 25 µl | 6.825 | TOTAL_ORGANIC_CARBON | . | 1.4 | 8.02 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.1751 | Supelco LC00153 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 5 | 1.0927 | 0.081562 | 1.1355 | 0.10549 | 0.078202
TOTAL ORGANIC CARBON | LC3211 | 00680COMB9 | 2015-05-07 | mg/L | 1.0216 | 2015-04-30 06:30 | 20151210039 | abs | 040315TOCDOC | abs 040315TOCDOC: 20 µl | 7.2727 | TOTAL_ORGANIC_CARBON | . | 1.4 | 7.43 | MILLIGRAMS PER LITER |  |  | >= Reporting Level | 1.0216 | abs 040315TOCDOC | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0216 |  | 1.0216 | 0 | 0