## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
NORETHINDRONE | 4434 | 64531GM005 | 2014-08-26 | ng/L | 0.88667 | 2014-06-19 07:30 | 20141710107 | Abs, Abs | 031014, 042114 | Abs 031014: 60 µl & Abs 042114: 60 µl | 0.0031579 | NORETHINDRONE | . | 0.8 | 2.8 | NANOGRAMS PER LITER |  |  |  | Ab031014, Ab042114 | Ab | Ab | Ab | 031014 | 042114 | 042114 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-05-06 | ng/L | 1.3617 | 2014-04-17 06:30 | 20141080003 | Abs, ChemService | 031014, 2561700 | Abs 031014: 60 µl & ChemService 2561700: 60 µl | 0.0031579 | NORETHINDRONE | . | 0.8 | 4.3 | NANOGRAMS PER LITER |  |  |  | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-05-14 | ng/L | 1.026 | 2014-04-24 08:00 | 20141150017 | Abs, ChemService | 031014, 2561700 | Abs 031014: 30 µl & ChemService 2561700: 30 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.62 | NANOGRAMS PER LITER |  |  |  | Ab031014, Ch2561700 | Ab | Ch | Ch | 031014 | 2561700 | 2561700 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-08-11 | ng/L | 1.102 | 2014-05-29 07:00 | 20141490203 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 60 µl & ERA 0227-14-07.2: 60 µl | 0.0031579 | NORETHINDRONE | . | 0.8 | 3.48 | NANOGRAMS PER LITER |  |  |  | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-06-03 | ng/L | 0.89933 | 2015-04-23 07:00 | 20151140151 | Abs, ERA | 031014, 0227-14-07.2 | Abs 031014: 30 µl & ERA 0227-14-07.2: 30 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.42 | NANOGRAMS PER LITER |  |  |  | Ab031014, ER02207.2 | Ab | ER | ER | 031014 | 02207.2 | 02207.2 |  | 02207.2 | 02207.2 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-12-09 | ng/L | 0.81067 | 2014-08-18 07:00 | 20142340163 | Abs, Supelco | 031014, LC06946 | Abs 031014: 60 µl & Supelco LC06946: 60 µl | 0.0031579 | NORETHINDRONE | . | 0.8 | 2.56 | NANOGRAMS PER LITER |  |  |  | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-01-29 | ng/L | 0.70933 | 2014-11-06 06:30 | 20143110109 | Abs, Supelco | 031014, LC06946 | Abs 031014: 30 µl & Supelco LC06946: 30 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.12 | NANOGRAMS PER LITER |  |  |  | Ab031014, SuLC06946 | Ab | Su | Su | 031014 | LC06946 | LC06946 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-12-10 | ng/L | 0.81699 | 2015-09-17 06:30 | 20152610010 | Abs, ERA | 041515, 0601-15-04 | Abs 041515: 50 µl & ERA 0601-15-04: 50 µl | 0.0020074 | NORETHINDRONE | . | 0.8 | 1.64 | NANOGRAMS PER LITER |  |  |  | Ab041515, ER0605-04 | Ab | ER | ER | 041515 | 0605-04 | 0605-04 |  | 0605-04 | 0605-04 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-12-22 | ng/L |  | 2014-09-10 06:30 | 20142530088 | Abs, Abs | 042114, 031014 | Abs 042114: 30 µl & Abs 031014: 30 µl | 0.0015789 | NORETHINDRONE | < | 0.8 | 1.8 | NANOGRAMS PER LITER |  |  |  | Ab042114, Ab031014 | Ab | Ab | Ab | 042114 | 031014 | 031014 |  |  |  | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-04-13 | ng/L | 0.84233 | 2015-03-19 07:00 | 20150790010 | Abs, Spex Organics | 042114, E1140505004 | Abs 042114: 60 µl & Spex Organics E1140505004: 60 µl | 0.0031579 | NORETHINDRONE | . | 0.8 | 2.66 | NANOGRAMS PER LITER |  |  |  | Ab042114, SpE115004 | Ab | Sp | Sp | 042114 | E115004 | E115004 |  | E115004 | E115004 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-02-19 | ng/L |  | 2013-10-24 08:00 | 20132980022 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-03 | ng/L |  | 2013-11-21 07:30 | 20133260007 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-25 07:00 | ng/L |  | 2013-04-25 07:00 | 20131160077 | Abs, Spex Organics | 051512, T1120525010 | Abs 051512: 50 µl & Spex Organics T1120525010: 50 µl | 0.014526 | NORETHINDRONE | R | 0.8 |  | NANOGRAMS PER LITER |  |  |  | Ab051512, SpT115010 | Ab | Sp | Sp | 051512 | T115010 | T115010 |  | T115010 | T115010 | Y | Deleted Values | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-08-24 | ng/L |  | 2012-06-14 08:30 | 20121670019 | Abs | 051512 | Abs 051512: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 051512 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-02-23 | ng/L |  | 2010-11-18 08:30 | 20103230117 | Abs | 081810 | Abs 081810: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-30 | ng/L |  | 2011-02-02 08:00 | 20110340010 | Abs | 081810 | Abs 081810: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-05-09 | ng/L |  | 2011-03-31 09:00 | 20110910087 | Abs | 081810 | Abs 081810: 100 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-06-13 | ng/L |  | 2011-05-26 08:30 | 20111470069 | Abs | 081810 | Abs 081810: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-10-03 | ng/L |  | 2011-08-04 10:00 | 20112170148 | Abs | 081810 | Abs 081810: 100 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-10-12 | ng/L |  | 2011-08-25 11:20 | 20112380057 | Abs | 081810 | Abs 081810: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-01-27 | ng/L |  | 2011-11-29 08:00 | 20113340044 | Abs | 081810 | Abs 081810: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-03-27 | ng/L |  | 2012-01-26 08:30 | 20120260027 | Abs | 081810 | Abs 081810: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-17 | ng/L |  | 2012-03-15 09:00 | 20120760110 | Abs | 081810 | Abs 081810: 100 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-07-02 | ng/L |  | 2012-04-12 07:30 | 20121040013 | Abs | 081810 | Abs 081810: 100 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 081810 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-06-30 | ng/L | 1.0257 | 2010-02-18 07:30 | 20100500007 | Abs | 083109H | Abs 083109H: 20 µl | 0.00082867 | NORETHINDRONE | . | 0.8 | 0.85 | NANOGRAMS PER LITER |  |  |  | Abs 083109H | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-01 | ng/L | 0.75565 | 2010-04-15 08:00 | 20101060005 | Abs | 083109H | Abs 083109H: 40 µl | 0.0016807 | NORETHINDRONE | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  |  | Abs 083109H | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-12 | ng/L | 1.1011 | 2010-05-27 09:00 | 20101480010 | Abs | 083109H | Abs 083109H: 20 µl | 0.00082645 | NORETHINDRONE | . | 0.8 | 0.91 | NANOGRAMS PER LITER |  |  |  | Abs 083109H | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-10-25 | ng/L |  | 2010-07-08 08:00 | 20101900007 | Abs | 083109H | Abs 083109H: 40 µl | 0.0016956 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Abs 083109H | [9 empty] | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-11-01 | ng/L | 0.9477 | 2010-08-19 08:30 | 20102320015 | Abs | 083109H | Abs 083109H: 20 µl | 0.0008547 | NORETHINDRONE | . | 0.8 | 0.81 | NANOGRAMS PER LITER |  |  |  | Abs 083109H | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-01-21 | ng/L | 0.75683 | 2014-10-16 07:00 | 20142890075 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 60 µl & Spex Organics E1140505004: 60 µl | 0.0031579 | NORETHINDRONE | . | 0.8 | 2.39 | NANOGRAMS PER LITER |  |  |  | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-04-01 | ng/L | 1.045 | 2014-12-31 06:00 | 20143650001 | ChemService, Spex Organics | 2561700, E1140505004 | ChemService 2561700: 30 µl & Spex Organics E1140505004: 30 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.65 | NANOGRAMS PER LITER |  |  |  | Ch2561700, SpE115004 | Ch | Sp | Sp | 2561700 | E115004 | E115004 |  | E115004 | E115004 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-08-17 | ng/L | 0.83692 | 2015-07-16 07:00 | 20151970169 | ChemService, Abs | 4073900, 041515 | ChemService 4073900: 50 µl & Abs 041515: 50 µl | 0.0020074 | NORETHINDRONE | . | 0.8 | 1.68 | NANOGRAMS PER LITER |  |  |  | Ch4073900, Ab041515 | Ch | Ab | Ab | 4073900 | 041515 | 041515 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-09-23 | ng/L |  | 2015-08-06 08:30 | 20152190002 | ChemService, Spex Organics | 4073900, EN150501025 | ChemService 4073900: 30 µl & Spex Organics EN150501025: 30 µl | 0.0012 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Ch4073900, SpEN11025 | Ch | Sp | Sp | 4073900 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2016-01-07 | ng/L | 1.0005 | 2015-10-15 08:30 | 20152890008 | Crescent, Abs | 04EE007, 041515 | Crescent 04EE007: 60 µl & Abs 041515: 60 µl | 0.0024088 | NORETHINDRONE | . | 0.8 | 2.41 | NANOGRAMS PER LITER |  |  |  | Cr04EE007, Ab041515 | Cr | Ab | Ab | 04EE007 | 041515 | 041515 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-12-11 | ng/L |  | 2015-09-03 08:30 | 20152460213 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 30 µl & Spex Organics EN150501025: 30 µl | 0.0012 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2016-01-08 | ng/L |  | 2015-11-24 08:30 | 20153280158 | Crescent, Spex Organics | 04EE007, EN150501025 | Crescent 04EE007: 50 µl & Spex Organics EN150501025: 50 µl | 0.002 | NORETHINDRONE | < | 0.8 | 1.78 | NANOGRAMS PER LITER |  |  |  | Cr04EE007, SpEN11025 | Cr | Sp | Sp | 04EE007 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-02-07 | ng/L | 0.82295 | 2010-10-21 08:00 | 20102950070 | Crescent | 162776 | Crescent 162776: 25 µl | 0.0015554 | NORETHINDRONE | . | 0.8 | 1.28 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-10 | ng/L | 0.64802 | 2011-01-20 08:00 | 20110210093 | Crescent | 162776 | Crescent 162776: 100 µl | 0.0062189 | NORETHINDRONE | . | 0.8 | 4.03 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-05-09 | ng/L | 0.6435 | 2011-03-17 09:00 | 20110770007 | Crescent | 162776 | Crescent 162776: 25 µl | 0.0015385 | NORETHINDRONE | . | 0.8 | 0.99 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-06-23 | ng/L | 0.66727 | 2011-06-07 08:00 | 20111590009 | Crescent | 162776 | Crescent 162776: 100 µl | 0.0061894 | NORETHINDRONE | . | 0.8 | 4.13 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-07-25 | ng/L | 0.55733 | 2011-06-29 08:30 | 20111810006 | Crescent | 162776 | Crescent 162776: 25 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 0.88 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-10-12 | ng/L |  | 2011-08-18 08:51 | 20112310028 | Crescent | 162776 | Crescent 162776: 25 µl | 0.0015789 | NORETHINDRONE | < | 0.8 | 0.91 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-11-17 | ng/L | 0.74733 | 2011-10-20 08:00 | 20112930083 | Crescent | 162776 | Crescent 162776: 25 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.18 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-03-27 | ng/L | 0.8455 | 2012-01-19 08:30 | 20120200075 | Crescent | 162776 | Crescent 162776: 100 µl | 0.0063158 | NORETHINDRONE | . | 0.8 | 5.34 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-06 | ng/L | 0.741 | 2012-03-01 09:00 | 20120620012 | Crescent | 162776 | Crescent 162776: 25 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.17 | NANOGRAMS PER LITER |  |  |  | Crescent 162776 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-07-14 | ng/L | 0.61433 | 2014-05-08 08:00 | 20141290003 | ERA, Abs | 0227-14-07.2, 031014 | ERA 0227-14-07.2: 30 µl & Abs 031014: 30 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 0.97 | NANOGRAMS PER LITER |  |  |  | ER02207.2, Ab031014 | ER | Ab | Ab | 02207.2 | 031014 | 031014 | 02207.2 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-08-22 | ng/L |  | 2014-06-12 07:00 | 20141640082 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 60 µl & Abs 042114: 60 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-11-05 | ng/L |  | 2014-08-07 07:30 | 20142200165 | ERA, Abs | 0227-14-07.2, 042114 | ERA 0227-14-07.2: 30 µl & Abs 042114: 30 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER02207.2, Ab042114 | ER | Ab | Ab | 02207.2 | 042114 | 042114 | 02207.2 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-07-28 | ng/L |  | 2014-05-22 07:30 | 20141420137 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 30 µl & ChemService 2561700: 30 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-04-01 | ng/L |  | 2015-02-12 06:30 | 20150430091 | ERA, ChemService | 0227-14-07.2, 2561700 | ERA 0227-14-07.2: 60 µl & ChemService 2561700: 60 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER02207.2, Ch2561700 | ER | Ch | Ch | 02207.2 | 2561700 | 2561700 | 02207.2 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-09-04 | ng/L |  | 2014-06-26 07:00 | 20141770146 | ERA, Spex Organics | 0227-14-07.2, E1140505004 | ERA 0227-14-07.2: 30 µl & Spex Organics E1140505004: 30 µl | 0.0015789 | NORETHINDRONE | < | 0.8 | 1.76 | NANOGRAMS PER LITER |  |  |  | ER02207.2, SpE115004 | ER | Sp | Sp | 02207.2 | E115004 | E115004 | 02207.2 | E115004 | E115004 | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-02-25 | ng/L | 0.5825 | 2013-10-31 07:00 | 20133050049 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 0.004 | NORETHINDRONE | . | 0.8 | 2.33 | NANOGRAMS PER LITER |  |  |  | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-05 | ng/L | 0.685 | 2013-12-19 07:30 | 20133540013 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 0.004 | NORETHINDRONE | . | 0.8 | 2.74 | NANOGRAMS PER LITER |  |  |  | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-04-14 | ng/L | 0.8975 | 2014-03-13 08:00 | 20140730136 | ERA, Abs | 0415-13-01.1A, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 071513: 50 µl | 0.004 | NORETHINDRONE | . | 0.8 | 3.59 | NANOGRAMS PER LITER |  |  |  | ER0411.1A, Ab071513 | ER | Ab | Ab | 0411.1A | 071513 | 071513 | 0411.1A |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-09-16 | ng/L | 0.725 | 2013-08-01 08:00 | 20132140004 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 0.0016 | NORETHINDRONE | . | 0.8 | 1.16 | NANOGRAMS PER LITER |  |  |  | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-04-14 | ng/L |  | 2014-03-27 08:00 | 20140860105 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 0.0016 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2013-06-27 | ng/L | 0.79375 | 2013-06-06 08:30 | 20131580025 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 0.0016 | NORETHINDRONE | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  |  | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-11-18 | ng/L |  | 2013-08-21 08:00 | 20132340084 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2013-08-09 | ng/L |  | 2013-07-03 07:30 | 20131840103 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-14 | ng/L |  | 2014-02-27 08:00 | 20140590012 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-11-01 | ng/L | 0.63379 | 2012-08-30 08:00 | 20122430224 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 0.0073684 | NORETHINDRONE | . | 0.8 | 4.67 | NANOGRAMS PER LITER |  |  |  | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-11-07 | ng/L | 0.73286 | 2012-09-13 08:00 | 20122570124 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 0.014737 | NORETHINDRONE | . | 0.8 | 10.8 | NANOGRAMS PER LITER |  |  |  | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-12-18 | ng/L | 0.66025 | 2012-11-01 08:30 | 20123070009 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 0.014737 | NORETHINDRONE | . | 0.8 | 9.73 | NANOGRAMS PER LITER |  |  |  | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-22 | ng/L | 0.71929 | 2013-04-04 07:00 | 20130940099 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 0.014737 | NORETHINDRONE | . | 0.8 | 10.6 | NANOGRAMS PER LITER |  |  |  | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-02-08 | ng/L | 0.69757 | 2012-12-13 07:30 | 20123490149 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 0.0073684 | NORETHINDRONE | . | 0.8 | 5.14 | NANOGRAMS PER LITER |  |  |  | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-08-31 | ng/L |  | 2012-08-09 07:00 | 20122230020 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-12-03 | ng/L |  | 2012-10-04 08:00 | 20122790026 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-10 | ng/L |  | 2013-03-21 07:30 | 20130810107 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-09-14 | ng/L |  | 2015-07-30 09:30 | 20152110198 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 50 µl & ChemService 4073900: 50 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2016-01-08 | ng/L |  | 2015-11-05 09:00 | 20153090108 | ERA, ChemService | 0601-15-04, 4073900 | ERA 0601-15-04: 30 µl & ChemService 4073900: 30 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0605-04, Ch4073900 | ER | Ch | Ch | 0605-04 | 4073900 | 4073900 | 0605-04 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-08-10 | ng/L |  | 2015-07-09 07:30 | 20151900131 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 50 µl & Crescent 04EE007: 50 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2016-01-08 | ng/L |  | 2015-12-09 06:30 | 20153440002 | ERA, Crescent | 0601-15-04, 04EE007 | ERA 0601-15-04: 30 µl & Crescent 04EE007: 30 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ER0605-04, Cr04EE007 | ER | Cr | Cr | 0605-04 | 04EE007 | 04EE007 | 0605-04 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-12-18 | ng/L |  | 2012-11-20 08:30 | 20123260038 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2013-02-22 | ng/L |  | 2013-01-24 08:00 | 20130250063 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-06-30 | ng/L |  | 2010-04-22 08:00 | 20101130056 | Restek | A070624 | Restek A070624: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Restek A070624 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-06-30 | ng/L |  | 2010-03-03 07:30 | 20100630033 | Restek | A070624 | Restek A070624: 40 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Restek A070624 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-08-19 | ng/L |  | 2010-06-10 08:00 | 20101650036 | Restek | A070624 | Restek A070624: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Restek A070624 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-10-25 | ng/L |  | 2010-07-21 08:00 | 20102030011 | Restek | A070624 | Restek A070624: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Restek A070624 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-11-15 | ng/L |  | 2010-09-02 08:00 | 20102500045 | Restek | A070624 | Restek A070624: 40 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Restek A070624 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-12-23 | ng/L | 0.94367 | 2014-09-18 07:00 | 20142620040 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 30 µl & Supelco LC06946: 30 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.49 | NANOGRAMS PER LITER |  |  |  | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2015-04-01 | ng/L | 0.72833 | 2015-01-22 07:00 | 20150230030 | Spex Organics, Supelco | E1140505004, LC06946 | Spex Organics E1140505004: 60 µl & Supelco LC06946: 60 µl | 0.0031579 | NORETHINDRONE | . | 0.8 | 2.3 | NANOGRAMS PER LITER |  |  |  | SpE115004, SuLC06946 | Sp | Su | Su | E115004 | LC06946 | LC06946 | E115004 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2016-01-08 | ng/L |  | 2015-11-19 09:00 | 20153230146 | Spex Organics, ERA | EN150501025, 0601-15-04 | Spex Organics EN150501025: 60 µl & ERA 0601-15-04: 60 µl | 0.0024 | NORETHINDRONE | < | 0.8 | 1.97 | NANOGRAMS PER LITER |  |  |  | SpEN11025, ER0605-04 | Sp | ER | ER | EN11025 | 0605-04 | 0605-04 | EN11025 | 0605-04 | 0605-04 | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-05 | ng/L |  | 2014-01-02 06:30 | 20140030014 | Spex Organics, Abs | T1130423008, 071513 | Spex Organics T1130423008: 50 µl & Abs 071513: 50 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SpT113008, Ab071513 | Sp | Ab | Ab | T113008 | 071513 | 071513 | T113008 |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-03 | ng/L | 0.61957 | 2013-02-19 08:30 | 20130510049 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 0.0072632 | NORETHINDRONE | . | 0.8 | 4.5 | NANOGRAMS PER LITER |  |  |  | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-02-22 | ng/L | 0.7779 | 2013-01-17 08:00 | 20130180026 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 0.0072632 | NORETHINDRONE | . | 0.8 | 5.65 | NANOGRAMS PER LITER |  |  |  | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-03 | ng/L | 0.70217 | 2013-03-05 08:00 | 20130650006 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 0.014526 | NORETHINDRONE | . | 0.8 | 10.2 | NANOGRAMS PER LITER |  |  |  | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-12-18 | ng/L | 0.69529 | 2012-10-18 08:00 | 20122930150 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 0.014526 | NORETHINDRONE | . | 0.8 | 10.1 | NANOGRAMS PER LITER |  |  |  | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-05-25 | ng/L | 1.0208 | 2010-01-07 06:30 | 20100110074 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 0.0016849 | NORETHINDRONE | . | 0.8 | 1.72 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1090904002 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-06-30 | ng/L | 0.89319 | 2010-04-29 08:00 | 20101190086 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.00085088 | NORETHINDRONE | E | 0.8 | 0.76 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1090904002 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-01 | ng/L | 1.0501 | 2010-03-19 07:30 | 20100810068 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.0004095 | NORETHINDRONE | E | 0.8 | 0.43 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1090904002 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-08-19 | ng/L | 1.0338 | 2010-06-17 08:30 | 20101720153 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.00084157 | NORETHINDRONE | . | 0.8 | 0.87 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1090904002 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-10-19 | ng/L | 0.95373 | 2010-08-03 09:00 | 20102160007 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 0.0016567 | NORETHINDRONE | . | 0.8 | 1.58 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1090904002 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2010-11-15 | ng/L | 0.84516 | 2010-09-09 06:00 | 20102530002 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.00086374 | NORETHINDRONE | . | 0.8 | 0.73 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1090904002 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-10 | ng/L |  | 2011-01-06 07:30 | 20110070106 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-31 | ng/L |  | 2011-03-03 08:00 | 20110620086 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-05-26 | ng/L |  | 2011-04-28 08:00 | 20111190186 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-07-11 | ng/L |  | 2011-06-16 10:00 | 20111680031 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-09-29 | ng/L |  | 2011-07-14 10:00 | 20111950200 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-10-13 | ng/L |  | 2011-09-15 09:00 | 20112590006 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-11-28 | ng/L |  | 2011-11-03 08:00 | 20113080005 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-02-01 | ng/L |  | 2011-12-13 08:30 | 20113490064 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-08-16 | ng/L |  | 2012-05-31 07:30 | 20121520253 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1100629008 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2012-08-29 | ng/L | 0.82609 | 2012-07-03 07:00 | 20121870005 | Spex Organics | T1120525010 | Spex Organics T1120525010: 25 µl | 0.0072632 | NORETHINDRONE | . | 0.8 | 6 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1120525010 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-14 | ng/L | 0.8175 | 2014-01-23 07:30 | 20140230084 | Supelco, Abs | LB99393, 050813 | Supelco LB99393: 50 µl & Abs 050813: 50 µl | 0.004 | NORETHINDRONE | . | 0.8 | 3.27 | NANOGRAMS PER LITER |  |  |  | SuLB99393, Ab050813 | Su | Ab | Ab | LB99393 | 050813 | 050813 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-14 | ng/L | 0.67 | 2014-02-13 08:00 | 20140440054 | Supelco, Abs, Abs | LB99393, 060413, 071513 | Supelco LB99393: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 0.004 | NORETHINDRONE | . | 0.8 | 2.68 | NANOGRAMS PER LITER |  |  |  | SuLB99393, Ab060413, Ab071513 | Su | Ab | Ab | LB99393 | 060413 | 071513 |  |  |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-07-19 | ng/L | 0.66875 | 2013-06-20 08:30 | 20131720019 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 0.0016 | NORETHINDRONE | . | 0.8 | 1.07 | NANOGRAMS PER LITER |  |  |  | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-01-23 | ng/L | 0.675 | 2013-09-19 06:30 | 20132630005 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 0.0016 | NORETHINDRONE | . | 0.8 | 1.08 | NANOGRAMS PER LITER |  |  |  | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-06-04 | ng/L | 0.5125 | 2013-05-16 08:00 | 20131370002 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 0.0016 | NORETHINDRONE | . | 0.8 | 0.82 | NANOGRAMS PER LITER |  |  |  | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2013-12-09 | ng/L | 0.525 | 2013-08-29 08:00 | 20132420003 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 0.0016 | NORETHINDRONE | . | 0.8 | 0.84 | NANOGRAMS PER LITER |  |  |  | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y
NORETHINDRONE | 4434 | 64531GM005 | 2014-12-16 | ng/L |  | 2014-09-03 06:45 | 20142470037 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 30 µl & Abs 042114: 30 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-02-12 | ng/L |  | 2014-11-19 06:30 | 20143240098 | Supelco, Abs | LC06946, 042114 | Supelco LC06946: 60 µl & Abs 042114: 60 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC06946, Ab042114 | Su | Ab | Ab | LC06946 | 042114 | 042114 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2014-09-23 | ng/L |  | 2014-07-10 07:00 | 20141910241 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 60 µl & ChemService 2561700: 60 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-01-21 | ng/L |  | 2014-10-09 06:30 | 20142820150 | Supelco, ChemService | LC06946, 2561700 | Supelco LC06946: 30 µl & ChemService 2561700: 30 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC06946, Ch2561700 | Su | Ch | Ch | LC06946 | 2561700 | 2561700 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-06-29 | ng/L |  | 2015-05-14 06:00 | 20151380010 | Supelco, Abs | LC13547, 041515 | Supelco LC13547: 30 µl & Abs 041515: 30 µl | 0.0012044 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC13547, Ab041515 | Su | Ab | Ab | LC13547 | 041515 | 041515 |  |  |  | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-09-17 | ng/L |  | 2015-05-28 06:30 | 20151480171 | Supelco, Abs | LC13547, 041515 | Supelco LC13547: 30 µl & Abs 041515: 30 µl | 0.0012044 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC13547, Ab041515 | Su | Ab | Ab | LC13547 | 041515 | 041515 |  |  |  | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2016-01-05 | ng/L |  | 2015-10-01 08:30 | 20152750003 | Supelco, ChemService | LC13547, 4073900 | Supelco LC13547: 60 µl & ChemService 4073900: 60 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC13547, Ch4073900 | Su | Ch | Ch | LC13547 | 4073900 | 4073900 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-11-02 | ng/L |  | 2015-08-20 07:30 | 20152330045 | Supelco, Crescent | LC13547, 04EE007 | Supelco LC13547: 30 µl & Crescent 04EE007: 30 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC13547, Cr04EE007 | Su | Cr | Cr | LC13547 | 04EE007 | 04EE007 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-07-21 | ng/L |  | 2015-06-11 06:30 | 20151620181 | Supelco, Spex Organics | LC13547, EN150501025 | Supelco LC13547: 50 µl & Spex Organics EN150501025: 50 µl | 0.002 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC13547, SpEN11025 | Su | Sp | Sp | LC13547 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2015-09-17 | ng/L |  | 2015-05-21 07:00 | 20151410211 | Supelco, Spex Organics | LC13547, EN150501025 | Supelco LC13547: 30 µl & Spex Organics EN150501025: 30 µl | 0.0012 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | SuLC13547, SpEN11025 | Su | Sp | Sp | LC13547 | EN11025 | EN11025 |  | EN11025 | EN11025 | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-05-25 | ng/L |  | 2010-01-28 07:30 | 20100280079 | Supelco | LB69645 | Supelco LB69645: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Supelco LB69645 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-01 | ng/L |  | 2010-04-01 08:30 | 20100920052 | Supelco | LB69645 | Supelco LB69645: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Supelco LB69645 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-07 | ng/L |  | 2010-05-13 08:30 | 20101340149 | Supelco | LB69645 | Supelco LB69645: 40 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Supelco LB69645 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-10-19 | ng/L |  | 2010-08-05 09:00 | 20102180082 | Supelco | LB69645 | Supelco LB69645: 20 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Supelco LB69645 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-10-25 | ng/L |  | 2010-07-01 08:30 | 20101830112 | Supelco | LB69645 | Supelco LB69645: 20 µl |  | NORETHINDRONE | X | 0.8 |  | NANOGRAMS PER LITER |  |  |  | Supelco LB69645 | [9 empty] | N | Deleted Values | N
NORETHINDRONE | 4434 | 64531GM005 | 2010-11-17 | ng/L |  | 2010-09-16 07:40 | 20102630171 | Supelco | LB69645 | Supelco LB69645: 40 µl |  | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Supelco LB69645 | [9 empty] | N | < Reporting Level | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-04 | ng/L | 0.98638 | 2010-12-09 07:00 | 20103430089 | Supelco | LB77167 | Supelco LB77167: 25 µl | 0.001541 | NORETHINDRONE | . | 0.8 | 1.52 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-31 | ng/L | 0.63295 | 2011-02-17 07:00 | 20110490039 | Supelco | LB77167 | Supelco LB77167: 25 µl | 0.0015483 | NORETHINDRONE | . | 0.8 | 0.98 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-05-19 | ng/L | 0.94957 | 2011-04-14 09:00 | 20111050148 | Supelco | LB77167 | Supelco LB77167: 25 µl | 0.0015586 | NORETHINDRONE | . | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-06-07 | ng/L | 0.76543 | 2011-05-12 08:00 | 20111330150 | Supelco | LB77167 | Supelco LB77167: 100 µl | 0.0062318 | NORETHINDRONE | . | 0.8 | 4.77 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2011-09-29 | ng/L |  | 2011-07-28 09:00 | 20112100009 | Supelco | LB77167 | Supelco LB77167: 25 µl | 0.0015789 | NORETHINDRONE | < | 0.8 | 0.8 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y | False Negatives | N
NORETHINDRONE | 4434 | 64531GM005 | 2011-10-13 | ng/L | 0.76317 | 2011-09-01 09:30 | 20112450026 | Supelco | LB77167 | Supelco LB77167: 100 µl | 0.0063158 | NORETHINDRONE | . | 0.8 | 4.82 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-01-27 | ng/L | 0.67767 | 2011-11-17 07:30 | 20113220197 | Supelco | LB77167 | Supelco LB77167: 100 µl | 0.0063158 | NORETHINDRONE | . | 0.8 | 4.28 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-04 | ng/L | 0.93733 | 2012-02-09 08:00 | 20120400059 | Supelco | LB77167 | Supelco LB77167: 25 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-17 | ng/L | 0.817 | 2012-03-22 08:00 | 20120830079 | Supelco | LB77167 | Supelco LB77167: 25 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.29 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 4434 | 64531GM005 | 2012-07-27 | ng/L | 0.65867 | 2012-05-10 07:30 | 20121310026 | Supelco | LB77167 | Supelco LB77167: 25 µl | 0.0015789 | NORETHINDRONE | . | 0.8 | 1.04 | NANOGRAMS PER LITER |  |  |  | Supelco LB77167 | [9 empty] | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-05-17 | ng/L | 0.67835 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.021818 | NORETHINDRONE | . | 10.9 | 14.8 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-06-11 | ng/L | 0.7494 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 0.043635 | NORETHINDRONE | E | 10.9 | 32.7 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-06-28 | ng/L | 0.73794 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.021818 | NORETHINDRONE | . | 10.9 | 16.1 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-09-12 | ng/L | 0.48585 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 0.021818 | NORETHINDRONE | . | 10.9 | 10.6 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-25 | ng/L | 0.67835 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 0.043635 | NORETHINDRONE | . | 10.9 | 29.6 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-02-10 | ng/L | 0.68322 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 0.023272 | NORETHINDRONE | . | 10.9 | 15.9 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-04-30 | ng/L | 0.379 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 0.023272 | NORETHINDRONE | . | 10.9 | 8.82 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-05-21 | ng/L |  | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl |  | NORETHINDRONE | < | 10.9 | 40 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-07-12 | ng/L |  | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-10 | ng/L |  | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-11-04 | ng/L |  | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl |  | NORETHINDRONE | < | 10.9 | 20 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-12-06 | ng/L |  | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl |  | NORETHINDRONE | < | 10.9 | 20 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-01-16 | ng/L |  | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-05-07 | ng/L |  | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-05-30 | ng/L | 0.74711 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 0.021818 | NORETHINDRONE | . | 10.9 | 16.3 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-06-22 | ng/L | 1.0404 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 0.043635 | NORETHINDRONE | . | 10.9 | 45.4 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-07-13 | ng/L | 0.60044 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 0.021818 | NORETHINDRONE | . | 10.9 | 13.1 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-10 | ng/L | 0.49827 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 0.021675 | NORETHINDRONE | E | 10.9 | 10.8 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-11-04 | ng/L | 0.79585 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 0.02312 | NORETHINDRONE | E | 10.9 | 18.4 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-02-06 | ng/L | 0.76586 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 0.04335 | NORETHINDRONE | . | 10.9 | 33.2 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-07-30 | ng/L | 0.52032 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 0.03248 | NORETHINDRONE | E | 10.9 | 16.9 | NANOGRAMS PER LITER |  |  |  | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-08-11 | ng/L |  | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 0.01624 | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | False Negatives | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-07-09 | ng/L |  | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-06-09 | ng/L | 0.97291 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 0.01624 | NORETHINDRONE | . | 10.9 | 15.8 | NANOGRAMS PER LITER |  |  |  | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-06-26 | ng/L |  | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 0.01624 | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | False Negatives | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-07-31 | ng/L |  | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 0.03248 | NORETHINDRONE | < | 10.9 | 20 | NANOGRAMS PER LITER |  |  |  | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | False Negatives | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-10-01 | ng/L | 1.2885 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 0.06496 | NORETHINDRONE | . | 10.9 | 83.7 | NANOGRAMS PER LITER |  |  |  | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-09-10 | ng/L |  | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-07-20 | ng/L | 0.63668 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 0.021675 | NORETHINDRONE | . | 10.9 | 13.8 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-08-21 | ng/L | 0.67128 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 0.04335 | NORETHINDRONE | . | 10.9 | 29.1 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-03-11 | ng/L | 0.61592 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 0.04335 | NORETHINDRONE | . | 10.9 | 26.7 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-11 | ng/L | 0.60669 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 0.04335 | NORETHINDRONE | E | 10.9 | 26.3 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-12-06 | ng/L | 0.71511 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 0.04335 | NORETHINDRONE | . | 10.9 | 31 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-12-07 | ng/L | 0.7699 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 0.02312 | NORETHINDRONE | . | 10.9 | 17.8 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-08-30 | ng/L | 0.68743 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 0.021675 | NORETHINDRONE | . | 10.9 | 14.9 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-11 | ng/L |  | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-03-10 | ng/L |  | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-04-10 | ng/L |  | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl |  | NORETHINDRONE | < | 10.9 | 20 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-07-13 | ng/L |  | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-08-16 | ng/L |  | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-08-28 | ng/L |  | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-24 | ng/L | 0.51994 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 0.023272 | NORETHINDRONE | . | 10.9 | 12.1 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2014-12-07 | ng/L | 0.74711 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 0.043635 | NORETHINDRONE | . | 10.9 | 32.6 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-03-10 | ng/L | 0.49272 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 0.043635 | NORETHINDRONE | . | 10.9 | 21.5 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-04-29 | ng/L | 0.76125 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 0.04335 | NORETHINDRONE | . | 10.9 | 33 | NANOGRAMS PER LITER |  |  |  | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-10-01 | ng/L |  | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 0.06496 | NORETHINDRONE | < | 10.9 | 20 | NANOGRAMS PER LITER |  |  |  | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | False Negatives | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-09-15 | ng/L | 0.57688 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 0.01626 | NORETHINDRONE | E | 10.9 | 9.38 | NANOGRAMS PER LITER |  |  |  | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-10-01 | ng/L |  | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl |  | NORETHINDRONE | < | 10.9 | 28.1 | NANOGRAMS PER LITER |  |  |  | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-09-09 | ng/L |  | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 0.01626 | NORETHINDRONE | < | 10.9 | 12.3 | NANOGRAMS PER LITER |  |  |  | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | False Negatives | N
NORETHINDRONE | 2440 | 67434LCM56 | 2015-10-01 | ng/L | 1.0547 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 0.03252 | NORETHINDRONE | . | 10.9 | 34.3 | NANOGRAMS PER LITER |  |  |  | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y
NORETHINDRONE | 2440 | 67434LCM56 | 2015-07-31 | ng/L |  | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl |  | NORETHINDRONE | < | 10.9 | 20 | NANOGRAMS PER LITER |  |  |  | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | N | < Reporting Level | N
NORETHINDRONE | 2440 | 67434LCM56 | 2014-04-23 | ng/L |  | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl |  | NORETHINDRONE | < | 10.9 | 10.9 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | N | < Reporting Level | N