## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
TERBUFOS | 2437 | 68699LCM60 | 2013-12-10 | ng/L | 0.60909 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 0.22 | TERBUFOS | . | 4 | 134 | NANOGRAMS PER LITER |  |  |  | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-07-08 | ng/L |  | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 0.01593 | TERBUFOS | < | 4 | 6.31 | NANOGRAMS PER LITER |  |  |  | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | False Negatives | N
TERBUFOS | 2437 | 68699LCM60 | 2014-08-16 | ng/L |  | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 0.007965 | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | False Negatives | N
TERBUFOS | 2437 | 68699LCM60 | 2014-01-23 | ng/L | 0.70354 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 0.226 | TERBUFOS | . | 4 | 159 | NANOGRAMS PER LITER |  |  |  | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-07-19 | ng/L |  | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-12-02 | ng/L |  | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-08-20 | ng/L | 0.26616 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 0.007965 | TERBUFOS | . | 4 | 2.12 | NANOGRAMS PER LITER |  |  |  | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-09-23 | ng/L | 0.63827 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 0.0081 | TERBUFOS | . | 4 | 5.17 | NANOGRAMS PER LITER |  |  |  | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-11-18 | ng/L | 0.80247 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 0.0162 | TERBUFOS | . | 4 | 13 | NANOGRAMS PER LITER |  |  |  | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2015-04-08 | ng/L | 0.75309 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 0.0081 | TERBUFOS | . | 4 | 6.1 | NANOGRAMS PER LITER |  |  |  | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2013-09-29 | ng/L | 0.65909 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 0.22 | TERBUFOS | . | 4 | 145 | NANOGRAMS PER LITER |  |  |  | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y
TERBUFOS | 2437 | 68699LCM60 | 2013-12-19 | ng/L | 1.0053 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 0.565 | TERBUFOS | E | 4 | 568 | NANOGRAMS PER LITER |  |  |  | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-12-16 | ng/L | 0.6403 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 0.01593 | TERBUFOS | . | 4 | 10.2 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2015-04-15 | ng/L |  | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-05-17 | ng/L | 0.56543 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 0.0081 | TERBUFOS | . | 4 | 4.58 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-06-11 | ng/L | 0.49074 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 0.0324 | TERBUFOS | E | 4 | 15.9 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-06-26 | ng/L |  | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 0.0162 | TERBUFOS | < | 4 | 12.2 | NANOGRAMS PER LITER |  |  |  | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | False Negatives | N
TERBUFOS | 2437 | 68699LCM60 | 2014-07-24 | ng/L | 0.39136 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 0.0081 | TERBUFOS | . | 4 | 3.17 | NANOGRAMS PER LITER |  |  |  | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-10-07 | ng/L | 0.71605 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 0.0081 | TERBUFOS | . | 4 | 5.8 | NANOGRAMS PER LITER |  |  |  | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-12-02 | ng/L | 0.57531 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 0.0162 | TERBUFOS | . | 4 | 9.32 | NANOGRAMS PER LITER |  |  |  | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-09-04 | ng/L | 0.48148 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 0.0162 | TERBUFOS | E | 4 | 7.8 | NANOGRAMS PER LITER |  |  |  | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-09-10 | ng/L | 0.50494 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 0.0081 | TERBUFOS | . | 4 | 4.09 | NANOGRAMS PER LITER |  |  |  | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y
TERBUFOS | 2437 | 68699LCM60 | 2015-07-15 | ng/L | 1.275 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 0.012 | TERBUFOS | E | 4 | 15.3 | NANOGRAMS PER LITER |  |  |  | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2015-08-12 | ng/L | 0.80917 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 0.012 | TERBUFOS | . | 4 | 9.71 | NANOGRAMS PER LITER |  |  |  | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y
TERBUFOS | 2437 | 68699LCM60 | 2015-08-12 | ng/L | 0.85833 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 0.012 | TERBUFOS | . | 4 | 10.3 | NANOGRAMS PER LITER |  |  |  | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y
TERBUFOS | 2437 | 68699LCM60 | 2015-08-12 | ng/L | 0.75333 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 0.012 | TERBUFOS | . | 4 | 9.04 | NANOGRAMS PER LITER |  |  |  | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-01-10 | ng/L | 0.5885 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 0.226 | TERBUFOS | . | 4 | 133 | NANOGRAMS PER LITER |  |  |  | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y
TERBUFOS | 2437 | 68699LCM60 | 2014-07-31 | ng/L |  | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2015-04-09 | ng/L |  | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl |  | TERBUFOS | < | 4 | 4.44 | NANOGRAMS PER LITER |  |  |  | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-08-17 | ng/L |  | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-10-07 | ng/L |  | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2015-08-04 | ng/L | 0.81653 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 0.00605 | TERBUFOS | . | 4 | 4.94 | NANOGRAMS PER LITER |  |  |  | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2015-08-11 | ng/L |  | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl |  | TERBUFOS | < | 4 | 5 | NANOGRAMS PER LITER |  |  |  | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2015-08-11 | ng/L |  | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl |  | TERBUFOS | < | 4 | 5 | NANOGRAMS PER LITER |  |  |  | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2015-08-11 | ng/L |  | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl |  | TERBUFOS | < | 4 | 5 | NANOGRAMS PER LITER |  |  |  | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-04-24 | ng/L |  | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-05-03 | ng/L |  | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl |  | TERBUFOS | < | 4 | 5 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-05-29 | ng/L |  | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-06-05 | ng/L |  | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl |  | TERBUFOS | < | 4 | 4.44 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-06-18 | ng/L |  | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-07-02 | ng/L |  | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-02-06 | ng/L |  | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 |  | TERBUFOS | < | 4 | 10 | NANOGRAMS PER LITER |  |  |  | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2013-10-31 | ng/L |  | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-03-04 | ng/L |  | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | N | < Reporting Level | N
TERBUFOS | 2437 | 68699LCM60 | 2014-02-19 | ng/L | 0.85045 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 0.555 | TERBUFOS | . | 4 | 472 | NANOGRAMS PER LITER |  |  |  | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2013-11-07 | ng/L | 0.78829 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 0.222 | TERBUFOS | . | 4 | 175 | NANOGRAMS PER LITER |  |  |  | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2013-12-18 | ng/L | 0.83182 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 0.22 | TERBUFOS | . | 4 | 183 | NANOGRAMS PER LITER |  |  |  | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y
TERBUFOS | 2437 | 68699LCM60 | 2013-11-21 | ng/L |  | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 |  | TERBUFOS | < | 4 | 4 | NANOGRAMS PER LITER |  |  |  | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-06-26 | ug/L | 0.79339 | 2014-05-29 06:00 | 20141490205 | Abs, ERA | 032714, 0227-14-08 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl | 0.0363 | TERBUFOS | . | 0.018 | 0.0288 | MICROGRAMS PER LITER |  |  |  | Ab032714, ER0224-08 | Ab | ER | ER | 032714 | 0224-08 | 0224-08 |  | 0224-08 | 0224-08 | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-10-21 | ug/L | 0.42778 | 2014-10-09 06:00 | 20142820151 | Abs, NSI | 032714, 042814 | Abs 032714: 30 µl & NSI 042814: 30 µl | 0.036 | TERBUFOS | . | 0.018 | 0.0154 | MICROGRAMS PER LITER |  |  |  | Ab032714, NS042814 | Ab | NS | NS | 032714 | 042814 | 042814 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-12-04 | ug/L | 0.62778 | 2014-11-19 06:00 | 20143240095 | Abs, NSI | 032714, 042814 | Abs 032714: 60 µl & NSI 042814: 60 µl | 0.072 | TERBUFOS | . | 0.018 | 0.0452 | MICROGRAMS PER LITER |  |  |  | Ab032714, NS042814 | Ab | NS | NS | 032714 | 042814 | 042814 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2015-07-21 | ug/L |  | 2015-07-09 07:00 | 20151900132 | Abs, Abs | 040615, 041415 | Abs 040615: 40 µl & Abs 041415: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Ab040615, Ab041415 | Ab | Ab | Ab | 040615 | 041415 | 041415 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2016-01-21 | ug/L |  | 2015-10-01 06:00 | 20152750006 | Abs, Spex Organics | 040615, EN150514012 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl |  | TERBUFOS | R | 0.018 |  | MICROGRAMS PER LITER |  |  |  | Ab040615, SpEN14012 | Ab | Sp | Sp | 040615 | EN14012 | EN14012 |  | EN14012 | EN14012 | N | Deleted Values | N
TERBUFOS | 2033 | 82675GCM35 | 2015-05-12 | ug/L |  | 2015-04-30 07:00 | 20151210037 | Abs, Abs | 041415, 040615 | Abs 041415: 20 µl & Abs 040615: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Ab041415, Ab040615 | Ab | Ab | Ab | 041415 | 040615 | 040615 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2015-05-12 | ug/L | 0.59286 | 2015-05-07 07:00 | 20151270112 | Abs, ChemService | 041415, 3851600 | Abs 041415: 40 µl & ChemService 3851600: 40 µl | 0.056 | TERBUFOS | . | 0.018 | 0.0332 | MICROGRAMS PER LITER |  |  |  | Ab041415, Ch3851600 | Ab | Ch | Ch | 041415 | 3851600 | 3851600 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2016-01-28 | ug/L | 0.45714 | 2015-10-22 06:00 | 20152950078 | Abs, ChemService | 041415, 3851600 | Abs 041415: 20 µl & ChemService 3851600: 20 µl | 0.028 | TERBUFOS | . | 0.018 | 0.0128 | MICROGRAMS PER LITER |  |  |  | Ab041415, Ch3851600 | Ab | Ch | Ch | 041415 | 3851600 | 3851600 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2015-07-31 | ug/L |  | 2015-07-23 06:00 | 20152040177 | Abs, ERA | 041415, 0406-15-01 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl | 0.0272 | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Ab041415, ER0405-01 | Ab | ER | ER | 041415 | 0405-01 | 0405-01 |  | 0405-01 | 0405-01 | Y | False Negatives | N
TERBUFOS | 2033 | 82675GCM35 | 2013-06-26 | ug/L | 0.26991 | 2013-06-13 06:30 | 20131650073 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0452 | TERBUFOS | . | 0.018 | 0.0122 | MICROGRAMS PER LITER |  |  |  | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-10-19 | ug/L | 0.9823 | 2013-09-25 08:00 | 20132690010 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.113 | TERBUFOS | . | 0.018 | 0.111 | MICROGRAMS PER LITER |  |  |  | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-01-18 | ug/L | 0.89381 | 2014-01-09 06:30 | 20140100085 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl | 0.226 | TERBUFOS | . | 0.018 | 0.202 | MICROGRAMS PER LITER |  |  |  | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-12-06 | ug/L | 0.69967 | 2012-11-20 06:30 | 20123260037 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.303 | TERBUFOS | . | 0.018 | 0.212 | MICROGRAMS PER LITER |  |  |  | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-04-22 | ug/L | 0.25017 | 2013-04-04 06:30 | 20130940097 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1515 | TERBUFOS | . | 0.018 | 0.0379 | MICROGRAMS PER LITER |  |  |  | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-08-14 | ug/L | 0.57096 | 2012-07-19 06:30 | 20122020004 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.0606 | TERBUFOS | . | 0.018 | 0.0346 | MICROGRAMS PER LITER |  |  |  | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-06-16 | ug/L | 0.65512 | 2012-06-07 06:30 | 20121600156 | Abs | 052412 | Abs 052412: 20 µl | 0.0606 | TERBUFOS | . | 0.018 | 0.0397 | MICROGRAMS PER LITER |  |  |  | Abs 052412 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-01-07 | ug/L |  | 2010-10-07 07:30 | 20102810019 | Abs | 080610 | Abs 080610: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-01-28 | ug/L |  | 2010-11-24 07:00 | 20103330007 | Abs | 080610 | Abs 080610: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-02-22 | ug/L |  | 2011-02-02 06:30 | 20110340007 | Abs | 080610 | Abs 080610: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-03-16 | ug/L |  | 2011-03-03 07:00 | 20110620082 | Abs | 080610 | Abs 080610: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-05-03 | ug/L |  | 2011-04-22 06:20 | 20111170107 | Abs | 080610 | Abs 080610: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-05-29 | ug/L |  | 2011-05-19 07:30 | 20111390178 | Abs | 080610 | Abs 080610: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-08-22 | ug/L |  | 2011-07-28 07:00 | 20112100007 | Abs | 080610 | Abs 080610: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-10-20 | ug/L |  | 2011-10-07 06:30 | 20112840031 | Abs | 080610 | Abs 080610: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-01-20 | ug/L |  | 2012-01-12 07:00 | 20120120071 | Abs | 080610 | Abs 080610: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-02-09 | ug/L |  | 2012-01-26 07:00 | 20120260028 | Abs | 080610 | Abs 080610: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-03-08 | ug/L |  | 2012-02-23 07:30 | 20120540036 | Abs | 080610 | Abs 080610: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-04-12 | ug/L |  | 2012-03-29 08:00 | 20120930003 | Abs | 080610 | Abs 080610: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-04-24 | ug/L |  | 2012-04-12 07:00 | 20121040012 | Abs | 080610 | Abs 080610: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Abs 080610 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-03-24 | ug/L |  | 2010-01-21 07:00 | 20100210100 | Accu | 209081187 | Accu 209081187: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 209081187 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-05-07 | ug/L |  | 2010-02-25 06:30 | 20100570086 | Accu | 209081187 | Accu 209081187: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 209081187 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-09-09 | ug/L |  | 2010-06-24 06:30 | 20101760006 | Accu | 209081187 | Accu 209081187: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 209081187 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-12-14 | ug/L |  | 2010-09-02 06:30 | 20102500051 | Accu | 209081187 | Accu 209081187: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 209081187 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-01-12 | ug/L |  | 2010-10-28 07:30 | 20103020155 | Accu | 210061341 | Accu 210061341: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-02-01 | ug/L |  | 2010-12-16 06:30 | 20103510060 | Accu | 210061341 | Accu 210061341: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-02-14 | ug/L |  | 2011-01-20 07:30 | 20110210095 | Accu | 210061341 | Accu 210061341: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-04-07 | ug/L |  | 2011-03-24 06:30 | 20110840108 | Accu | 210061341 | Accu 210061341: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-05-21 | ug/L |  | 2011-04-28 07:00 | 20111190184 | Accu | 210061341 | Accu 210061341: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-07-02 | ug/L |  | 2011-06-16 08:00 | 20111680035 | Accu | 210061341 | Accu 210061341: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-07-20 | ug/L |  | 2011-07-07 07:00 | 20111890004 | Accu | 210061341 | Accu 210061341: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-08-30 | ug/L |  | 2011-08-04 08:00 | 20112170174 | Accu | 210061341 | Accu 210061341: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-11-05 | ug/L |  | 2011-10-27 07:30 | 20113010047 | Accu | 210061341 | Accu 210061341: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-12-08 | ug/L |  | 2011-11-29 07:00 | 20113340046 | Accu | 210061341 | Accu 210061341: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-03-02 | ug/L |  | 2012-02-09 07:00 | 20120400058 | Accu | 210061341 | Accu 210061341: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-03-27 | ug/L |  | 2012-03-15 08:00 | 20120760111 | Accu | 210061341 | Accu 210061341: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Accu 210061341 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-07-11 | ug/L |  | 2013-06-27 06:30 | 20131790009 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-06-05 | ug/L |  | 2013-05-16 07:00 | 20131370001 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-01-08 | ug/L |  | 2013-12-12 06:30 | 20133470008 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2015-06-17 | ug/L |  | 2015-06-04 07:00 | 20151550293 | ChemService, Abs | 3851600, 040615 | ChemService 3851600: 40 µl & Abs 040615: 40 µl | 0.056 | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Ch3851600, Ab040615 | Ch | Ab | Ab | 3851600 | 040615 | 040615 |  |  |  | Y | False Negatives | N
TERBUFOS | 2033 | 82675GCM35 | 2016-01-26 | ug/L | 0.75 | 2015-10-29 06:00 | 20153030068 | ChemService, Spex Organics | 3851600, EN150513008 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl | 0.028 | TERBUFOS | . | 0.018 | 0.021 | MICROGRAMS PER LITER |  |  |  | Ch3851600, SpEN13008 | Ch | Sp | Sp | 3851600 | EN13008 | EN13008 |  | EN13008 | EN13008 | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-06-26 | ug/L |  | 2010-04-22 06:30 | 20101130055 | ChemService | 430-36C | ChemService 430-36C: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | ChemService 430-36C | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-09-21 | ug/L |  | 2010-07-01 06:30 | 20101830110 | ChemService | 430-36C | ChemService 430-36C: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | ChemService 430-36C | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-04-29 | ug/L |  | 2014-04-17 06:00 | 20141080004 | Crescent, Abs | 03DD006, 032714 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Cr03DD006, Ab032714 | Cr | Ab | Ab | 03DD006 | 032714 | 032714 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-08-27 | ug/L |  | 2014-08-14 06:00 | 20142270001 | Crescent, Abs | 03DD006, 032714 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Cr03DD006, Ab032714 | Cr | Ab | Ab | 03DD006 | 032714 | 032714 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-06-30 | ug/L |  | 2014-06-12 06:00 | 20141640076 | Crescent, Spex Organics | 03DD006, E1140407002 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Cr03DD006, SpE117002 | Cr | Sp | Sp | 03DD006 | E117002 | E117002 |  | E117002 | E117002 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-12-05 | ug/L | 0.69595 | 2013-11-26 07:00 | 20133310030 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0444 | TERBUFOS | . | 0.018 | 0.0309 | MICROGRAMS PER LITER |  |  |  | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-04-03 | ug/L | 0.5991 | 2014-03-13 07:00 | 20140730138 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl | 0.0444 | TERBUFOS | . | 0.018 | 0.0266 | MICROGRAMS PER LITER |  |  |  | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-09-05 | ug/L | 0.58108 | 2013-08-15 06:30 | 20132280016 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.0444 | TERBUFOS | . | 0.018 | 0.0258 | MICROGRAMS PER LITER |  |  |  | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-09-17 | ug/L | 0.73077 | 2012-08-30 06:30 | 20122430227 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0598 | TERBUFOS | . | 0.018 | 0.0437 | MICROGRAMS PER LITER |  |  |  | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-03-07 | ug/L | 0.25084 | 2013-02-19 06:30 | 20130510051 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0598 | TERBUFOS | . | 0.018 | 0.015 | MICROGRAMS PER LITER |  |  |  | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-06-03 | ug/L |  | 2010-04-01 06:30 | 20100920048 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Crescent 08Ll064 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-07-21 | ug/L |  | 2010-05-20 06:30 | 20101410006 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Crescent 08Ll064 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-10-19 | ug/L |  | 2010-08-03 06:30 | 20102160002 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Crescent 08Ll064 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-06-24 | ug/L | 0.60331 | 2014-05-22 07:00 | 20141420140 | ERA, Crescent | 0227-14-08, 03DD006 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl | 0.0363 | TERBUFOS | . | 0.018 | 0.0219 | MICROGRAMS PER LITER |  |  |  | ER0224-08, Cr03DD006 | ER | Cr | Cr | 0224-08 | 03DD006 | 03DD006 | 0224-08 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2015-03-31 | ug/L | 0.56749 | 2015-03-12 06:00 | 20150720069 | ERA, Crescent | 0227-14-08, 03DD006 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl | 0.0726 | TERBUFOS | . | 0.018 | 0.0412 | MICROGRAMS PER LITER |  |  |  | ER0224-08, Cr03DD006 | ER | Cr | Cr | 0224-08 | 03DD006 | 03DD006 | 0224-08 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-06-28 | ug/L | 0.77961 | 2014-06-05 07:00 | 20141570088 | ERA, Supelco | 0227-14-08, LC06435 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl | 0.0726 | TERBUFOS | . | 0.018 | 0.0566 | MICROGRAMS PER LITER |  |  |  | ER0224-08, SuLC06435 | ER | Su | Su | 0224-08 | LC06435 | LC06435 | 0224-08 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-07-16 | ug/L | 0.5124 | 2014-07-02 07:00 | 20141840097 | ERA, Supelco | 0227-14-08, LC06435 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl | 0.0363 | TERBUFOS | . | 0.018 | 0.0186 | MICROGRAMS PER LITER |  |  |  | ER0224-08, SuLC06435 | ER | Su | Su | 0224-08 | LC06435 | LC06435 | 0224-08 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-09-24 | ug/L | 0.65398 | 2013-09-12 08:30 | 20132560001 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.113 | TERBUFOS | . | 0.018 | 0.0739 | MICROGRAMS PER LITER |  |  |  | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-01-10 | ug/L | 0.44027 | 2013-12-23 06:30 | 20133580036 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0452 | TERBUFOS | . | 0.018 | 0.0199 | MICROGRAMS PER LITER |  |  |  | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-06-11 | ug/L |  | 2013-05-30 07:30 | 20131510026 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0444 | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | False Negatives | N
TERBUFOS | 2033 | 82675GCM35 | 2015-09-23 | ug/L |  | 2015-09-17 06:00 | 20152610011 | ERA, Abs | 0406-15-01, 040615 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl | 0.1088 | TERBUFOS | R | 0.018 |  | MICROGRAMS PER LITER |  |  |  | ER0405-01, Ab040615 | ER | Ab | Ab | 0405-01 | 040615 | 040615 | 0405-01 |  |  | Y | Deleted Values | N
TERBUFOS | 2033 | 82675GCM35 | 2015-08-20 | ug/L |  | 2015-08-06 06:00 | 20152190003 | ERA, Spex Organics | 0406-15-01, EN150513008 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl | 0.0272 | TERBUFOS | R | 0.018 |  | MICROGRAMS PER LITER |  |  |  | ER0405-01, SpEN13008 | ER | Sp | Sp | 0405-01 | EN13008 | EN13008 | 0405-01 | EN13008 | EN13008 | Y | Deleted Values | N
TERBUFOS | 2033 | 82675GCM35 | 2016-02-09 | ug/L | 0.48529 | 2015-12-17 06:00 | 20153510109 | ERA, Spex Organics | 0406-15-01, EN150513008 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl | 0.0544 | TERBUFOS | . | 0.018 | 0.0264 | MICROGRAMS PER LITER |  |  |  | ER0405-01, SpEN13008 | ER | Sp | Sp | 0405-01 | EN13008 | EN13008 | 0405-01 | EN13008 | EN13008 | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-09-13 | ug/L |  | 2011-08-18 08:47 | 20112310030 | ERA | 0318-13-02.2 | ERA 0318-13-02.2: 40 µl |  | TERBUFOS | . | 0.018 | 0.015 | MICROGRAMS PER LITER |  |  |  | ERA 0318-13-02.2 | [9 empty] | N |  | N
TERBUFOS | 2033 | 82675GCM35 | 2012-10-12 | ug/L |  | 2012-09-27 07:00 | 20122720048 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | ERA 0507-12-04.2 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-01-13 | ug/L | 0.70901 | 2010-11-04 07:30 | 20103080116 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.046544 | TERBUFOS | . | 0.018 | 0.033 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-02-08 | ug/L | 0.57935 | 2011-01-06 07:00 | 20110070109 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.022957 | TERBUFOS | . | 0.018 | 0.0133 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-02-28 | ug/L | 0.36539 | 2011-02-10 07:00 | 20110410061 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.046525 | TERBUFOS | . | 0.018 | 0.017 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-04-13 | ug/L | 0.41629 | 2011-03-31 07:30 | 20110910084 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.023541 | TERBUFOS | . | 0.018 | 0.0098 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-06-20 | ug/L | 0.43551 | 2011-05-26 07:30 | 20111470065 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.023651 | TERBUFOS | . | 0.018 | 0.0103 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-07-28 | ug/L | 0.60684 | 2011-07-14 08:00 | 20111960039 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0234 | TERBUFOS | . | 0.018 | 0.0142 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-10-25 | ug/L | 0.51282 | 2011-10-13 07:30 | 20112870073 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0234 | TERBUFOS | . | 0.018 | 0.012 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-12-03 | ug/L | 0.2906 | 2011-11-17 07:00 | 20113220198 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.0468 | TERBUFOS | . | 0.018 | 0.0136 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-03-05 | ug/L | 0.45299 | 2012-02-16 07:30 | 20120470078 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0234 | TERBUFOS | . | 0.018 | 0.0106 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-05-08 | ug/L |  | 2012-04-26 07:00 | 20121180062 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0234 | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | False Negatives | N
TERBUFOS | 2033 | 82675GCM35 | 2014-08-16 | ug/L | 0.36111 | 2014-08-07 07:00 | 20142200164 | NSI, Crescent | 042814, 03DD006 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl | 0.036 | TERBUFOS | . | 0.018 | 0.013 | MICROGRAMS PER LITER |  |  |  | NS042814, Cr03DD006 | NS | Cr | Cr | 042814 | 03DD006 | 03DD006 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-10-30 | ug/L | 0.48611 | 2014-10-23 06:00 | 20142960086 | NSI, Crescent | 042814, 03DD006 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl | 0.072 | TERBUFOS | . | 0.018 | 0.035 | MICROGRAMS PER LITER |  |  |  | NS042814, Cr03DD006 | NS | Cr | Cr | 042814 | 03DD006 | 03DD006 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-09-23 | ug/L | 0.49722 | 2014-09-10 06:00 | 20142530087 | NSI, Supelco | 042814, LC06435 | NSI 042814: 60 µl & Supelco LC06435: 60 µl | 0.072 | TERBUFOS | . | 0.018 | 0.0358 | MICROGRAMS PER LITER |  |  |  | NS042814, SuLC06435 | NS | Su | Su | 042814 | LC06435 | LC06435 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-12-15 | ug/L | 0.32778 | 2014-12-03 06:00 | 20143370094 | NSI, Supelco | 042814, LC06435 | NSI 042814: 30 µl & Supelco LC06435: 30 µl | 0.036 | TERBUFOS | . | 0.018 | 0.0118 | MICROGRAMS PER LITER |  |  |  | NS042814, SuLC06435 | NS | Su | Su | 042814 | LC06435 | LC06435 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-03-25 | ug/L |  | 2010-01-28 06:30 | 20100280077 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | NSI 090109-01Pest | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-08-03 | ug/L |  | 2010-06-03 06:30 | 20101550006 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | NSI 090109-01Pest | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-10-27 | ug/L |  | 2010-08-12 06:30 | 20102250096 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | NSI 090109-01Pest | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-06-30 | ug/L | 0.66783 | 2010-04-29 10:30 | 20101190091 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | TERBUFOS | . | 0.018 | 0.0259 | MICROGRAMS PER LITER |  |  |  | NWQL PSP2SP116C | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-08-25 | ug/L | 0.88045 | 2010-06-17 10:30 | 20101720149 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | TERBUFOS | . | 0.018 | 0.0357 | MICROGRAMS PER LITER |  |  |  | NWQL PSP2SP116C | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-12-16 | ug/L | 0.94982 | 2010-09-09 06:40 | 20102530008 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | TERBUFOS | . | 0.018 | 0.0384 | MICROGRAMS PER LITER |  |  |  | NWQL PSP2SP116C | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-01-20 | ug/L | 0.89668 | 2010-11-18 09:00 | 20103230114 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | TERBUFOS | . | 0.018 | 0.0903 | MICROGRAMS PER LITER |  |  |  | NWQL PSP2SP117A | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-03-05 | ug/L | 0.85656 | 2011-02-17 08:30 | 20110490035 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | TERBUFOS | . | 0.018 | 0.0212 | MICROGRAMS PER LITER |  |  |  | NWQL PSP2SP117A | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-04-20 | ug/L | 0.76295 | 2011-04-07 09:00 | 20110980030 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | TERBUFOS | . | 0.018 | 0.0759 | MICROGRAMS PER LITER |  |  |  | NWQL PSP2SP117A | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-06-22 | ug/L | 0.81786 | 2011-06-07 10:00 | 20111590005 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | TERBUFOS | . | 0.018 | 0.0606 | MICROGRAMS PER LITER |  |  |  | NWQL PSP2SP117A | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-09-26 | ug/L | 0.66667 | 2012-09-13 06:00 | 20122570122 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0606 | TERBUFOS | . | 0.018 | 0.0404 | MICROGRAMS PER LITER |  |  |  | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-03-18 | ug/L | 0.41914 | 2013-03-05 06:00 | 20130650005 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0606 | TERBUFOS | . | 0.018 | 0.0254 | MICROGRAMS PER LITER |  |  |  | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-11-14 | ug/L | 0.52508 | 2012-10-30 07:00 | 20123040157 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.1495 | TERBUFOS | . | 0.018 | 0.0785 | MICROGRAMS PER LITER |  |  |  | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-02-06 | ug/L | 0.57191 | 2013-01-24 06:00 | 20130250061 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.299 | TERBUFOS | . | 0.018 | 0.171 | MICROGRAMS PER LITER |  |  |  | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-05-22 | ug/L |  | 2013-05-02 06:00 | 20131230084 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0598 | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | False Negatives | N
TERBUFOS | 2033 | 82675GCM35 | 2012-07-14 | ug/L |  | 2012-07-03 08:00 | 20121870008 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-07-23 | ug/L | 0.54801 | 2013-07-11 06:30 | 20131920149 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.0604 | TERBUFOS | . | 0.018 | 0.0331 | MICROGRAMS PER LITER |  |  |  | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-09-14 | ug/L | 0.63907 | 2013-08-29 06:30 | 20132420001 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.151 | TERBUFOS | . | 0.018 | 0.0965 | MICROGRAMS PER LITER |  |  |  | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-01-31 | ug/L | 0.72185 | 2014-01-23 06:30 | 20140230082 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl | 0.151 | TERBUFOS | . | 0.018 | 0.109 | MICROGRAMS PER LITER |  |  |  | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-04-15 | ug/L | 0.55464 | 2014-03-27 06:30 | 20140860102 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl | 0.0604 | TERBUFOS | . | 0.018 | 0.0335 | MICROGRAMS PER LITER |  |  |  | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-11-04 | ug/L | 0.67162 | 2013-10-17 06:30 | 20132910008 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0606 | TERBUFOS | . | 0.018 | 0.0407 | MICROGRAMS PER LITER |  |  |  | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-01-08 | ug/L | 0.80528 | 2013-12-05 08:00 | 20133400002 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0606 | TERBUFOS | . | 0.018 | 0.0488 | MICROGRAMS PER LITER |  |  |  | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-03-19 | ug/L |  | 2010-01-14 06:30 | 20100150090 | Restek | A069639 | Restek A069639: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A069639 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-07-29 | ug/L |  | 2010-05-27 06:30 | 20101480005 | Restek | A069639 | Restek A069639: 100 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A069639 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-10-18 | ug/L |  | 2010-08-05 06:30 | 20102180092 | Restek | A069639 | Restek A069639: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A069639 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-01-09 | ug/L |  | 2010-10-21 07:30 | 20102950072 | Restek | A075606 | Restek A075606: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-01-28 | ug/L |  | 2010-12-09 06:00 | 20103430087 | Restek | A075606 | Restek A075606: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-03-08 | ug/L |  | 2011-02-24 08:00 | 20110560005 | Restek | A075606 | Restek A075606: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-04-23 | ug/L |  | 2011-04-14 07:30 | 20111050150 | Restek | A075606 | Restek A075606: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-06-20 | ug/L |  | 2011-06-02 07:30 | 20111540007 | Restek | A075606 | Restek A075606: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-08-17 | ug/L |  | 2011-07-21 07:30 | 20112030057 | Restek | A075606 | Restek A075606: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-09-01 | ug/L |  | 2011-08-10 08:00 | 20112220126 | Restek | A075606 | Restek A075606: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-09-13 | ug/L |  | 2011-08-18 08:46 | 20112310032 | Restek | A075606 | Restek A075606: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-11-01 | ug/L |  | 2011-10-20 07:00 | 20112930085 | Restek | A075606 | Restek A075606: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-12-04 | ug/L |  | 2011-11-22 07:30 | 20113260111 | Restek | A075606 | Restek A075606: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-02-14 | ug/L |  | 2012-02-02 12:10 | 20120370001 | Restek | A075606 | Restek A075606: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-05-15 | ug/L |  | 2012-05-10 06:30 | 20121310027 | Restek | A075606 | Restek A075606: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A075606 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-06-28 | ug/L |  | 2012-06-21 06:00 | 20121730123 | Restek | A088380 | Restek A088380: 50 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Restek A088380 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-11-19 | ug/L |  | 2014-11-06 06:00 | 20143110108 | Spex Organics, Crescent | E1140407002, 03DD006 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpE117002, Cr03DD006 | Sp | Cr | Cr | E117002 | 03DD006 | 03DD006 | E117002 |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-05-28 | ug/L | 0.52893 | 2014-05-16 06:00 | 20141360094 | Spex Organics, ERA | E1140407002, 0227-14-08 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl | 0.0363 | TERBUFOS | . | 0.018 | 0.0192 | MICROGRAMS PER LITER |  |  |  | SpE117002, ER0224-08 | Sp | ER | ER | E117002 | 0224-08 | 0224-08 | E117002 | 0224-08 | 0224-08 | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-07-09 | ug/L | 0.63636 | 2014-06-26 06:00 | 20141770149 | Spex Organics, ERA | E1140407002, 0227-14-08 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl | 0.0726 | TERBUFOS | . | 0.018 | 0.0462 | MICROGRAMS PER LITER |  |  |  | SpE117002, ER0224-08 | Sp | ER | ER | E117002 | 0224-08 | 0224-08 | E117002 | 0224-08 | 0224-08 | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-09-22 | ug/L | 0.35278 | 2014-09-03 06:00 | 20142470041 | Spex Organics, NSI | E1140407002, 042814 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl | 0.036 | TERBUFOS | . | 0.018 | 0.0127 | MICROGRAMS PER LITER |  |  |  | SpE117002, NS042814 | Sp | NS | NS | E117002 | 042814 | 042814 | E117002 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2015-02-21 | ug/L | 0.65278 | 2015-02-12 06:00 | 20150430092 | Spex Organics, NSI | E1140407002, 042814 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl | 0.072 | TERBUFOS | . | 0.018 | 0.047 | MICROGRAMS PER LITER |  |  |  | SpE117002, NS042814 | Sp | NS | NS | E117002 | 042814 | 042814 | E117002 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2015-09-04 | ug/L |  | 2015-08-20 06:00 | 20152330039 | Spex Organics, Abs | EN150513008, 041415 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl |  | TERBUFOS | R | 0.018 |  | MICROGRAMS PER LITER |  |  |  | SpEN13008, Ab041415 | Sp | Ab | Ab | EN13008 | 041415 | 041415 | EN13008 |  |  | N | Deleted Values | N
TERBUFOS | 2033 | 82675GCM35 | 2016-02-02 | ug/L |  | 2015-11-10 06:00 | 20153160001 | Spex Organics, Spex Organics | EN150513008, EN150514012 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpEN13008, SpEN14012 | Sp | Sp | Sp | EN13008 | EN14012 | EN14012 | EN13008 | EN14012 | EN14012 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2015-07-10 | ug/L |  | 2015-06-25 06:00 | 20151760208 | Spex Organics, ChemService | EN150514012, 3851600 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl | 0.028 | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpEN14012, Ch3851600 | Sp | Ch | Ch | EN14012 | 3851600 | 3851600 | EN14012 |  |  | Y | False Negatives | N
TERBUFOS | 2033 | 82675GCM35 | 2015-09-17 | ug/L |  | 2015-09-03 06:00 | 20152460215 | Spex Organics, ERA | EN150514012, 0406-15-01 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl | 0.1088 | TERBUFOS | R | 0.018 |  | MICROGRAMS PER LITER |  |  |  | SpEN14012, ER0405-01 | Sp | ER | ER | EN14012 | 0405-01 | 0405-01 | EN14012 | 0405-01 | 0405-01 | Y | Deleted Values | N
TERBUFOS | 2033 | 82675GCM35 | 2016-02-08 | ug/L | 0.44853 | 2015-12-09 06:00 | 20153440001 | Spex Organics, ERA | EN150514012, 0406-15-01 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl | 0.0544 | TERBUFOS | . | 0.018 | 0.0244 | MICROGRAMS PER LITER |  |  |  | SpEN14012, ER0405-01 | Sp | ER | ER | EN14012 | 0405-01 | 0405-01 | EN14012 | 0405-01 | 0405-01 | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-08-29 | ug/L | 0.64548 | 2012-08-07 06:00 | 20122210006 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0598 | TERBUFOS | . | 0.018 | 0.0386 | MICROGRAMS PER LITER |  |  |  | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-12-20 | ug/L | 0.82609 | 2012-12-06 06:30 | 20123420074 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.299 | TERBUFOS | . | 0.018 | 0.247 | MICROGRAMS PER LITER |  |  |  | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-09-05 | ug/L |  | 2012-08-16 06:30 | 20122300021 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-01-15 | ug/L |  | 2012-12-20 06:30 | 20123560092 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-11-20 | ug/L |  | 2012-11-08 06:30 | 20123140095 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-02-22 | ug/L |  | 2013-02-07 06:30 | 20130390105 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-04-02 | ug/L |  | 2013-03-21 06:30 | 20130810108 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-09-20 | ug/L |  | 2013-09-06 06:50 | 20132490342 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-02-12 | ug/L |  | 2014-02-06 06:30 | 20140370077 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2013-11-09 | ug/L |  | 2013-10-31 06:30 | 20133050050 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-06-16 | ug/L | 0.57436 | 2010-04-08 06:30 | 20100990014 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.03012 | TERBUFOS | E | 0.018 | 0.0173 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090901009 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-07-15 | ug/L | 0.7392 | 2010-05-13 06:30 | 20101340154 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.15152 | TERBUFOS | . | 0.018 | 0.112 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090901009 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-09-30 | ug/L | 0.62054 | 2010-07-21 06:30 | 20102030005 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.030618 | TERBUFOS | . | 0.018 | 0.019 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090901009 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-12-22 | ug/L | 0.62285 | 2010-09-16 06:30 | 20102630169 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.061652 | TERBUFOS | . | 0.018 | 0.0384 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090901009 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-01-11 | ug/L | 0.45647 | 2010-10-14 07:30 | 20102880001 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.047539 | TERBUFOS | . | 0.018 | 0.0217 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-01-21 | ug/L | 0.72652 | 2010-11-30 07:00 | 20103350003 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02395 | TERBUFOS | . | 0.018 | 0.0174 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-02-19 | ug/L | 0.5019 | 2011-01-27 06:30 | 20110280004 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024109 | TERBUFOS | . | 0.018 | 0.0121 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-03-23 | ug/L | 0.59972 | 2011-03-10 06:30 | 20110690078 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.023511 | TERBUFOS | . | 0.018 | 0.0141 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-05-14 | ug/L | 0.60582 | 2011-05-05 07:30 | 20111260154 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024265 | TERBUFOS | . | 0.018 | 0.0147 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-07-07 | ug/L | 0.65 | 2011-06-23 07:00 | 20111750006 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.048 | TERBUFOS | . | 0.018 | 0.0312 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-09-19 | ug/L | 0.74583 | 2011-08-25 10:00 | 20112380055 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024 | TERBUFOS | . | 0.018 | 0.0179 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-09-29 | ug/L | 0.525 | 2011-09-08 07:30 | 20112520209 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.048 | TERBUFOS | . | 0.018 | 0.0252 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-11-17 | ug/L | 0.55417 | 2011-11-03 07:00 | 20113080001 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024 | TERBUFOS | . | 0.018 | 0.0133 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2011-12-21 | ug/L | 0.6875 | 2011-12-13 07:30 | 20113490056 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.048 | TERBUFOS | . | 0.018 | 0.033 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-01-27 | ug/L | 0.6875 | 2012-01-19 07:00 | 20120200073 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.048 | TERBUFOS | . | 0.018 | 0.033 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-04-05 | ug/L | 0.59167 | 2012-03-22 06:30 | 20120830077 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024 | TERBUFOS | E | 0.018 | 0.0142 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-06-02 | ug/L | 0.45833 | 2012-05-24 07:00 | 20121460001 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024 | TERBUFOS | . | 0.018 | 0.011 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628017 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2012-10-18 | ug/L | 0.64554 | 2012-10-10 07:00 | 20122850005 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1515 | TERBUFOS | . | 0.018 | 0.0978 | MICROGRAMS PER LITER |  |  |  | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-01-17 | ug/L | 0.567 | 2013-01-10 06:00 | 20130100066 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.1515 | TERBUFOS | . | 0.018 | 0.0859 | MICROGRAMS PER LITER |  |  |  | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-11-23 | ug/L | 0.73451 | 2013-11-14 07:30 | 20133190012 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0452 | TERBUFOS | . | 0.018 | 0.0332 | MICROGRAMS PER LITER |  |  |  | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2013-08-19 | ug/L | 0.24775 | 2013-08-01 07:00 | 20132140002 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.111 | TERBUFOS | . | 0.018 | 0.0275 | MICROGRAMS PER LITER |  |  |  | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-03-05 | ug/L | 0.53604 | 2014-02-20 06:30 | 20140510043 | Supelco, Crescent, Crescent | LB99392, 04CC101, 10802AL | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl | 0.0444 | TERBUFOS | . | 0.018 | 0.0238 | MICROGRAMS PER LITER |  |  |  | SuLB99392, Cr04CC101, Cr10802A | Su | Cr | Cr | LB99392 | 04CC101 | 10802AL |  |  |  | Y
TERBUFOS | 2033 | 82675GCM35 | 2014-05-20 | ug/L |  | 2014-05-01 06:00 | 20141220025 | Supelco, Abs | LC06435, 032714 | Supelco LC06435: 60 µl & Abs 032714: 60 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SuLC06435, Ab032714 | Su | Ab | Ab | LC06435 | 032714 | 032714 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2015-01-31 | ug/L |  | 2015-01-15 06:00 | 20150150115 | Supelco, Abs | LC06435, 032714 | Supelco LC06435: 30 µl & Abs 032714: 30 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SuLC06435, Ab032714 | Su | Ab | Ab | LC06435 | 032714 | 032714 |  |  |  | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-07-17 | ug/L |  | 2014-07-10 06:00 | 20141910243 | Supelco, Spex Organics | LC06435, E1140407002 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SuLC06435, SpE117002 | Su | Sp | Sp | LC06435 | E117002 | E117002 |  | E117002 | E117002 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2014-10-04 | ug/L |  | 2014-09-25 06:00 | 20142720002 | Supelco, Spex Organics | LC06435, E1140407002 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | SuLC06435, SpE117002 | Su | Sp | Sp | LC06435 | E117002 | E117002 |  | E117002 | E117002 | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-04-22 | ug/L |  | 2010-02-11 06:30 | 20100420055 | Supelco | LB69639 | Supelco LB69639: 20 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB69639 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-07-07 | ug/L |  | 2010-05-06 06:30 | 20101270038 | Supelco | LB69639 | Supelco LB69639: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB69639 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-09-23 | ug/L |  | 2010-07-13 06:30 | 20101950137 | Supelco | LB69639 | Supelco LB69639: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB69639 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-01-18 | ug/L |  | 2010-11-10 07:30 | 20103140135 | Supelco | LB77168 | Supelco LB77168: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-02-09 | ug/L |  | 2011-01-13 06:30 | 20110130056 | Supelco | LB77168 | Supelco LB77168: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-03-30 | ug/L |  | 2011-03-17 08:00 | 20110770001 | Supelco | LB77168 | Supelco LB77168: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-05-25 | ug/L |  | 2011-05-12 07:00 | 20111330148 | Supelco | LB77168 | Supelco LB77168: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-07-14 | ug/L |  | 2011-06-29 07:00 | 20111810004 | Supelco | LB77168 | Supelco LB77168: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-07-20 | ug/L |  | 2011-07-07 06:30 | 20111890005 | Supelco | LB77168 | Supelco LB77168: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-09-24 | ug/L |  | 2011-09-01 07:30 | 20112450022 | Supelco | LB77168 | Supelco LB77168: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-10-02 | ug/L |  | 2011-09-15 07:30 | 20112590005 | Supelco | LB77168 | Supelco LB77168: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-11-17 | ug/L |  | 2011-11-09 07:00 | 20113130085 | Supelco | LB77168 | Supelco LB77168: 80 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2011-12-22 | ug/L |  | 2011-12-15 07:30 | 20113500021 | Supelco | LB77168 | Supelco LB77168: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2012-03-09 | ug/L |  | 2012-03-01 07:30 | 20120620015 | Supelco | LB77168 | Supelco LB77168: 40 µl |  | TERBUFOS | < | 0.018 | 0.018 | MICROGRAMS PER LITER |  |  |  | Supelco LB77168 | [9 empty] | N | < Reporting Level | N
TERBUFOS | 2033 | 82675GCM35 | 2010-05-19 | ug/L | 1.1289 | 2010-03-11 06:30 | 20100710178 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.030472 | TERBUFOS | . | 0.018 | 0.0344 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3558 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-08-10 | ug/L | 0.67985 | 2010-06-10 06:30 | 20101650033 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.061337 | TERBUFOS | . | 0.018 | 0.0417 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3558 | [9 empty] | Y
TERBUFOS | 2033 | 82675GCM35 | 2010-12-01 | ug/L | 0.62694 | 2010-08-26 06:30 | 20102390088 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.030306 | TERBUFOS | . | 0.018 | 0.019 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3558 | [9 empty] | Y