## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-10-01 06:00 | 20152750006 | 0.01 | False Negative | 0.06 | < |  | ug/L |  |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-04-30 07:00 | 20151210037 | 0.01 | Estimated Values | 0.015 | E | 0.0128 | ug/L | 0.85333 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-10-29 06:00 | 20153030068 | 0.01 | Estimated Values | 0.015 | E | 0.0141 | ug/L | 0.94 |  | rcr | m | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-08-06 06:00 | 20152190003 | 0.01 | Estimated Values | 0.015 | E | 0.0045 | ug/L | 0.3 |  | rcr | b | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-11-10 06:00 | 20153160001 | 0.01 | Estimated Values | 0.015 | E | 0.0146 | ug/L | 0.97333 |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-03-10 06:30 | 20110690078 | 0.01 | Estimated Values | 0.019592 | E | 0.0198 | ug/L | 1.0106 | V | rcr | m | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-11-30 07:00 | 20103350003 | 0.01 | Estimated Values | 0.019958 | E | 0.0241 | ug/L | 1.2075 | W | c3L | m | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-08-25 10:00 | 20112380055 | 0.01 | Estimated Values | 0.02 | E | 0.0205 | ug/L | 1.025 | V | rcr | m | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-11-03 07:00 | 20113080001 | 0.01 | Estimated Values | 0.02 | E | 0.018 | ug/L | 0.9 | V | rcr | m | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2012-03-22 06:30 | 20120830077 | 0.01 | Estimated Values | 0.02 | E | 0.0184 | ug/L | 0.92 | V | rcr | m | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2012-05-24 07:00 | 20121460001 | 0.01 | Estimated Values | 0.02 | E | 0.021 | ug/L | 1.05 | Y | rcr | m | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-01-27 06:30 | 20110280004 | 0.01 | Estimated Values | 0.02009 | E | 0.0185 | ug/L | 0.92084 | V | rcr | m | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-04-17 06:00 | 20141080004 | 0.01 | Estimated Values | 0.0201 | E | 0.0226 | ug/L | 1.1244 | Y | rcr | m | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-01-15 06:00 | 20150150115 | 0.01 | Estimated Values | 0.0201 | E | 0.0137 | ug/L | 0.68159 | Y | rcr | m | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-05-29 06:00 | 20141490205 | 0.01 | Estimated Values | 0.0201 | E | 0.0203 | ug/L | 1.01 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-05-16 06:00 | 20141360094 | 0.01 | Estimated Values | 0.0201 | E | 0.021 | ug/L | 1.0448 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-10-09 06:00 | 20142820151 | 0.01 | Estimated Values | 0.0201 | E | 0.0191 | ug/L | 0.95025 | Y | rcr | m | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-09-03 06:00 | 20142470041 | 0.01 | Estimated Values | 0.0201 | E | 0.0206 | ug/L | 1.0249 | Y | rcr | m | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-06-12 06:00 | 20141640076 | 0.01 | Estimated Values | 0.0201 | E | 0.0208 | ug/L | 1.0348 | Y | rcr | m | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-07-10 06:00 | 20141910243 | 0.01 | Estimated Values | 0.0201 | E | 0.0185 | ug/L | 0.9204 | Y | rcr | m | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-05-05 07:30 | 20111260154 | 0.01 | Estimated Values | 0.02022 | E | 0.0214 | ug/L | 1.0583 | V | rcr | m | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-02-17 08:30 | 20110490035 | 0.01 | Estimated Values | 0.02475 | E | 0.0239 | ug/L | 0.96566 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-06-04 07:00 | 20151550293 | 0.01 | Estimated Values | 0.03 | E | 0.0247 | ug/L | 0.82333 | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-07-09 07:00 | 20151900132 | 0.01 | Estimated Values | 0.03 | E | 0.0214 | ug/L | 0.71333 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-08-20 06:00 | 20152330039 | 0.01 | Estimated Values | 0.03 | E | 0.0166 | ug/L | 0.55333 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-12-17 06:00 | 20153510109 | 0.01 | Estimated Values | 0.03 | E | 0.0234 | ug/L | 0.78 |  | rcr | m | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-08-15 06:30 | 20132280016 | 0.01 | Estimated Values | 0.03 | E | 0.0349 | ug/L | 1.1633 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-10-31 06:30 | 20133050050 | 0.01 | Estimated Values | 0.03 | E | 0.0372 | ug/L | 1.24 | Y | rcr | m | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2012-08-30 06:30 | 20122430227 | 0.01 | Estimated Values | 0.0302 | E | 0.0242 | ug/L | 0.80132 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-02-19 06:30 | 20130510051 | 0.01 | Estimated Values | 0.0302 | E | 0.0244 | ug/L | 0.80795 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2012-08-16 06:30 | 20122300021 | 0.01 | Estimated Values | 0.0302 | E | 0.0307 | ug/L | 1.0166 | V | rcr | m | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-06-13 06:30 | 20131650073 | 0.01 | Estimated Values | 0.0304 | E | 0.0248 | ug/L | 0.81579 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-06-27 06:30 | 20131790009 | 0.01 | Estimated Values | 0.0304 | E | 0.0219 | ug/L | 0.72039 | Y | rcr | m | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-12-12 06:30 | 20133470008 | 0.01 | Estimated Values | 0.0304 | E | 0.0288 | ug/L | 0.94737 | Y | rcr | m | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-11-26 07:00 | 20133310030 | 0.01 | Estimated Values | 0.0304 | E | 0.0362 | ug/L | 1.1908 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-03-13 07:00 | 20140730138 | 0.01 | Estimated Values | 0.0304 | E | 0.0245 | ug/L | 0.80592 | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-04-29 10:30 | 20101190091 | 0.0098 | Estimated Values | 0.038782 | E | 0.0329 | ug/L | 0.84833 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-10-14 07:30 | 20102880001 | 0.01 | Estimated Values | 0.039616 | E | 0.0348 | ug/L | 0.87844 | V | rcr | m | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-06-23 07:00 | 20111750006 | 0.01 | Estimated Values | 0.04 | E | 0.0348 | ug/L | 0.87 | X | str | m | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-09-08 07:30 | 20112520209 | 0.01 | Estimated Values | 0.04 | E | 0.0369 | ug/L | 0.9225 | Y | rcr | m | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-12-13 07:30 | 20113490056 | 0.01 | Estimated Values | 0.04 | E | 0.0416 | ug/L | 1.04 | V | rcr | m | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2012-01-19 07:00 | 20120200073 | 0.01 | Estimated Values | 0.04 | E | 0.0382 | ug/L | 0.955 | X | str | m | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-08-14 06:00 | 20142270001 | 0.01 | Estimated Values | 0.0402 | E | 0.0365 | ug/L | 0.90796 | Y | rcr | m | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-05-01 06:00 | 20141220025 | 0.01 | Estimated Values | 0.0402 | E | 0.0333 | ug/L | 0.82836 | Y | rcr | m | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-11-06 06:00 | 20143110108 | 0.01 | Estimated Values | 0.0402 | E | 0.0369 | ug/L | 0.91791 | Y | rcr | m | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-06-26 06:00 | 20141770149 | 0.01 | Estimated Values | 0.0402 | E | 0.0366 | ug/L | 0.91045 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-11-19 06:00 | 20143240095 | 0.01 | Estimated Values | 0.0402 | E | 0.0343 | ug/L | 0.85323 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-02-12 06:00 | 20150430092 | 0.01 | Estimated Values | 0.0402 | E | 0.0377 | ug/L | 0.93781 | Y | rcr | m | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-09-25 06:00 | 20142720002 | 0.01 | Estimated Values | 0.0402 | E | 0.0358 | ug/L | 0.89055 | Y | rcr | m | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-09-09 06:40 | 20102530008 | 0.01 | Estimated Values | 0.040428 | E | 0.0377 | ug/L | 0.93251 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-06-17 10:30 | 20101720149 | 0.0098 | Estimated Values | 0.040547 | E | 0.0382 | ug/L | 0.94211 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-02-11 06:30 | 20100420055 | 0.0098 | Estimated Values | 0.052708 | E | 0.0472 | ug/L | 0.89549 | S | c3L | m | 2010-04-22 | Supelco LB69639: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-01-28 06:30 | 20100280077 | 0.0098 | Estimated Values | 0.053029 | E | 0.0447 | ug/L | 0.84294 | W | fww | m | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-06-03 06:30 | 20101550006 | 0.0098 | Estimated Values | 0.055234 | E | 0.0451 | ug/L | 0.81653 | X | mco | m | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2015-09-17 06:00 | 20152610011 | 0.01 | Estimated Values | 0.06 | E | 0.048 | ug/L | 0.8 |  | rcr | m | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-06-07 10:00 | 20111590005 | 0.01 | Estimated Values | 0.074096 | E | 0.0653 | ug/L | 0.88129 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-02-06 06:30 | 20140370077 | 0.01 | Estimated Values | 0.075 | E | 0.0691 | ug/L | 0.92133 | Y | rcr | m | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-09-25 08:00 | 20132690010 | 0.01 | Estimated Values | 0.075 | E | 0.0895 | ug/L | 1.1933 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2012-09-27 07:00 | 20122720048 | 0.01 | Estimated Values | 0.0755 | E | 0.0607 | ug/L | 0.80397 | V | rcr | m | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-04-04 06:30 | 20130940097 | 0.01 | Estimated Values | 0.0755 | E | 0.0749 | ug/L | 0.99205 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2012-12-20 06:30 | 20123560092 | 0.01 | Estimated Values | 0.0755 | E | 0.0578 | ug/L | 0.76556 | Y | rcr | m | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-05-16 07:00 | 20131370001 | 0.01 | Estimated Values | 0.076 | E | 0.0758 | ug/L | 0.99737 | V | rcr | m | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2011-04-07 09:00 | 20110980030 | 0.01 | Estimated Values | 0.099483 | E | 0.108 | ug/L | 1.0856 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-11-18 09:00 | 20103230114 | 0.01 | Estimated Values | 0.1007 | E | 0.0981 | ug/L | 0.97413 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-05-06 06:30 | 20101270038 | 0.0098 | Estimated Values | 0.10378 | E | 0.0868 | ug/L | 0.83637 | S | cgr | m | 2010-07-07 | Supelco LB69639: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-07-13 06:30 | 20101950137 | 0.0098 | Estimated Values | 0.10588 | E | 0.0999 | ug/L | 0.94356 | X | str | m | 2010-09-23 | Supelco LB69639: 40 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2013-09-06 06:50 | 20132490342 | 0.01 | Estimated Values | 0.15 | E | 0.162 | ug/L | 1.08 | Y | rcr | m | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2014-01-09 06:30 | 20140100085 | 0.01 | Estimated Values | 0.15 | E | 0.139 | ug/L | 0.92667 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2012-11-20 06:30 | 20123260037 | 0.01 | Estimated Values | 0.151 | E | 0.112 | ug/L | 0.74172 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | 2-ETHYL-6-METHYLANILINE | 61620GCM39 | 2010-08-12 06:30 | 20102250096 | 0.01 | Estimated Values | 0.27253 | E | 0.23 | ug/L | 0.84394 | X | str | m | 2010-10-27 | NSI 090109-01Pest: 100 µl