## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-10-29 06:00 | 20153030068 | 0.01 | Recoverable Result | 0.009 | . | 0.0092 | ug/L | 1.0222 |  | rcr | n | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-11-10 06:00 | 20153160001 | 0.01 | Recoverable Result | 0.009 | . | 0.0083 | ug/L | 0.92222 |  | rcr | n | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-08-15 06:30 | 20132280016 | 0.006 | Recoverable Result | 0.008 | . | 0.0081 | ug/L | 1.0125 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-10-31 06:30 | 20133050050 | 0.006 | Recoverable Result | 0.008 | . | 0.0088 | ug/L | 1.1 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-04-30 07:00 | 20151210037 | 0.006 | Recoverable Result | 0.009 | . | 0.0067 | ug/L | 0.74444 | V | rcr | b | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-06-13 06:30 | 20131650073 | 0.006 | Recoverable Result | 0.009 | . | 0.0081 | ug/L | 0.9 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-06-27 06:30 | 20131790009 | 0.006 | Recoverable Result | 0.009 | . | 0.0095 | ug/L | 1.0556 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-08-06 06:00 | 20152190003 | 0.006 | Recoverable Result | 0.009 | . | 0.0077 | ug/L | 0.85556 |  | rcr | b | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-12-12 06:30 | 20133470008 | 0.006 | Recoverable Result | 0.009 | . | 0.0076 | ug/L | 0.84444 | Y | rcr | b | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-11-26 07:00 | 20133310030 | 0.006 | Recoverable Result | 0.009 | . | 0.0113 | ug/L | 1.2556 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-03-13 07:00 | 20140730138 | 0.006 | Recoverable Result | 0.009 | . | 0.0081 | ug/L | 0.9 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-01-14 06:30 | 20100150090 | 0.006 | Recoverable Result | 0.01005 | . | 0.0091 | ug/L | 0.90545 | W | fww |  | 2010-03-19 | Restek A069639: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-07-01 06:30 | 20101830110 | 0.006 | Recoverable Result | 0.010409 | . | 0.0093 | ug/L | 0.89345 | S | c3L |  | 2010-09-21 | ChemService 430-36C: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-01-15 06:00 | 20150150115 | 0.006 | Recoverable Result | 0.01197 | . | 0.011 | ug/L | 0.91896 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-07-10 06:00 | 20141910243 | 0.006 | Recoverable Result | 0.01197 | . | 0.0115 | ug/L | 0.96074 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-07-02 07:00 | 20141840097 | 0.006 | Recoverable Result | 0.01197 | . | 0.01 | ug/L | 0.83542 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-12-03 06:00 | 20143370094 | 0.006 | Recoverable Result | 0.01197 | . | 0.0116 | ug/L | 0.96909 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-04-17 06:00 | 20141080004 | 0.006 | Recoverable Result | 0.012 | . | 0.0097 | ug/L | 0.80833 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-05-22 07:00 | 20141420140 | 0.006 | Recoverable Result | 0.012 | . | 0.0156 | ug/L | 1.3 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-08-07 07:00 | 20142200164 | 0.006 | Recoverable Result | 0.012 | . | 0.012 | ug/L | 1 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-06-12 06:00 | 20141640076 | 0.006 | Estimated Values | 0.012 | E | 0.0077 | ug/L | 0.64167 | Y | rcr | b | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-06-04 07:00 | 20151550293 | 0.006 | Recoverable Result | 0.018 | . | 0.0164 | ug/L | 0.91111 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-07-09 07:00 | 20151900132 | 0.006 | Recoverable Result | 0.018 | . | 0.0116 | ug/L | 0.64444 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-08-20 06:00 | 20152330039 | 0.006 | Recoverable Result | 0.018 | . | 0.015 | ug/L | 0.83333 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-12-17 06:00 | 20153510109 | 0.01 | Recoverable Result | 0.018 | . | 0.0139 | ug/L | 0.77222 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-10-28 07:30 | 20103020155 | 0.006 | Recoverable Result | 0.019316 | . | 0.0146 | ug/L | 0.75584 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-01-20 07:30 | 20110210095 | 0.006 | Recoverable Result | 0.019681 | . | 0.017 | ug/L | 0.86377 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-10-07 07:30 | 20102810019 | 0.006 | Recoverable Result | 0.019741 | . | 0.0182 | ug/L | 0.92196 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-02-02 06:30 | 20110340007 | 0.006 | Recoverable Result | 0.019875 | . | 0.016 | ug/L | 0.80502 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-08-05 06:30 | 20102180092 | 0.006 | Recoverable Result | 0.019879 | . | 0.015 | ug/L | 0.75458 | W | fww |  | 2010-10-18 | Restek A069639: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-06-16 08:00 | 20111680035 | 0.006 | Recoverable Result | 0.019964 | . | 0.0199 | ug/L | 0.99679 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-04-22 06:20 | 20111170107 | 0.006 | Recoverable Result | 0.01997 | . | 0.0188 | ug/L | 0.9414 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-07-07 07:00 | 20111890004 | 0.006 | Recoverable Result | 0.02 | . | 0.0203 | ug/L | 1.015 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-10-27 07:30 | 20113010047 | 0.006 | Recoverable Result | 0.02 | . | 0.0191 | ug/L | 0.955 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-03-15 08:00 | 20120760111 | 0.006 | Recoverable Result | 0.02 | . | 0.0167 | ug/L | 0.835 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-02-06 06:30 | 20140370077 | 0.006 | Recoverable Result | 0.02 | . | 0.0188 | ug/L | 0.94 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-09-25 08:00 | 20132690010 | 0.006 | Recoverable Result | 0.02 | . | 0.0163 | ug/L | 0.815 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-07-28 07:00 | 20112100007 | 0.006 | Recoverable Result | 0.02008 | . | 0.0188 | ug/L | 0.93625 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-10-07 06:30 | 20112840031 | 0.006 | Recoverable Result | 0.02008 | . | 0.0209 | ug/L | 1.0408 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-01-12 07:00 | 20120120071 | 0.006 | Recoverable Result | 0.02008 | . | 0.0194 | ug/L | 0.96614 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-02-23 07:30 | 20120540036 | 0.006 | Recoverable Result | 0.02008 | . | 0.0192 | ug/L | 0.95618 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-03-29 08:00 | 20120930003 | 0.006 | Recoverable Result | 0.02008 | . | 0.019 | ug/L | 0.94622 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-03-24 06:30 | 20110840108 | 0.006 | Estimated Values | 0.020092 | E | 0.0271 | ug/L | 1.3488 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-04-22 06:30 | 20101130055 | 0.006 | Recoverable Result | 0.020327 | . | 0.0153 | ug/L | 0.75268 | X | mco |  | 2010-06-26 | ChemService 430-36C: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-05-16 07:00 | 20131370001 | 0.006 | Recoverable Result | 0.0225 | . | 0.0241 | ug/L | 1.0711 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-05-01 06:00 | 20141220025 | 0.006 | Recoverable Result | 0.02394 | . | 0.0209 | ug/L | 0.87302 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-09-25 06:00 | 20142720002 | 0.006 | Recoverable Result | 0.02394 | . | 0.0232 | ug/L | 0.96909 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-06-05 07:00 | 20141570088 | 0.006 | Estimated Values | 0.02394 | E | 0.0123 | ug/L | 0.51378 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-09-10 06:00 | 20142530087 | 0.006 | Recoverable Result | 0.02394 | . | 0.0188 | ug/L | 0.7853 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-08-14 06:00 | 20142270001 | 0.006 | Recoverable Result | 0.024 | . | 0.0216 | ug/L | 0.9 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-03-12 06:00 | 20150720069 | 0.006 | Recoverable Result | 0.024 | . | 0.0251 | ug/L | 1.0458 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-10-23 06:00 | 20142960086 | 0.006 | Recoverable Result | 0.024 | . | 0.0207 | ug/L | 0.8625 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-11-06 06:00 | 20143110108 | 0.006 | Recoverable Result | 0.024 | . | 0.0205 | ug/L | 0.85417 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-02-17 08:30 | 20110490035 | 0.006 | Recoverable Result | 0.02475 | . | 0.0207 | ug/L | 0.83636 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-09-17 06:00 | 20152610011 | 0.006 | Recoverable Result | 0.036 | . | 0.0414 | ug/L | 1.15 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2015-10-01 06:00 | 20152750006 | 0.01 | Recoverable Result | 0.036 | . | 0.0243 | ug/L | 0.675 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-11-24 07:00 | 20103330007 | 0.006 | Recoverable Result | 0.038641 | . | 0.042 | ug/L | 1.0869 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-04-29 10:30 | 20101190091 | 0.006 | Recoverable Result | 0.038782 | . | 0.0314 | ug/L | 0.80965 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-12-16 06:30 | 20103510060 | 0.006 | Recoverable Result | 0.039805 | . | 0.0368 | ug/L | 0.92451 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-04-28 07:00 | 20111190184 | 0.006 | Recoverable Result | 0.039845 | . | 0.0385 | ug/L | 0.96625 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-03-03 07:00 | 20110620082 | 0.006 | Recoverable Result | 0.039873 | . | 0.0361 | ug/L | 0.90538 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-08-04 08:00 | 20112170174 | 0.006 | Recoverable Result | 0.04 | . | 0.0344 | ug/L | 0.86 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-11-29 07:00 | 20113340046 | 0.006 | Recoverable Result | 0.04 | . | 0.0323 | ug/L | 0.8075 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-02-09 07:00 | 20120400058 | 0.006 | Recoverable Result | 0.04 | . | 0.0332 | ug/L | 0.83 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-09-06 06:50 | 20132490342 | 0.006 | Recoverable Result | 0.04 | . | 0.0388 | ug/L | 0.97 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-01-09 06:30 | 20140100085 | 0.006 | Recoverable Result | 0.04 | . | 0.033 | ug/L | 0.825 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-01-26 07:00 | 20120260028 | 0.006 | Estimated Values | 0.04016 | E | 0.0439 | ug/L | 1.0931 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-04-12 07:00 | 20121040012 | 0.006 | Recoverable Result | 0.04016 | . | 0.0304 | ug/L | 0.75697 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-09-09 06:40 | 20102530008 | 0.006 | Recoverable Result | 0.040428 | . | 0.0329 | ug/L | 0.81378 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-05-19 07:30 | 20111390178 | 0.006 | Recoverable Result | 0.040431 | . | 0.0311 | ug/L | 0.76921 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-06-17 10:30 | 20101720149 | 0.006 | Recoverable Result | 0.040547 | . | 0.0369 | ug/L | 0.91005 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-05-27 06:30 | 20101480005 | 0.006 | Recoverable Result | 0.051937 | . | 0.0424 | ug/L | 0.81637 | X | mco |  | 2010-07-29 | Restek A069639: 100 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-07-11 06:30 | 20131920149 | 0.006 | Recoverable Result | 0.06 | . | 0.0586 | ug/L | 0.97667 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-09-13 06:00 | 20122570122 | 0.006 | Recoverable Result | 0.06 | . | 0.0448 | ug/L | 0.74667 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-03-05 06:00 | 20130650005 | 0.006 | Recoverable Result | 0.06 | . | 0.0401 | ug/L | 0.66833 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-05-02 06:00 | 20131230084 | 0.006 | Recoverable Result | 0.06 | . | 0.0515 | ug/L | 0.85833 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-08-07 06:00 | 20122210006 | 0.006 | Recoverable Result | 0.06 | . | 0.0439 | ug/L | 0.73167 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-08-16 06:30 | 20122300021 | 0.006 | Recoverable Result | 0.06 | . | 0.0608 | ug/L | 1.0133 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-07-03 08:00 | 20121870008 | 0.006 | Recoverable Result | 0.06 | . | 0.0485 | ug/L | 0.80833 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-02-07 06:30 | 20130390105 | 0.006 | Recoverable Result | 0.06 | . | 0.0411 | ug/L | 0.685 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-03-27 06:30 | 20140860102 | 0.006 | Recoverable Result | 0.06 | . | 0.0429 | ug/L | 0.715 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-10-17 06:30 | 20132910008 | 0.006 | Recoverable Result | 0.06 | . | 0.0477 | ug/L | 0.795 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-12-05 08:00 | 20133400002 | 0.006 | Recoverable Result | 0.06 | . | 0.06 | ug/L | 1 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-06-07 10:00 | 20111590005 | 0.006 | Recoverable Result | 0.074096 | . | 0.0475 | ug/L | 0.64106 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2011-04-07 09:00 | 20110980030 | 0.006 | Recoverable Result | 0.099483 | . | 0.0846 | ug/L | 0.8504 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2010-11-18 09:00 | 20103230114 | 0.006 | Recoverable Result | 0.1007 | . | 0.0776 | ug/L | 0.77057 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-06-21 06:00 | 20121730123 | 0.006 | Recoverable Result | 0.15 | . | 0.132 | ug/L | 0.88 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-10-30 07:00 | 20123040157 | 0.006 | Recoverable Result | 0.15 | . | 0.135 | ug/L | 0.9 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-12-20 06:30 | 20123560092 | 0.006 | Recoverable Result | 0.15 | . | 0.12 | ug/L | 0.8 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-03-21 06:30 | 20130810108 | 0.006 | Recoverable Result | 0.15 | . | 0.121 | ug/L | 0.80667 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-08-29 06:30 | 20132420001 | 0.006 | Recoverable Result | 0.15 | . | 0.13 | ug/L | 0.86667 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2014-01-23 06:30 | 20140230082 | 0.006 | Recoverable Result | 0.15 | . | 0.133 | ug/L | 0.88667 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2013-01-24 06:00 | 20130250061 | 0.006 | Recoverable Result | 0.3 | . | 0.252 | ug/L | 0.84 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-12-06 06:30 | 20123420074 | 0.006 | Recoverable Result | 0.3 | . | 0.278 | ug/L | 0.92667 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | ALPHA-ENDOSULFAN (ENDOSULFAN I) | 34362GCM39 | 2012-11-08 06:30 | 20123140095 | 0.006 | Recoverable Result | 0.3 | . | 0.257 | ug/L | 0.85667 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl