## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ATRAZINE | 39632GCM35 | 2015-10-22 06:00 | 20152950078 | 0.008 | Recoverable Result | 0.012 | . | 0.0081 | ug/L | 0.675 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2015-06-25 06:00 | 20151760208 | 0.008 | Recoverable Result | 0.012 | . | 0.0117 | ug/L | 0.975 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2015-10-29 06:00 | 20153030068 | 0.008 | Recoverable Result | 0.012 | . | 0.0115 | ug/L | 0.95833 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2015-07-23 06:00 | 20152040177 | 0.008 | Estimated Values | 0.0121 | E | 0.0107 | ug/L | 0.8843 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2015-08-06 06:00 | 20152190003 | 0.008 | Recoverable Result | 0.0121 | . | 0.0102 | ug/L | 0.84298 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2014-04-17 06:00 | 20141080004 | 0.008 | Recoverable Result | 0.0156 | . | 0.0135 | ug/L | 0.86538 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | ATRAZINE | 39632GCM35 | 2014-05-22 07:00 | 20141420140 | 0.008 | Estimated Values | 0.0156 | E | 0.0128 | ug/L | 0.82051 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | ATRAZINE | 39632GCM35 | 2014-08-07 07:00 | 20142200164 | 0.008 | Recoverable Result | 0.0156 | . | 0.0145 | ug/L | 0.92949 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | ATRAZINE | 39632GCM35 | 2014-06-12 06:00 | 20141640076 | 0.008 | Recoverable Result | 0.0156 | . | 0.0132 | ug/L | 0.84615 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ATRAZINE | 39632GCM35 | 2015-01-15 06:00 | 20150150115 | 0.008 | Recoverable Result | 0.01596 | . | 0.0124 | ug/L | 0.77694 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | ATRAZINE | 39632GCM35 | 2014-07-10 06:00 | 20141910243 | 0.008 | Recoverable Result | 0.01596 | . | 0.0119 | ug/L | 0.74561 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ATRAZINE | 39632GCM35 | 2014-07-02 07:00 | 20141840097 | 0.008 | Recoverable Result | 0.01596 | . | 0.0131 | ug/L | 0.8208 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | ATRAZINE | 39632GCM35 | 2014-12-03 06:00 | 20143370094 | 0.008 | Recoverable Result | 0.01596 | . | 0.0115 | ug/L | 0.72055 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | ATRAZINE | 39632GCM35 | 2015-06-04 07:00 | 20151550293 | 0.008 | Recoverable Result | 0.024 | . | 0.0237 | ug/L | 0.9875 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2015-05-07 07:00 | 20151270112 | 0.008 | Estimated Values | 0.024 | E | 0.0204 | ug/L | 0.85 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2015-12-09 06:00 | 20153440001 | 0.008 | Recoverable Result | 0.0242 | . | 0.018 | ug/L | 0.7438 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2015-12-17 06:00 | 20153510109 | 0.008 | Recoverable Result | 0.0242 | . | 0.018 | ug/L | 0.7438 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-02-17 08:30 | 20110490035 | 0.008 | Recoverable Result | 0.02475 | . | 0.0261 | ug/L | 1.0545 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | ATRAZINE | 39632GCM35 | 2010-01-14 06:30 | 20100150090 | 0.007 | Recoverable Result | 0.024925 | . | 0.0188 | ug/L | 0.75427 | W | fww |  | 2010-03-19 | Restek A069639: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2010-07-01 06:30 | 20101830110 | 0.007 | Recoverable Result | 0.025815 | . | 0.0277 | ug/L | 1.073 | S | c3L |  | 2010-09-21 | ChemService 430-36C: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2014-08-14 06:00 | 20142270001 | 0.008 | Recoverable Result | 0.0312 | . | 0.0253 | ug/L | 0.8109 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | ATRAZINE | 39632GCM35 | 2015-03-12 06:00 | 20150720069 | 0.008 | Recoverable Result | 0.0312 | . | 0.026 | ug/L | 0.83333 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | ATRAZINE | 39632GCM35 | 2014-10-23 06:00 | 20142960086 | 0.008 | Recoverable Result | 0.0312 | . | 0.0259 | ug/L | 0.83013 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | ATRAZINE | 39632GCM35 | 2014-11-06 06:00 | 20143110108 | 0.008 | Recoverable Result | 0.0312 | . | 0.0218 | ug/L | 0.69872 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | ATRAZINE | 39632GCM35 | 2014-05-01 06:00 | 20141220025 | 0.008 | Recoverable Result | 0.03192 | . | 0.0331 | ug/L | 1.037 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | ATRAZINE | 39632GCM35 | 2014-09-25 06:00 | 20142720002 | 0.008 | Recoverable Result | 0.03192 | . | 0.0248 | ug/L | 0.77694 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | ATRAZINE | 39632GCM35 | 2014-06-05 07:00 | 20141570088 | 0.008 | Recoverable Result | 0.03192 | . | 0.0316 | ug/L | 0.98997 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | ATRAZINE | 39632GCM35 | 2014-09-10 06:00 | 20142530087 | 0.008 | Recoverable Result | 0.03192 | . | 0.0236 | ug/L | 0.73935 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | ATRAZINE | 39632GCM35 | 2010-04-29 10:30 | 20101190091 | 0.007 | Recoverable Result | 0.038782 | . | 0.0368 | ug/L | 0.94889 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2010-09-09 06:40 | 20102530008 | 0.008 | Recoverable Result | 0.040428 | . | 0.0434 | ug/L | 1.0735 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2010-06-17 10:30 | 20101720149 | 0.007 | Recoverable Result | 0.040547 | . | 0.045 | ug/L | 1.1098 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2015-09-17 06:00 | 20152610011 | 0.008 | Recoverable Result | 0.0484 | . | 0.0387 | ug/L | 0.79959 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2015-09-03 06:00 | 20152460215 | 0.008 | Recoverable Result | 0.0484 | . | 0.0454 | ug/L | 0.93802 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2010-08-05 06:30 | 20102180092 | 0.008 | Recoverable Result | 0.049299 | . | 0.0425 | ug/L | 0.86208 | W | fww |  | 2010-10-18 | Restek A069639: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2013-06-13 06:30 | 20131650073 | 0.008 | Recoverable Result | 0.0498 | . | 0.0579 | ug/L | 1.1627 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2013-06-27 06:30 | 20131790009 | 0.008 | Recoverable Result | 0.0498 | . | 0.0534 | ug/L | 1.0723 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2013-12-12 06:30 | 20133470008 | 0.008 | Recoverable Result | 0.0498 | . | 0.0503 | ug/L | 1.01 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2013-11-26 07:00 | 20133310030 | 0.008 | Recoverable Result | 0.0498 | . | 0.042 | ug/L | 0.84337 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2014-03-13 07:00 | 20140730138 | 0.008 | Recoverable Result | 0.0498 | . | 0.0386 | ug/L | 0.7751 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | ATRAZINE | 39632GCM35 | 2013-08-15 06:30 | 20132280016 | 0.008 | Recoverable Result | 0.05 | . | 0.0511 | ug/L | 1.022 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2013-10-31 06:30 | 20133050050 | 0.008 | Recoverable Result | 0.05 | . | 0.0496 | ug/L | 0.992 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2010-04-22 06:30 | 20101130055 | 0.007 | Recoverable Result | 0.050412 | . | 0.0501 | ug/L | 0.99382 | X | mco |  | 2010-06-26 | ChemService 430-36C: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-06-07 10:00 | 20111590005 | 0.008 | Recoverable Result | 0.074096 | . | 0.0695 | ug/L | 0.93797 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | ATRAZINE | 39632GCM35 | 2011-04-07 09:00 | 20110980030 | 0.008 | Recoverable Result | 0.099483 | . | 0.11 | ug/L | 1.1057 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | ATRAZINE | 39632GCM35 | 2010-11-18 09:00 | 20103230114 | 0.008 | Recoverable Result | 0.1007 | . | 0.106 | ug/L | 1.0526 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | ATRAZINE | 39632GCM35 | 2013-07-11 06:30 | 20131920149 | 0.008 | Recoverable Result | 0.12 | . | 0.115 | ug/L | 0.95833 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2012-09-13 06:00 | 20122570122 | 0.008 | Recoverable Result | 0.12 | . | 0.0955 | ug/L | 0.79583 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2013-03-05 06:00 | 20130650005 | 0.008 | Recoverable Result | 0.12 | . | 0.0822 | ug/L | 0.685 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2013-05-02 06:00 | 20131230084 | 0.008 | Recoverable Result | 0.12 | . | 0.136 | ug/L | 1.1333 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2012-07-03 08:00 | 20121870008 | 0.008 | Recoverable Result | 0.12 | . | 0.11 | ug/L | 0.91667 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2014-03-27 06:30 | 20140860102 | 0.008 | Recoverable Result | 0.12 | . | 0.0872 | ug/L | 0.72667 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | ATRAZINE | 39632GCM35 | 2013-10-17 06:30 | 20132910008 | 0.008 | Recoverable Result | 0.12 | . | 0.1 | ug/L | 0.83333 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | ATRAZINE | 39632GCM35 | 2013-12-05 08:00 | 20133400002 | 0.008 | Recoverable Result | 0.12 | . | 0.12 | ug/L | 1 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | ATRAZINE | 39632GCM35 | 2012-08-07 06:00 | 20122210006 | 0.008 | Recoverable Result | 0.1202 | . | 0.0989 | ug/L | 0.8228 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2012-08-16 06:30 | 20122300021 | 0.008 | Recoverable Result | 0.1202 | . | 0.131 | ug/L | 1.0899 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2013-02-07 06:30 | 20130390105 | 0.008 | Recoverable Result | 0.1202 | . | 0.0806 | ug/L | 0.67055 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2013-05-16 07:00 | 20131370001 | 0.008 | Recoverable Result | 0.1245 | . | 0.145 | ug/L | 1.1647 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | ATRAZINE | 39632GCM35 | 2014-02-06 06:30 | 20140370077 | 0.008 | Recoverable Result | 0.125 | . | 0.109 | ug/L | 0.872 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | ATRAZINE | 39632GCM35 | 2013-09-25 08:00 | 20132690010 | 0.008 | Recoverable Result | 0.125 | . | 0.155 | ug/L | 1.24 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2010-05-27 06:30 | 20101480005 | 0.007 | Recoverable Result | 0.1288 | . | 0.14 | ug/L | 1.0869 | X | mco |  | 2010-07-29 | Restek A069639: 100 µl
2033 | ATRAZINE | 39632GCM35 | 2010-10-28 07:30 | 20103020155 | 0.008 | Recoverable Result | 0.14333 | . | 0.135 | ug/L | 0.94191 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-01-20 07:30 | 20110210095 | 0.008 | Recoverable Result | 0.14603 | . | 0.129 | ug/L | 0.88335 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2010-10-07 07:30 | 20102810019 | 0.008 | Recoverable Result | 0.14605 | . | 0.104 | ug/L | 0.71209 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-02-02 06:30 | 20110340007 | 0.008 | Recoverable Result | 0.14705 | . | 0.154 | ug/L | 1.0473 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-04-22 06:20 | 20111170107 | 0.008 | Recoverable Result | 0.14775 | . | 0.164 | ug/L | 1.11 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-06-16 08:00 | 20111680035 | 0.008 | Recoverable Result | 0.14813 | . | 0.142 | ug/L | 0.9586 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-07-07 07:00 | 20111890004 | 0.008 | Recoverable Result | 0.1484 | . | 0.156 | ug/L | 1.0512 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-10-27 07:30 | 20113010047 | 0.008 | Recoverable Result | 0.1484 | . | 0.138 | ug/L | 0.92992 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2012-03-15 08:00 | 20120760111 | 0.008 | Recoverable Result | 0.1484 | . | 0.127 | ug/L | 0.8558 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-07-28 07:00 | 20112100007 | 0.008 | Recoverable Result | 0.14856 | . | 0.119 | ug/L | 0.80102 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-10-07 06:30 | 20112840031 | 0.008 | Recoverable Result | 0.14856 | . | 0.134 | ug/L | 0.90199 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2012-01-12 07:00 | 20120120071 | 0.008 | Recoverable Result | 0.14856 | . | 0.145 | ug/L | 0.97604 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2012-02-23 07:30 | 20120540036 | 0.008 | Recoverable Result | 0.14856 | . | 0.135 | ug/L | 0.90872 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2012-03-29 08:00 | 20120930003 | 0.008 | Recoverable Result | 0.14856 | . | 0.136 | ug/L | 0.91546 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2011-03-24 06:30 | 20110840108 | 0.008 | Recoverable Result | 0.14909 | . | 0.129 | ug/L | 0.86527 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | ATRAZINE | 39632GCM35 | 2013-09-06 06:50 | 20132490342 | 0.008 | Recoverable Result | 0.25 | . | 0.271 | ug/L | 1.084 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | ATRAZINE | 39632GCM35 | 2014-01-09 06:30 | 20140100085 | 0.008 | Recoverable Result | 0.25 | . | 0.271 | ug/L | 1.084 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | ATRAZINE | 39632GCM35 | 2010-11-24 07:00 | 20103330007 | 0.008 | Recoverable Result | 0.28588 | . | 0.3 | ug/L | 1.0494 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2011-03-03 07:00 | 20110620082 | 0.008 | Recoverable Result | 0.295 | . | 0.311 | ug/L | 1.0543 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2010-12-16 06:30 | 20103510060 | 0.008 | Recoverable Result | 0.29535 | . | 0.284 | ug/L | 0.96156 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2011-04-28 07:00 | 20111190184 | 0.008 | Recoverable Result | 0.29565 | . | 0.325 | ug/L | 1.0993 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2011-08-04 08:00 | 20112170174 | 0.008 | Recoverable Result | 0.2968 | . | 0.318 | ug/L | 1.0714 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2011-11-29 07:00 | 20113340046 | 0.008 | Recoverable Result | 0.2968 | . | 0.258 | ug/L | 0.86927 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2012-02-09 07:00 | 20120400058 | 0.008 | Recoverable Result | 0.2968 | . | 0.318 | ug/L | 1.0714 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2012-01-26 07:00 | 20120260028 | 0.008 | Recoverable Result | 0.29712 | . | 0.31 | ug/L | 1.0433 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2012-04-12 07:00 | 20121040012 | 0.008 | Recoverable Result | 0.29712 | . | 0.299 | ug/L | 1.0063 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2011-05-19 07:30 | 20111390178 | 0.008 | Recoverable Result | 0.29912 | . | 0.318 | ug/L | 1.0631 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | ATRAZINE | 39632GCM35 | 2012-06-21 06:00 | 20121730123 | 0.008 | Recoverable Result | 0.3 | . | 0.303 | ug/L | 1.01 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | ATRAZINE | 39632GCM35 | 2012-10-30 07:00 | 20123040157 | 0.008 | Recoverable Result | 0.3 | . | 0.284 | ug/L | 0.94667 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | ATRAZINE | 39632GCM35 | 2013-08-29 06:30 | 20132420001 | 0.008 | Recoverable Result | 0.3 | . | 0.285 | ug/L | 0.95 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | ATRAZINE | 39632GCM35 | 2014-01-23 06:30 | 20140230082 | 0.008 | Recoverable Result | 0.3 | . | 0.269 | ug/L | 0.89667 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | ATRAZINE | 39632GCM35 | 2012-12-20 06:30 | 20123560092 | 0.008 | Recoverable Result | 0.3005 | . | 0.292 | ug/L | 0.97171 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | ATRAZINE | 39632GCM35 | 2013-03-21 06:30 | 20130810108 | 0.008 | Recoverable Result | 0.3005 | . | 0.28 | ug/L | 0.93178 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | ATRAZINE | 39632GCM35 | 2013-01-24 06:00 | 20130250061 | 0.008 | Recoverable Result | 0.6 | . | 0.585 | ug/L | 0.975 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | ATRAZINE | 39632GCM35 | 2012-12-06 06:30 | 20123420074 | 0.008 | Recoverable Result | 0.601 | . | 0.625 | ug/L | 1.0399 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | ATRAZINE | 39632GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.601 | . | 0.582 | ug/L | 0.96839 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl