## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-12-09 06:00 | 20103430087 | 0.042 | False Positive |  | E |  | ug/L |  | S | rcr | m | 2011-01-28 | Restek A075606: 80 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2015-11-10 06:00 | 20153160001 | 0.042 | Deleted Values |  | R |  | ug/L |  |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2011-02-17 08:30 | 20110490035 | 0.042 | SACRALT | 0.02475 | < | 0.042 | ug/L |  | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2015-07-23 06:00 | 20152040177 | 0.042 | False Negative | 0.063 | < |  | ug/L |  | Y | rcr | m | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-03-13 07:00 | 20140730138 | 0.042 | False Negative | 0.0698 | < |  | ug/L |  | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-02-20 06:30 | 20140510043 | 0.042 | False Negative | 0.0698 | < |  | ug/L |  | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2011-06-07 10:00 | 20111590005 | 0.042 | False Negative | 0.074096 | < |  | ug/L |  | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-05-16 06:00 | 20141360094 | 0.042 | False Negative | 0.0849 | < |  | ug/L |  | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-07-02 07:00 | 20141840097 | 0.042 | False Negative | 0.0849 | < |  | ug/L |  | Y | rcr | m | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-09-13 06:00 | 20122570122 | 0.042 | False Negative | 0.1 | < |  | ug/L |  | Y | rcr | m | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-07-19 06:30 | 20122020004 | 0.042 | False Negative | 0.1 | < |  | ug/L |  | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-08-01 07:00 | 20132140002 | 0.042 | False Negative | 0.1745 | < |  | ug/L |  | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-09-12 08:30 | 20132560001 | 0.042 | False Negative | 0.176 | < |  | ug/L |  | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-04-29 10:30 | 20101190091 | 0.042 | Estimated Values | 0.038782 | E | 0.0134 | ug/L | 0.34552 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-09-09 06:40 | 20102530008 | 0.042 | Estimated Values | 0.040428 | E | 0.0512 | ug/L | 1.2664 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-06-17 10:30 | 20101720149 | 0.042 | Estimated Values | 0.040547 | E | 0.0332 | ug/L | 0.81879 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2015-04-30 07:00 | 20151210037 | 0.042 | Estimated Values | 0.063 | E | 0.0341 | ug/L | 0.54127 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2015-10-22 06:00 | 20152950078 | 0.042 | Estimated Values | 0.063 | E | 0.0391 | ug/L | 0.62063 |  | rcr | m | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-05-30 07:30 | 20131510026 | 0.042 | Estimated Values | 0.0698 | E | 0.069 | ug/L | 0.98854 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-08-15 06:30 | 20132280016 | 0.042 | Estimated Values | 0.0698 | E | 0.0639 | ug/L | 0.91547 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-11-26 07:00 | 20133310030 | 0.042 | Estimated Values | 0.0698 | E | 0.0787 | ug/L | 1.1275 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-06-13 06:30 | 20131650073 | 0.042 | Estimated Values | 0.0704 | E | 0.0638 | ug/L | 0.90625 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-12-23 06:30 | 20133580036 | 0.042 | Estimated Values | 0.0704 | E | 0.0565 | ug/L | 0.80256 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-11-14 07:30 | 20133190012 | 0.042 | Estimated Values | 0.0704 | E | 0.0552 | ug/L | 0.78409 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-05-22 07:00 | 20141420140 | 0.042 | Estimated Values | 0.0849 | E | 0.0331 | ug/L | 0.38987 | Y | rcr | m | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-05-29 06:00 | 20141490205 | 0.042 | Estimated Values | 0.0849 | E | 0.0598 | ug/L | 0.70436 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-05-02 06:00 | 20131230084 | 0.042 | Estimated Values | 0.099 | E | 0.0785 | ug/L | 0.79293 | V | rcr | m | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-08-07 06:00 | 20122210006 | 0.042 | Estimated Values | 0.099 | E | 0.105 | ug/L | 1.0606 | Y | rcr | m | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2011-04-07 09:00 | 20110980030 | 0.042 | Estimated Values | 0.099483 | E | 0.0738 | ug/L | 0.74184 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-06-07 06:30 | 20121600156 | 0.042 | Estimated Values | 0.1 | E | 0.172 | ug/L | 1.72 | Y | rcr | m | 2012-06-16 | Abs 052412: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-07-11 06:30 | 20131920149 | 0.042 | Estimated Values | 0.1 | E | 0.0651 | ug/L | 0.651 | Y | rcr | m | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-03-05 06:00 | 20130650005 | 0.042 | Estimated Values | 0.1 | E | 0.0543 | ug/L | 0.543 | V | rcr | m | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-08-16 06:30 | 20122300021 | 0.042 | Estimated Values | 0.1 | E | 0.0284 | ug/L | 0.284 | V | rcr | m | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-03-27 06:30 | 20140860102 | 0.042 | Estimated Values | 0.1 | E | 0.0716 | ug/L | 0.716 | Y | rcr | m | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-10-17 06:30 | 20132910008 | 0.042 | Estimated Values | 0.1 | E | 0.0403 | ug/L | 0.403 | Y | rcr | m | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-12-05 08:00 | 20133400002 | 0.042 | Estimated Values | 0.1 | E | 0.0741 | ug/L | 0.741 | Y | rcr | m | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-11-18 09:00 | 20103230114 | 0.042 | Estimated Values | 0.1007 | E | 0.0888 | ug/L | 0.88178 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-01-21 07:00 | 20100210100 | 0.042 | Estimated Values | 0.11812 | E | 0.0703 | ug/L | 0.59516 | X | STR | m | 2010-03-24 | Accu 209081187: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-08-03 06:30 | 20102160002 | 0.042 | Estimated Values | 0.12042 | E | 0.0841 | ug/L | 0.69838 | X | str | m | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-04-01 06:30 | 20100920048 | 0.042 | Estimated Values | 0.12079 | E | 0.0792 | ug/L | 0.65571 | W | fww | m | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-02-25 06:30 | 20100570086 | 0.042 | Estimated Values | 0.12381 | E | 0.0742 | ug/L | 0.59931 | X | STR | m | 2010-05-07 | Accu 209081187: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2015-07-09 07:00 | 20151900132 | 0.042 | Estimated Values | 0.126 | E | 0.101 | ug/L | 0.80159 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2015-08-20 06:00 | 20152330039 | 0.042 | Estimated Values | 0.126 | E | 0.0957 | ug/L | 0.75952 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2015-05-07 07:00 | 20151270112 | 0.042 | Estimated Values | 0.126 | E | 0.0763 | ug/L | 0.60556 | V | rcr | m | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2015-03-12 06:00 | 20150720069 | 0.042 | Estimated Values | 0.1698 | E | 0.045 | ug/L | 0.26502 | Y | rcr | m | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-06-26 06:00 | 20141770149 | 0.042 | Estimated Values | 0.1698 | E | 0.0924 | ug/L | 0.54417 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-06-05 07:00 | 20141570088 | 0.042 | Estimated Values | 0.1698 | E | 0.0856 | ug/L | 0.50412 | Y | rcr | m | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-09-25 08:00 | 20132690010 | 0.042 | Estimated Values | 0.176 | E | 0.112 | ug/L | 0.63636 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-08-30 06:30 | 20122430227 | 0.042 | Estimated Values | 0.199 | E | 0.129 | ug/L | 0.64824 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-02-19 06:30 | 20130510051 | 0.042 | Estimated Values | 0.199 | E | 0.131 | ug/L | 0.65829 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-05-20 06:30 | 20101410006 | 0.042 | Estimated Values | 0.23933 | E | 0.0895 | ug/L | 0.37396 | W | c3L | m | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-09-02 06:30 | 20102500051 | 0.042 | Estimated Values | 0.24004 | E | 0.158 | ug/L | 0.65822 | X | str | m | 2010-12-14 | Accu 209081187: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2010-06-24 06:30 | 20101760006 | 0.042 | Estimated Values | 0.24143 | E | 0.176 | ug/L | 0.72899 | S | c3L | m | 2010-09-09 | Accu 209081187: 40 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-10-30 07:00 | 20123040157 | 0.042 | Estimated Values | 0.2475 | E | 0.215 | ug/L | 0.86869 | V | rcr | m | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-09-27 07:00 | 20122720048 | 0.042 | Estimated Values | 0.25 | E | 0.131 | ug/L | 0.524 | V | rcr | m | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-10-10 07:00 | 20122850005 | 0.042 | Estimated Values | 0.25 | E | 0.16 | ug/L | 0.64 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-01-10 06:00 | 20130100066 | 0.042 | Estimated Values | 0.25 | E | 0.219 | ug/L | 0.876 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-12-20 06:30 | 20123560092 | 0.042 | Estimated Values | 0.25 | E | 0.157 | ug/L | 0.628 | Y | rcr | m | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-08-29 06:30 | 20132420001 | 0.042 | Estimated Values | 0.25 | E | 0.14 | ug/L | 0.56 | Y | rcr | m | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-01-23 06:30 | 20140230082 | 0.042 | Estimated Values | 0.25 | E | 0.161 | ug/L | 0.644 | Y | rcr | m | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2014-01-09 06:30 | 20140100085 | 0.042 | Estimated Values | 0.352 | E | 0.235 | ug/L | 0.66761 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-01-24 06:00 | 20130250061 | 0.042 | Estimated Values | 0.495 | E | 0.318 | ug/L | 0.64242 | Y | rcr | m | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-12-06 06:30 | 20123420074 | 0.042 | Estimated Values | 0.495 | E | 0.289 | ug/L | 0.58384 | V | rcr | m | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2013-04-04 06:30 | 20130940097 | 0.042 | Estimated Values | 0.5 | E | 0.145 | ug/L | 0.29 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | AZINPHOS-METHYL-OXON | 61635GCM39 | 2012-11-20 06:30 | 20123260037 | 0.042 | Estimated Values | 1 | E | 0.722 | ug/L | 0.722 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl