## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-02-17 08:30 | 20110490035 | 0.12 | Estimated Values | 0.02475 | E | 0.031 | ug/L | 1.2525 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-04-29 10:30 | 20101190091 | 0.12 | Estimated Values | 0.038782 | E | 0.024 | ug/L | 0.61884 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-09-09 06:40 | 20102530008 | 0.12 | Estimated Values | 0.040428 | E | 0.051 | ug/L | 1.2615 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-06-17 10:30 | 20101720149 | 0.12 | Estimated Values | 0.040547 | E | 0.046 | ug/L | 1.1345 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-06-07 10:00 | 20111590005 | 0.12 | Estimated Values | 0.074096 | E | 0.046 | ug/L | 0.62082 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-04-07 09:00 | 20110980030 | 0.12 | Estimated Values | 0.099483 | E | 0.084 | ug/L | 0.84437 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-11-18 09:00 | 20103230114 | 0.12 | Estimated Values | 0.1007 | E | 0.104 | ug/L | 1.0327 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-05-02 06:00 | 20131230084 | 0.12 | Estimated Values | 0.1194 | E | 0.118 | ug/L | 0.98827 | V | rcr | m | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-08-07 06:00 | 20122210006 | 0.12 | Estimated Values | 0.1194 | E | 0.107 | ug/L | 0.89615 | Y | rcr | m | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-08-30 06:30 | 20122430227 | 0.12 | Estimated Values | 0.1194 | E | 0.109 | ug/L | 0.9129 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-02-19 06:30 | 20130510051 | 0.12 | Estimated Values | 0.1194 | E | 0.112 | ug/L | 0.93802 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-07-11 06:30 | 20131920149 | 0.12 | Estimated Values | 0.1204 | E | 0.089 | ug/L | 0.7392 | Y | rcr | m | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-03-27 06:30 | 20140860102 | 0.12 | Estimated Values | 0.1204 | E | 0.082 | ug/L | 0.68106 | Y | rcr | m | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-06-07 06:30 | 20121600156 | 0.12 | Estimated Values | 0.1206 | E | 0.149 | ug/L | 1.2355 | Y | rcr | m | 2012-06-16 | Abs 052412: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-09-13 06:00 | 20122570122 | 0.12 | Estimated Values | 0.1206 | E | 0.057 | ug/L | 0.47264 | Y | rcr | m | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-03-05 06:00 | 20130650005 | 0.12 | Estimated Values | 0.1206 | E | 0.077 | ug/L | 0.63847 | V | rcr | m | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-07-19 06:30 | 20122020004 | 0.12 | Estimated Values | 0.1206 | E | 0.124 | ug/L | 1.0282 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-10-17 06:30 | 20132910008 | 0.12 | Estimated Values | 0.1206 | E | 0.06 | ug/L | 0.49751 | Y | rcr | m | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-12-05 08:00 | 20133400002 | 0.12 | Estimated Values | 0.1206 | E | 0.091 | ug/L | 0.75456 | Y | rcr | m | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-01-21 07:00 | 20100210100 | 0.12 | Estimated Values | 0.15352 | E | 0.13 | ug/L | 0.84682 | X | STR | m | 2010-03-24 | Accu 209081187: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-10-21 07:30 | 20102950072 | 0.12 | Estimated Values | 0.15593 | E | 0.119 | ug/L | 0.76316 | X | str | m | 2011-01-09 | Restek A075606: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-08-03 06:30 | 20102160002 | 0.12 | Estimated Values | 0.15855 | E | 0.13 | ug/L | 0.81991 | X | str | m | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-04-01 06:30 | 20100920048 | 0.12 | Estimated Values | 0.15903 | E | 0.055 | ug/L | 0.34584 | W | fww | m | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-11-10 07:30 | 20103140135 | 0.12 | Estimated Values | 0.15995 | E | 0.141 | ug/L | 0.88151 | V | rcr | m | 2011-01-18 | Supelco LB77168: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-03-17 08:00 | 20110770001 | 0.12 | Estimated Values | 0.1603 | E | 0.123 | ug/L | 0.76729 | X | str | m | 2011-03-30 | Supelco LB77168: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-07-21 07:30 | 20112030057 | 0.12 | Estimated Values | 0.16036 | E | 0.12 | ug/L | 0.74832 | V | rcr | m | 2011-08-17 | Restek A075606: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-11-22 07:30 | 20113260111 | 0.12 | Estimated Values | 0.16036 | E | 0.148 | ug/L | 0.92292 | V | rcr | m | 2011-12-04 | Restek A075606: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-02-02 12:10 | 20120370001 | 0.12 | Estimated Values | 0.16036 | E | 0.15 | ug/L | 0.9354 | V | rcr | m | 2012-02-14 | Restek A075606: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-07-07 06:30 | 20111890005 | 0.12 | Estimated Values | 0.1604 | E | 0.103 | ug/L | 0.64214 | X | str | m | 2011-07-20 | Supelco LB77168: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-09-01 07:30 | 20112450022 | 0.12 | Estimated Values | 0.1604 | E | 0.151 | ug/L | 0.9414 | Y | rcr | m | 2011-09-24 | Supelco LB77168: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-12-15 07:30 | 20113500021 | 0.12 | Estimated Values | 0.1604 | E | 0.131 | ug/L | 0.81671 | V | rcr | m | 2011-12-22 | Supelco LB77168: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-03-01 07:30 | 20120620015 | 0.12 | Estimated Values | 0.1604 | E | 0.145 | ug/L | 0.90399 | X | rcr | m | 2012-03-09 | Supelco LB77168: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-02-25 06:30 | 20100570086 | 0.12 | Estimated Values | 0.16091 | E | 0.137 | ug/L | 0.85141 | X | STR | m | 2010-05-07 | Accu 209081187: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-04-14 07:30 | 20111050150 | 0.12 | Estimated Values | 0.16193 | E | 0.158 | ug/L | 0.97573 | V | rcr | m | 2011-04-23 | Restek A075606: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-05-12 07:00 | 20111330148 | 0.12 | Estimated Values | 0.16317 | E | 0.176 | ug/L | 1.0786 | V | rcr | m | 2011-05-25 | Supelco LB77168: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-02-24 08:00 | 20110560005 | 0.12 | Estimated Values | 0.16327 | E | 0.123 | ug/L | 0.75337 | V | rcr | m | 2011-03-08 | Restek A075606: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-06-25 06:00 | 20151760208 | 0.12 | Estimated Values | 0.18 | E | 0.096 | ug/L | 0.53333 | V | rcr | m | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-11-10 06:00 | 20153160001 | 0.12 | Estimated Values | 0.18 | E | 0.113 | ug/L | 0.62778 |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-04-30 07:00 | 20151210037 | 0.12 | Estimated Values | 0.1806 | E | 0.108 | ug/L | 0.59801 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-10-22 06:00 | 20152950078 | 0.12 | Estimated Values | 0.1806 | E | 0.107 | ug/L | 0.59247 |  | rcr | m | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-07-23 06:00 | 20152040177 | 0.12 | Estimated Values | 0.1806 | E | 0.109 | ug/L | 0.60354 | Y | rcr | m | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-05-30 07:30 | 20131510026 | 0.12 | Estimated Values | 0.1978 | E | 0.145 | ug/L | 0.73306 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-08-15 06:30 | 20132280016 | 0.12 | Estimated Values | 0.1978 | E | 0.185 | ug/L | 0.93529 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-11-26 07:00 | 20133310030 | 0.12 | Estimated Values | 0.1978 | E | 0.223 | ug/L | 1.1274 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-03-13 07:00 | 20140730138 | 0.12 | Estimated Values | 0.1978 | E | 0.126 | ug/L | 0.63701 | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-02-20 06:30 | 20140510043 | 0.12 | Estimated Values | 0.1978 | E | 0.102 | ug/L | 0.51567 | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-06-13 06:30 | 20131650073 | 0.12 | Estimated Values | 0.2012 | E | 0.218 | ug/L | 1.0835 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-12-23 06:30 | 20133580036 | 0.12 | Estimated Values | 0.2012 | E | 0.126 | ug/L | 0.62624 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-11-14 07:30 | 20133190012 | 0.12 | Estimated Values | 0.2012 | E | 0.198 | ug/L | 0.9841 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-08-07 07:00 | 20142200164 | 0.12 | Estimated Values | 0.2397 | E | 0.128 | ug/L | 0.534 | Y | rcr | m | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-10-09 06:00 | 20142820151 | 0.12 | Estimated Values | 0.2397 | E | 0.154 | ug/L | 0.64247 | Y | rcr | m | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-09-03 06:00 | 20142470041 | 0.12 | Estimated Values | 0.2397 | E | 0.146 | ug/L | 0.60909 | Y | rcr | m | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-12-03 06:00 | 20143370094 | 0.12 | Estimated Values | 0.2397 | E | 0.133 | ug/L | 0.55486 | Y | rcr | m | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-05-22 07:00 | 20141420140 | 0.12 | Estimated Values | 0.2439 | E | 0.194 | ug/L | 0.79541 | Y | rcr | m | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-05-29 06:00 | 20141490205 | 0.12 | Estimated Values | 0.2439 | E | 0.174 | ug/L | 0.71341 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-05-16 06:00 | 20141360094 | 0.12 | Estimated Values | 0.2439 | E | 0.112 | ug/L | 0.4592 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-07-02 07:00 | 20141840097 | 0.12 | Estimated Values | 0.2439 | E | 0.101 | ug/L | 0.4141 | Y | rcr | m | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-10-30 07:00 | 20123040157 | 0.12 | Estimated Values | 0.2985 | E | 0.255 | ug/L | 0.85427 | V | rcr | m | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-08-29 06:30 | 20132420001 | 0.12 | Estimated Values | 0.301 | E | 0.213 | ug/L | 0.70764 | Y | rcr | m | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-01-23 06:30 | 20140230082 | 0.12 | Estimated Values | 0.301 | E | 0.189 | ug/L | 0.62791 | Y | rcr | m | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-10-10 07:00 | 20122850005 | 0.12 | Estimated Values | 0.3015 | E | 0.216 | ug/L | 0.71642 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-01-10 06:00 | 20130100066 | 0.12 | Estimated Values | 0.3015 | E | 0.261 | ug/L | 0.86567 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-04-04 06:30 | 20130940097 | 0.12 | Estimated Values | 0.3015 | E | 0.151 | ug/L | 0.50083 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-01-13 06:30 | 20110130056 | 0.12 | Estimated Values | 0.30962 | E | 0.205 | ug/L | 0.6621 | V | rcr | m | 2011-02-09 | Supelco LB77168: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-09-02 06:30 | 20102500051 | 0.12 | Estimated Values | 0.31197 | E | 0.253 | ug/L | 0.81097 | X | str | m | 2010-12-14 | Accu 209081187: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-06-24 06:30 | 20101760006 | 0.12 | Estimated Values | 0.31378 | E | 0.25 | ug/L | 0.79674 | S | c3L | m | 2010-09-09 | Accu 209081187: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-05-20 06:30 | 20101410006 | 0.12 | Estimated Values | 0.31512 | E | 0.171 | ug/L | 0.54265 | W | c3L | m | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-06-02 07:30 | 20111540007 | 0.12 | Estimated Values | 0.3161 | E | 0.299 | ug/L | 0.94589 | V | rcr | m | 2011-06-20 | Restek A075606: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-08-10 08:00 | 20112220126 | 0.12 | Estimated Values | 0.32072 | E | 0.178 | ug/L | 0.555 | V | rcr | m | 2011-09-01 | Restek A075606: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-08-18 08:46 | 20112310032 | 0.12 | Estimated Values | 0.32072 | E | 0.123 | ug/L | 0.38351 | Y | rcr | m | 2011-09-13 | Restek A075606: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-10-20 07:00 | 20112930085 | 0.12 | Estimated Values | 0.32072 | E | 0.25 | ug/L | 0.7795 | X | str | m | 2011-11-01 | Restek A075606: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-05-10 06:30 | 20121310027 | 0.12 | Estimated Values | 0.32072 | E | 0.331 | ug/L | 1.0321 | Y | rcr | m | 2012-05-15 | Restek A075606: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-06-29 07:00 | 20111810004 | 0.12 | Estimated Values | 0.3208 | E | 0.196 | ug/L | 0.61097 | X | str | m | 2011-07-14 | Supelco LB77168: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-09-15 07:30 | 20112590005 | 0.12 | Estimated Values | 0.3208 | E | 0.175 | ug/L | 0.54551 | V | rcr | m | 2011-10-02 | Supelco LB77168: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2011-11-09 07:00 | 20113130085 | 0.12 | Estimated Values | 0.3208 | E | 0.239 | ug/L | 0.74501 | X | str | m | 2011-11-17 | Supelco LB77168: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2010-12-09 06:00 | 20103430087 | 0.12 | Estimated Values | 0.32262 | E | 0.238 | ug/L | 0.7377 | S | rcr | m | 2011-01-28 | Restek A075606: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-12-09 06:00 | 20153440001 | 0.12 | Estimated Values | 0.36 | E | 0.222 | ug/L | 0.61667 |  | rcr | m | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-07-09 07:00 | 20151900132 | 0.12 | Estimated Values | 0.3612 | E | 0.215 | ug/L | 0.59524 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-08-20 06:00 | 20152330039 | 0.12 | Estimated Values | 0.3612 | E | 0.228 | ug/L | 0.63123 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-05-07 07:00 | 20151270112 | 0.12 | Estimated Values | 0.3612 | E | 0.219 | ug/L | 0.60631 | V | rcr | m | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-10-23 06:00 | 20142960086 | 0.12 | Estimated Values | 0.4794 | E | 0.255 | ug/L | 0.53191 | Y | rcr | m | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-11-19 06:00 | 20143240095 | 0.12 | Estimated Values | 0.4794 | E | 0.381 | ug/L | 0.79474 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-02-12 06:00 | 20150430092 | 0.12 | Estimated Values | 0.4794 | E | 0.306 | ug/L | 0.6383 | Y | rcr | m | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-09-10 06:00 | 20142530087 | 0.12 | Estimated Values | 0.4794 | E | 0.204 | ug/L | 0.42553 | Y | rcr | m | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-03-12 06:00 | 20150720069 | 0.12 | Estimated Values | 0.4878 | E | 0.37 | ug/L | 0.75851 | Y | rcr | m | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-06-26 06:00 | 20141770149 | 0.12 | Estimated Values | 0.4878 | E | 0.276 | ug/L | 0.56581 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-06-05 07:00 | 20141570088 | 0.12 | Estimated Values | 0.4878 | E | 0.362 | ug/L | 0.74211 | Y | rcr | m | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-08-01 07:00 | 20132140002 | 0.12 | Estimated Values | 0.4945 | E | 0.281 | ug/L | 0.56825 | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-09-12 08:30 | 20132560001 | 0.12 | Estimated Values | 0.503 | E | 0.277 | ug/L | 0.5507 | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-09-25 08:00 | 20132690010 | 0.12 | Estimated Values | 0.503 | E | 0.391 | ug/L | 0.77734 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2013-01-24 06:00 | 20130250061 | 0.12 | Estimated Values | 0.597 | E | 0.493 | ug/L | 0.8258 | Y | rcr | m | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-12-06 06:30 | 20123420074 | 0.12 | Estimated Values | 0.597 | E | 0.481 | ug/L | 0.8057 | V | rcr | m | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2012-11-20 06:30 | 20123260037 | 0.12 | Estimated Values | 0.603 | E | 0.537 | ug/L | 0.89055 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-09-03 06:00 | 20152460215 | 0.12 | Estimated Values | 0.72 | E | 0.43 | ug/L | 0.59722 |  | rcr | m | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2015-10-01 06:00 | 20152750006 | 0.12 | Estimated Values | 0.72 | E | 0.408 | ug/L | 0.56667 |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | AZINPHOS-METHYL | 82686GCM35 | 2014-01-09 06:30 | 20140100085 | 0.12 | Estimated Values | 1.006 | E | 0.966 | ug/L | 0.96024 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl