## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | BENFLURALIN | 82673GCM35 | 2014-01-09 06:30 | 20140100085 | 0.014 | False Positive |  | . |  | ug/L |  | Y | rcr | n | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-08-30 06:30 | 20122430227 | 0.014 | Recoverable Result | 0.02 | . | 0.0177 | ug/L | 0.885 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-02-19 06:30 | 20130510051 | 0.014 | Recoverable Result | 0.02 | . | 0.0194 | ug/L | 0.97 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-08-16 06:30 | 20122300021 | 0.014 | Recoverable Result | 0.02 | . | 0.0193 | ug/L | 0.965 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-07-19 06:30 | 20122020004 | 0.014 | Recoverable Result | 0.02 | . | 0.0194 | ug/L | 0.97 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-07-03 08:00 | 20121870008 | 0.014 | Recoverable Result | 0.02 | . | 0.018 | ug/L | 0.9 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-02-07 06:30 | 20130390105 | 0.014 | Recoverable Result | 0.02 | . | 0.0129 | ug/L | 0.645 | V | rcr | n | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-07-23 06:00 | 20152040177 | 0.014 | Recoverable Result | 0.021 | . | 0.0222 | ug/L | 1.0571 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-08-06 06:00 | 20152190003 | 0.014 | Recoverable Result | 0.021 | . | 0.0116 | ug/L | 0.55238 |  | rcr | n | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-10-22 06:00 | 20152950078 | 0.014 | Recoverable Result | 0.022 | . | 0.0112 | ug/L | 0.50909 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-06-25 06:00 | 20151760208 | 0.014 | Recoverable Result | 0.022 | . | 0.0176 | ug/L | 0.8 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-10-29 06:00 | 20153030068 | 0.014 | Recoverable Result | 0.022 | . | 0.0164 | ug/L | 0.74545 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-02-17 08:30 | 20110490035 | 0.014 | Recoverable Result | 0.02475 | . | 0.0254 | ug/L | 1.0263 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-04-17 06:00 | 20141080004 | 0.014 | Recoverable Result | 0.0279 | . | 0.0215 | ug/L | 0.77061 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-01-15 06:00 | 20150150115 | 0.014 | Recoverable Result | 0.0279 | . | 0.022 | ug/L | 0.78853 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-05-29 06:00 | 20141490205 | 0.014 | Recoverable Result | 0.0279 | . | 0.0227 | ug/L | 0.81362 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-10-09 06:00 | 20142820151 | 0.014 | Recoverable Result | 0.0279 | . | 0.0222 | ug/L | 0.7957 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-05-16 06:00 | 20141360094 | 0.014 | Recoverable Result | 0.02793 | . | 0.0207 | ug/L | 0.74114 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-09-03 06:00 | 20142470041 | 0.014 | Recoverable Result | 0.02793 | . | 0.0219 | ug/L | 0.7841 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-06-12 06:00 | 20141640076 | 0.014 | Recoverable Result | 0.02793 | . | 0.0193 | ug/L | 0.69101 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-07-10 06:00 | 20141910243 | 0.014 | Recoverable Result | 0.02793 | . | 0.0172 | ug/L | 0.61583 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-05-30 07:30 | 20131510026 | 0.014 | Recoverable Result | 0.0298 | . | 0.0242 | ug/L | 0.81208 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-06-27 06:30 | 20131790009 | 0.014 | Recoverable Result | 0.0298 | . | 0.0168 | ug/L | 0.56376 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-12-23 06:30 | 20133580036 | 0.014 | Recoverable Result | 0.0298 | . | 0.0193 | ug/L | 0.64765 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-12-12 06:30 | 20133470008 | 0.014 | Recoverable Result | 0.03008 | . | 0.022 | ug/L | 0.73138 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-10-31 06:30 | 20133050050 | 0.014 | Recoverable Result | 0.03008 | . | 0.0261 | ug/L | 0.86769 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-11-14 07:30 | 20133190012 | 0.014 | Recoverable Result | 0.03008 | . | 0.0334 | ug/L | 1.1104 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-02-20 06:30 | 20140510043 | 0.014 | Recoverable Result | 0.03008 | . | 0.0261 | ug/L | 0.86769 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-04-29 10:30 | 20101190091 | 0.014 | Recoverable Result | 0.038782 | . | 0.0312 | ug/L | 0.80449 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-09-09 06:40 | 20102530008 | 0.014 | Recoverable Result | 0.040428 | . | 0.0379 | ug/L | 0.93746 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-06-17 10:30 | 20101720149 | 0.014 | Recoverable Result | 0.040547 | . | 0.038 | ug/L | 0.93717 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-12-09 06:00 | 20153440001 | 0.014 | Recoverable Result | 0.042 | . | 0.0284 | ug/L | 0.67619 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-12-17 06:00 | 20153510109 | 0.014 | Recoverable Result | 0.042 | . | 0.0281 | ug/L | 0.66905 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-06-04 07:00 | 20151550293 | 0.014 | Recoverable Result | 0.044 | . | 0.0313 | ug/L | 0.71136 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-05-07 07:00 | 20151270112 | 0.014 | Recoverable Result | 0.044 | . | 0.027 | ug/L | 0.61364 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-03-10 06:30 | 20110690078 | 0.014 | Recoverable Result | 0.047022 | . | 0.0409 | ug/L | 0.86981 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-11-30 07:00 | 20103350003 | 0.014 | Recoverable Result | 0.047899 | . | 0.0481 | ug/L | 1.0042 | W | c3L |  | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-08-25 10:00 | 20112380055 | 0.014 | Recoverable Result | 0.048 | . | 0.0377 | ug/L | 0.78542 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-11-03 07:00 | 20113080001 | 0.014 | Recoverable Result | 0.048 | . | 0.0396 | ug/L | 0.825 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-03-22 06:30 | 20120830077 | 0.014 | Recoverable Result | 0.048 | . | 0.0462 | ug/L | 0.9625 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-05-24 07:00 | 20121460001 | 0.014 | Recoverable Result | 0.048 | . | 0.0429 | ug/L | 0.89375 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-04-08 06:30 | 20100990014 | 0.014 | Recoverable Result | 0.048193 | . | 0.0409 | ug/L | 0.84867 | X | STR |  | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-01-27 06:30 | 20110280004 | 0.014 | Recoverable Result | 0.048217 | . | 0.0377 | ug/L | 0.78188 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-08-26 06:30 | 20102390088 | 0.014 | Recoverable Result | 0.04849 | . | 0.0346 | ug/L | 0.71355 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-05-05 07:30 | 20111260154 | 0.014 | Recoverable Result | 0.048529 | . | 0.0412 | ug/L | 0.84898 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-03-11 06:30 | 20100710178 | 0.014 | Recoverable Result | 0.048756 | . | 0.0366 | ug/L | 0.75068 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-07-21 06:30 | 20102030005 | 0.014 | Recoverable Result | 0.04899 | . | 0.0427 | ug/L | 0.87161 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-01-06 07:00 | 20110070109 | 0.014 | Recoverable Result | 0.049053 | . | 0.0382 | ug/L | 0.77874 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-09-27 07:00 | 20122720048 | 0.014 | Recoverable Result | 0.05 | . | 0.044 | ug/L | 0.88 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-07-14 08:00 | 20111960039 | 0.014 | Recoverable Result | 0.05 | . | 0.0485 | ug/L | 0.97 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-10-13 07:30 | 20112870073 | 0.014 | Recoverable Result | 0.05 | . | 0.0389 | ug/L | 0.778 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-02-16 07:30 | 20120470078 | 0.014 | Recoverable Result | 0.05 | . | 0.04 | ug/L | 0.8 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-04-26 07:00 | 20121180062 | 0.014 | Recoverable Result | 0.05 | . | 0.0532 | ug/L | 1.064 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-10-10 07:00 | 20122850005 | 0.014 | Recoverable Result | 0.05 | . | 0.0385 | ug/L | 0.77 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-01-10 06:00 | 20130100066 | 0.014 | Recoverable Result | 0.05 | . | 0.0429 | ug/L | 0.858 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-04-04 06:30 | 20130940097 | 0.014 | Recoverable Result | 0.05 | . | 0.0382 | ug/L | 0.764 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-12-20 06:30 | 20123560092 | 0.014 | Recoverable Result | 0.05 | . | 0.0328 | ug/L | 0.656 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-03-21 06:30 | 20130810108 | 0.014 | Recoverable Result | 0.05 | . | 0.0321 | ug/L | 0.642 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-03-31 07:30 | 20110910084 | 0.014 | Recoverable Result | 0.050302 | . | 0.0423 | ug/L | 0.84092 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-05-26 07:30 | 20111470065 | 0.014 | Recoverable Result | 0.050536 | . | 0.0421 | ug/L | 0.83307 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-08-14 06:00 | 20142270001 | 0.014 | Recoverable Result | 0.0558 | . | 0.0296 | ug/L | 0.53047 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-05-01 06:00 | 20141220025 | 0.014 | Recoverable Result | 0.0558 | . | 0.0431 | ug/L | 0.7724 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-11-19 06:00 | 20143240095 | 0.014 | Recoverable Result | 0.0558 | . | 0.0487 | ug/L | 0.87276 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-11-06 06:00 | 20143110108 | 0.014 | Recoverable Result | 0.05586 | . | 0.0366 | ug/L | 0.65521 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-06-26 06:00 | 20141770149 | 0.014 | Recoverable Result | 0.05586 | . | 0.0383 | ug/L | 0.68564 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-02-12 06:00 | 20150430092 | 0.014 | Recoverable Result | 0.05586 | . | 0.0404 | ug/L | 0.72324 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-09-25 06:00 | 20142720002 | 0.014 | Recoverable Result | 0.05586 | . | 0.0337 | ug/L | 0.60329 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-08-18 08:47 | 20112310030 | 0.014 | Recoverable Result | 0.0596 | . | 0.066 | ug/L | 1.1074 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-06-07 10:00 | 20111590005 | 0.014 | Recoverable Result | 0.074096 | . | 0.055 | ug/L | 0.74228 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | BENFLURALIN | 82673GCM35 | 2014-02-06 06:30 | 20140370077 | 0.014 | Recoverable Result | 0.0745 | . | 0.0381 | ug/L | 0.51141 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-09-12 08:30 | 20132560001 | 0.014 | Recoverable Result | 0.0745 | . | 0.0637 | ug/L | 0.85503 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-08-01 07:00 | 20132140002 | 0.014 | Recoverable Result | 0.0752 | . | 0.0571 | ug/L | 0.75931 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-05-16 07:00 | 20131370001 | 0.014 | Recoverable Result | 0.0752 | . | 0.0597 | ug/L | 0.79388 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-09-17 06:00 | 20152610011 | 0.014 | Recoverable Result | 0.084 | . | 0.0558 | ug/L | 0.66429 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2015-09-03 06:00 | 20152460215 | 0.014 | Recoverable Result | 0.084 | . | 0.0484 | ug/L | 0.57619 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-10-14 07:30 | 20102880001 | 0.014 | Recoverable Result | 0.095078 | . | 0.0882 | ug/L | 0.92766 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-06-23 07:00 | 20111750006 | 0.014 | Recoverable Result | 0.096 | . | 0.0798 | ug/L | 0.83125 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-09-08 07:30 | 20112520209 | 0.014 | Recoverable Result | 0.096 | . | 0.0758 | ug/L | 0.78958 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-12-13 07:30 | 20113490056 | 0.014 | Recoverable Result | 0.096 | . | 0.0966 | ug/L | 1.0063 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-01-19 07:00 | 20120200073 | 0.014 | Recoverable Result | 0.096 | . | 0.0811 | ug/L | 0.84479 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-06-10 06:30 | 20101650033 | 0.014 | Recoverable Result | 0.098139 | . | 0.082 | ug/L | 0.83555 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-09-16 06:30 | 20102630169 | 0.014 | Recoverable Result | 0.098644 | . | 0.0682 | ug/L | 0.69138 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-02-10 07:00 | 20110410061 | 0.014 | Recoverable Result | 0.099414 | . | 0.0703 | ug/L | 0.70715 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-11-04 07:30 | 20103080116 | 0.014 | Recoverable Result | 0.099453 | . | 0.0846 | ug/L | 0.85065 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-04-07 09:00 | 20110980030 | 0.014 | Estimated Values | 0.099483 | E | 0.0862 | ug/L | 0.86648 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | BENFLURALIN | 82673GCM35 | 2011-11-17 07:00 | 20113220198 | 0.014 | Recoverable Result | 0.1 | . | 0.0659 | ug/L | 0.659 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-11-20 06:30 | 20123260037 | 0.014 | Recoverable Result | 0.1 | . | 0.0818 | ug/L | 0.818 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | BENFLURALIN | 82673GCM35 | 2012-11-08 06:30 | 20123140095 | 0.014 | Recoverable Result | 0.1 | . | 0.0616 | ug/L | 0.616 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-11-18 09:00 | 20103230114 | 0.014 | Recoverable Result | 0.1007 | . | 0.0878 | ug/L | 0.87185 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | BENFLURALIN | 82673GCM35 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.149 | . | 0.0878 | ug/L | 0.58926 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | BENFLURALIN | 82673GCM35 | 2010-05-13 06:30 | 20101340154 | 0.014 | Recoverable Result | 0.24242 | . | 0.171 | ug/L | 0.70538 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl