## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | CARBOFURAN | 82674GCM35 | 2011-02-17 08:30 | 20110490035 | 0.06 | Estimated Values | 0.02475 | E | 0.0342 | ug/L | 1.3818 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-04-29 10:30 | 20101190091 | 0.06 | Estimated Values | 0.038782 | E | 0.043 | ug/L | 1.1088 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-09-09 06:40 | 20102530008 | 0.06 | Estimated Values | 0.040428 | E | 0.0586 | ug/L | 1.4495 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-06-17 10:30 | 20101720149 | 0.06 | Estimated Values | 0.040547 | E | 0.0558 | ug/L | 1.3762 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-06-07 10:00 | 20111590005 | 0.06 | Estimated Values | 0.074096 | E | 0.0794 | ug/L | 1.0716 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-10-21 07:30 | 20102950072 | 0.06 | Estimated Values | 0.088681 | E | 0.0985 | ug/L | 1.1107 | X | str | m | 2011-01-09 | Restek A075606: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-05-30 07:30 | 20131510026 | 0.06 | Estimated Values | 0.0896 | E | 0.0791 | ug/L | 0.88281 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-08-15 06:30 | 20132280016 | 0.06 | Estimated Values | 0.0896 | E | 0.0973 | ug/L | 1.0859 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-11-26 07:00 | 20133310030 | 0.06 | Estimated Values | 0.0896 | E | 0.0946 | ug/L | 1.0558 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-03-13 07:00 | 20140730138 | 0.06 | Estimated Values | 0.0896 | E | 0.0512 | ug/L | 0.57143 | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-02-20 06:30 | 20140510043 | 0.06 | Estimated Values | 0.0896 | E | 0.078 | ug/L | 0.87054 | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-01-21 07:00 | 20100210100 | 0.06 | Estimated Values | 0.089958 | E | 0.105 | ug/L | 1.1672 | X | STR | m | 2010-03-24 | Accu 209081187: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-04-30 07:00 | 20151210037 | 0.06 | Estimated Values | 0.09 | E | 0.0853 | ug/L | 0.94778 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-10-29 06:00 | 20153030068 | 0.06 | Estimated Values | 0.09 | E | 0.0682 | ug/L | 0.75778 |  | rcr | m | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-08-06 06:00 | 20152190003 | 0.06 | Estimated Values | 0.09 | E | 0.0593 | ug/L | 0.65889 |  | rcr | m | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-11-10 06:00 | 20153160001 | 0.06 | Estimated Values | 0.09 | E | 0.0602 | ug/L | 0.66889 |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-06-13 06:30 | 20131650073 | 0.06 | Estimated Values | 0.0902 | E | 0.112 | ug/L | 1.2417 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-12-23 06:30 | 20133580036 | 0.06 | Estimated Values | 0.0902 | E | 0.0823 | ug/L | 0.91242 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-11-14 07:30 | 20133190012 | 0.06 | Estimated Values | 0.0902 | E | 0.0963 | ug/L | 1.0676 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-08-03 06:30 | 20102160002 | 0.06 | Estimated Values | 0.090316 | E | 0.0964 | ug/L | 1.0674 | X | str | m | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-04-01 06:30 | 20100920048 | 0.06 | Estimated Values | 0.090589 | E | 0.076 | ug/L | 0.83896 | W | fww | m | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-11-10 07:30 | 20103140135 | 0.06 | Estimated Values | 0.090945 | E | 0.0977 | ug/L | 1.0743 | V | rcr | m | 2011-01-18 | Supelco LB77168: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-03-17 08:00 | 20110770001 | 0.06 | Estimated Values | 0.091145 | E | 0.0882 | ug/L | 0.96769 | X | str | m | 2011-03-30 | Supelco LB77168: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-07-21 07:30 | 20112030057 | 0.06 | Estimated Values | 0.0912 | E | 0.0989 | ug/L | 1.0844 | V | rcr | m | 2011-08-17 | Restek A075606: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-11-22 07:30 | 20113260111 | 0.06 | Estimated Values | 0.0912 | E | 0.101 | ug/L | 1.1075 | V | rcr | m | 2011-12-04 | Restek A075606: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-02-02 12:10 | 20120370001 | 0.06 | Estimated Values | 0.0912 | E | 0.0968 | ug/L | 1.0614 | V | rcr | m | 2012-02-14 | Restek A075606: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-07-07 06:30 | 20111890005 | 0.06 | Estimated Values | 0.0912 | E | 0.105 | ug/L | 1.1513 | X | str | m | 2011-07-20 | Supelco LB77168: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-09-01 07:30 | 20112450022 | 0.06 | Estimated Values | 0.0912 | E | 0.103 | ug/L | 1.1294 | Y | rcr | m | 2011-09-24 | Supelco LB77168: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-12-15 07:30 | 20113500021 | 0.06 | Estimated Values | 0.0912 | E | 0.121 | ug/L | 1.3268 | V | rcr | m | 2011-12-22 | Supelco LB77168: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-03-01 07:30 | 20120620015 | 0.06 | Estimated Values | 0.0912 | E | 0.0922 | ug/L | 1.011 | X | rcr | m | 2012-03-09 | Supelco LB77168: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-04-14 07:30 | 20111050150 | 0.06 | Estimated Values | 0.092093 | E | 0.105 | ug/L | 1.1401 | V | rcr | m | 2011-04-23 | Restek A075606: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-05-12 07:00 | 20111330148 | 0.06 | Estimated Values | 0.092777 | E | 0.106 | ug/L | 1.1425 | V | rcr | m | 2011-05-25 | Supelco LB77168: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-02-24 08:00 | 20110560005 | 0.06 | Estimated Values | 0.092853 | E | 0.107 | ug/L | 1.1524 | V | rcr | m | 2011-03-08 | Restek A075606: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-02-25 06:30 | 20100570086 | 0.06 | Estimated Values | 0.094291 | E | 0.115 | ug/L | 1.2196 | X | STR | m | 2010-05-07 | Accu 209081187: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-04-07 09:00 | 20110980030 | 0.06 | Estimated Values | 0.099483 | E | 0.0998 | ug/L | 1.0032 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-05-02 06:00 | 20131230084 | 0.06 | Estimated Values | 0.0996 | E | 0.116 | ug/L | 1.1647 | V | rcr | m | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-08-07 06:00 | 20122210006 | 0.06 | Estimated Values | 0.0996 | E | 0.102 | ug/L | 1.0241 | Y | rcr | m | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-08-30 06:30 | 20122430227 | 0.06 | Estimated Values | 0.0996 | E | 0.113 | ug/L | 1.1345 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-02-19 06:30 | 20130510051 | 0.06 | Estimated Values | 0.0996 | E | 0.091 | ug/L | 0.91365 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-07-11 06:30 | 20131920149 | 0.06 | Estimated Values | 0.1002 | E | 0.0918 | ug/L | 0.91617 | Y | rcr | m | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-03-27 06:30 | 20140860102 | 0.06 | Estimated Values | 0.1002 | E | 0.0823 | ug/L | 0.82136 | Y | rcr | m | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-11-18 09:00 | 20103230114 | 0.06 | Estimated Values | 0.1007 | E | 0.114 | ug/L | 1.132 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-06-07 06:30 | 20121600156 | 0.06 | Estimated Values | 0.1008 | E | 0.145 | ug/L | 1.4385 | Y | rcr | m | 2012-06-16 | Abs 052412: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-09-13 06:00 | 20122570122 | 0.06 | Estimated Values | 0.1008 | E | 0.0952 | ug/L | 0.94444 | Y | rcr | m | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-03-05 06:00 | 20130650005 | 0.06 | Estimated Values | 0.1008 | E | 0.075 | ug/L | 0.74405 | V | rcr | m | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-07-19 06:30 | 20122020004 | 0.06 | Estimated Values | 0.1008 | E | 0.128 | ug/L | 1.2698 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-10-17 06:30 | 20132910008 | 0.06 | Estimated Values | 0.1008 | E | 0.0838 | ug/L | 0.83135 | Y | rcr | m | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-12-05 08:00 | 20133400002 | 0.06 | Estimated Values | 0.1008 | E | 0.107 | ug/L | 1.0615 | Y | rcr | m | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-08-07 07:00 | 20142200164 | 0.06 | Estimated Values | 0.1188 | E | 0.096 | ug/L | 0.80808 | Y | rcr | m | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-10-09 06:00 | 20142820151 | 0.06 | Estimated Values | 0.1188 | E | 0.1 | ug/L | 0.84175 | Y | rcr | m | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-09-03 06:00 | 20142470041 | 0.06 | Estimated Values | 0.1188 | E | 0.113 | ug/L | 0.95118 | Y | rcr | m | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-12-03 06:00 | 20143370094 | 0.06 | Estimated Values | 0.1188 | E | 0.0804 | ug/L | 0.67677 | Y | rcr | m | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-05-22 07:00 | 20141420140 | 0.06 | Estimated Values | 0.1203 | E | 0.0998 | ug/L | 0.82959 | Y | rcr | m | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-05-29 06:00 | 20141490205 | 0.06 | Estimated Values | 0.1203 | E | 0.121 | ug/L | 1.0058 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-05-16 06:00 | 20141360094 | 0.06 | Estimated Values | 0.1203 | E | 0.1 | ug/L | 0.83126 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-07-02 07:00 | 20141840097 | 0.06 | Estimated Values | 0.1203 | E | 0.0957 | ug/L | 0.79551 | Y | rcr | m | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-01-13 06:30 | 20110130056 | 0.06 | Estimated Values | 0.17604 | E | 0.157 | ug/L | 0.89182 | V | rcr | m | 2011-02-09 | Supelco LB77168: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-05-20 06:30 | 20101410006 | 0.06 | Estimated Values | 0.1795 | E | 0.158 | ug/L | 0.88024 | W | c3L | m | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-06-02 07:30 | 20111540007 | 0.06 | Estimated Values | 0.17978 | E | 0.224 | ug/L | 1.246 | V | rcr | m | 2011-06-20 | Restek A075606: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-06-04 07:00 | 20151550293 | 0.06 | Estimated Values | 0.18 | E | 0.149 | ug/L | 0.82778 | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-07-09 07:00 | 20151900132 | 0.06 | Estimated Values | 0.18 | E | 0.149 | ug/L | 0.82778 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-08-20 06:00 | 20152330039 | 0.06 | Estimated Values | 0.18 | E | 0.115 | ug/L | 0.63889 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-12-17 06:00 | 20153510109 | 0.06 | Estimated Values | 0.18 | E | 0.114 | ug/L | 0.63333 |  | rcr | m | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-08-10 08:00 | 20112220126 | 0.06 | Estimated Values | 0.1824 | E | 0.182 | ug/L | 0.99781 | V | rcr | m | 2011-09-01 | Restek A075606: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-08-18 08:46 | 20112310032 | 0.06 | Estimated Values | 0.1824 | E | 0.0857 | ug/L | 0.46985 | Y | rcr | m | 2011-09-13 | Restek A075606: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-10-20 07:00 | 20112930085 | 0.06 | Estimated Values | 0.1824 | E | 0.198 | ug/L | 1.0855 | X | str | m | 2011-11-01 | Restek A075606: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-05-10 06:30 | 20121310027 | 0.06 | Estimated Values | 0.1824 | E | 0.197 | ug/L | 1.08 | Y | rcr | m | 2012-05-15 | Restek A075606: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-06-29 07:00 | 20111810004 | 0.06 | Estimated Values | 0.1824 | E | 0.136 | ug/L | 0.74561 | X | str | m | 2011-07-14 | Supelco LB77168: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-09-15 07:30 | 20112590005 | 0.06 | Estimated Values | 0.1824 | E | 0.172 | ug/L | 0.94298 | V | rcr | m | 2011-10-02 | Supelco LB77168: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2011-11-09 07:00 | 20113130085 | 0.06 | Estimated Values | 0.1824 | E | 0.181 | ug/L | 0.99232 | X | str | m | 2011-11-17 | Supelco LB77168: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-09-02 06:30 | 20102500051 | 0.06 | Estimated Values | 0.18281 | E | 0.17 | ug/L | 0.92992 | X | str | m | 2010-12-14 | Accu 209081187: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-12-09 06:00 | 20103430087 | 0.06 | Estimated Values | 0.18348 | E | 0.159 | ug/L | 0.86657 | S | rcr | m | 2011-01-28 | Restek A075606: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2010-06-24 06:30 | 20101760006 | 0.06 | Estimated Values | 0.18387 | E | 0.22 | ug/L | 1.1965 | S | c3L | m | 2010-09-09 | Accu 209081187: 40 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-08-01 07:00 | 20132140002 | 0.06 | Estimated Values | 0.224 | E | 0.188 | ug/L | 0.83929 | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-09-12 08:30 | 20132560001 | 0.06 | Estimated Values | 0.2255 | E | 0.211 | ug/L | 0.9357 | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-09-25 08:00 | 20132690010 | 0.06 | Estimated Values | 0.2255 | E | 0.251 | ug/L | 1.1131 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-10-23 06:00 | 20142960086 | 0.06 | Estimated Values | 0.2376 | E | 0.161 | ug/L | 0.67761 | Y | rcr | m | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-11-19 06:00 | 20143240095 | 0.06 | Estimated Values | 0.2376 | E | 0.229 | ug/L | 0.9638 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-02-12 06:00 | 20150430092 | 0.06 | Estimated Values | 0.2376 | E | 0.0903 | ug/L | 0.38005 | Y | rcr | m | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-09-10 06:00 | 20142530087 | 0.06 | Estimated Values | 0.2376 | E | 0.164 | ug/L | 0.69024 | Y | rcr | m | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-03-12 06:00 | 20150720069 | 0.06 | Estimated Values | 0.2406 | E | 0.103 | ug/L | 0.4281 | Y | rcr | m | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-06-26 06:00 | 20141770149 | 0.06 | Estimated Values | 0.2406 | E | 0.169 | ug/L | 0.70241 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-06-05 07:00 | 20141570088 | 0.06 | Estimated Values | 0.2406 | E | 0.234 | ug/L | 0.97257 | Y | rcr | m | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-10-30 07:00 | 20123040157 | 0.06 | Estimated Values | 0.249 | E | 0.272 | ug/L | 1.0924 | V | rcr | m | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-08-29 06:30 | 20132420001 | 0.06 | Estimated Values | 0.2505 | E | 0.202 | ug/L | 0.80639 | Y | rcr | m | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-01-23 06:30 | 20140230082 | 0.06 | Estimated Values | 0.2505 | E | 0.193 | ug/L | 0.77046 | Y | rcr | m | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-10-10 07:00 | 20122850005 | 0.06 | Estimated Values | 0.252 | E | 0.22 | ug/L | 0.87302 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-01-10 06:00 | 20130100066 | 0.06 | Estimated Values | 0.252 | E | 0.257 | ug/L | 1.0198 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-04-04 06:30 | 20130940097 | 0.06 | Estimated Values | 0.252 | E | 0.193 | ug/L | 0.76587 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-09-17 06:00 | 20152610011 | 0.06 | Estimated Values | 0.36 | E | 0.116 | ug/L | 0.32222 |  | rcr | m | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2015-10-01 06:00 | 20152750006 | 0.06 | Estimated Values | 0.36 | E | 0.281 | ug/L | 0.78056 |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | CARBOFURAN | 82674GCM35 | 2014-01-09 06:30 | 20140100085 | 0.06 | Estimated Values | 0.451 | E | 0.44 | ug/L | 0.97561 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | CARBOFURAN | 82674GCM35 | 2013-01-24 06:00 | 20130250061 | 0.06 | Estimated Values | 0.498 | E | 0.409 | ug/L | 0.82129 | Y | rcr | m | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-12-06 06:30 | 20123420074 | 0.06 | Estimated Values | 0.498 | E | 0.465 | ug/L | 0.93373 | V | rcr | m | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | CARBOFURAN | 82674GCM35 | 2012-11-20 06:30 | 20123260037 | 0.06 | Estimated Values | 0.504 | E | 0.484 | ug/L | 0.96032 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl