## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | CYANAZINE | 04041GCM35 | 2010-11-10 07:30 | 20103140135 | 0.022 | False Negative | 0.072996 | < |  | ug/L |  | V | rcr |  | 2011-01-18 | Supelco LB77168: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-02-17 08:30 | 20110490035 | 0.022 | Recoverable Result | 0.02475 | . | 0.0265 | ug/L | 1.0707 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | CYANAZINE | 04041GCM35 | 2013-05-02 06:00 | 20131230084 | 0.022 | Recoverable Result | 0.0298 | . | 0.0406 | ug/L | 1.3624 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2012-08-07 06:00 | 20122210006 | 0.022 | Recoverable Result | 0.0298 | . | 0.0304 | ug/L | 1.0201 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2012-08-30 06:30 | 20122430227 | 0.022 | Recoverable Result | 0.0298 | . | 0.034 | ug/L | 1.1409 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2013-02-19 06:30 | 20130510051 | 0.022 | Recoverable Result | 0.0298 | . | 0.0262 | ug/L | 0.87919 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2012-06-07 06:30 | 20121600156 | 0.022 | Estimated Values | 0.03 | E | 0.0463 | ug/L | 1.5433 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2012-09-13 06:00 | 20122570122 | 0.022 | Recoverable Result | 0.03 | . | 0.0261 | ug/L | 0.87 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2013-03-05 06:00 | 20130650005 | 0.022 | Recoverable Result | 0.03 | . | 0.0232 | ug/L | 0.77333 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2012-07-19 06:30 | 20122020004 | 0.022 | Recoverable Result | 0.03 | . | 0.0425 | ug/L | 1.4167 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2013-10-17 06:30 | 20132910008 | 0.022 | Recoverable Result | 0.03 | . | 0.0272 | ug/L | 0.90667 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | CYANAZINE | 04041GCM35 | 2013-12-05 08:00 | 20133400002 | 0.022 | Recoverable Result | 0.03 | . | 0.032 | ug/L | 1.0667 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | CYANAZINE | 04041GCM35 | 2013-07-11 06:30 | 20131920149 | 0.022 | Recoverable Result | 0.0302 | . | 0.0323 | ug/L | 1.0695 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2014-03-27 06:30 | 20140860102 | 0.022 | Recoverable Result | 0.0302 | . | 0.0264 | ug/L | 0.87417 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | CYANAZINE | 04041GCM35 | 2015-07-23 06:00 | 20152040177 | 0.022 | Recoverable Result | 0.033 | . | 0.0335 | ug/L | 1.0152 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2015-08-06 06:00 | 20152190003 | 0.022 | Recoverable Result | 0.033 | . | 0.0274 | ug/L | 0.8303 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2015-10-22 06:00 | 20152950078 | 0.022 | Recoverable Result | 0.034 | . | 0.0167 | ug/L | 0.49118 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2015-06-25 06:00 | 20151760208 | 0.022 | Recoverable Result | 0.034 | . | 0.044 | ug/L | 1.2941 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2015-10-29 06:00 | 20153030068 | 0.022 | Recoverable Result | 0.034 | . | 0.0257 | ug/L | 0.75588 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2010-04-29 10:30 | 20101190091 | 0.022 | Recoverable Result | 0.038782 | . | 0.0313 | ug/L | 0.80707 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2010-09-09 06:40 | 20102530008 | 0.022 | Recoverable Result | 0.040428 | . | 0.0451 | ug/L | 1.1155 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2010-06-17 10:30 | 20101720149 | 0.022 | Recoverable Result | 0.040547 | . | 0.0538 | ug/L | 1.3268 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2014-04-17 06:00 | 20141080004 | 0.022 | Recoverable Result | 0.0438 | . | 0.0356 | ug/L | 0.81279 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | CYANAZINE | 04041GCM35 | 2014-05-22 07:00 | 20141420140 | 0.022 | Recoverable Result | 0.0438 | . | 0.0402 | ug/L | 0.91781 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | CYANAZINE | 04041GCM35 | 2014-08-07 07:00 | 20142200164 | 0.022 | Recoverable Result | 0.0438 | . | 0.0328 | ug/L | 0.74886 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | CYANAZINE | 04041GCM35 | 2014-06-12 06:00 | 20141640076 | 0.022 | Recoverable Result | 0.0438 | . | 0.0331 | ug/L | 0.75571 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | CYANAZINE | 04041GCM35 | 2015-01-15 06:00 | 20150150115 | 0.022 | Recoverable Result | 0.04422 | . | 0.0471 | ug/L | 1.0651 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | CYANAZINE | 04041GCM35 | 2014-07-10 06:00 | 20141910243 | 0.022 | Recoverable Result | 0.04422 | . | 0.0247 | ug/L | 0.55857 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | CYANAZINE | 04041GCM35 | 2014-07-02 07:00 | 20141840097 | 0.022 | Recoverable Result | 0.04422 | . | 0.0281 | ug/L | 0.63546 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | CYANAZINE | 04041GCM35 | 2014-12-03 06:00 | 20143370094 | 0.022 | Recoverable Result | 0.04422 | . | 0.0256 | ug/L | 0.57892 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | CYANAZINE | 04041GCM35 | 2013-05-30 07:30 | 20131510026 | 0.022 | Recoverable Result | 0.0548 | . | 0.0432 | ug/L | 0.78832 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2013-08-15 06:30 | 20132280016 | 0.022 | Recoverable Result | 0.0548 | . | 0.0626 | ug/L | 1.1423 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2013-11-26 07:00 | 20133310030 | 0.022 | Recoverable Result | 0.0548 | . | 0.0592 | ug/L | 1.0803 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2014-03-13 07:00 | 20140730138 | 0.022 | Recoverable Result | 0.0548 | . | 0.0142 | ug/L | 0.25912 | Y | rcr | n | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | CYANAZINE | 04041GCM35 | 2014-02-20 06:30 | 20140510043 | 0.022 | Recoverable Result | 0.0548 | . | 0.0287 | ug/L | 0.52372 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | CYANAZINE | 04041GCM35 | 2013-06-13 06:30 | 20131650073 | 0.022 | Recoverable Result | 0.0552 | . | 0.0665 | ug/L | 1.2047 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2013-12-23 06:30 | 20133580036 | 0.022 | Recoverable Result | 0.0552 | . | 0.0425 | ug/L | 0.76993 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | CYANAZINE | 04041GCM35 | 2013-11-14 07:30 | 20133190012 | 0.022 | Recoverable Result | 0.0552 | . | 0.0646 | ug/L | 1.1703 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | CYANAZINE | 04041GCM35 | 2010-04-08 06:30 | 20100990014 | 0.022 | Recoverable Result | 0.056225 | . | 0.0499 | ug/L | 0.88751 | X | STR |  | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2010-08-26 06:30 | 20102390088 | 0.022 | Recoverable Result | 0.056571 | . | 0.0443 | ug/L | 0.78308 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2010-03-11 06:30 | 20100710178 | 0.022 | Recoverable Result | 0.056882 | . | 0.0848 | ug/L | 1.4908 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2010-07-21 06:30 | 20102030005 | 0.022 | Recoverable Result | 0.057154 | . | 0.0509 | ug/L | 0.89057 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2015-12-09 06:00 | 20153440001 | 0.022 | Recoverable Result | 0.066 | . | 0.0516 | ug/L | 0.78182 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2015-12-17 06:00 | 20153510109 | 0.022 | Recoverable Result | 0.066 | . | 0.0521 | ug/L | 0.78939 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2015-06-04 07:00 | 20151550293 | 0.022 | Recoverable Result | 0.068 | . | 0.0656 | ug/L | 0.96471 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2015-05-07 07:00 | 20151270112 | 0.022 | Recoverable Result | 0.068 | . | 0.0457 | ug/L | 0.67206 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2010-10-21 07:30 | 20102950072 | 0.022 | Recoverable Result | 0.071179 | . | 0.0712 | ug/L | 1.0003 | X | str |  | 2011-01-09 | Restek A075606: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-03-17 08:00 | 20110770001 | 0.022 | Recoverable Result | 0.073156 | . | 0.0708 | ug/L | 0.96779 | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-07-21 07:30 | 20112030057 | 0.022 | Estimated Values | 0.0732 | E | 0.0678 | ug/L | 0.92623 | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-11-22 07:30 | 20113260111 | 0.022 | Recoverable Result | 0.0732 | . | 0.0656 | ug/L | 0.89617 | V | rcr |  | 2011-12-04 | Restek A075606: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2012-02-02 12:10 | 20120370001 | 0.022 | Recoverable Result | 0.0732 | . | 0.0677 | ug/L | 0.92486 | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-07-07 06:30 | 20111890005 | 0.022 | Recoverable Result | 0.0732 | . | 0.0688 | ug/L | 0.93989 | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-09-01 07:30 | 20112450022 | 0.022 | Recoverable Result | 0.0732 | . | 0.0798 | ug/L | 1.0902 | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-12-15 07:30 | 20113500021 | 0.022 | Recoverable Result | 0.0732 | . | 0.0774 | ug/L | 1.0574 | V | rcr |  | 2011-12-22 | Supelco LB77168: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2012-03-01 07:30 | 20120620015 | 0.022 | Recoverable Result | 0.0732 | . | 0.0789 | ug/L | 1.0779 | X | rcr |  | 2012-03-09 | Supelco LB77168: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-04-14 07:30 | 20111050150 | 0.022 | Recoverable Result | 0.073917 | . | 0.0765 | ug/L | 1.0349 | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2011-06-07 10:00 | 20111590005 | 0.022 | Recoverable Result | 0.074096 | . | 0.0673 | ug/L | 0.90828 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | CYANAZINE | 04041GCM35 | 2011-05-12 07:00 | 20111330148 | 0.022 | Recoverable Result | 0.074466 | . | 0.0773 | ug/L | 1.0381 | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2012-10-30 07:00 | 20123040157 | 0.022 | Recoverable Result | 0.0745 | . | 0.0729 | ug/L | 0.97852 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | CYANAZINE | 04041GCM35 | 2011-02-24 08:00 | 20110560005 | 0.022 | Recoverable Result | 0.074527 | . | 0.0627 | ug/L | 0.84131 | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2012-10-10 07:00 | 20122850005 | 0.022 | Recoverable Result | 0.075 | . | 0.0742 | ug/L | 0.98933 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | CYANAZINE | 04041GCM35 | 2013-01-10 06:00 | 20130100066 | 0.022 | Recoverable Result | 0.075 | . | 0.089 | ug/L | 1.1867 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | CYANAZINE | 04041GCM35 | 2013-04-04 06:30 | 20130940097 | 0.022 | Recoverable Result | 0.075 | . | 0.066 | ug/L | 0.88 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | CYANAZINE | 04041GCM35 | 2013-08-29 06:30 | 20132420001 | 0.022 | Recoverable Result | 0.0755 | . | 0.0745 | ug/L | 0.98675 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | CYANAZINE | 04041GCM35 | 2014-01-23 06:30 | 20140230082 | 0.022 | Recoverable Result | 0.0755 | . | 0.0661 | ug/L | 0.8755 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | CYANAZINE | 04041GCM35 | 2014-08-14 06:00 | 20142270001 | 0.022 | Recoverable Result | 0.0876 | . | 0.0626 | ug/L | 0.71461 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | CYANAZINE | 04041GCM35 | 2015-03-12 06:00 | 20150720069 | 0.022 | Recoverable Result | 0.0876 | . | 0.0216 | ug/L | 0.24658 | Y | rcr | n | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | CYANAZINE | 04041GCM35 | 2014-10-23 06:00 | 20142960086 | 0.022 | Recoverable Result | 0.0876 | . | 0.0687 | ug/L | 0.78425 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | CYANAZINE | 04041GCM35 | 2014-11-06 06:00 | 20143110108 | 0.022 | Recoverable Result | 0.0876 | . | 0.0658 | ug/L | 0.75114 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | CYANAZINE | 04041GCM35 | 2014-05-01 06:00 | 20141220025 | 0.022 | Recoverable Result | 0.08844 | . | 0.0889 | ug/L | 1.0052 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | CYANAZINE | 04041GCM35 | 2014-09-25 06:00 | 20142720002 | 0.022 | Recoverable Result | 0.08844 | . | 0.0673 | ug/L | 0.76097 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | CYANAZINE | 04041GCM35 | 2014-06-05 07:00 | 20141570088 | 0.022 | Recoverable Result | 0.08844 | . | 0.0904 | ug/L | 1.0222 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | CYANAZINE | 04041GCM35 | 2014-09-10 06:00 | 20142530087 | 0.022 | Recoverable Result | 0.08844 | . | 0.0591 | ug/L | 0.66825 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | CYANAZINE | 04041GCM35 | 2011-04-07 09:00 | 20110980030 | 0.022 | Recoverable Result | 0.099483 | . | 0.0966 | ug/L | 0.97102 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | CYANAZINE | 04041GCM35 | 2010-11-18 09:00 | 20103230114 | 0.022 | Recoverable Result | 0.1007 | . | 0.118 | ug/L | 1.1717 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | CYANAZINE | 04041GCM35 | 2010-06-10 06:30 | 20101650033 | 0.022 | Recoverable Result | 0.1145 | . | 0.133 | ug/L | 1.1616 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2010-09-16 06:30 | 20102630169 | 0.022 | Recoverable Result | 0.11508 | . | 0.108 | ug/L | 0.93844 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | CYANAZINE | 04041GCM35 | 2015-09-17 06:00 | 20152610011 | 0.022 | Recoverable Result | 0.132 | . | 0.0299 | ug/L | 0.22652 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2015-09-03 06:00 | 20152460215 | 0.022 | Recoverable Result | 0.132 | . | 0.101 | ug/L | 0.76515 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2013-08-01 07:00 | 20132140002 | 0.022 | Recoverable Result | 0.137 | . | 0.117 | ug/L | 0.85401 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | CYANAZINE | 04041GCM35 | 2013-09-12 08:30 | 20132560001 | 0.022 | Recoverable Result | 0.138 | . | 0.122 | ug/L | 0.88406 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | CYANAZINE | 04041GCM35 | 2013-09-25 08:00 | 20132690010 | 0.022 | Recoverable Result | 0.138 | . | 0.139 | ug/L | 1.0072 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2011-01-13 06:30 | 20110130056 | 0.022 | Recoverable Result | 0.1413 | . | 0.112 | ug/L | 0.79264 | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2011-06-02 07:30 | 20111540007 | 0.022 | Recoverable Result | 0.14429 | . | 0.177 | ug/L | 1.2267 | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2011-08-10 08:00 | 20112220126 | 0.022 | Recoverable Result | 0.1464 | . | 0.14 | ug/L | 0.95628 | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2011-08-18 08:46 | 20112310032 | 0.022 | Recoverable Result | 0.1464 | . | 0.0682 | ug/L | 0.46585 | Y | rcr |  | 2011-09-13 | Restek A075606: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2011-10-20 07:00 | 20112930085 | 0.022 | Recoverable Result | 0.1464 | . | 0.156 | ug/L | 1.0656 | X | str |  | 2011-11-01 | Restek A075606: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2012-05-10 06:30 | 20121310027 | 0.022 | Recoverable Result | 0.1464 | . | 0.149 | ug/L | 1.0178 | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2011-06-29 07:00 | 20111810004 | 0.022 | Recoverable Result | 0.1464 | . | 0.1 | ug/L | 0.68306 | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2011-09-15 07:30 | 20112590005 | 0.022 | Recoverable Result | 0.1464 | . | 0.0987 | ug/L | 0.67418 | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2011-11-09 07:00 | 20113130085 | 0.022 | Recoverable Result | 0.1464 | . | 0.12 | ug/L | 0.81967 | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2010-12-09 06:00 | 20103430087 | 0.022 | Recoverable Result | 0.14727 | . | 0.113 | ug/L | 0.7673 | S | rcr |  | 2011-01-28 | Restek A075606: 80 µl
2033 | CYANAZINE | 04041GCM35 | 2013-01-24 06:00 | 20130250061 | 0.022 | Recoverable Result | 0.149 | . | 0.136 | ug/L | 0.91275 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | CYANAZINE | 04041GCM35 | 2012-12-06 06:30 | 20123420074 | 0.022 | Recoverable Result | 0.149 | . | 0.145 | ug/L | 0.97315 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | CYANAZINE | 04041GCM35 | 2012-11-20 06:30 | 20123260037 | 0.022 | Recoverable Result | 0.15 | . | 0.167 | ug/L | 1.1133 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CYANAZINE | 04041GCM35 | 2014-01-09 06:30 | 20140100085 | 0.022 | Recoverable Result | 0.276 | . | 0.293 | ug/L | 1.0616 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | CYANAZINE | 04041GCM35 | 2010-05-13 06:30 | 20101340154 | 0.022 | Recoverable Result | 0.28283 | . | 0.242 | ug/L | 0.85564 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl