## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | DACTHAL | 82682GCM35 | 2010-01-14 06:30 | 20100150090 | 0.0076 | Recoverable Result | 0.010854 | . | 0.0096 | ug/L | 0.88444 | W | fww |  | 2010-03-19 | Restek A069639: 20 µl
2033 | DACTHAL | 82682GCM35 | 2010-07-01 06:30 | 20101830110 | 0.0076 | Estimated Values | 0.011242 | E | 0.0133 | ug/L | 1.1831 | S | c3L |  | 2010-09-21 | ChemService 430-36C: 20 µl
2033 | DACTHAL | 82682GCM35 | 2015-04-30 07:00 | 20151210037 | 0.0076 | Recoverable Result | 0.0114 | . | 0.0111 | ug/L | 0.97368 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | DACTHAL | 82682GCM35 | 2015-10-29 06:00 | 20153030068 | 0.0076 | Recoverable Result | 0.0114 | . | 0.0112 | ug/L | 0.98246 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | DACTHAL | 82682GCM35 | 2015-08-06 06:00 | 20152190003 | 0.0076 | Recoverable Result | 0.0114 | . | 0.0111 | ug/L | 0.97368 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | DACTHAL | 82682GCM35 | 2015-11-10 06:00 | 20153160001 | 0.0076 | Recoverable Result | 0.0114 | . | 0.0112 | ug/L | 0.98246 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | DACTHAL | 82682GCM35 | 2013-08-15 06:30 | 20132280016 | 0.0076 | Recoverable Result | 0.014 | . | 0.0151 | ug/L | 1.0786 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | DACTHAL | 82682GCM35 | 2013-10-31 06:30 | 20133050050 | 0.0076 | Recoverable Result | 0.014 | . | 0.0168 | ug/L | 1.2 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | DACTHAL | 82682GCM35 | 2014-04-17 06:00 | 20141080004 | 0.0076 | Recoverable Result | 0.015 | . | 0.0142 | ug/L | 0.94667 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | DACTHAL | 82682GCM35 | 2014-05-22 07:00 | 20141420140 | 0.0076 | Recoverable Result | 0.015 | . | 0.0155 | ug/L | 1.0333 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | DACTHAL | 82682GCM35 | 2014-08-07 07:00 | 20142200164 | 0.0076 | Recoverable Result | 0.015 | . | 0.015 | ug/L | 1 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | DACTHAL | 82682GCM35 | 2014-06-12 06:00 | 20141640076 | 0.0076 | Recoverable Result | 0.015 | . | 0.0153 | ug/L | 1.02 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DACTHAL | 82682GCM35 | 2013-06-13 06:30 | 20131650073 | 0.0076 | Recoverable Result | 0.0152 | . | 0.018 | ug/L | 1.1842 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | DACTHAL | 82682GCM35 | 2013-06-27 06:30 | 20131790009 | 0.0076 | Recoverable Result | 0.0152 | . | 0.0185 | ug/L | 1.2171 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | DACTHAL | 82682GCM35 | 2013-12-12 06:30 | 20133470008 | 0.0076 | Recoverable Result | 0.0152 | . | 0.0171 | ug/L | 1.125 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | DACTHAL | 82682GCM35 | 2013-11-26 07:00 | 20133310030 | 0.0076 | Recoverable Result | 0.0152 | . | 0.0157 | ug/L | 1.0329 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | DACTHAL | 82682GCM35 | 2014-03-13 07:00 | 20140730138 | 0.0076 | Recoverable Result | 0.0152 | . | 0.0156 | ug/L | 1.0263 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | DACTHAL | 82682GCM35 | 2015-01-15 06:00 | 20150150115 | 0.0076 | Recoverable Result | 0.0153 | . | 0.0143 | ug/L | 0.93464 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | DACTHAL | 82682GCM35 | 2014-07-10 06:00 | 20141910243 | 0.0076 | Recoverable Result | 0.0153 | . | 0.0143 | ug/L | 0.93464 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | DACTHAL | 82682GCM35 | 2014-07-02 07:00 | 20141840097 | 0.0076 | Recoverable Result | 0.0153 | . | 0.0157 | ug/L | 1.0261 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | DACTHAL | 82682GCM35 | 2014-12-03 06:00 | 20143370094 | 0.0076 | Recoverable Result | 0.0153 | . | 0.0115 | ug/L | 0.75163 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | DACTHAL | 82682GCM35 | 2010-08-05 06:30 | 20102180092 | 0.0076 | Recoverable Result | 0.021469 | . | 0.019 | ug/L | 0.885 | W | fww |  | 2010-10-18 | Restek A069639: 40 µl
2033 | DACTHAL | 82682GCM35 | 2010-04-22 06:30 | 20101130055 | 0.0076 | Recoverable Result | 0.021953 | . | 0.0242 | ug/L | 1.1023 | X | mco |  | 2010-06-26 | ChemService 430-36C: 40 µl
2033 | DACTHAL | 82682GCM35 | 2015-06-04 07:00 | 20151550293 | 0.0076 | Recoverable Result | 0.0228 | . | 0.0267 | ug/L | 1.1711 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | DACTHAL | 82682GCM35 | 2015-07-09 07:00 | 20151900132 | 0.0076 | Recoverable Result | 0.0228 | . | 0.0233 | ug/L | 1.0219 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | DACTHAL | 82682GCM35 | 2015-08-20 06:00 | 20152330039 | 0.0076 | Recoverable Result | 0.0228 | . | 0.0242 | ug/L | 1.0614 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | DACTHAL | 82682GCM35 | 2015-12-17 06:00 | 20153510109 | 0.0076 | Recoverable Result | 0.0228 | . | 0.0194 | ug/L | 0.85088 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-02-17 08:30 | 20110490035 | 0.0076 | Recoverable Result | 0.02475 | . | 0.0262 | ug/L | 1.0586 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | DACTHAL | 82682GCM35 | 2013-07-11 06:30 | 20131920149 | 0.0076 | Recoverable Result | 0.03 | . | 0.0292 | ug/L | 0.97333 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | DACTHAL | 82682GCM35 | 2014-08-14 06:00 | 20142270001 | 0.0076 | Recoverable Result | 0.03 | . | 0.0294 | ug/L | 0.98 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | DACTHAL | 82682GCM35 | 2012-09-13 06:00 | 20122570122 | 0.0076 | Recoverable Result | 0.03 | . | 0.0266 | ug/L | 0.88667 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | DACTHAL | 82682GCM35 | 2013-03-05 06:00 | 20130650005 | 0.0076 | Recoverable Result | 0.03 | . | 0.0229 | ug/L | 0.76333 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | DACTHAL | 82682GCM35 | 2015-03-12 06:00 | 20150720069 | 0.0076 | Recoverable Result | 0.03 | . | 0.033 | ug/L | 1.1 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | DACTHAL | 82682GCM35 | 2014-10-23 06:00 | 20142960086 | 0.0076 | Recoverable Result | 0.03 | . | 0.0297 | ug/L | 0.99 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | DACTHAL | 82682GCM35 | 2014-11-06 06:00 | 20143110108 | 0.0076 | Recoverable Result | 0.03 | . | 0.0266 | ug/L | 0.88667 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | DACTHAL | 82682GCM35 | 2013-05-02 06:00 | 20131230084 | 0.0076 | Recoverable Result | 0.03 | . | 0.0351 | ug/L | 1.17 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | DACTHAL | 82682GCM35 | 2012-08-07 06:00 | 20122210006 | 0.0076 | Recoverable Result | 0.03 | . | 0.028 | ug/L | 0.93333 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | DACTHAL | 82682GCM35 | 2012-08-16 06:30 | 20122300021 | 0.0076 | Recoverable Result | 0.03 | . | 0.0317 | ug/L | 1.0567 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | DACTHAL | 82682GCM35 | 2012-07-03 08:00 | 20121870008 | 0.0076 | Recoverable Result | 0.03 | . | 0.0288 | ug/L | 0.96 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | DACTHAL | 82682GCM35 | 2013-02-07 06:30 | 20130390105 | 0.0076 | Recoverable Result | 0.03 | . | 0.0225 | ug/L | 0.75 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | DACTHAL | 82682GCM35 | 2014-03-27 06:30 | 20140860102 | 0.0076 | Recoverable Result | 0.03 | . | 0.0262 | ug/L | 0.87333 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | DACTHAL | 82682GCM35 | 2013-10-17 06:30 | 20132910008 | 0.0076 | Recoverable Result | 0.03 | . | 0.0276 | ug/L | 0.92 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DACTHAL | 82682GCM35 | 2013-12-05 08:00 | 20133400002 | 0.0076 | Recoverable Result | 0.03 | . | 0.0327 | ug/L | 1.09 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | DACTHAL | 82682GCM35 | 2014-05-01 06:00 | 20141220025 | 0.0076 | Recoverable Result | 0.0306 | . | 0.0342 | ug/L | 1.1176 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | DACTHAL | 82682GCM35 | 2014-09-25 06:00 | 20142720002 | 0.0076 | Recoverable Result | 0.0306 | . | 0.0296 | ug/L | 0.96732 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | DACTHAL | 82682GCM35 | 2014-06-05 07:00 | 20141570088 | 0.0076 | Recoverable Result | 0.0306 | . | 0.0328 | ug/L | 1.0719 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | DACTHAL | 82682GCM35 | 2014-09-10 06:00 | 20142530087 | 0.0076 | Recoverable Result | 0.0306 | . | 0.0297 | ug/L | 0.97059 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | DACTHAL | 82682GCM35 | 2010-10-28 07:30 | 20103020155 | 0.0076 | Recoverable Result | 0.034924 | . | 0.0354 | ug/L | 1.0136 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | DACTHAL | 82682GCM35 | 2014-02-06 06:30 | 20140370077 | 0.0076 | Recoverable Result | 0.035 | . | 0.0367 | ug/L | 1.0486 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | DACTHAL | 82682GCM35 | 2013-09-25 08:00 | 20132690010 | 0.0076 | Recoverable Result | 0.035 | . | 0.0472 | ug/L | 1.3486 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | DACTHAL | 82682GCM35 | 2011-01-20 07:30 | 20110210095 | 0.0076 | Recoverable Result | 0.035583 | . | 0.0325 | ug/L | 0.91334 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-06-16 08:00 | 20111680035 | 0.0076 | Recoverable Result | 0.036095 | . | 0.0331 | ug/L | 0.91702 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-07-07 07:00 | 20111890004 | 0.0076 | Recoverable Result | 0.03616 | . | 0.0427 | ug/L | 1.1809 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-10-27 07:30 | 20113010047 | 0.0076 | Recoverable Result | 0.03616 | . | 0.036 | ug/L | 0.99558 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | DACTHAL | 82682GCM35 | 2012-03-15 08:00 | 20120760111 | 0.0076 | Recoverable Result | 0.03616 | . | 0.0292 | ug/L | 0.80752 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | DACTHAL | 82682GCM35 | 2010-10-07 07:30 | 20102810019 | 0.0076 | Recoverable Result | 0.036296 | . | 0.0301 | ug/L | 0.8293 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-03-24 06:30 | 20110840108 | 0.0076 | Recoverable Result | 0.036327 | . | 0.0395 | ug/L | 1.0873 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-02-02 06:30 | 20110340007 | 0.0076 | Recoverable Result | 0.036544 | . | 0.0331 | ug/L | 0.90577 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-04-22 06:20 | 20111170107 | 0.0076 | Recoverable Result | 0.036718 | . | 0.0394 | ug/L | 1.073 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-07-28 07:00 | 20112100007 | 0.0076 | Recoverable Result | 0.03692 | . | 0.0377 | ug/L | 1.0211 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | DACTHAL | 82682GCM35 | 2011-10-07 06:30 | 20112840031 | 0.0076 | Recoverable Result | 0.03692 | . | 0.0379 | ug/L | 1.0265 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | DACTHAL | 82682GCM35 | 2012-01-12 07:00 | 20120120071 | 0.0076 | Recoverable Result | 0.03692 | . | 0.0397 | ug/L | 1.0753 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | DACTHAL | 82682GCM35 | 2012-02-23 07:30 | 20120540036 | 0.0076 | Recoverable Result | 0.03692 | . | 0.0326 | ug/L | 0.88299 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | DACTHAL | 82682GCM35 | 2012-03-29 08:00 | 20120930003 | 0.0076 | Recoverable Result | 0.03692 | . | 0.0296 | ug/L | 0.80173 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | DACTHAL | 82682GCM35 | 2013-05-16 07:00 | 20131370001 | 0.0076 | Recoverable Result | 0.038 | . | 0.0465 | ug/L | 1.2237 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | DACTHAL | 82682GCM35 | 2010-04-29 10:30 | 20101190091 | 0.0076 | Recoverable Result | 0.038782 | . | 0.0385 | ug/L | 0.99272 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | DACTHAL | 82682GCM35 | 2010-09-09 06:40 | 20102530008 | 0.0076 | Recoverable Result | 0.040428 | . | 0.0423 | ug/L | 1.0463 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | DACTHAL | 82682GCM35 | 2010-06-17 10:30 | 20101720149 | 0.0076 | Recoverable Result | 0.040547 | . | 0.0481 | ug/L | 1.1863 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | DACTHAL | 82682GCM35 | 2015-09-17 06:00 | 20152610011 | 0.0076 | Recoverable Result | 0.0456 | . | 0.0568 | ug/L | 1.2456 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | DACTHAL | 82682GCM35 | 2015-10-01 06:00 | 20152750006 | 0.0076 | Recoverable Result | 0.0456 | . | 0.045 | ug/L | 0.98684 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | DACTHAL | 82682GCM35 | 2010-05-27 06:30 | 20101480005 | 0.0076 | Recoverable Result | 0.056092 | . | 0.0572 | ug/L | 1.0197 | X | mco |  | 2010-07-29 | Restek A069639: 100 µl
2033 | DACTHAL | 82682GCM35 | 2013-09-06 06:50 | 20132490342 | 0.0076 | Recoverable Result | 0.07 | . | 0.0883 | ug/L | 1.2614 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | DACTHAL | 82682GCM35 | 2014-01-09 06:30 | 20140100085 | 0.0076 | Recoverable Result | 0.07 | . | 0.0774 | ug/L | 1.1057 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | DACTHAL | 82682GCM35 | 2010-11-24 07:00 | 20103330007 | 0.0076 | Recoverable Result | 0.071048 | . | 0.0705 | ug/L | 0.99229 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | DACTHAL | 82682GCM35 | 2010-12-16 06:30 | 20103510060 | 0.0076 | Recoverable Result | 0.071967 | . | 0.0726 | ug/L | 1.0088 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | DACTHAL | 82682GCM35 | 2011-04-28 07:00 | 20111190184 | 0.0076 | Recoverable Result | 0.072039 | . | 0.0808 | ug/L | 1.1216 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | DACTHAL | 82682GCM35 | 2011-08-04 08:00 | 20112170174 | 0.0076 | Recoverable Result | 0.07232 | . | 0.072 | ug/L | 0.99558 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | DACTHAL | 82682GCM35 | 2011-11-29 07:00 | 20113340046 | 0.0076 | Recoverable Result | 0.07232 | . | 0.0596 | ug/L | 0.82412 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | DACTHAL | 82682GCM35 | 2012-02-09 07:00 | 20120400058 | 0.0076 | Recoverable Result | 0.07232 | . | 0.0712 | ug/L | 0.98451 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | DACTHAL | 82682GCM35 | 2011-03-03 07:00 | 20110620082 | 0.0076 | Recoverable Result | 0.073312 | . | 0.0696 | ug/L | 0.94937 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | DACTHAL | 82682GCM35 | 2012-01-26 07:00 | 20120260028 | 0.0076 | Recoverable Result | 0.07384 | . | 0.0686 | ug/L | 0.92904 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | DACTHAL | 82682GCM35 | 2012-04-12 07:00 | 20121040012 | 0.0076 | Recoverable Result | 0.07384 | . | 0.0654 | ug/L | 0.8857 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | DACTHAL | 82682GCM35 | 2011-06-07 10:00 | 20111590005 | 0.0076 | Recoverable Result | 0.074096 | . | 0.0729 | ug/L | 0.98386 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | DACTHAL | 82682GCM35 | 2011-05-19 07:30 | 20111390178 | 0.0076 | Recoverable Result | 0.074338 | . | 0.0751 | ug/L | 1.0102 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | DACTHAL | 82682GCM35 | 2012-06-21 06:00 | 20121730123 | 0.0076 | Recoverable Result | 0.075 | . | 0.0664 | ug/L | 0.88533 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | DACTHAL | 82682GCM35 | 2012-10-30 07:00 | 20123040157 | 0.0076 | Recoverable Result | 0.075 | . | 0.0698 | ug/L | 0.93067 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | DACTHAL | 82682GCM35 | 2012-12-20 06:30 | 20123560092 | 0.0076 | Recoverable Result | 0.075 | . | 0.0749 | ug/L | 0.99867 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | DACTHAL | 82682GCM35 | 2013-03-21 06:30 | 20130810108 | 0.0076 | Recoverable Result | 0.075 | . | 0.071 | ug/L | 0.94667 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | DACTHAL | 82682GCM35 | 2013-08-29 06:30 | 20132420001 | 0.0076 | Recoverable Result | 0.075 | . | 0.0742 | ug/L | 0.98933 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | DACTHAL | 82682GCM35 | 2014-01-23 06:30 | 20140230082 | 0.0076 | Recoverable Result | 0.075 | . | 0.0709 | ug/L | 0.94533 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | DACTHAL | 82682GCM35 | 2011-04-07 09:00 | 20110980030 | 0.0076 | Recoverable Result | 0.099483 | . | 0.104 | ug/L | 1.0454 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | DACTHAL | 82682GCM35 | 2010-11-18 09:00 | 20103230114 | 0.0076 | Recoverable Result | 0.1007 | . | 0.112 | ug/L | 1.1122 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | DACTHAL | 82682GCM35 | 2013-01-24 06:00 | 20130250061 | 0.0076 | Recoverable Result | 0.15 | . | 0.147 | ug/L | 0.98 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | DACTHAL | 82682GCM35 | 2012-12-06 06:30 | 20123420074 | 0.0076 | Recoverable Result | 0.15 | . | 0.165 | ug/L | 1.1 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | DACTHAL | 82682GCM35 | 2012-11-08 06:30 | 20123140095 | 0.0076 | Recoverable Result | 0.15 | . | 0.148 | ug/L | 0.98667 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl